PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*03

Prod. No:	101.413-24/24u

101.413-04/04u

Lot No:    	88R

Expiry Date:    	2015-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 64 primer mixes used for HLA-A*03 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*03 alleles3 | Other amplified HLA-A alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 235 bp | 800 bp | *03:01:01:01-03:01:29, 03:01:31-03:04:03, 03:06-03:09, 03:11N-03:17:02, 03:19-03:39, 03:41, 03:43-03:74, 03:76-03:94, 03:96-03:97, 03:99-03:104, 03:106-03:121, 03:123-03:134, 03:136-03:161N | *11:130, 32:04, 36:02 |
| 26 | 225 bp | 1070 bp | *03:01:01:01-03:01:11, 03:01:12w, 03:01:13-03:01:22, 03:01:23w, 03:01:24-03:07, 03:09-03:11N, 03:13-03:31, 03:33-03:35, 03:37-03:40, 03:42-03:56, 03:58, 03:60-03:71, 03:73-03:87, 03:90-03:106, 03:109-03:110, 03:112-03:141, 03:143-03:148, 03:150-03:151, 03:153-03:161N | *01:13, 02:34w-02:35:03w, 02:56:01w-02:56:02w, 02:62w, 02:103w, 30:55, 34:08, 68:71, 74:13 |
| 36 | 205 bp | 1070 bp | *03:01:01:01-03:01:01:03, 03:01:03-03:01:05, 03:01:07-03:01:13, 03:01:15-03:01:38, 03:03N-03:05:01, 03:06, 03:08-03:09, 03:11N-03:17:02, 03:19-03:30, 03:33-03:41, 03:43-03:49, 03:51-03:53, 03:55-03:63, 03:67-03:72, 03:74, 03:77-03:81, 03:83-03:89, 03:91N-03:94, 03:96-03:105, 03:107-03:112, 03:114-03:126, 03:128-03:132, 03:134, 03:136-03:139, 03:141-03:152, 03:154-03:159, 03:161N | *11:25, 32:04, 34:02:01, 34:02:03-34:04, 34:07-34:10N |
| 4 | 215 bp | 800 bp | *03:02:01-03:02:03, 03:10, 03:31-03:32, 03:65, 03:69N, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:160 | *01:12, 01:19, 01:25, 11:01:01-11:07, 11:09-11:22, 11:27, 11:29-11:30, 11:32-11:34, 11:36-11:43, 11:45-11:49, 11:51-11:52Q, 11:54-11:93, 11:95-11:100, 11:102-11:117, 11:119-11:132, 24:51, 24:92 |
| 5 | 185 bp | 800 bp | *03:03N |  |
| 6 | 275 bp | 1070 bp | *03:04:01-03:04:03 | *01:86, 30:34 |
| 7 | 225 bp | 1070 bp | *03:06, 03:69N |  |
| 8 | 240 bp | 1070 bp | *03:01:01:01-03:01:07, 03:01:09-03:11N, 03:13-03:40, 03:42-03:56, 03:58-03:87, 03:89-03:106, 03:108, 03:110-03:151, 03:153-03:161N | *01:13, 01:28, 02:01:01:01-02:01:15, 02:01:17-02:01:19, 02:01:21-02:01:48, 02:01:50-02:01:81, 02:01:83-02:04, 02:07:01-02:07:02, 02:09, 02:11:01-02:13, 02:15N-02:20:02, 02:22:01-02:22:02, 02:24:01-02:27, 02:29-02:40:02, 02:42-02:43N, 02:45-02:50, 02:52-02:53N, 02:55-02:56:02, 02:58-02:60:02, 02:62-02:71, 02:73-02:77, 02:80, 02:82N-02:83N, 02:85-02:86, 02:88N-02:90, 02:92-02:97:02, 02:101:01-02:105, 02:107, 02:109-02:111, 02:113N-02:121, 02:123, 02:125N, 02:128, 02:130-02:135, 02:138-02:141, 02:145, 02:147-02:153, 02:155-02:168, 02:171:01-02:171:02, 02:173-02:177, 02:181-02:183, 02:185-02:228, 02:230-02:231, 02:233-02:243, 02:245-02:246, 02:249-02:258, 02:260-02:270, 02:272-02:277, 02:279-02:285, 02:287-02:289, 02:291-02:294, 02:296-02:299, 02:301N-02:309, 02:311-02:323, 02:325-02:327, 02:329, 02:332, 02:334-02:336, 02:338-02:343, 02:345-02:354, 02:356N-02:357, 02:360-02:372, 02:374-02:375, 02:377-02:381, 02:383-02:386, 02:388-02:392, 11:43, 11:88, 24:19, 24:28, 24:44, 24:89, 29:19, 29:39, 30:01:01-30:01:07, 30:11:01-30:11:02, 30:13-30:20, 30:23-30:24, 30:26, 30:30-30:31, 30:35-30:44, 30:46, 30:48-30:49, 30:52-30:56, 30:58-30:60, 30:62-30:63, 30:65, 31:01:02-31:01:05, 31:01:07-31:06, 31:09, 31:11-31:32, 31:34-31:70, 33:01:01-33:01:07, 33:03:01-33:03:05, 33:03:07-33:12, 33:14-33:16, 33:18:01-33:37, 33:39-33:47, 33:49-33:50, 33:52-33:64, 34:08, 68:29, 68:45, 68:71, 74:01-74:09, 74:11-74:17, 80:02 |
| 99 | 230 bp | 1070 bp | *03:05:01-03:05:02, 03:10, 03:42, 03:72 | *02:156, 02:338, 11:04, 11:35, 11:88, 24:19, 30:01:01-30:04:02, 30:06-30:20, 30:22-30:27N, 30:29-30:44, 30:46, 30:48-30:70N, 31:03-31:04, 33:49, 34:02:01-34:04, 34:07-34:10N, 36:01, 36:05, 68:45 |
| 105,10 | 65 bp, 205 bp | 800 bp | *03:02:01-03:02:03, 03:07, 03:10, 03:31-03:32, 03:42, 03:60, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:133, 03:160 | *01:12, 01:19, 01:21, 02:156, 02:338, 11:31, 11:35, 11:60, 24:92, 30:04:01-30:04:02, 30:06, 30:09, 30:17, 30:29, 30:46, 31:03-31:04, 33:49 |
| 11 | 225 bp | 800 bp | *03:08, 03:32, 03:41, 03:107 | *01:01:01:01-01:01:31, 01:01:33-01:01:46, 01:01:48-01:01:51, 01:03-01:04N, 01:06, 01:08-01:12, 01:14-01:16N, 01:18N-01:19, 01:21-01:33, 01:35-01:42, 01:44-01:94, 01:96-01:103, 01:105-01:107, 01:109-01:122, 02:48, 02:81, 02:90, 02:124, 02:146, 25:03, 26:20, 32:01:01-32:02, 32:03w, 32:04-32:06, 32:08w, 32:09-32:16, 32:18-32:26, 32:28-32:41, 32:43-32:55, 36:01-36:05, 74:01-74:04, 74:08-74:12N, 74:14N-74:17, 80:01:01:01w-80:01:01:02w, 80:02 |
| 12 | 190 bp | 1070 bp | *03:09, 03:108 | *02:01:09, 02:05:05, 02:06:07, 02:50, 02:76:02, 02:122, 11:06, 11:18, 24:28, 24:89, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:78, 29:19, 33:24, 68:05, 68:15, 68:20, 74:06 |
| 13 | 145 bp | 800 bp | *03:01:01:02N |  |
| 145,11 | 105 bp, 235 bp | 1070 bp | *03:11N, 03:59 |  |
| 15 | 225 bp | 1070 bp | *03:12, 03:88 | *02:78, 11:01:01-11:02:01, 11:02:02w, 11:02:03-11:05, 11:06w, 11:07-11:16, 11:20-11:27, 11:29-11:39, 11:41-11:42, 11:44, 11:46, 11:48-11:52Q, 11:54-11:77, 11:79-11:87, 11:89-11:91, 11:93-11:97, 11:99N-11:105, 11:107-11:110, 11:112-11:120, 11:122-11:132, 30:08, 34:01:01-34:07, 34:09-34:10N, 66:01-66:02, 66:04, 66:06-66:10, 66:12-66:14, 66:16-66:19, 68:01:01:01-68:02:05, 68:06-68:14, 68:16-68:19, 68:21:01-68:28, 68:30, 68:32-68:35, 68:37-68:44, 68:47-68:56, 68:58-68:70, 68:72-68:83, 68:85-68:89, 68:91-68:96, 69:01 |
| 16 | 275 bp | 1070 bp | *03:14 |  |
| 176,7 | 215 bp | 800 bp | *03:01:01:01-03:01:38, 03:03N-03:09, 03:11N-03:17:02, 03:19-03:30, 03:33-03:49, 03:51-03:64, 03:67-03:68N, 03:70-03:72, 03:74, 03:77-03:81, 03:83-03:89, 03:91N-03:94, 03:96-03:105, 03:107-03:112, 03:114-03:134, 03:136-03:152, 03:154-03:159, 03:161N | *01:06, 02:156, 02:338, 11:24:01-11:25, 11:31, 11:35, 30:01:01-30:03, 30:07-30:16, 30:18-30:20, 30:22-30:27N, 30:30-30:45, 30:48-30:51, 30:53-30:62, 30:64-30:70N, 31:03-31:04, 32:04, 33:49, 34:02:01-34:04, 34:07-34:10N, 80:01:01:01-80:02 |
| 1812 | 135 bp, 210 bp | 1070 bp | *03:13, 03:50, 03:64, 03:66 | *01:98, 11:08, 11:44, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46, 36:02 |
| 197 | 230 bp | 1070 bp | *03:15, 03:19 |  |
| 205,13 | 60 bp, 175 bp | 1070 bp | *03:16, 03:61 |  |
| 2114 | 130 bp, 155 bp, 195 bp | 1070 bp | *03:17:01-03:17:02, 03:74, 03:102 | *01:88, 02:156, 02:338, 11:119, 24:51, 24:92, 30:61 |
| 22 | 250 bp | 1070 bp | *03:18, 03:97, 03:122, 03:135 | *01:01:01:01-01:02, 01:04N, 01:06-01:19, 01:21-01:33, 01:35-01:62, 01:64-01:65, 01:67-01:71, 01:74-01:101, 01:103-01:122, 11:27, 11:38-11:39, 11:94, 24:51, 24:92, 80:01:01:01-80:02 |
| 235,15 | 95 bp, 185 bp, 210 bp, 240 bp | 1070 bp | *03:19, 03:22:01-03:22:02, 03:56, 03:75, 03:88, 03:99, 03:103 | *02:237, 11:130, 24:18, 24:204, 24:213, 32:52, 36:02 |
| 24 | 470 bp | 1070 bp | *03:21N | *01:04N, 11:21N, 23:07N, 24:11N |
| 25 | 155 bp | 1070 bp | *03:23:01-03:23:02 | *01:83:01-01:83:02, 02:01:09, 02:05:05, 02:06:07, 02:11:02, 02:35:03, 02:50, 02:76:02, 02:122, 11:121, 24:08, 24:42, 24:89, 26:07:01-26:07:02, 33:08, 74:04 |
| 26 | 190 bp | 1070 bp | *03:24, 03:93 | *01:51, 25:03, 32:15, 32:37, 34:08, 68:71 |
| 275,16 | 95 bp, 145 bp, 240 bp | 1070 bp | *03:25, 03:71, 03:149 |  |
| 288 | 495 bp | 1070 bp | *03:41, 03:63, 03:88 | *11:130, 36:02 |
| 295 | 100 bp | 1070 bp | *03:01:01:01-03:07, 03:09-03:28, 03:30-03:31, 03:33, 03:35, 03:37-03:40, 03:42-03:61, 03:64-03:87, 03:90-03:106, 03:109-03:151, 03:153-03:161N | *02:34-02:35:03, 02:56:01-02:56:02, 02:62, 02:78, 02:103, 11:12, 23:13, 24:07, 24:24, 24:108, 24:112, 24:131, 29:01:01:01-29:18, 29:21-29:29, 29:31-29:33, 29:35-29:45, 30:01:01-30:01:07, 30:08, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30, 30:35-30:43, 30:48-30:49, 30:52-30:56, 30:58-30:60, 30:62-30:63, 30:65, 32:17, 34:09, 66:02, 66:12, 66:16, 68:01:01:01-68:02:05, 68:06-68:14, 68:16-68:19, 68:21:01-68:30, 68:32-68:39, 68:41-68:71, 68:73-68:84, 68:86-68:89, 68:91-68:92, 68:94N-68:96, 69:01, 74:13 |
| 3017 | 130 bp, 155 bp, 210 bp | 1070 bp | *03:27, 03:49, 03:102 |  |
| 317,18 | 200 bp, 230 bp | 800 bp | *03:28, 03:56, 03:88, 03:99, 03:143 | *11:130, 32:52, 36:02 |
| 3219 | 150 bp, 220 bp, 270 bp | 1070 bp | *03:29, 03:67, 03:91N |  |
| 3320 | 180 bp, 210 bp, 285 bp | 1070 bp | *03:30, 03:62, 03:93, 03:152 | *24:104, 32:05, 32:37, 80:01:01:01w-80:02w |
| 345,21 | 125 bp, 160 bp | 1070 bp | *03:31, 03:58 |  |
| 357,22 | 235 bp, 275 bp | 1070 bp | *03:32, 03:55 | *31:21, 74:07 |
| 365,23 | 120 bp, 160 bp, 210 bp | 1070 bp | *03:33, 03:70, 03:81 |  |
| 375,24 | 95 bp, 120 bp, 225 bp | 1070 bp | *03:34, 03:48, 03:81 |  |
| 3825 | 165 bp, 195 bp, 250 bp | 800 bp | *03:35, 03:73, 03:79 |  |
| 3926 | 200 bp, 235 bp | 1070 bp | *03:36N, 03:45 |  |
| 40 | 240 bp | 1070 bp | *03:37 |  |
| 4127 | 185 bp, 275 bp | 1070 bp | *03:38, 03:68N |  |
| 427,28 | 190 bp, 220 bp | 800 bp | *03:39, 03:143 |  |
| 4329 | 150 bp, 260 bp | 1070 bp | *03:20, 03:47, 03:76 |  |
| 4430 | 165 bp, 195 bp, 240 bp | 1070 bp | *03:40, 03:51, 03:79 |  |
| 4531 | 150 bp, 270 bp | 1070 bp | *03:43, 03:91N |  |
| 465,8,32 | 110 bp, 190 bp | 1070 bp | *03:44, 03:52-03:53 | *02:164, 02:380, 30:30, 31:19, 31:69, C*07:35, C*08:48 |
| 47 | 240 bp | 1070 bp | *03:41, 03:57, 03:107 | *01:01:01:01-01:01:03, 01:01:05-01:01:12, 01:01:14-01:01:28, 01:01:30-01:01:31, 01:01:33-01:01:34, 01:01:36-01:01:49, 01:01:51, 01:03-01:04N, 01:06, 01:08-01:12, 01:14-01:19, 01:21-01:23, 01:25-01:27N, 01:29-01:33, 01:35-01:42, 01:44-01:94, 01:96-01:112, 01:114-01:122, 36:01-36:05, 74:10, 80:01:01:01-80:01:01:02 |
| 485,33 | 70 bp, 110 bp, 145 bp | 1070 bp | *03:46, 03:52, 03:54 | *02:380, 31:19, C*07:86 |
| 4934 | 195 bp, 545 bp | 1070 bp | *03:78, 03:161N | *01:45, 11:108, 66:17 |
| 50 | 130 bp | 1070 bp | *03:86 |  |
| 517,35 | 215 bp, 285 bp | 1070 bp | *03:50, 03:87 | *01:101, 11:30, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46 |
| 525 | 85 bp | 1070 bp | *03:96 |  |
| 5336 | 225 bp, 260 bp | 800 bp | *03:104, 03:150, 03:153 | *33:49 |
| 54 | 240 bp | 1070 bp | *03:111 |  |
| 55 | 175 bp | 800 bp | *03:112 |  |
| 56 | 215 bp | 1070 bp | *03:113 |  |
| 578,37 | 180 bp, 275 bp | 1070 bp | *03:118, 03:134 |  |
| 586 | 215 bp | 1070 bp | *03:127, 03:150, 03:153 | *01:06, 11:24:02 |
| 59 | 240 bp | 1070 bp | *03:128 |  |
| 607 | 390 bp | 1070 bp | *03:129N |  |
| 61 | 170 bp | 1070 bp | *03:130 |  |
| 62 | 190 bp | 1070 bp | *03:132 |  |
| 6338 | 175 bp, 200 bp | 800 bp | *03:42, 03:123, 03:133 | *02:156, 02:338, 11:16, 11:35, 11:57, 11:73, 30:09, 31:03-31:04, 33:49 |
| 64 | 225 bp | 1070 bp | *03:18, 03:97, 03:122, 03:135 | *02:19, 02:36-02:37, 02:54, 02:255, 23:01:01-23:03:02, 23:05-23:15, 23:17-23:30, 23:32-23:41, 23:44, 23:46-23:54, 24:02:01:01-24:02:04, 24:02:06-24:02:28, 24:02:30-24:02:63, 24:04-24:09N, 24:11N, 24:13:01-24:14, 24:17, 24:19-24:21:02, 24:24-24:32, 24:34-24:40N, 24:42-24:50, 24:52-24:64, 24:66-24:74, 24:76-24:91, 24:93, 24:95-24:117, 24:119-24:124, 24:126-24:131, 24:133-24:137, 24:139-24:166, 24:168-24:203, 24:205-24:206, 24:208-24:209, 24:212-24:214, 24:216-24:218, 24:220-24:222N, 29:03, 31:05, 33:10, 33:19, 68:26, 68:65, 80:01:01:01-80:02 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*03 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*03 subtyping.

In addition, wells number 4, 5, 10, 11, 13, 17, 31, 38, 42, 53, 55 and 63 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-A alleles non-HLA-A*03 alleles will be amplified by primer mixes 1 to 4, 6, 8 to 12, 15, 17, 18, 21 to 26, 28, 29, 31, 33, 35, 46 to 49, 51, 53, 58, 63 and 64. In addition, the C*07:35 and C*08:48 alleles are amplified by primer mix 46 and the C*07:86 allele is amplified by primer mix 48.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mix 2, 3, 17 and 58 may give rise to a lower yield of HLA-specific PCR product than the other A*03 primer mixes.

7Primer mixes 17, 19, 31, 35, 42, 51 and 60 may have tendencies of unspecific amplifications.

8Primer mixes 28, 46 and 57 have a tendency to giving rise to primer oligomer formation.

9Primer mix 9 may give rise to a long unspecific amplification product of approximately 750 bp. This should be disregarded when interpreting the A*03 typings.

10Primer mix 10: Specific PCR fragment of 65 bp in A*03:60 allele. Specific PCR fragment of 205 bp in the A*03:02:01-03:02:03, 03:07, 03:10, 03:31-03:32, 03:42, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:133, 03:160, 01:12, 01:19, 01:21, 02:156, 02:338, 11:31, 11:35, 11:60, 24:92, 30:04:01-30:04:02, 30:06, 30:09, 30:17, 30:29, 30:46, 31:03-31:04 and 33:49 alleles.

11Primer mix 14: Specific PCR fragment of 105 bp in the A*03:11N allele. Specific PCR fragment of 235 bp in the A*03:59 allele.

12Primer mix 18: Specific PCR fragment of 135 bp in the A*03:13 allele. Specific PCR fragment of 210 bp in the A*03:50, 03:64, 03:66, 01:98, 11:08, 11:44, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46 and 36:02 alleles.

13Primer mix 20: Specific PCR fragment of 60 bp in the A*03:61 allele. Specific PCR fragment of 175 bp in the A*03:16 allele.

14Primer mix 21: Specific PCR fragment of 130 bp in the A*03:17:01-03:17:02 and the A*01:88, 02:156, 02:338, 11:119, 24:51, 24:92 and 30:61 alleles. Specific PCR fragment of 155 bp in the A*03:102 allele. Specific PCR fragment of 195 bp in the A*03:74 allele.

15Primer mix 23: Specific PCR fragment of 95 bp in the A*03:22:01-03:22:02 alleles. Specific PCR fragment of 185 bp in the A*03:19 and 03:103 and the A*02:237 alleles. Specific PCR fragment of 210 bp in the A*03:56, 03:88 and 03:99 and the A*1:130 and 36:02 alleles. Specific PCR fragment of 240 bp in the A*03:75 allele. Specific PCR fragment of 95, 185 and 210 bp in the A*32:52 allele. Specific PCR fragments of 185 and 240 bp in the A*24:18, 24:204, 24:213,  allele.

16Primer mix 27: Specific PCR fragment of 95 bp in the A*03:71 allele. Specific PCR fragment of 145 bp in the A*03:25 allele. Specific PCR fragment of 240 bp in the A*03:149 allele.

17Primer mix 30: Specific PCR fragment of 130 bp in the A*03:27 allele. Specific PCR fragment of 155 bp in the A*03:102 allele. Specific PCR fragment of 210 bp in the A*03:49 allele.

18Primer mix 31: Specific PCR fragment of 200 bp in the A*03:56, 03:88, 03:99 and 03:143 and the A*11:130, 32:52 and 36:02 alleles. Specific PCR fragment of 230 bp in the A*03:28 allele.

19Primer mix 32: Specific PCR fragment of 150 bp in the A*03:67 allele. Specific PCR fragment of 220 bp in the A*03:29 allele. Specific PCR fragment of 270 bp in the A*03:91N allele.

20Primer mix 33: Specific PCR fragment of 180 bp in the A*03:93 and the A*32:37 and 80:01w-80:02w alleles. Specific PCR fragment of 210 bp in the A*03:30 and 03:152 and the A*24:104 and 32:05 alleles. Specific PCR fragment of 285 bp in the A*03:62 allele.

21Primer mix 34: Specific PCR fragment of 125 bp in the A*03:58 allele. Specific PCR fragment of 160 bp in the A*03:31 allele.

22Primer mix 35: Specific PCR fragment of 235 bp in the A*03:32 and the A*31:21 and 74:07 alleles. Specific PCR fragment of 275 bp in the A*03:55 allele.

23Primer mix 36: Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 160 bp in the A*03:33 allele. Specific PCR fragment of 210 bp in the A* 03:70 allele.

24Primer mix 37: Specific PCR fragment of 95 bp in the A*03:48 allele. Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 225 bp in the A* 03:34 allele.

25Primer mix 38: Specific PCR fragment of 165 bp in the A*03:35 allele. Specific PCR fragment of 195 bp in the A*03:79 allele. Specific PCR fragment of 250 bp in the A*03:73 allele.

26Primer mix 39: Specific PCR fragment of 200 bp in the A*03:36N allele. Specific PCR fragment of 235 bp in the A*03:45 allele.

27Primer mix 41: Specific PCR fragment of 185 bp in the A* 03:38 allele. Specific PCR fragment of 275 bp in the A*03:68N allele.

28Primer mix 42: Specific PCR fragment of 190 bp in the A*03:143 allele. Specific PCR fragment of 220 bp in the A*03:39 allele.

29Primer mix 43: Specific PCR fragment of 150 bp in the A*03:20 allele. Specific PCR fragment of 260 bp in the A*03:47 and 03:76 alleles.

30Primer mix 44: Specific PCR fragment of 165 bp in the A*03:51 allele. Specific PCR fragment of 195 bp in the A*03:79 allele. Specific PCR fragment of 240 bp in the A*03:40 allele.

31Primer mix 45: Specific PCR fragment of 150 bp in the A*03:43 allele. Specific PCR fragment of 270 bp in the A*03:91N allele.

32Primer mix 46: Specific PCR fragment of 110 bp in A*03:44 and 03:52 and the A*02:164, 02:380 and 31:19 alleles. Specific PCR fragment of 190 bp in A*03:53 and in the A*30:30 and 31:69 and the C*07:35 and C*08:48 alleles.

33Primer mix 48: Specific PCR fragment of 70 bp in the A*03:54 allele. Specific PCR fragment of 110 bp in the A*03:52 and the A*02:380 and 31:19 alleles. Specific PCR fragment of 145 bp in the A*03:46 and in the C*07:86 alleles.

34Primer mix 49: Specific PCR fragment of 195 bp in the A*03:161N allele. Specific PCR fragment of 545 bp in the A*03:78 and 01:45 and the A*11:108 and 66:17 alleles.

35Primer mix 51: Specific PCR fragment of 215 bp in the A*03:50 and the A*30:04:01-30:04:02, 30:06, 30:17, 30:29 and 30:46 alleles. Specific PCR fragment of 285 bp in the A*03:87 and the A*01:101 and 11:30 alleles.

36Primer mix 53: Specific PCR fragment of 225 bp in the A*03:150 and 03:153 alleles. Specific PCR fragment of 260 bp in the A*03:104 and the A*33:49 alleles.

37Primer mix 57: Specific PCR fragment of 180 bp in the A*03:134 allele. Specific PCR fragment of 275 bp in the A*03:118 allele.

38Primer mix 63: Specific PCR fragment of 175 bp in the A*03:123 and the A*02:156, 02:338, 11:16, 11:35, 11:57 and 11:73 alleles. Specific PCR fragment of 200 bp in the A*03:42 and 03:133 and the A*30:09, 31:03-31:04 and 33:49 alleles.

‘w’, may be weakly amplified.

1HLA-A*03 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

2The HLA-A*03 primer set cannot separate the A*03:05:02 and A*30:55 alleles. These alleles can be distinguished by the HLA-A low resolution kit and/or the HLA-A*30 high resolution kit.

3The HLA-A*03 primer set cannot separate the A*03:95 and 74:13 alleles. These alleles can be distinguished by the HLA-A low resolution kit and/or the HLA-A*74 high resolution kit.

4The A*03:16 and A*03:61 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 20.

5The A*03:17:01-03:17:02 and A*03:74 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

6The A*03:20 and A*03:47 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 43.

7The A*03:22:01-03:22:02 and A*03:103 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

8The A*03:25 and A*03:71 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 27.

9The A*03:27 and A*03:49 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 30.

10The A*03:33 and A*03:70 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 36.

11The A*03:38 and A*03:68N alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 41.

12The A*03:44 and A*03:53 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 46.

13The A*03:78 and A*03:161N alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 49.

14The A*03:118 and A*03:134 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 57.

15Primer mix 10: Specific PCR fragment of 65 bp in A*03:60 allele. Specific PCR fragment of 205 bp in the A*03:02:01-03:02:03, 03:07, 03:10, 03:31-03:32, 03:42, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:133, 03:160, 01:12, 01:19, 01:21, 02:156, 02:338, 11:31, 11:35, 11:60, 24:92, 30:04:01-30:04:02, 30:06, 30:09, 30:17, 30:29, 30:46, 31:03-31:04 and 33:49 alleles.

Primer mix 14: Specific PCR fragment of 105 bp in the A*03:11N allele. Specific PCR fragment of 235 bp in the A*03:59 allele.

Primer mix 18: Specific PCR fragment of 135 bp in the A*03:13 allele. Specific PCR fragment of 210 bp in the A*03:50, 03:64, 03:66, 01:98, 11:08, 11:44, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46 and 36:02 alleles.

Primer mix 20: Specific PCR fragment of 60 bp in the A*03:61 allele. Specific PCR fragment of 175 bp in the A*03:16 allele.

Primer mix 21: Specific PCR fragment of 130 bp in the A*03:17:01-03:17:02 and the A*01:88, 02:156, 02:338, 11:119, 24:51, 24:92 and 30:61 alleles. Specific PCR fragment of 155 bp in the A*03:102 allele. Specific PCR fragment of 195 bp in the A*03:74 allele.

Primer mix 23: Specific PCR fragment of 95 bp in the A*03:22:01-03:22:02 alleles. Specific PCR fragment of 185 bp in the A*03:19 and 03:103 and the A*02:237 alleles. Specific PCR fragment of 210 bp in the A*03:56, 03:88 and 03:99 and the A*1:130 and 36:02 alleles. Specific PCR fragment of 240 bp in the A*03:75 allele. Specific PCR fragment of 95, 185 and 210 bp in the A*32:52 allele. Specific PCR fragments of 185 and 240 bp in the A*24:18, 24:204, 24:213,  allele.

Primer mix 27: Specific PCR fragment of 95 bp in the A*03:71 allele. Specific PCR fragment of 145 bp in the A*03:25 allele. Specific PCR fragment of 240 bp in the A*03:149 allele.

Primer mix 30: Specific PCR fragment of 130 bp in the A*03:27 allele. Specific PCR fragment of 155 bp in the A*03:102 allele. Specific PCR fragment of 210 bp in the A*03:49 allele.

Primer mix 31: Specific PCR fragment of 200 bp in the A*03:56, 03:88, 03:99 and 03:143 and the A*11:130, 32:52 and 36:02 alleles. Specific PCR fragment of 230 bp in the A*03:28 allele.

Primer mix 32: Specific PCR fragment of 150 bp in the A*03:67 allele. Specific PCR fragment of 220 bp in the A*03:29 allele. Specific PCR fragment of 270 bp in the A*03:91N allele.

Primer mix 33: Specific PCR fragment of 180 bp in the A*03:93 and the A*32:37 and 80:01w-80:02w alleles. Specific PCR fragment of 210 bp in the A*03:30 and 03:152 and the A*24:104 and 32:05 alleles. Specific PCR fragment of 285 bp in the A*03:62 allele.

Primer mix 34: Specific PCR fragment of 125 bp in the A*03:58 allele. Specific PCR fragment of 160 bp in the A*03:31 allele.

Primer mix 35: Specific PCR fragment of 235 bp in the A*03:32 and the A*31:21 and 74:07 alleles. Specific PCR fragment of 275 bp in the A*03:55 allele.

Primer mix 36: Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 160 bp in the A*03:33 allele. Specific PCR fragment of 210 bp in the A* 03:70 allele.

Primer mix 37: Specific PCR fragment of 95 bp in the A*03:48 allele. Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 225 bp in the A* 03:34 allele.

Primer mix 38: Specific PCR fragment of 165 bp in the A*03:35 allele. Specific PCR fragment of 195 bp in the A*03:79 allele. Specific PCR fragment of 250 bp in the A*03:73 allele.

Primer mix 39: Specific PCR fragment of 200 bp in the A*03:36N allele. Specific PCR fragment of 235 bp in the A*03:45 allele.

Primer mix 41: Specific PCR fragment of 185 bp in the A* 03:38 allele. Specific PCR fragment of 275 bp in the A*03:68N allele.

Primer mix 42: Specific PCR fragment of 190 bp in the A*03:143 allele. Specific PCR fragment of 220 bp in the A*03:39 allele.

Primer mix 43: Specific PCR fragment of 150 bp in the A*03:20 allele. Specific PCR fragment of 260 bp in the A*03:47 and 03:76 alleles.

Primer mix 44: Specific PCR fragment of 165 bp in the A*03:51 allele. Specific PCR fragment of 195 bp in the A*03:79 allele. Specific PCR fragment of 240 bp in the A*03:40 allele.

Primer mix 45: Specific PCR fragment of 150 bp in the A*03:43 allele. Specific PCR fragment of 270 bp in the A*03:91N allele.

Primer mix 46: Specific PCR fragment of 110 bp in A*03:44 and 03:52 and the A*02:164, 02:380 and 31:19 alleles. Specific PCR fragment of 190 bp in A*03:53 and in the A*30:30 and 31:69 and the C*07:35 and C*08:48 alleles.

Primer mix 48: Specific PCR fragment of 70 bp in the A*03:54 allele. Specific PCR fragment of 110 bp in the A*03:52 and the A*02:380 and 31:19 alleles. Specific PCR fragment of 145 bp in the A*03:46 and in the C*07:86 alleles.

Primer mix 49: Specific PCR fragment of 195 bp in the A*03:161N allele. Specific PCR fragment of 545 bp in the A*03:78 and 01:45 and the A*11:108 and 66:17 alleles.

Primer mix 51: Specific PCR fragment of 215 bp in the A*03:50 and the A*30:04:01-30:04:02, 30:06, 30:17, 30:29 and 30:46 alleles. Specific PCR fragment of 285 bp in the A*03:87 and the A*01:101 and 11:30 alleles.

Primer mix 53: Specific PCR fragment of 225 bp in the A*03:150 and 03:153 alleles. Specific PCR fragment of 260 bp in the A*03:104 and the A*33:49 alleles.

Primer mix 57: Specific PCR fragment of 180 bp in the A*03:134 allele. Specific PCR fragment of 275 bp in the A*03:118 allele.

Primer mix 63: Specific PCR fragment of 175 bp in the A*03:123 and the A*02:156, 02:338, 11:16, 11:35, 11:57 and 11:73 alleles. Specific PCR fragment of 200 bp in the A*03:42 and 03:133 and the A*30:09, 31:03-31:04 and 33:49 alleles.

16This lot of the HLA-A*03 subtyping kit cannot distinguish the A*03:26 and the A*03:01:01:01, 03:01:01:03, 03:01:03-03:01:05, 03:01:07, 03:01:09-03:01:11, 03:01:13, 03:01:15-03:01:22, 03:01:24-03:01:29 and 03:01:31-03:01:38 alleles.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 28 does not amplify the A*03:26 and the A*11:77 and 11:126 alleles. Thus, this lot of the HLA-A*03 subtyping kit cannot distinguish the A*03:26 and the A*03:01:01:01, 03:01:01:03, 03:01:03-03:01:05, 03:01:07, 03:01:09-03:01:11, 03:01:13, 03:01:15-03:01:22, 03:01:24-03:01:29 and 03:01:31-03:01:38 alleles.

Change in revision R02 compared to R01:

- Primer mixes 53 and 58 do not amplify the A*01:14, 36:01 and 36:05 alleles. This has been corrected in the Specificity and Interpretation Tables.