Gel Documentation Form and Worksheet

HLA-A*03 (101.413-24/04, -24u/04u) 	Lot No: 14Y	Expiry Date: 2017-October-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 2, 3, 17, 18, 47, 51 and 58 may give rise to a lower yield of HLA-specific PCR product than the other A*03 primer mixes.

Primer mixes 17, 19, 31, 42, 51 and 60 may have tendencies of unspecific amplifications.

Primer mixes 28, 46, 48 and 57 have a tendency to giving rise to primer oligomer formation.

Primer mix 9 may give rise to a long unspecific amplification product of approximately 750 bp. This should be disregarded when interpreting the A*03 typings.

Primer mix 64 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*03 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 10: Specific PCR fragment of 65 bp in A*03:60 allele. Specific PCR fragment of 205 bp in the A*03:02:01-03:02:04, 03:07, 03:10, 03:31-03:32, 03:42, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:133, 03:160, 03:171 and 03:198 and the A*01:12, 01:19, 01:21, 01:126, 02:156, 02:338, 11:31, 11:35, 11:60, 11:158, 11:183, 11:209, 24:92, 30:04:01-30:04:02, 30:06, 30:09, 30:17, 30:29, 30:46, 30:77, 30:90, 31:03-31:04, 33:49, 68:103:01-68:103:02 and 74:23 alleles.

Primer mix 14: Specific PCR fragment of 105 bp in the A*03:11N allele. Specific PCR fragment of 235 bp in the A*03:59 allele.

Primer mix 18: Specific PCR fragment of 135 bp in the A*03:13 allele. Specific PCR fragment of 215 bp in the A*03:50, 03:64, 03:66 and 03:200Q and the A*01:98, 11:08, 11:44, 11:183, 11:191, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46, 30:77, 30:90, 36:02 and 68:103:01-68:103:02 alleles.

Primer mix 20: Specific PCR fragment of 60 bp in the A*03:61 allele. Specific PCR fragment of 185 bp in the A*03:16 and 03:79 alleles.

Primer mix 21: Specific PCR fragment of 140 bp in the A*03:17:01-03:17:02, 03:102 and 03:171 and the A*01:88, 02:156, 02:338, 11:119:01-11:119:02, 11:209, 24:51, 24:92, 30:61, 30:74 and 68:103:01-68:103:02 alleles. Specific PCR fragment of 195 bp in the A*03:74 allele.

Primer mix 22: Specific PCR fragment of 90 bp in the A*03:191 and the A*11:59 alleles. Specific PCR fragment of 250 bp in the A*03:18, 03:97, 03:122, 03:135 and 03:167 and the A*01:01:01:01-01:01:65, 01:01:67-01:02, 01:04N, 01:06-01:19, 01:21-01:33, 01:35-01:62, 01:64-01:65, 01:67:01-01:71, 01:74-01:101, 01:103-01:129, 01:131-01:166, 01:168-01:170, 11:27, 11:38-11:39, 11:94, 11:209, 24:51, 24:92, 30:75 and 80:01:01:01-80:03 alleles.

Primer mix 23: Specific PCR fragment of 95 bp in the A*03:22:01-03:22:02 alleles. Specific PCR fragment of 185 bp in the A*03:19 and 03:103 and the A*02:237 alleles. Specific PCR fragment of 210 bp in the A*03:56, 03:88, 03:99, 03:177 and 03:186 and the A*11:130 and 36:02 alleles. Specific PCR fragment of 240 bp in the A*03:75 allele. Specific PCR fragment of 95, 185 and 210 bp in the A*32:52 allele. Specific PCR fragments of 185 and 240 bp in the A*24:18, 24:204 and 24:213 alleles.

Primer mix 27: Specific PCR fragment of 95 bp in the A*03:71 allele. Specific PCR fragment of 145 bp in the A*03:25 allele. Specific PCR fragment of 240 bp in the A*03:149 allele.

Primer mix 30: Specific PCR fragment of 140 bp in the A*03:27 and 03:102 and the A*01:157 alleles. Specific PCR fragment of 210 bp in the A*03:49, 03:139 and 03:194 alleles.

Primer mix 31: Specific PCR fragment of 190 bp in the A*03:143 allele. Specific PCR fragment of 220 bp in the A*03:28, 03:56, 03:88, 03:99, 03:177 and 03:186 and the A*11:130, 32:52 and 36:02 alleles.

Primer mix 32: Specific PCR fragment of 150 bp in the A*03:67 allele. Specific PCR fragment of 220 bp in the A*03:29 allele. Specific PCR fragment of 270 bp in the A*03:91N allele.

Primer mix 33: Specific PCR fragment of 180 bp in the A*03:93 and the A*32:37 and 80:01:01:01w-80:03w alleles. Specific PCR fragment of 210 bp in the A*03:30 and 03:152 and the A*23:64, 24:104 and 32:05 alleles. Specific PCR fragment of 285 bp in the A*03:62 and A*01:144 alleles.

Primer mix 34: Specific PCR fragment of 125 bp in the A*03:58 allele. Specific PCR fragment of 160 bp in the A*03:31 allele.

Primer mix 35: Specific PCR fragment of 235 bp in the A*03:32 and the A*31:21 and 74:07 alleles. Specific PCR fragment of 275 bp in the A*03:55 allele.

Primer mix 36: Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 160 bp in the A*03:33 allele. Specific PCR fragment of 210 bp in the A*03:70 allele.

Primer mix 37: Specific PCR fragment of 95 bp in the A*03:48 and 03:168N and the A*02:525N allele. Specific PCR fragment of 120 bp in the A*03:81 allele. Specific PCR fragment of 225 bp in the A*03:34 allele.

Primer mix 38: Specific PCR fragment of 170 bp in the A*03:35 and 03:130 alleles. Specific PCR fragment of 195 bp in the A*03:79 and 03:192N alleles. Specific PCR fragment of 250 bp in the A*03:73 and the A*01:167 alleles.

Primer mix 39: Specific PCR fragment of 200 bp in the A*03:36N and 03:182 and the A*01:109, 11:100 and 11:175 alleles. Specific PCR fragment of 235 bp in the A*03:45 and the A*30:77 alleles.

Primer mix 41: Specific PCR fragment of 185 bp in the A* 03:38 and 03:192N alleles. Specific PCR fragment of 275 bp in the A*03:68N allele.

Primer mix 42: Specific PCR fragment of 190 bp in the A*03:143 allele. Specific PCR fragment of 220 bp in the A*03:39 allele. Specific PCR fragment of 245 bp in the A*03:84 alleles.

Primer mix 43: Specific PCR fragment of 150 bp in the A*03:20 allele. Specific PCR fragment of 260 bp in the A*03:47 and 03:76 alleles.

Primer mix 44: Specific PCR fragment of 170 bp in the A*03:51 and 03:130 alleles. Specific PCR fragment of 240 bp in the A*03:40 allele.

Primer mix 45: Specific PCR fragment of 150 bp in the A*03:43 and 03:186 and the A*30:89 alleles. Specific PCR fragment of 270 bp in the A*03:91N allele.

Primer mix 46: Specific PCR fragment of 110 bp in A*03:44:01-03:44:02 and 03:52 and the A*02:164, 02:380, 30:69 and 31:19 alleles. Specific PCR fragment of 190 bp in A*03:53 and the A*30:30 and 31:69 and the C*07:35, C*07:352 and C*08:48 alleles.

Primer mix 48: Specific PCR fragment of 70 bp in the A*03:54 allele. Specific PCR fragment of 110 bp in the A*03:52 and the A*02:380 and 31:19 alleles. Specific PCR fragment of 145 bp in the A*03:46 and in the C*07:86 alleles. Specific PCR fragment of 190 bp in the A*03:197N and the A*02:314N and 32:48N and in the C*07:55N alleles.

Primer mix 49: Specific PCR fragment of 195 bp in the A*03:161N allele. Specific PCR fragment of 545 bp in the A*03:78 and the A*01:45, 02:453, 11:108, 24:271 and 66:17 alleles.

Primer mix 51: Specific PCR fragment of 215 bp in the A*03:50 and the A*11:183, 11:191, 30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46, 30:77, 30:90 and 68:103:01-68:103:02 alleles. Specific PCR fragment of 285 bp in the A*03:87 and the A*01:101, 11:30 and 30:92 alleles.

Primer mix 52: Specific PCR fragment of 90 bp in the A*03:96 and 03:168N alleles. Specific PCR fragment of 215 bp in the A*03:152, 03:172, 03:176 and 03:198 and the A*01:83:01-01:83:02, 02:01:02, 02:50, 23:64, 24:104, 32:05, 32:31, 74:04 and 74:21 alleles.

Primer mix 53: Specific PCR fragment of 225 bp in the A*03:150 and 03:153 alleles. Specific PCR fragment of 260 bp in the A*03:104 and the A*33:49 alleles.

Primer mix 57: Specific PCR fragment of 180 bp in the A*03:134 allele. Specific PCR fragment of 275 bp in the A*03:118 allele.

Primer mix 58: Specific PCR fragment of 205 bp in the A*03:127 and the 01:06 and 11:24:02 alleles. Specific PCR fragment of 225 bp in the A*03:150, 03:153 and 03:200Q alleles.

Primer mix 59: Specific PCR fragment of 105 bp in the A*03:144 allele. Specific PCR fragment of 240 bp in the A*03:128 and 03:178N allele.

Primer mix 62: Specific PCR fragment of 190 bp in the A*03:132 and 03:197N and the A*02:314N and 32:48N and in the C*07:55N allele. Specific PCR fragment of 375 bp in the A*03:162N allele.

Primer mix 63: Specific PCR fragment of 175 bp in the A*03:123:01-03:123:02 and 03:171 and the A*02:156, 02:338, 11:16, 11:35, 11:57, 11:73, 11:158 and 68:103:01-68:103:02 alleles. Specific PCR fragment of 205 bp in the A*03:42, 03:133 and 03:139 and the A*30:09, 31:03-31:04, 33:49 and 74:23 alleles.

4The HLA-A*03 primer set cannot separate the A*03:05:02 and A*30:55 alleles. These alleles can be distinguished by the HLA-A low resolution kit and/or the HLA-A*30 high resolution kit.

The HLA-A*03 primer set cannot separate the A*03:95, 03:204 and A*74:13 alleles. These alleles can be distinguished by the HLA-A low resolution kit and/or the HLA-A*74 high resolution kit.

5The following HLA-A*03 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*03:16, 03:61 | 20 | A*03:38, 03:68N | 41 |
| A*03:17:01-03:17:02, 03:74 | 21 | A*03:44:01-03:44:02, 03:53 | 46 |
| A*03:20, 03:47 | 43 | A*03:78, 03:161N | 49 |
| A*03:22:01-03:22:02, 03:103 | 23 | A*03:118, 03:134 | 57 |
| A*03:25, 03:71 | 27 | A*03:128, 03:144 | 59 |
| A*03:27, 03:49 | 30 | A*03:132, 03:162N | 62 |
| A*03:33, 03:70 | 36 |

The HLA-A*03 subtyping kit cannot distinguish following silent mutations: the A*03:01:01:01, 03:01:01:03, 03:01:03-03:01:05, 03:01:07, 03:01:09-03:01:11, 03:01:13, 03:01:15-03:01:22, 03:01:24-03:01:29 03:01:31-03:01:46, 03:01:49, 03:01:51 and 03:01:53 alleles, the A*03:01:02, 03:01:06, 03:01:14, 03:01:47 and 03:01:52 alleles, the A*03:01:12 and 03:01:23 alleles, the A*03:01:30, 03:01:48 and 03:01:50 alleles, the A*03:02:01-03:02:04  alleles, the *03:04:01-03:04:03 alleles, the *03:17:01-03:17:02 alleles, the A*03:22:01-03:22:02 alleles, the A*03:23:01-03:23:02 alleles, the A*03:44:01-03:44:02 and the A*03:123:01-03:123:02 alleles.

6This lot of the HLA-A*03 subtyping kit cannot distinguish the A*03:01:01:01, 03:01:01:03-03:01:01:05, 03:01:03-03:01:05, 03:01:07, 03:01:09-03:01:11, 03:01:13, 03:01:15-03:01:22, 03:01:24-03:01:29, 03:01:31-03:01:46, 03:01:49, 03:01:51, 03:01:53-03:01:56, 03:77, 03:80, 03:83, 03:85, 03:92, 03:94, 03:100-03:101, 03:110, 03:114-03:117, 03:119-03:121, 03:124-03:126, 03:131, 03:136-03:138, 03:141, 03:145-03:148, 03:151, 03:154-03:157:01, 03:158-03:159, 03:163-03:164, 03:166, 03:169-03:170, 03:174-03:175, 03:181, 03:183-03:185, 03:188-03:190, 03:193, 03:195, 03:201, 03:206-03:207, 03:209-03:210, 03:212, 03:214, 03:216-03:217, 03:222, 03:224, 03:226-03:228, 03:230, 03:232-03:233 alleles and the A*03:26 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 28 does not amplify the A*03:26 and the A*11:77 and 11:126 alleles. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-A*03 subtyping kit cannot distinguish the A*03:01:01:01, 03:01:01:03, 03:01:03-03:01:05, 03:01:07, 03:01:09-03:01:11, 03:01:13, 03:01:15-03:01:22, 03:01:24-03:01:29, 03:01:31-03:01:46, 03:01:49, 03:01:51, 03:01:53, 03:77, 03:80, 03:83, 03:85, 03:92, 03:94, 03:100-03:101, 03:110, 03:114-03:117, 03:119-03:121, 03:124-03:126, 03:131, 03:136-03:138, 03:141, 03:145-03:148, 03:151, 03:154-03:157:01, 03:158-03:159, 03:163-03:164, 03:166, 03:169-03:170, 03:174-03:175, 03:181, 03:183-03:185, 03:188-03:190, 03:193, 03:195, 03:201-03:202, 03:206-03:207and 03:209 alleles and the A*03:26 allele.

Change in revision R02 compared to R01:

- Primer mix 11 does not amplify the A*80:03 allele. This has been corrected in the Specificity and Interpretation Tables.