PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-A*31

Prod. No:	101.430-12 – including Taq polymerase

101.430-12u – without Taq polymerase

Lot No:    	Y30

Expiry Date:    	2009-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 21 primer mixes used for HLA-A*31 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*31 alleles | Other amplified HLA-A alleles3 |
| --- | --- | --- | --- | --- |
| 14 | 150 bp | 800 bp | 310102-3107, 3109-3121 | 0107, 2619, 2914, 3012, 3018 |
| 2 | 215 bp | 800 bp | 3102, 3107, 3108 | 2482, 3308 |
| 3 | 155 bp | 800 bp | 3103, 3104 | 3402-3404, 3406-3408, 6606 |
| 4 | 165 bp | 1070 bp | 3103, 3104, 3106 | 0106, 9214, 0305, 1124, 1125, 1131, 29010101-2904, 2906-2917, 3402-3404, 3407, 3408, 6808, 8001 |
| 5 | 285 bp | 1070 bp | 3103 | 3313 |
| 65 | 165 bp | 800 bp | 3105 | 2303, 2903, 3213, 3310 |
| 7 | 500 bp | 1070 bp | 3107, 3108, 3110 | 0281, 0287, 922, 9224, 9229, 2301, 2303-2313, 2315, 2316, 241301, 2424, 2913, 320101-320103, 3203, 3205-3209, 3211Q-3215 |
| 8 | 220 bp | 1070 bp | 3109 |  |
| 96 | 75 bp | 1070 bp | 310102-3102, 3105, 3107-3121 | 0265, 2303, 320101-3203, 3205-3215, 3301, 330301-3313, 7401-7412N |
| 10 | 160 bp | 1070 bp | 3111 |  |
| 11 | 215 bp | 1070 bp | 3112 |  |
| 12 | 245 bp | 1070 bp | 310102-3106, 3109, 3111-3120 | 3301, 330301-3312, 6829 |
| 136 | 85 bp | 1070 bp | 3113 |  |
| 14 | 470 bp | 800 bp | 3114N |  |
| 15 | 225 bp | 1070 bp | 3115 |  |
| 16 | 165 bp | 1070 bp | 3116 |  |
| 17 | 235 bp | 1070 bp | 3117 |  |
| 18 | 170 bp | 1070 bp | 3118 |  |
| 196 | 110 bp | 1070 bp | 3119 |  |
| 20 | 325 bp | 1070 bp | 3120 |  |
| 21 | 180 bp | 1070 bp | 3121 | 0107 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*31 SSP subtypings.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*31 subtyping.

In addition, tubes number 2, 3 and 6 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3Due to the sharing of sequence motifs between HLA-A alleles non-HLA-A*31 alleles will be amplified by primer mixes 1 to 7, 9, 12 and 21.

4Primer mix 1 have a tendency of giving rise to a primer oligomer artefact.

5Primer mix 6 may give rise to nonspecific amplifications.

6Short specific PCR fragments are less intense and not as sharp as longer specific bands.

1The sequence of the A*310101 allele has been shown to be identical to A*310102.

Changes in revision R01 compared to R00:

- Typing mistake in the Specificity Table for primer mix 16 corrected. A*3116 is amplified not A*3316.

Changes in revision R02 compared to R01:

- Specificity Table: The A*3115 allele is amplified by primer mix 15 not A*3116.

Changes in revision R03 compared to R02:

1.    Length of internal positive control in lane 14 corrected to 800 bp.