Gel Documentation Form and Worksheet

HLA-A*31 (101.430-12/12u)	Lot No: 1D7	Expiry Date: 2018-May-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 10, 25 and 30 may have tendencies of unspecific amplifications.

Primer mixes 4 and 7 may weakly amplify the A*34:01 allele.

Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A*31 primer mixes

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*31 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 2: Specific PCR product of 80 bp in the A*31:67-31:68 and the A*02:41, 02:80, 02:117, 02:289:01, 02:304, 02:454, 23:45, 24:62, 26:10, 32:28, 32:66 and 33:32:01 alleles. Specific PCR product of 215 bp in the A*31:02, 31:07-31:08 and 31:91 and the A*02:243:01-02:243:02, 24:82, 29:48, 33:08 and 33:53 alleles.

Primer mix 5: Specific PCR product of 120 bp in the A*31:26 and 31:38 and the A*03:184 and 32:36 alleles. Specific PCR product of 285 bp in the A*31:03 and the A*01:143, 11:43, 29:66 and 33:13 alleles.

Primer mix 6: Specific PCR product of 130 bp in the A*31:39 and *31:54 and the A*33:07 alleles. Specific PCR product of 165 bp in the A*31:05 and in the A*23:03:01, 24:21:03, 24:208, 29:03, 29:33, 32:13 and 33:10 alleles.

Primer mix 8: Specific PCR product of 155 bp in the A*31:24 and 31:27 and the A*11:01:28, 29:67 and 33:61 alleles. Specific PCR product of 220 bp in the A*31:09 allele.

Primer mix 10: Specific PCR product of 115 bp in the A*31:41 and the A*02:24:02, 02:507, 24:21:03, 24:208, 29:33, 29:51, 29:80, 32:02, 32:06 and 33:94 alleles. Specific PCR product of 160 bp in the A*31:11 and 31:56 alleles.

Primer mix 11: Specific PCR product of 135 bp in the A*31:26 and the A*03:184 and 32:36 allele. Specific PCR product of 210 bp in the A*31:12 and 31:60N and the A*02:490N, 02:526 and 02:516N alleles.

Primer mix 14: Specific PCR product of 150 bp in the A*31:24 and the A*11:01:28, 29:67 and 33:61 alleles. Specific PCR product of 220 bp in the A*31:14N allele.

Primer mix 15: Specific PCR product of 150 bp in the A*31:25 and the A*32:26 alleles. Specific PCR product of 225 bp in the A*31:15 allele.

Primer mix 16: Specific PCR product of 80 bp in the A*31:46 allele. Specific PCR product of 165 bp in the A*31:16 and the A*29:12 and 33:58 alleles.

Primer mix 17: Specific PCR product of 160 bp in the A*31:25 and 31:40 and the A*32:26 allele. Specific PCR product of 235 bp in the A*31:17 allele.

Primer mix 18: Specific PCR product of 155 bp in the A*31:43 and 31:62 and the A*02:408 alleles. Specific PCR product of 200 bp in the A*31:18 and the A*23:43 alleles.

Primer mix 19: Specific PCR product of 110 bp in the A*31:19 and the A*02:380 and 03:52 alleles. Specific PCR product of 185 bp in the A*31:72 allele.

Primer mix 21: Specific PCR product of 75 bp in the A*31:35 and the A*01:07 alleles. Specific PCR product of 155 bp in the A*31:43 and 31:62 and the A*02:408 alleles. Specific PCR product of 180 bp in the A*31:21 and the A*01:07, 02:185 and 30:55 alleles. Specific PCR product of 215 bp in the A*31:01:02:03N allele.

Primer mix 22: Specific PCR product of 80 bp in the A*31:71 and the A*02:327 alleles. Specific PCR product of 155 bp in the A*31:27 and 31:55 alleles. Specific PCR product of 190 bp in the A*31:22 allele.

Primer mix 23: Specific PCR product of 80 bp in the A*31:71 and 02:327 alleles. Specific PCR product of 165 bp in the A*31:40 allele. Specific PCR product of 200 bp in the A*31:23 allele.

Primer mix 24: Specific PCR product of 150 bp in the A*31:55 allele. Specific PCR product of 180 bp in the A*31:81 and the 02:104 alleles. Specific PCR product of 220 bp in the A*31:28, 31:89 and the A*03:205, 11:43 and 68:29 alleles.

Primer mix 25: Specific PCR product of 135 bp in the A*31:29 and the A*02:507, 23:03:01, 24:21:03, 24:208 and 29:07 and in the B*07:02:40 and B*15:17:03 alleles. Specific PCR product of 165 bp in the A*31:56 alleles. Specific PCR product of 245 bp in the A*31:59 allele.

Primer mix 26: Specific PCR product of 130 bp in the A*31:30, 31:39 and 31:97 and the A*02:507, 29:28, 29:79, 32:10 and 33:94 and in the B*07:02:40, C*02:02:15 and C*04:175 alleles. Specific PCR product of 185 bp in the A*31:72 allele.

Primer mix 27: Specific PCR product of 85 bp in the A*31:31 and 31:67-31:68 and the A*02:41, 02:80, 02:117, 02:289:01, 02:304, 02:454, 23:45, 24:62, 26:10, 32:28, 32:66 and 33:32:01 alleles. Specific PCR product of 500 bp in the A*02:72 and 02:275 alleles.

Primer mix 28: Specific PCR product of 110 bp in the A*31:38 allele. Specific PCR product of 175 bp in the A*31:32 allele. Specific PCR product of 205 bp in the A*31:60N and the A*02:490N and 02:516N alleles.

Primer mix 29: Specific PCR product of 115 bp in the A*31:48 and the A*02:140, 26:99 and 33:15 alleles. Specific PCR product of 180 bp in the A*31:44 and 31:81 and the A*02:104 alleles. Specific PCR product of 275 bp in the A*31:36 allele.

Primer mix 30: Specific PCR product of 160 bp in the A*31:34 allele. Specific PCR product of 185 bp in the A*31:87 allele. Specific PCR product of 245 bp in the A*31:33 allele.

Primer mix 31: Specific PCR product of 75 bp in the A*31:37 allele. Specific PCR product of 120 bp in the A*31:41 and 31:54 and the A*02:24:02, 02:507, 24:21:03, 24:208, 29:33, 29:51, 29:80, 32:02, 32:06, 33:07 and 33:94 alleles.

4The A*31:44 and the A*33:15 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 29.

5The following HLA-A*31 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*31:01:02:03N, 31:35 | 21 | A*31:29, 31:59 | 25 |
| A*31:16, 31:46 | 16 | A*31:36, 31:48 | 29 |

The HLA-A*31 subtyping kit cannot distinguish the silent mutations in the A*31:01:02:01-31:01:02:02 and 31:01:03-31:01:24 alleles.