Gel Documentation Form and Worksheet

HLA-A*33 (101.432-12/12u)	Lot No: 5D2	Expiry Date: 2018-07-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 11, 13, 25 and 27 may have tendencies of unspecific amplifications.

Primer mixes 10 and 15 have a tendency to giving rise to primer oligomer formation.

Primer mixes 9 and 10 may give rise to a long unspecific amplification product of approximately 640bp. This should be disregarded when interpreting the HLA-A*33 typings.

Primer mix 3 may give rise to a lower yield of HLA-specific PCR product than the other A*33 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*33 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.22.0, October 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 6: Specific PCR fragment of 105 bp in the A*33:20 and in the A*31:94 alleles. Specific PCR fragment of 170 bp in the A*33:05 and 33:58 and the A*29:12 alleles.

Primer mix 7: Specific PCR fragment of 75 bp in the A*33:21 and 33:53 alleles. Specific PCR fragment of 105 bp in the A*33:06 allele. Specific PCR fragment of 230 bp in the A*33:51 and the A*11:98, 66:15 and 68:04 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the A*33:07 and the A*02:444 and 31:54 alleles. Specific PCR fragment of 235 bp in the A*33:24 and the A*02:243:01-02:243:02, 29:19 and 29:48 alleles.

Primer mix 9: Specific PCR fragment of 150 bp in the A*33:14, 33:22 and 33:58 and the A*01:20, 01:66, 01:130, 02:24:01-02:24:02, 02:137, 02:309, 02:503, 03:95, 26:22, 29:12, 29:22, 30:47, 31:99 and 66:09 and in the C*02:74 alleles. Specific PCR fragment of 185 bp in the A*33:08 and 33:09 and the A*02:243:01-02:243:02 and 29:48 alleles.

Primer mix 10: Specific PCR fragment of 135 bp in the A*33:22 and A*02:24:02, 29:22 and 31:99 alleles. Specific PCR fragment of 215 bp in the A*33:08 and 33:53 and the A*02:243:01-02:243:02 and 24:82, 29:48, 31:02, 31:07-31:08 and 31:91 alleles. Specific PCR fragment of 285 bp in the A*33:13 and the A*01:143, 11:43, 29:66 and 31:03 and in the C*07:449 alleles.

Primer mix 12: Specific PCR fragment of 105 bp in the A*33:36 and 33:80N and the A*11:137N and 26:60N alleles. Specific PCR fragment of 235 bp in the A*33:11 and the A*03:205, 11:43, 31:66, 31:89 and 68:29 alleles.

Primer mix 13: Specific PCR fragment of 95 bp in the A*33:12 allele. Specific PCR fragment of 165 bp in the A*33:25 allele.

Primer mix 14: Specific PCR fragment of 120 bp in the A*33:15 and 33:84 and the A*02:140, 26:99 and 31:48 alleles. Specific PCR fragment of 335 bp in the A*33:19 and the A*02:10, 02:17:01-02:17:03, 02:39, 02:108, 02:110, 02:148, 02:242, 02:244, 02:268, 02:300, 02:303, 02:398, 02:453, 03:15, 03:19, 11:139, 24:04, 24:19, 24:28, 24:44, 24:89, 24:109, 24:129, 24:290, 29:07, 29:49 and 31:29 alleles.

Primer mix 15: Specific PCR fragment of 140 bp in the A*33:16 and 33:23 alleles. Specific PCR fragment of 215 bp in the A*33:65 alleles. Specific PCR fragment of 255 bp in the A*33:64 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the A*33:36 allele. Specific PCR fragment of 210 bp in the A*33:21 allele. Specific PCR fragment of 245 bp in the A*33:17 allele.

Primer mix 17: Specific PCR fragment of 145 bp in the A*33:18:01-33:18:02 and 33:26 and the A*03:42, 03:133, 23:53, 29:01:01:01-29:04, 29:06-29:31, 29:34, 29:36-29:50, 29:52-29:70, 29:72-29:76, 29:78N, 29:81, 31:03-31:04, 31:06, 32:30 and 32:32 alleles. Specific PCR fragment of 215 bp in the A*33:65 allele.

Primer mix 18: Specific PCR fragment of 100 bp in the A*33:27 allele. Specific PCR fragment of 145 bp in the A*33:57 allele. Specific PCR fragment of 240 bp in the A*33:82 allele.

Primer mix 20: Specific PCR fragment of 90 bp in the A*33:29 allele. Specific PCR fragment of 225 bp in the A*33:39 and the A*02:480 and 32:53 alleles.

Primer mix 21: Specific PCR fragment of 115 bp in the A*33:30 and the A*02:342 alleles. Specific PCR fragment of 245 bp in the A*33:73N and 33:82 alleles.

Primer mix 22: Specific PCR fragment of 120 bp in the A*33:31 and 33:84 and the A*02:241 and 26:24 alleles. Specific PCR fragment of 255 bp in the A*33:44 alleles.

Primer mix 24: Specific PCR fragment of 95 bp in the A*33:34 and the A*03:01:18, 11:01:28, 24:21:03, 24:208, 29:09, 29:33, 31:24 and 32:33:01 alleles. Specific PCR fragment of 205 bp in the A*33:54 and the A*29:59 alleles.

Primer mix 26: Specific PCR fragment of 150 bp in the A*33:77 allele. Specific PCR fragment of 190 bp in the A*33:74N allele.

Primer mix 27: Specific PCR fragment of 190 bp in the A*33:74N allele. Specific PCR fragment of 205 bp in the A*33:85 and 33:92 alleles.

Primer mix 30: Specific PCR fragment of 120 bp in the A*33:03:03Q and the A*01:01:38L and 24:02:03Q alleles. Specific PCR fragment of 260 bp in the A*33:86 and the A*32:51 alleles.

Primer mix 31: Specific PCR fragment of 155 bp in the A*33:96N and the A*01:52:01N and 26:107N alleles. Specific PCR fragment of 220 bp in the A*33:90 and the A*01:84 and 02:214 alleles.

4The A*33:09 and the A*02:309, 26:22 and 66:09 alleles, the A*33:51 and A*66:15 alleles give rise to identical amplification patterns with the HLA-A*33 subtyping kit. These alleles can be distinguished by e.g. the HLA-A low resolution kit and/or the HLA-A*02, HLA-A*26 and HLA-A*66 subtyping kits.

5The following HLA-A*33 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*33:03:03Q, 33:86 | 30 | A*33:29, 33:39 | 20 |
| A*33:08, 31:99 | 10 | A*33:30, 33:73N | 21 |
| A*33:11, 33:80N | 12 | A*33:31, 33:44 | 22 |
| A*33:16, 33:64 | 15 |  |  |

The HLA-A*33 subtyping kit cannot distinguish the following silent mutations: the A*33:01:01-33:01:08 alleles, the A*33:03:01-33:03:02 and 33:03:04-33:03:30 alleles, the 33:18:01-33:18:02 alleles or the A*33:32:01-33:32:02 alleles.