Gel Documentation Form and Worksheet

HLA-A*34 (101.425-06/06u) 	Lot No: 87Y	Expiry Date: 2018-March-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 4 may have tendencies of unspecific amplification.

Primer mix 12 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*34 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 140 bp in the A*34:06 and the A*26:18, 26:112w and 31:03-31:04 alleles. Specific PCR fragment of 215 bp in the A*34:07 and the A*11:96 alleles.

Primer mix 8: Specific PCR fragment of 200 bp in the A*34:08 and the A*01:51, 02:55, 03:24, 25:03, 25:30, 26:20, 32:15 and 68:71 alleles. Specific PCR fragment of 360 bp in the A*34:09 and the A*02:135, 02:309, 02:454, 03:01:19, 25:13, 26:30, 26:65, 31:04, 66:02-66:03, 66:12, 66:16 and 66:21 alleles.

The HLA-A*34 subtyping kit cannot distinguish the silent mutations in the A*34:01:01-34:01:02 or the A*34:02:01-34:02:04 alleles.

’w’, might be weakly amplified.