Gel Documentation Form and Worksheet

HLA-A*66 (101.427-06/06u) 	Lot No: 21V	Expiry Date: 2016-July-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 1 may give rise to a PCR fragment approx. 500 bp in size. This band should be disregarded in the interpretation of HLA-A*66 subtypings.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-A*66 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 70 bp in the A*02:55, 26:03:01-26:03:02, 26:06, 26:21, 26:30, 26:78, 33:24, 68:05, 68:15 and 68:20 alleles. Specific PCR fragment of 100 bp in the A*66:04 and A*66:07 alleles.

Primer mix 9: Specific PCR fragment of 155 bp in the A*66:06 and the  A*02:309, 02:454, 03:01:19, 25:19, 26:43:01-26:43:02, 31:03-31:04, 34:02:01-34:04 and 34:06-34:09 alleles. Specific PCR fragment of 235 bp in the A*66:14 allele.

Primer mix 11: Specific PCR fragment of 190 bp in the A*66:10 and the A*01:01:56, 26:29, 26:49 alleles. Specific PCR fragment of 235 bp in the A*66:14 allele.

Primer mix 12: Specific PCR fragment of 95 bp in the A*66:17 and the A*02:453 alleles. Specific PCR fragment of 220 bp in the A*66:08 and the A*02:294, 32:54, 34:05? Alleles.

Primer mix 13: Specific PCR fragment of 155 bp in the A*66:19 and the A*01:01:56 alleles. Specific PCR fragment of 305 bp in the A*66:13  allele. Specific PCR fragment of 440 bp in the A*66:11 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence of the primer matching sequence is not known.

4The A*66:05 and A*26:92 alleles give rise to identical amplification patterns with the HLA-A*66 primer set. These two alleles can be distinguished by the HLA-A low resolution and/or HLA-A*26 kits.

5The following HLA-A*66 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| A*66:08, 66:17 | 12 |
| A*66:13, 66:19 | 13 |

Change in revision R01 compared to R00:

- Primer mix 6 does not amplify the A*66:15 and the A*11:98 and 31:03 alleles. This has been corrected in the Specificity and Interpretation tables.