PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-A*68

Prod. No:	101.418-12/12u

101.418-04/04u

Lot No:    	36N

Expiry Date:    	2014-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 42 primer mixes used for HLA-A*68 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-A*68 alleles3 | Other amplified HLA-A alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 195 bp | 800 bp | *68:01:01:01-68:02:04, 68:06-68:14, 68:16-68:19, 68:21:01-68:30, 68:32-68:35, 68:37-68:45, 68:46w, 68:47-68:56, 68:58-68:83, 68:85 | *01:13, 02:34-02:35:03, 02:56:01-02:56:02, 02:62, 02:78, 02:103, 03:01:01:01-03:01:08, 03:01:10-03:01:22, 03:01:24-03:07, 03:09-03:31, 03:33-03:35, 03:37-03:40, 03:42-03:56, 03:58-03:88, 03:90-03:106, 03:109-03:110, 03:112-03:133, 03:135, 11:01:01-11:01:35, 11:03-11:13, 11:15:01-11:15:02, 11:20-11:27, 11:29-11:37, 11:39, 11:41-11:44, 11:46-11:50Q, 11:52Q, 11:54-11:56, 11:58-11:70, 11:72-11:76, 11:79-11:97, 11:99N-11:100, 11:102-11:105, 11:107-11:109N, 11:112, 24:19, 30:18, 30:55, 34:01:01-34:09, 66:01-66:02, 66:04, 66:06-66:10, 66:12-66:14, 66:16, 69:01, 74:13, C*03:82 |
| 2 | 435 bp | 1070 bp | *68:01:01:01-68:01:10, 68:03:01-68:05, 68:08:01-68:09, 68:11N-68:12, 68:16-68:17, 68:19-68:26, 68:29, 68:32-68:33, 68:35-68:39, 68:41-68:43, 68:45-68:47, 68:50, 68:52, 68:55-68:59N, 68:63, 68:65, 68:68-68:73, 68:76, 68:79, 68:83-68:85 | *01:51, 03:24, 11:10, 33:18, 34:02:01-34:04, 34:07-34:09 |
| 3 | 195 bp | 1070 bp | *68:02:01:01-68:02:04, 68:15, 68:18N, 68:28, 68:31, 68:34, 68:39-68:40, 68:44, 68:48-68:49N, 68:51, 68:53-68:54, 68:60-68:62, 68:64, 68:67, 68:74, 68:77-68:78, 68:80-68:82 |  |
| 49 | 180 bp, 225 bp | 1070 bp | *68:03:01-68:03:02, 68:05, 68:20, 68:30 | *02:06:05 |
| 510 | 140 bp, 235 bp | 800 bp | *68:04, 68:25 | *11:98, 33:51, 66:15 |
| 6 | 230 bp | 1070 bp | *68:05, 68:15, 68:20 | *02:06:05, 02:122, 02:143 |
| 7 | 145 bp | 1070 bp | *68:06, 68:32 | *02:52 |
| 811 | 160 bp, 240 bp | 800 bp | *68:07, 68:46 |  |
| 97,12 | 150 bp, 195 bp, 250 bp | 800 bp | *68:08:01-68:08:02, 68:18N, 68:47, 68:63 | *26:43:01-26:43:02, 34:03?-34:04?, 34:06?-34:09?, 66:06 |
| 10 | 165 bp | 800 bp | *68:09, 68:26 | *01:12, 01:19, 03:10, 11:01:01-11:01:34, 11:02:01-11:07, 11:10-11:21N, 11:26-11:27, 11:29-11:30, 11:32-11:34, 11:36-11:43, 11:45-11:49, 11:51-11:52Q, 11:54-11:58, 11:60-11:93, 11:95-11:111, 24:17, 24:41, 29:05 |
| 1113,25 | 160 bp, 200 bp | 800 bp | *68:10, 68:14, 68:17 |  |
| 1214 | 205 bp, 405 bp | 1070 bp | *68:11N, 68:38 |  |
| 1315 | 210 bp, 240 bp | 800 bp | *68:12, 68:50-68:51 | *26:18 |
| 148,16 | 150 bp, 195 bp | 800 bp | *68:13, 68:41 | *11:103 |
| 1517 | 145 bp, 205 bp | 1070 bp | *68:14, 68:19, 68:81 | *02:121, 02:237, 03:17, 23:47, 24:18 |
| 16 | 215 bp | 1070 bp | *68:15, 68:31, 68:40 | *02:122, 02:143 |
| 17 | 175 bp | 1070 bp | *68:02:01:01-68:02:04, 68:15, 68:18N, 68:20, 68:27-68:28, 68:31, 68:34, 68:40, 68:44, 68:48-68:49N, 68:51, 68:53-68:54, 68:60-68:62, 68:64, 68:67, 68:74, 68:77-68:78, 68:80-68:82 | *02:02w, 02:03:01-02:03:04, 02:05:01w-02:05:05w, 02:08w, 02:22:01-02:22:02, 02:47w, 02:49-02:50, 02:63w, 02:102w, 02:104, 02:115w, 02:117, 02:122, 02:135-02:136, 02:148, 02:154w-02:155w, 02:172w, 02:179w, 02:186w, 02:191, 02:209w, 02:230, 02:232w, 02:253, 02:258, 02:264, 02:267, 02:281, 02:286w, 02:315, 02:320w, 02:323, 02:324w, 23:02, 24:06, 24:87, 24:138, 24:167, 25:01:01-25:03, 25:05-25:11, 25:13-25:16, 26:01:01-26:01:04, 26:01:07-26:07:02, 26:09-26:26, 26:28-26:39, 26:41-26:42, 26:45-26:47, 26:49-26:66, 26:68-26:72, 31:30, 32:10, 34:01:01-34:01:02, 34:05, 43:01, 66:01-66:05, 66:07-66:16, B*27:25, B*27:45, C*02:07 |
| 1818 | 200 bp, 225 bp | 800 bp | *68:21:01, 68:26, 68:65 | *01:01:01:01-01:04N, 01:06-01:29, 01:31N-01:33, 01:35-01:71, 01:73-01:78, 01:80-01:101, 01:103-01:104, 03:04:01, 03:18, 03:97, 03:122, 03:135, 11:27, 11:38-11:39, 11:94, 24:17, 24:41, 29:03, 80:01-80:02 |
| 19 | 325 bp | 1070 bp | *68:22 |  |
| 205 | 90 bp | 1070 bp | *68:23 | *01:20, 01:66, 01:73, 02:114, 02:246, 02:279, 03:95, 29:22 |
| 2119 | 165 bp, 215 bp | 1070 bp | *68:24, 68:28 | *02:49, 24:87, B*27:45 |
| 22 | 165 bp | 800 bp | *68:01:01:01-68:01:10, 68:03:01-68:05, 68:07, 68:10-68:14, 68:16-68:17, 68:19-68:25, 68:29-68:30, 68:32-68:33, 68:35-68:39, 68:41-68:43, 68:45-68:47, 68:50, 68:52, 68:55-68:59N, 68:65-68:66, 68:68-68:73, 68:75-68:76, 68:79, 68:83-68:85 | *01:01:01:01w-01:04Nw, 01:07w-01:11Nw, 01:13w-01:18Nw, 01:20w-01:24w, 01:26w-01:29w, 01:31Nw-01:33w, 01:35w-01:52Nw, 01:54w-01:64w, 01:66w-01:78w, 01:80w-01:97w, 01:98, 01:99w, 01:101w-01:104w, 02:229, 03:18w, 03:50, 03:66, 11:08, 11:44, 29:28, 36:01w, 36:02, 36:03w-36:05w |
| 23 | 185 bp | 1070 bp | *68:01:01:01-68:01:10, 68:03:01-68:05, 68:07-68:14, 68:16-68:17, 68:19-68:25, 68:29-68:30, 68:32-68:33, 68:35-68:39, 68:41-68:43, 68:45-68:47, 68:50, 68:52, 68:55-68:59N, 68:63, 68:66, 68:68-68:73, 68:75-68:76, 68:79, 68:83-68:85 | *02:114, 02:229, 02:246, 02:279, 03:01:01:01-03:01:29, 03:01:31-03:17, 03:20-03:39, 03:41-03:42, 03:44-03:52, 03:54-03:81, 03:83-03:96, 03:99-03:102, 03:104, 03:106-03:121, 03:123-03:133, 11:04, 11:35, 29:01:01:01-29:02:01:02, 29:02:03-29:02:09, 29:04-29:31, 30:26, 31:03-31:04, 31:06, 32:04, 32:30, 32:32, 33:18, 34:02:01-34:04, 34:07-34:09, 36:01-36:03, 36:05 |
| 24 | 375 bp | 1070 bp |  | *02:55, 26:22, 33:22, 66:09, 69:01 |
| 255,20 | 110 bp, 240 bp | 1070 bp | *68:29, 68:52 | *02:243, 24:82 |
| 265,21 | 100 bp, 185 bp | 1070 bp | *68:33, 68:49N |  |
| 2722 | 185 bp, 235 bp | 1070 bp | *68:34, 68:43 |  |
| 2823 | 200 bp, 230 bp | 1070 bp | *68:35, 68:38, 68:44 |  |
| 295,6,24 | 80 bp, 250 bp | 800 bp | *68:36, 68:42, 68:54, 68:61, 68:63w | *02:03:01-02:03:04, 02:26w, 02:99w, 02:117, 02:148, 02:171:02w, 02:253, 02:258, 02:264, 02:281, 02:315, 02:323, 11:25w, 26:01:17 |
| 30 | 145 bp, 245 bp | 1070 bp |  | *02:117, 02:135, 25:01:01-25:07, 25:10-25:16, 26:01:01-26:01:14, 26:01:16-26:10, 26:12-26:13, 26:15-26:17, 26:19-26:27, 26:29-26:39, 26:41-26:43:02, 26:45-26:46, 26:48-26:72, 34:01:01-34:01:02, 34:05, 43:01, 66:01-66:15 |
| 316 | 220 bp | 1070 bp | *68:48, 68:50 | *25:01:01-25:04, 25:06-25:07, 25:09-25:16, 26:01:01-26:10, 26:12-26:43:02, 26:45-26:46, 26:48-26:53, 26:55-26:72, 34:01:01-34:01:02, 34:03?-34:09?, 43:01, 66:01-66:15 |
| 32 | 175 bp | 1070 bp | *68:21:01, 68:53 | *02:74:02, 02:159, 23:25 |
| 33 | 150 bp | 1070 bp | *68:16 |  |
| 34 | 165 bp | 1070 bp | *68:55 |  |
| 35 | 140 bp | 1070 bp | *68:59N |  |
| 36 | 195 bp | 1070 bp | *68:01:01:01-68:01:01:02, 68:01:03-68:01:05, 68:01:07-68:01:10, 68:03:03-68:04, 68:08:01, 68:21:02-68:22, 68:25-68:27, 68:35, 68:42-68:43, 68:50, 68:55-68:56, 68:58-68:59N, 68:63, 68:68, 68:72, 68:79 | *11:10, 25:01:01-25:01:03, 25:01:05-25:02, 25:04-25:14, 25:16, 26:01:01-26:06, 26:08-26:15, 26:17-26:18, 26:21-26:34, 26:36-26:43:02, 26:45-26:63, 26:65-26:71N, 33:51, 34:01:01-34:07, 34:09, 66:01-66:16, 69:01 |
| 37 | 285 bp | 1070 bp | *68:26, 68:65 | *26:29, 26:49, 66:10 |
| 38 | 145 bp | 1070 bp | *68:67 |  |
| 39 | 180 bp | 1070 bp | *68:68 |  |
| 40 | 195 bp | 1070 bp | *68:80 | *24:141 |
| 41 | 200 bp | 1070 bp | *68:45 | *24:24, 24:67, 26:16 |
| 42 | 130 bp | 1070 bp | *68:60 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-A*68 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-A*68 subtyping.

In addition, wells number 5, 8 to 11, 13, 14, 18, 22 and 29 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-A alleles 1st and 4th exon or intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st and 4th exon or in the introns are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-A alleles non-HLA-A*68 alleles will be amplified by primer mixes 1, 2, 4 to 7, 9, 10, 13, 15 to 18, 20 to 25, 29 to 32, 36, 37, 40 and 41. In addition, the B*27:25, B*27:45 and C*02:07 alleles will be amplified by primer mix 17, the B*27:45 allele will be amplified by primer mix 21 and the C*03:82 allele will be amplified by primer mix 1.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 29 and 31 may yield less HLA-specific PCR product than the other A*68 primer mixes.

7Primer mix 9 may give rise to non-specific amplifications.

8Primer mix 14 may have a tendency of giving rise to primer oligomer formation.

9Primer mix 4: Specific PCR fragment of 180 bp in the A*68:30 allele. Specific PCR fragment of 225 bp in the A*68:03:01-68:03:02, A*68:05 and A*68:20 alleles. Specific PCR fragment of 180 and 225 bp in the A*02:06:05 allele.

10Primer mix 5: Specific PCR fragment of 140 bp in the A*68:25 allele. Specific PCR fragment of 235 bp in the A*68:04 and the A*11:98, 33:51 and 66:15 alleles.

11Primer mix 8: Specific PCR fragment of 160 bp in the A*68:07 allele. Specific PCR fragment of 240 bp in the A*68:46 allele.

12Primer mix 9: Specific PCR fragment of 150 bp in the A*68:18N allele. Specific PCR fragment of 195 bp in the A*68:47 allele. Specific PCR fragment of 250 bp in the A*68:08:01-68:08:02 and 68:63 and the A*26:43:01-26:43:02, 34:03?-34:04?, 34:06?-34:09? and 66:06 alleles.

13Primer mix 11: Specific PCR fragment of 160 bp in the A*68:17 allele. Specific PCR fragment of 200 bp in the A*68:10 and A*68:14 alleles.

14Primer mix 12: Specific PCR fragment of 205 bp in the A*68:38 allele. Specific PCR fragment of 405 bp in the A*68:11N allele.

15Primer mix 13: Specific PCR fragment of 210 bp in the A*68:12 and A*68:50 alleles. Specific PCR fragment of 240 bp in the A*68:51 and 26:18 alleles.

16Primer mix 14: Specific PCR fragment of 150 bp in the A*68:41 allele. Specific PCR fragment of 195 bp in the A*68:13 and the A*11:103 alleles.

17Primer mix 15: Specific PCR fragment of 145 bp in the A*68:19 and in the A*02:237, 03:17 and 24:18 alleles. Specific PCR fragment of 205 bp in the A*68:14 and 68:81 and the A*02:121 and 23:47 alleles.

18Primer mix 18: Specific PCR fragment of 200 bp in the A*68:26 and 68:65 and the A*01:01:01:01-01:04N, 01:06-01:29, 01:31N-01:33, 01:35-01:71, 01:73-01:78, 01:80-01:85, 01:87-01:101, 01:103-01:104, 03:18, 03:97, 03:122, 03:135, 11:27, 11:38-11:39, 11:94, 24:17, 24:41, 29:03 and 80:01-80:02 alleles. Specific PCR fragment of 225 bp in the A*68:21:01 and the A*03:04:01 alleles. Specific PCR fragment of 200 and 225 bp in the A*01:86 allele.

19Primer mix 21: Specific PCR fragment of 165 bp in the A*68:28 and in the A*02:49, 24:87 and in the B*27:45 alleles. Specific PCR fragment of 215 bp in the A*68:24 allele.

20Primer mix 25: Specific PCR fragment of 110 bp in the A*68:52 allele. Specific PCR fragment of 240 bp in the A*68:29 and in the A*02:243 and 24:82 alleles.

21Primer mix 26: Specific PCR fragment of 100 bp in the A*68:49N allele. Specific PCR fragment of 185 bp in the A*68:33 allele.

22Primer mix 27: Specific PCR fragment of 185 bp in the A*68:34 allele. Specific PCR fragment of 235 bp in the A*68:43 allele.

23Primer mix 28: Specific PCR fragment of 200 bp in the A*68:35 and 68:38 alleles. Specific PCR fragment of 230 bp in the A*68:44 allele.

24Primer mix 29: Specific PCR fragment of 80 bp in the A*68:42, 68:54, 68:61 and 68:63w and the A*02:03:01-02:03:04, 02:26w, 02:99w, 02:117, 02:148, 02:171:02w, 02:253, 02:258, 02:264, 02:281, 02:315, 02:323, 11:25w and 26:01:17 alleles. Specific PCR fragment of 250 bp in the A*68:36 allele.

25Primer mix 11 may faintly amplify the A*02:06:05, 02:06.09, 02:122, 11:70 and 26:07:01-26:07:02 alleles.

‘w, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1HLA-A*68 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.7.0, January 2012.

2The A*68:27 and the A*66:16 alleles give rise to identical amplification patterns with the HLA-A*68 subtyping kit. These alleles can be distinguished by e.g. the HLA-A low resolution kit and/or the HLA-A*66 subtyping kit.

3A*68:29 and A*68:52 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 25.

4The A*68:66 and 68:75 and the A*03:50 and 03:66 alleles give rise to identical amplification patterns with the HLA-A*68 subtyping kit. These alleles can be distinguished by e.g. the HLA-A low resolution kit and/or the HLA-A*03 subtyping kit.

5Primer mix 4: Specific PCR fragment of 180 bp in the A*68:30 allele. Specific PCR fragment of 225 bp in the A*68:03:01-68:03:02, A*68:05 and A*68:20 alleles. Specific PCR fragment of 180 and 225 bp in the A*02:06:05 allele.

Primer mix 5: Specific PCR fragment of 140 bp in the A*68:25 allele. Specific PCR fragment of 235 bp in the A*68:04 and the A*11:98, 33:51 and 66:15 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the A*68:07 allele. Specific PCR fragment of 240 bp in the A*68:46 allele.

Primer mix 9: Specific PCR fragment of 150 bp in the A*68:18N allele. Specific PCR fragment of 195 bp in the A*68:47 allele. Specific PCR fragment of 250 bp in the A*68:08:01-68:08:02 and 68:63 and the A*26:43:01-26:43:02, 34:03?-34:04?, 34:06?-34:09? and 66:06 alleles.

Primer mix 11: Specific PCR fragment of 160 bp in the A*68:17 allele. Specific PCR fragment of 200 bp in the A*68:10 and A*68:14 alleles.

Primer mix 12: Specific PCR fragment of 205 bp in the A*68:38 allele. Specific PCR fragment of 405 bp in the A*68:11N allele.

Primer mix 13: Specific PCR fragment of 210 bp in the A*68:12 and A*68:50 alleles. Specific PCR fragment of 240 bp in the A*68:51 and 26:18 alleles.

Primer mix 14: Specific PCR fragment of 150 bp in the A*68:41 allele. Specific PCR fragment of 195 bp in the A*68:13 and the A*11:103 alleles.

Primer mix 15: Specific PCR fragment of 145 bp in the A*68:19 and in the A*02:237, 03:17 and 24:18 alleles. Specific PCR fragment of 205 bp in the A*68:14 and 68:81 and the A*02:121 and 23:47 alleles.

Primer mix 18: Specific PCR fragment of 200 bp in the A*68:26 and 68:65 and the A*01:01:01:01-01:04N, 01:06-01:29, 01:31N-01:33, 01:35-01:71, 01:73-01:78, 01:80-01:85, 01:87-01:101, 01:103-01:104, 03:18, 03:97, 03:122, 03:135, 11:27, 11:38-11:39, 11:94, 24:17, 24:41, 29:03 and 80:01-80:02 alleles. Specific PCR fragment of 225 bp in the A*68:21:01 and the A*03:04:01 alleles. Specific PCR fragment of 200 and 225 bp in the A*01:86 allele.

Primer mix 21: Specific PCR fragment of 165 bp in the A*68:28 and in the A*02:49, 24:87 and in the B*27:45 alleles. Specific PCR fragment of 215 bp in the A*68:24 allele.

Primer mix 25: Specific PCR fragment of 110 bp in the A*68:52 allele. Specific PCR fragment of 240 bp in the A*68:29 and in the A*02:243 and 24:82 alleles.

Primer mix 26: Specific PCR fragment of 100 bp in the A*68:49N allele. Specific PCR fragment of 185 bp in the A*68:33 allele.

Primer mix 27: Specific PCR fragment of 185 bp in the A*68:34 allele. Specific PCR fragment of 235 bp in the A*68:43 allele.

Primer mix 28: Specific PCR fragment of 200 bp in the A*68:35 and 68:38 alleles. Specific PCR fragment of 230 bp in the A*68:44 allele.

Primer mix 29: Specific PCR fragment of 80 bp in the A*68:42, 68:54, 68:61 and 68:63w and the A*02:03:01-02:03:04, 02:26w, 02:99w, 02:117, 02:148, 02:171:02w, 02:253, 02:258, 02:264, 02:281, 02:315, 02:323, 11:25w and 26:01:17 alleles. Specific PCR fragment of 250 bp in the A*68:36 allele.

6This lot of the HLA-A*68 subtyping kit cannot distinguish the A*68:01:02, 68:01:06 and A*68:37 alleles.

‘w, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Primer mixes 29 and 30 do not amplify the A*68:37 allele. This has been corrected in the specificity and amplification tables. Thus, this lot of the HLA-A*68 subtyping kit cannot distinguish the A*68:01:02, 68:01:06 and A*68:37 alleles.

Change in revision R02 compared to R01:

- Primer mix 11 may faintly amplify the A*02:06:05, 02:06.09, 02:122, 11:70 and 26:07:01-26:07:02 alleles. A foot note has been added in the Specificity Table.