Gel Documentation Form and Worksheet

HLA-A*68 (101.418-12/04 -12u/04u) 	Lot No: 30X	Expiry Date: 2017-March-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	       Failed lanes: ____________	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 17, 29 and 31 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A*68 primer mixes.

Primer mix 9 may have tendencies of unspecific amplifications.

Primer mix 32 have a tendency to giving rise to primer oligomer formation.

Primer mix 11 may faintly amplify the A*02:06:05, 02:06.09, 02:122, 11:70, 11:121 and 26:07:01-26:07:02 alleles.

Primer mix 48 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-A*68 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

Primer mix 4: Specific PCR fragment of 180 bp in the A*68:30 allele. Specific PCR fragment of 225 bp in the A*68:03:01-68:03:02, A*68:05 and A*68:20 alleles. Specific PCR fragment of 180 and 225 bp in the A*02:06:05 allele.

Primer mix 5: Specific PCR fragment of 140 bp in the A*68:25 and the A*02:339, 02:407 and 02:449 alleles. Specific PCR fragment of 235 bp in the A*68:04 and the A*11:98, 33:51 and 66:15 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the A*68:07 allele. Specific PCR fragment of 240 bp in the A*68:46 allele.

Primer mix 9: Specific PCR fragment of 195 bp in the A*68:47 allele. Specific PCR fragment of 250 bp in the A*68:08:01-68:08:02 and 68:63 and the A*25:19, 26:43:01-26:43:02, 34:03?-34:04?, 34:06?-34:10N? and A*66:06 alleles.

Primer mix 11: Specific PCR fragment of 160 bp in the A*68:17 allele. Specific PCR fragment of 200 bp in the A*68:10 and A*68:14 and the A*02:358 alleles.

Primer mix 12: Specific PCR fragment of 205 bp in the A*68:38 and 68:110 alleles. Specific PCR fragment of 405 bp in the A*68:11N allele.

Primer mix 13: Specific PCR fragment of 210 bp in the A*68:12 and A*68:50 alleles. Specific PCR fragment of 240 bp in the A*68:51 and the A*26:18 alleles.

Primer mix 15: Specific PCR fragment of 145 bp in the A*68:19 and in the A*02:237, 03:17:01, 03:171, 24:18, 24:204 and 24:213 alleles. Specific PCR fragment of 200 bp in the A*68:14, 68:80 and 68:81 and the A*02:121, 23:47 and 24:141 and 24:234 alleles.

Primer mix 18: Specific PCR fragment of 200 bp in the A*68:26 and 68:65 and the A*01:01:01:01-01:04N, 01:06-01:29, 01:31N-01:33, 01:35-01:71, 01:73-01:78, 01:80-01:85, 01:87N-01:101, 01:103-01:144, 01:146-01:155, 03:18, 03:97, 03:122, 03:135, 03:167, 11:27, 11:38-11:39, 11:94, 23:53, 24:17, 24:41, 24:208, 29:03, 29:33 and 80:01:01:01-80:03 alleles. Specific PCR fragment of 225 bp in the A*68:21:01-68:21:02, 03:04:01-03:04:03, 11:153:01-11:153:02. Specific PCR fragment of 200 and 225 bp in the A*01:86 allele.

Primer mix 21: Specific PCR fragment of 165 bp in the A*68:28 and in the A*02:49, 24:87 and 66:19 and in the B*07:197, B*27:45 and B*27:108 alleles. Specific PCR fragment of 215 bp in the A*68:24 allele.

Primer mix 26: Specific PCR fragment of 100 bp in the A*68:49N allele. Specific PCR fragment of 190 bp in the A*68:33 and 68:80 and the A*24:141 and 33:03:17 allele.

Primer mix 27: Specific PCR fragment of 185 bp in the A*68:34 and the A*02:385 allele. Specific PCR fragment of 235 bp in the A*68:43 allele.

Primer mix 28: Specific PCR fragment of 200 bp in the A*68:35, 68:38 and 68:110 alleles. Specific PCR fragment of 230 bp in the A*68:44 allele.

Primer mix 29: Specific PCR fragment of 80 bp in the A*68:42, 68:54, 68:61, 68:63, 02:03:01-02:03:07, 02:26, 02:99, 02:117, 02:148, 02:171:02, 02:253, 02:258, 02:264, 02:281, 02:315, 02:323, 02:345, 02:355, 02:370, 02:393, 02:402, 02:412, 02:427, 02:431, 02:447, 02:463, 02:466, 02:480, 02:489, 02:505, 03:01:38, 03:123:02, 11:25, 11:191 and 26:01:17 alleles. Specific PCR fragment of 250 bp in the A*68:36 and 68:37 and in the B*44:03:19-44:03:20 alleles.

Primer mix 30: Specific PCR fragment of 145 bp in the A*02:117, 02:135, 25:01:01-25:07, 25:10-25:25, 26:01:01-26:01:14, 26:01:16-26:01:25, 26:01:27-26:02:01, 26:03:01-26:10, 26:12-26:13, 26:15-26:17, 26:19-26:27, 26:29-26:39, 26:41-26:43:02, 26:45-26:46, 26:48-26:72, 26:74-26:102, 34:01:01-34:01:02, 34:05, 34:11, 43:01, 66:01:01-66:15, 66:17 and 66:19 alleles. Specific PCR fragment of 245 bp in the A*68:37 allele.

Primer mix 37: Specific PCR fragment of 145 bp in the A*68:67 allele. Specific PCR fragment of 285 bp in the A*68:26 and 68:65 and the A*26:29, 26:49 and 66:10 alleles.

Primer mix 45: Specific PCR fragment of 150 bp in the A*68:41 and the A*01:126 alleles. Specific PCR fragment of 220 bp in the A*68:72 alleles. Specific PCR fragment of 255 bp in the A*68:86 and the A*26:57 alleles.

4This lot of the HLA-A*68 subtyping kit cannot distinguish the A*68:02:01:01-68:02:07, 68:62, 68:64, 68:74, 68:77-68:78, 68:82 and 68:97 alleles and the A*68:18N allele.

The HLA-A*68 subtyping kit cannot distinguish the following silent mutations: the  A*68:01:01:01-68:01:01:02, 68:01:03-68:01:05, 68:01:07-68:01:12 68:01:14 and 68:01:18-68:01:20, the A*68:01:02:01-68:01:02:02, 68:01:06 68:01:13 68:01:15-68:01:17 and 68:01:21-68:01:23, the A*68:02:01:01-68:02:07,  the A*68:03:01-68:03:02 and the A*68:27:01-68:27:02 alleles.

‘w, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Primer mix 23 weakly amplifies the A*68:26 allele. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

- Primer mix 9 does not amplify the A*68:18N allele. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-A*68 subtyping kit cannot distinguish the A*68:02:01:01-68:02:07, 68:62, 68:64, 68:74, 68:77-68:78, 68:82 and 68:97 alleles and the A*68:18N allele.