Gel Documentation Form and Worksheet

HLA-A*74 (101.433-06/06u) 	Lot No: 13Y	Expiry Date: 2017-October-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*74 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.19.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 8: Specific PCR fragment of 115 bp in A*74:08 allele. Specific PCR fragment of 160 bp in the A*74:16:01-74:16:02 alleles.

Primer mix 10: Specific PCR fragment of 125 bp in the A*74:17 and the A*03:27, 29:16 and 33:81 alleles. Specific PCR fragment of 225 bp in the A*74:09 allele.

Primer mix 11: Specific PCR fragment of 85 bp in the A*74:14N allele. Specific PCR fragment of 200 bp in the A*74:10 and the A*29:66 and 32:62 and in the C*04:01:51 and C*06:02:15 alleles.

Primer mix 13: Specific PCR fragment of 125 bp in the A*74:17 and the A*03:27, 29:16 and 33:81 alleles. Specific PCR fragment of 215 bp in the A*74:12N allele.

Primer mix 15: Specific PCR fragment of 110 bp in the A*29:39 allele. Specific PCR fragment of 185 bp in the A*74:15 allele.

The HLA-A*74 subtyping kit cannot distinguish the silent mutations in the A*74:02:01:01-74:02:01:02 alleles and the A*74:16:01-74:16:02 alleles.