Gel Documentation Form and Worksheet

HLA-A*80(101.434-06/06u)	                                    Lot: 09X                                          Expiry Date:   2017-January-01

Name:____________________

Sample ID:________________

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: _____________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Primer mix 5 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-A*80 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The A*80:02 and the A*11:166, 30:56 and 31:85 alleles give rise to identical amplification patterns with the HLA-A*80 primer set. These alleles can be distinguished by the HLA-A low resolution and/or the HLA-A*11, HLA-A*30 and HLA-A*31 kits.

The HLA-A*80 subtyping kit cannot distinguish the silent mutations in the A*80:01:01:01 and 80:01:01:02 alleles.