PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-B low resolution

Prod. No:	101.501-48/12 – including Taq pol.

101.501-48u/12u – without Taq pol.

Lot No:    	Y52

Expiry Date:    	2009-October-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B low resolution SSP typing.

| Primer Mix | Size of spec. PCR prod.1 | Size of control band2 | HLA-B serol.3 | Amplified HLA-B4 alleles |
| --- | --- | --- | --- | --- |
| 15,6 | 110 bp | 800 bp | 7, 15, 37, 40, 41, 42, 48 | 070201-071802, 0720-0732, 0734-0739, 0741-0747, 0749N, 0750, 0752, 0754-0759, 9538, 3707, 4015, 4016, 4023, 4032, 4108, 420501-420502, 4805, 4808, 4815 |
| 2 | 215 bp | 1070 bp | 8, 44 | 080101-0825, 0827-0834, 4449 |
| 37 | 140, 235 bp | 1070 bp | 7, 8, 13, 15, 35, 40, 4005, 44, 46, 57 | 0720, 0724, 0760, 0821, 0825, 1301-1304, 1306-1308Q, 1310-1321, 150106, 1507, 152702, 1536, 1545, 1555, 1568, 1589, 9526, 9535-9537, 9539, 3505, 3516, 3517, 3522, 3530, 3551, 3558, 3572, 4005, 4071, 4408, 4454, 4457, 4611, 4612, 5714, Cw*0305, Cw*0325, Cw*0327 |
| 48 | 130, 265 bp | 1070 bp | 13, 14, 15, 35, 40, 41, 44, 45, 47, 49, 50 | 1301-1304, 1306-1313, 1315-1321, 1401-1404, 1407N, 1546, 1553, 9506, 3547, 3563, 400101-400105, 4007, 4010, 401401-4016, 4022N, 4023, 4025, 4030-4034, 4036, 4038, 4042, 4043, 4045, 4047-4049, 4051-4055, 4058-4063, 4065-4067, 4069, 4072, 4073, 4076, 4077, 4101-4108, 44020101-4405, 4409-4439, 4441-4443, 4445-4456N, 4501-4507, 47010101-4705, 4901, 4902, 4904, 4905, 5001, 5002, 5004 |
| 59 | 185, 235 bp | 1070 bp | 14, 16, 27, 37, 38, 39, 47, 64, 67 | 1401, 1407N, 2701-270402, 270502-2706, 2708-2710, 2712, 2713, 2716-2718, 2720, 2723, 2726, 2727, 2729, 2731, 2735-2737, 3702, 380101-3803, 3807-3817, 39010101-39010102L, 390103-390201, 3903, 3905-390602, 3907?, 3908, 3909, 3911, 3914, 3915, 3918, 3922, 3924-3943, 4704, 4705, 670101 |
| 69 | 185 bp | 800 bp | 14, 35, 38, 39, 65 | 140201-140602, 3526, 3805, 3904, 3907? |
| 7 | 290 bp | 1070 bp | 15, 62, 63, 75, 76, 77, 46 | 15010101-150103, 150106, 1502, 1504-1508, 151101-1515, 15170101-151702, 1519-1521, 1524-152701, 1528, 1530-1536, 1538-1540, 1542-1546, 1548, 1550, 1555-1558, 1560, 1563, 1565, 1566, 1568, 1570, 1571, 1573, 1575-1579N, 1581-1589, 1592, 1594N, 1596, 1597, 9501, 9502, 9504-9507, 9509-9513, 9516-9518, 9520-9522, 9525, 9526, 9528, 9529, 9535-9539, 460101-4612 |
| 8 | 165, 220, 330 bp | 1070 bp | 8, 15, 37, 40, 41, 42, 44, 45, 51, 56, 57, 70, 71, 72 | 080101-0805, 0808N-0812, 0815-0819N, 0821-0824, 0826, 0827, 0829-0834, 1503, 1509, 1510, 1518, 1523, 1529, 1537, 1546, 1547, 1549, 1551-1554, 1561, 1562, 1564, 1568, 1569, 1572, 1574, 1580, 1583, 1590, 1591, 1593, 1598, 1599, 9503, 9506, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 9531-9534, 3712, 4012, 4101-410302, 4105-4108, 4201, 4202, 4204-4208, 4414, 4415, 4418, 4420, 4501-4507, 5108, 5120, 5136, 5144N, 5613, 5709, 8201, 8202, Cw*0746 |
| 910,11 | 165, 390 bp | 800 bp | 15, 35, 40, 51, 52, 56, 58, 62, 63, 70, 78 | 150102, 1509, 1516-151702, 1567, 1595, 350402, 4026, 4028, 510101-510103, 510105-510902, 5111N, 5112, 511302, 5114, 5117-5120, 5122, 5123, 5126-5130, 5132, 5133, 5137-5141N, 5143, 5144N, 5146, 5148-5151, 520101-5207, 5209-5211, 560501-5606, 5621, 5808, 7801-7805 |
| 10 | 180, 395 bp | 800 bp | 13, 15, 40, 55, 62, 70, 71, 72, 75 | 1301-130204, 1307N-1309, 1311, 1314-1320, 1509, 1510, 1518, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534, 4048, 5522, 5524, Cw*0206? |
| 116 | 105, 195 bp | 1070 bp | 7, 8, 15, 27, 38, 39, 40, 44, 45, 48, 55, 72 | 0727, 0750, 0804, 0817, 1503, 1547, 1549, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 9531, 9532, 2718, 2729, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 4046, 4410, 4415, 4418, 4440, 4444, 4501, 4505-4507, 480101-4805, 4807-4819, 5002, 5518, 8201, 8202 |
| 12 | 275 bp | 1070 bp | 7, 8, 13, 15, 18, 35, 39, 40, 42, 44, 46, 48, 49, 51, 53, 54, 55, 56, 57, 58, 62, 63, 70, 71, 72, 75, 76, 77 | 0709, 0711, 0717, 0828, 1304, 1310, 15010101-150104, 150106, 1502-1508, 151101-1516, 1518-1521, 1523-1529, 1531-1536, 1538-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 1578-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 9531, 9532, 9534-9536, 9538, 9539, 180101-1815, 1817N-1825, 1827, 350101-350106, 3505, 3507-350803, 3510, 3511, 351401-3517, 3519-3521, 3523-3530, 3532, 3535, 3537, 3540N-3543, 3545-3554, 3557, 3558, 3561-3564, 3566-3569, 3571, 3572, 3576-3579, 3582, 3907, 3943, 4003, 4020, 4038, 4052, 4059, 4060, 4209, 4417, 4443, 460101-4610, 4612, 4802, 4814, 4904, 4905, 5137, 5145, 530101-5303, 5305, 5306, 5308-5313, 5406, 5409, 5514, 5523, 5603, 5609, 5618, 570101-570103, 5706, 5708, 5710, 5711, 5713, 5714, 5801, 5802, 5804-5807, 5809-5815 |
| 13 | 195 bp | 1070 bp | 15, 35, 37, 38, 44, 58, 76 | 1512, 1514, 1519, 1591, 9531, 3545, 3571, 370101-3709, 3712, 3713, 3817, 4417, 4443, 5807 |
| 146 | 105, 435 | 1070 bp | 7, 15, 41, 42, 59, 62, 63, 77 | 0704, 0725, 1513, 1516-151702, 1523, 1524, 1567, 1587, 1595, 4108, 420501-420502 |
| 156 | 115 bp | 1070 bp | 18 | 180101-1815, 1817N-1827 |
| 166 | 80 bp | 1070 bp | 27, 40, 44 | 2701-270402, 270502-2721, 2723-2738, 4046, 4440, 4444 |
| 17 | 150 bp | 1070 bp | 13, 15, 27, 35, 37, 39, 40, 44, 48, 51, 53, 55, 56, 57, 58, 62, 75, 77 | 1301, 1306, 1307N, 1312, 1313, 1317, 1320, 1502, 1513, 1520, 1521, 1525, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 1822, 2719, 2730, 350101-350402, 3506-350803, 3510-3517, 3519-3521, 3523-3530, 3533-3536, 3538-3542, 3545-3550, 3552, 3554-3557, 3559, 3561-3563, 3565Q, 3569-3571, 3574, 3576-3578, 3582, 3583, 370101-370104, 3703N-3706, 3708, 3710, 3711, 3713, 3942, 4028, 44020101-4414, 4416, 4417, 4419N, 4421-4430, 4432-4440, 4442-4446, 4448-4452N, 4455-4457, 4802, 5104, 5142, 5146, 530101-5313, 5514, 5609, 5611, 5612, 570101-5710, 5712, 5714, 5801, 5804, 5805, 5809-5815, 8301 |
| 18 | 135 bp | 1070 bp | 8, 18, 35, 37, 39, 56, 78 | 0832, 180101-1808, 1810-1815, 1817N-1827, 350101-3518, 352001-3524, 3528-3545, 3548, 3550-3555, 3557-3562, 3564-3572, 3774-3579, 3582, 3583, 3711, 3919, 5606, 7801-7805 |
| 196,11 | 245, 400 bp | 1070 bp | 15, 62, 63, 70, 71, 72, 75, 76, 77, 40, 44 | 15010101-150104, 150106-1521, 1523-152701, 1528-1540, 1542-1558, 1560-1599, 9501-9529, 9531-9539, 4012, 4410, 8201, 8202 |
| 206,11 | 205 bp | 800 bp | 7, 8, 15, 18, 37, 38 | 0727, 0802, 9515, 1809, 370101-3704, 3705weakly, 3706-3710, 3712, 3713, 380201-3804, 3808, 3815, 3817 |
| 21 | 170 bp | 800 bp | 15, 35, 38, 39, 67 | 1569, 9536, 3535, 380101-3809, 3811-3817, 39010101-39010102L, 390103-3920, 3922-3924, 3926-3929, 3931, 3935, 3937-3942, 670101-6702 |
| 226 | 110 bp | 1070 bp | 38 | 380101-3803, 3805, 3808-3817 |
| 23 | 400 bp | 1070 bp | 14, 38, 39, 64, 65 | 1401-1407N, 380101-380202, 3804, 3805, 3808-3817, 39010101-39010102L, 390103-390104, 3903-3907, 3909, 3911, 3912, 3914, 3915, 3918, 3919, 3922, 3924-3938Q, 3940N, 3941 |
| 24 | 430 bp | 1070 bp | 7, 8, 14, 39, 40, 41, 42, 45, 48, 50, 60, 64, 65, 67, 73 | 070201-0726, 0728-0735, 0737, 0739-0760, 080101-080105, 0804-0834, 1401-1407N, 39010101-39010102L, 390103-3920, 3922-3941, 400101-400105, 4007, 4009-4011?, 401401-4016?, 4018?. 4021?, 4022N?, 4023, 4024-4038?, 4040?, 4042-4046?, 4048-4050?, 4051, 4052-4058?, 4059, 4060, 4061-4069?, 4071-4074?, 4077, 4101-4108, 4201, 4202, 4204-4209, 4501-4507, 480101-4817, 4819, 5001, 5002, 5004, 670101-6702, 7301, 8102 |
| 2511,12 | 175 bp | 1070 bp | 15, 40, 44, 46, 48, 60 | 9516, 9524, 400101-400105, 4007, 4010, 4012, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4051, 4052, 4054, 4055, 4060-4063, 4065-4067, 4069, 4073, 4074, 4076, 4431, 4606, 480301-480302, 4817 |
| 26 | 130 bp | 1070 bp | 40, 61 | 400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4050, 4056, 4057, 4064, 4068, 4070, 4071, 4074, 4075, 4078 |
| 276,11 | 110 bp | 1070 bp | 7, 8, 41, 42, 55 | 0704, 0719, 0725, 080101-0805, 0807-0812, 0814-0819N, 0821-0824, 0826-0834, 4101-4108, 4201, 4202, 4204-4207, 4209, 5520 |
| 28 | 325 bp | 1070 bp | 7, 15, 27, 42, 45, 46, 54, 55, 56, 67, 73, 81 | 070201-070207, 0704-0707, 0709-0712, 0713weakly, 0714, 0715weakly, 0717-0726, 0728-0731, 0733-0736, 0739-0749N, 0751-0760, 1576, 9501, 2701-270402, 270502-2711, 2713-2715, 2717, 2719-2721, 2724-2728, 2730-2738, 3576, 4201, 4202, 4204-4206, 4208, 4209, 4506, 460101-460102, 4602weakly, 4603-4612, 5401-5413, 550101-5505, 5507-5517, 5519-5528, 5601-5616, 5618-5621, 670101-670102, 6702weakly, 7301, 8101-8103, 8201, 8202, 8301 |
| 296,13 | 110, 195, 225, 260 bp | 1070 bp | 35, 37, 44, 47, 51, 57 | 3538, 3545, 3571, 370101-370104, 3703N-3706, 3708, 3710-3713, 44020101-4414, 4416, 4417, 4419N-4436, 4438-4457, 5142, 5707, 5709, 8301 |
| 30 | 215 bp | 800 bp | 8, 12, 15, 41, 42, 44, 45, 51, 52, 53, 55, 56, 58 | 0809, 1583, 4101, 4105-4107, 4204, 4406, 4415, 4418, 4420, 4501-4507, 510101, 510103-510201, 510203-5104, 5106-510901, 5110-5114, 5116-5124, 5126-5146, 5148, 5149, 5151, 520102, 520104-5203, 520601-520602, 5209, 5306, 5520, 5613, 5808 |
| 31 | 130, 270 bp | 1070 bp | 18, 35, 37, 40, 46, 51, 53, 57, 58 | 1822, 3521, 3524, 3704, 4028, 460101-4612, 5104, 5146, 5302, 5306, 5714, 5809 |
| 326 | 90, 410 bp | 1070 bp | 27, 35, 47, 54, 55, 56, 81 | 2702-270402, 270502-2711, 2713-2715, 2717, 2719-2721, 2724-2728, 2730-2738, 3576, 47010101-4703, 5401-5413, 550101-5505, 5507-5517, 5519-5528, 5601-5616, 5618-5621, 8101, 8201, 8202, 8301 |
| 336 | 90, 175 bp | 1070 bp | 15, 27, 35, 40, 48, 62, 75, 77, 81 | 1502, 1508, 151101-151103, 1513, 1515, 1521, 1531, 1544, 1555, 1588, 1589, 9512, 9521, 9539, 2724, 3546, 4031, 4045, 480101-480102, 4804, 4806, 4807, 4809, 4811, 4815, 4816, 4818, 4819, 8101-8103 |
| 34 | 145 bp | 1070 bp | 40, 44, 49 | 4013, 4019, 4418, 4425, 4450, 4901, 4904, 4905 |
| 356 | 120, 210 bp | 800 bp | 13, 15, 45, 49, 50, 51, 52, 55, 56, 58, 62, 63, 78 | 1316, 1516, 1542, 1567, 1595, 9537, 4901-4905, 5001, 5002, 5004, 510101-5103, 5105, 5107-510902, 5111N-5114, 5116-1524, 5126-5141N, 5143, 5144N, 5148-5151, 520101-5211, 550101-550104, 5503, 5505, 5509, 5511, 5515, 5517, 5521, 5524, 5525, 5528, 560501-5606, 5621, 5808, 7801-7805 |
| 36 | 430 bp | 1070 bp | 27, 40, 44, 45, 51, 52, 53, 57, 58, 59 | 2702, 2730, 4013, 4019, 4406, 4425, 4450, 510101-5124, 5126-5146, 5148, 5149, 5151, 520101-5211, 530101-5302, 5304-5308, 5310, 570101-5711, 5713, 5714, 5801, 5802, 5804-5815, 5902 |
| 37 | 145 bp | 1070 bp | 15, 35, 40, 41, 44, 45, 47, 50, 72 | 1546, 1553, 9506, 3519, 3547, 3563, 400101-4011, 401401-4016, 4018, 4020, 4022N-4040, 4042-4045, 4048-4075, 4077, 4078, 4101-4104, 4105?, 4106-4108, 4409, 4446, 4501-4507, 4702, 5001, 5002, 5004 |
| 389 | 300 bp | 1070 bp | 7, 8, 13, 15, 18, 27, 35, 37, 38, 39, 40, 41, 44, 45, 46, 47, 48, 49, 50, 52, 55, 57, 58, 62, 72, 76, 78 | 0754, 0817, 1301-1304, 1306, 1308Q-1321, 15010101-150104, 150106, 1503-1507, 1512, 1514, 1519, 1520, 1524-152702, 1530, 1532-1536, 1538-1540, 1542, 1543, 1545-1550, 1553, 1554, 1556-1558, 1560-1563, 1565, 1566, 1568-1571, 1573-1575, 1577-1579N, 1581-1587, 1591, 1592, 1594N, 1596-1598, 9502-9507, 9509-9511N, 9513, 9516-9518, 9522, 9523, 9525-9529, 9531, 9532, 9535-9538, 1812, 2701-270402, 270502-2721, 2724-2738, 3510, 3513, 3516, 3528, 3563, 3569, 370101-3707, 3709-3713, 3803, 3804, 390201-390202, 3908, 391301-391302, 3922, 3923, 400101-4007, 4009-4016, 4018-4024, 4026-4040, 4042-4067, 4070-4078, 4101-4108, 44020101-4405, 4407-4411, 4413-4457, 4501-4505, 4507, 4610-4612, 47010101-4705, 480101-4805, 4807-4815, 4817-4819, 4901-4905, 5001, 5002, 5004, 520101-5211, 5518, 5712-5714, 5815, 7805 |
| 39 | 160, 215 bp | 1070 bp | 15, 37, 44, 54 | 150104, 370104, 44020101-440204, 4406, 4408, 4409, 4411, 4412, 4416, 4419N-4424, 4427, 4433, 4434, 4441, 4444, 4448, 4449, 4451-4453, 4455, 5401-5413, 8301 |
| 409 | 180, 210 bp | 1070 bp | 13, 15, 18, 35, 39, 40, 54, 55, 56, 59, 78 | 1306, 1542, 1586, 1804, 3560, 3917, 4058, 5401, 5402, 5405N, 5407, 5408N, 5410, 5412, 5413, 550101-5503, 5505, 5507, 5510-5512, 5515, 5516, 5518, 5519, 5521, 5525, 5526, 560501, 5606, 5610, 5901, 7801, 780202, 7803 |
| 4114 | 180 bp | 1070 bp | 13, 15, 40, 44, 45, 46, 49, 50, 51, 54, 56 | 1303, 1573, 4071, 4410, 4415, 4418, 4501, 4504-4507, 4611, 4901-4903, 5001, 5002, 5004, 5115, 5403, 5601, 5602, 5604, 5607, 5608, 5613, 5614, 5616, 5617, 5620, 8201, 8202 |
| 426 | 90, 240 bp | 800 bp | 55, 57 | 5514, 570101-5714 |
| 436,15 | 90 bp | 1070 bp | 13, 15, 39, 40, 56, 58 | 1311, 1573, 3917, 4048, 4071, 5602, 5604, 5610, 5801, 5802, 5804-5815, Cw*0206 |
| 446 | 95 bp | 1070 bp | 8, 18, 35, 37, 38, 39, 44, 51, 52, 53, 78 | 0832, 180101-1811, 1813-1815, 1817N-1827, 350101-350902, 3511, 3512, 351401-3515, 3517, 3518, 352001-3524, 3527, 3529-3545, 3548, 3550-3562, 3564-3568, 3570-3572, 3574-3579, 3582, 3583, 3708, 3806, 3807, 3919, 4406, 510101-5124, 5126-5146, 5148-5151, 530101-5313, 7801-7804 |
| 456,11 | 115, 150 bp | 1070 bp | 15, 18, 27, 35, 39, 46, 54, 55, 56, 62, 73, 75, 76 | 15010101-150104, 150106, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 1538, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 9535, 9537, 1819, 2725, 351401-351402, 3543, 3544, 3562, 3567, 3579, 3918, 3936, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 4612, 5406, 5521, 5603, 7301 |
| 46 | 360 bp | 1070 bp | Bw416 |  |
| 47 | 355 bp | 1070 bp | Bw6 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B low resolution SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the primers in tubes 5, 6, 38, 40.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B low resolution typing.

In addition, tubes number 6, 9, 10, 20, 21, 30, 35 and 42 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The serological reactivity of all HLA-B alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site and also inferred the serological grouping from the naming of the sequence-defined allele.

4For several HLA-B alleles only partial nucleotide sequences are available, especially for the 1st exon. In these instances it is not known whether some of the primers of the HLA-B low resolution SSP set are completely matched with the target sequences or not. We assume that unknown sequences are conserved within allelic groups.

The B*0826 and B*4207 alleles give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5504, B*5508, B*5513, B*5527, B*5615 and B*5619N alleles give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5523 and B*5618 alleles will give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

5Primer mix 1 may give rise to a primer oligomer artifact.

6Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

7Primer mix 3 will amplify the Cw*0305, Cw*0325 and Cw*0327 alleles.

8Primer mix 4 may yield less specific PCR product than the other HLA-B low resolution primer mixes in B*40, B*41, B*45, B*49 and B*50 alleles.

9Primer mixes 5, 6, 38 and 40 have a higher tendency than other primer mixes to give rise to nonspecific amplifications.

10The B*57 and B*58 alleles might be faintly amplified by primer mix 9.

11Primer mixes 9, 19, 20, 25, 27 and 45 might have a tendency of giving rise a primer oligomer artifact.

12The Cw*1701 and Cw*1702 alleles might be faintly amplified by primer mix 25.

13Primer mix 29 might generate a false band of about 500 base pairs. This band should be disregarded when interpreting HLA-B low resolution typings.

14TheCw*0312 allele might be faintly amplified by primer mix 41.

15The Cw*0206 allele might be weakly amplified by primer mix 43..

16The Bw4-associated HLA-A specificities A23, A24, A2403, A25 and A32 are not amplified by the primer pair in primer mix 46.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B low resolution typing.

In addition, tubes number 6, 9, 10, 20, 21, 30, 35 and 42 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

2The nucleotide position, in the 1st, 2nd or 3rd  exon or in the 1st intron, matching the specificity-determining 3'-end of the primer is given. Nucleotide numbering as in Tissue Antigens 1998, 51:II, 417-466. The sequence of the 3 terminal nucleotides of the primer is given.

3The nucleotide position, in the 2nd, or 3rd exon or the 1st or 3rd introns, matching the specificity-determining 3'-end of the primer is given in the anti-sense direction. Nucleotide numbering as in Tissue Antigens 1998, 51:II, 417-466. The sequence of the 3 terminal nucleotides of the primer is given.

4The sequence of the B*0701 allele has been shown to be in error.

The sequence of the B*1305 allele has been shown to be identical to B*1304.

The B*1522 allele has been renamed B*3543.

The sequence of the B*1541 allele has been shown to be identical to B*1539.

The sequence of the B*1816 allele has been shown to be identical to B*1814.

The B*1559 allele has been renamed B*3544.

The sequence of the B*27051 allele has been shown to be identical to B*27052.

The sequence of the B*2722 allele has been shown to be identical to the corrected B*2706 sequence.

The sequence of the B*39012 allele has been shown to be identical to B*39011.

The sequence of the B*3921 allele has been shown to be identical to B*3924.

The sequence of the B*4017 allele has been shown to be identical to B*4016.

The sequence of the B*4041 allele has been shown to be identical to B*4040.

The sequence of the B*4203 allele has been shown to be in error.

The sequence of the B*4401 allele has been shown to be identical to B*4402.

The sequence of the B*5003 allele has been shown to be identical to B*5002.

The sequence of the B*5125 allele has been shown to be identical to B*5122.

The sequence of the B*5506 allele has been shown to be identical to B*5504.

The sequence of the B*5803 allele has never been assigned.

The B*7901 allele has been renamed B*1518.

5The serological reactivity of all HLA-B alleles is not known. In this table we used the information published in Tissue Antigens 1999: 54: 409-437, also available at the www.worldmarrow.org web site.

6The B*0826 and B*4207 alleles give rise to identical amplification patterns with the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5504, B*5508, B*5513, B*5527, B*5615 and B*5619N alleles give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

The B*5523 and B*5618 give rise to identical amplification patterns wih the HLA-B low resolution primer set. These alleles can be separated by the respective high resolution primer sets.

‘ser’, serological HLA specificity.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.