PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*07

Prod. No:	101.512-24/24u

101.512-03/03u

Lot No:    	68G

Expiry Date:    	2012-February-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 68 primer mixes used for HLA-B*07 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*07 alleles3 | Other amplified HLA Class I alleles3,4 |
| --- | --- | --- | --- | --- |
| 1 | 395 bp | 800 bp | *070201-070218, 0704-0707, 0709, 0710w, 0711, 0712, 0714, 0715, 0717-0726, 0728-0731, 0733-0736, 0739-0749N, 0751-0764, 0766-0768, 0770-0782, 0784, 0786-0799 | *420101-4202, 4204-4206, 4208-4210, 4212, 4213, 4506, 670101, 670102, 7301w, 8102 |
| 2 | 285 bp | 1070 bp | *070201-0706, 0708-0711, 0713, 0715-0717, 0720-0732, 0734-0739, 0741-0752, 0754-0759, 0761-0776, 0779-0783, 0785-0799 | *3566, 3707, 4015, 4016, 4031, 4032, 4045, 4080, 4098, 420501, 420502, 480101, 480102, 4805-4812, 4814-4816, 4818-4820, 8101-8104N |
| 3 | 235 bp | 1070 bp | *070201-0704, 0707-0713, 0715, 0716, 071801, 071802, 0720-0727, 0729-0731, 0735-0739, 0741-0752, 0754-0759, 0761-0768, 0770-0773, 0775-0777, 0779, 0781-0789, 0791-0795, 0798, 0799 | *9538, 1835, 3566, 3707, 4031-4033, 4052, 4059, 4098, 4606, 4808, Cw*0223 |
| 45 | 105 bp | 800 bp | *070201-0703, 070501-071802, 0720-0724, 0727-0732, 0735-0739, 0741, 0742, 0744-0747, 0749N-0752, 0754, 0756-0759, 0761-0765, 0767N-0779, 0781-0799 | *3566, 3707, 4015, 4016, 4023, 4032, 4098, 4805, 4808 |
| 58 | 220 bp | 1070 bp | *070201-070218, 0704-0707, 0709-0715, 0717-0726, 0728, 0730, 0731, 0733-0736, 0739-0749N, 0751-0764, 0766-0768, 0773-0784, 0787-0799 | *2701-2711, 2713-2715, 2717, 2719-2721, 2724-2728, 2730-2738, 2740-2758, 420101-4202, 4204-4206, 4208-4210, 4212, 4213, 5402, 5510, 670101-6702, 7301, 8101-8104N |
| 6 | 215 bp | 1070 bp | *0703, 0708, 0716, 0727, 0732, 0738, 0750, 0769, 0785 | *1314, 1401, 1407N, 1408, 1410, 1412, 1414, 1568, 1571, 9575, 180101-1803, 1805-1815, 1817N-1824, 1826-1845, 2712, 2716, 2718, 2723, 2729, 3550, 3584, 370101-3719, 380101-3804, 3806-3820, 39010101, 39010102L, 390103-3903, 3905-3911, 391301-3920, 3922-3951, 3953, 3954, 400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4050, 4056, 4064, 4068, 4070, 4071, 4074, 4075, 4078, 4082, 4083, 4085, 4086, 4089-4091, 4093-4098, 4207, 4211, 480101-4820, 5157 |
| 75,10 | 105 bp, 215 bp | 1070 bp | *0704, 0725, 0729, 0752 | *4108, 420501, 420502 |
| 811 | 160 bp, 235 bp | 1070 bp | *070501-0706, 0732, 0734, 0759, 0769, 0778, 0780, 0790, 0797 | *400101-400108, 4007, 4010, 4012, 401401-4016, 4021-4023, 4025, 4030, 4034, 4036, 4038, 4043, 4045-4049, 4054, 4055, 4061-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079-4081, 4084, 4087, 4088, 4108, 420501, 420502, 4431, 480101, 480102, 480301, 480302, 4805-4807, 4809-4812, 4814-4816, 4818-4820, 8101-8104N |
| 97,12 | 240 bp, 355 bp | 1070 bp | *070501-070503, 0749N | *3546, 3707 |
| 1013 | 285 bp, 415 bp | 800 bp | *0707, 0712, 0714, 071801, 071802, 0747, 0777, 0781 | *9538, 1835, 400101-400108, 4007, 4010, 4012, 401401-401403, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4052, 4054, 4055, 4059-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079, 4081, 4084, 4087, 4088, 4108, 4431, 4606, 480301, 480302, 4817, 4818, Cw*0223, Cw*0738 |
| 1114 | 130 bp, 210 bp | 1070 bp | *0708, 0710, 0732, 0738, 0739 | *180701, 180702, 1829, 2701-270508, 270510-2711, 2713-2715, 2717, 2719-2721, 2723-2728, 2730-2759N, 3550, 3584, 3806, 3807, 4008, 4013, 4068, 4806, 5157, 7301 |
| 12 | 225 bp | 1070 bp | *0709, 0711, 0717 | *9538, 1835, 3566, 4038, 4052, 4059, 4060, 4606, 4814, Cw*0738 |
| 135,15 | 85 bp, 290 bp | 1070 bp | *0712, 0714, 071801, 071802, 0731, 0734, 0743 | *4030, 4034, 4059, 4108, 420501, 420502, 4817, Cw*0738 |
| 146,8,16 | 215 bp, 395 bp | 800 bp | *0713, 0726, 0734, 0743, 0748, 0780 | *0813, 0825, 1405, 1413, 1555, 1814, 1822, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3516, 3517, 3522, 3530, 3531, 3551, 3558, 3572, 3589, 3597, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4031, 4035, 4037, 4039, 4040, 4045, 4050, 4056-4058, 4071, 4078, 4080, 4082, 4085, 4089, 4091, 4094, 4097, 4454, 480101, 480102, 4804, 4806, 4807, 4809-4816, 4818, 4820, 5164, 5181, 5314, 5504, 5818, 6702, 8101-8104N, Cw*0305, Cw*0325, Cw*0327, Cw*0808 |
| 1517 | 385 bp, 425 bp | 1070 bp | *0711, 0747, 0754, 0757, 0775 | *0806, 0817, 0847, 3920, 4506 |
| 16 | 230 bp | 1070 bp | *0716, 0727, 0737, 0738, 0750, 0775, 0791 | *1314, 1414, 1568, 1571, 9575, 180101, 180103-1802, 1805-1815, 1817N-1824, 1826-1845, 2701, 2718, 2723, 2729, 2744, 3550, 3584, 370101-3719, 380101-380202, 3804, 3806-3812, 3815-3820, 3905, 3907, 3908, 3911, 391301, 391302, 3920, 3937, 3949, 400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4056, 4064, 4068, 4070, 4071, 4074, 4075, 4078, 4082, 4083, 4085, 4086, 4089-4091, 4093-4098, 4211, 480101-4820, 5157, 5710 |
| 1718 | 345 bp, 425 bp | 1070 bp | *0711, 0727, 0746, 0757, 0775 | *0806, 0817, 0847, 3817, 3920 |
| 18 | 265 bp | 1070 bp | *0712, 0778, 0784 | *3566, 4059, 4060, 4817, Cw*0223, Cw*0738 |
| 1919 | 205 bp, 250 bp, 295 bp | 800 bp | *0720, 0735 | *1514, 1591, 9531, 9561, 3545, 3571, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 4454, 4462, 4477, 4482, 4509, 4617, 5123, 5215, 5707, 5807, 8201, 8202 |
| 2020 | 160 bp, 205 bp, 275 bp | 1070 bp | *0721, 0751, 0759 | Cw*0808 |
| 215,21 | 100 bp, 165 bp | 1070 bp | *072201, 072202, 0752 |  |
| 22 | 385 bp | 1070 bp | *0723 | *4079 |
| 235 | 85 bp | 1070 bp | *0720, 0724 | *4063 |
| 245,8 | 125 bp | 800 bp | *0725, 0739, 0748 | *1835, 2736, 3566, 400101-400108, 4007, 4010, 4012, 401401-401403, 4021, 4022N, 4025, 4030, 4031, 4033, 4034, 4036, 4038, 4042, 4043, 4045-4049, 4052, 4054, 4055, 4059-4063, 4065, 4066, 4069, 407201-4074, 4076, 4077, 4079-4081, 4084, 4087, 4088, 4108, 420501, 420502, 4431, 4606, 480101, 480102, 480301, 480302, 4806, 4807, 4809-4812, 4814, 4816-4820, 8101-8104N |
| 25 | 425 bp | 1070 bp | *0727 | *3817 |
| 265, 22 | 95 bp, 220 bp, 290 bp | 800 bp | *0720, 0724, 0728, 0742, 0751, 0760 | *0814, 0821, 0825, 1507, 1545, 1555, 1568, 9526, 2732, 3505, 3522, 3551, 3558, 3572, 3589, 3597, 4005, 4071, 4454, 4612, 5164, 5314, 5818, Cw*0305, Cw*0325, Cw*0327, Cw*0808 |
| 2723 | 165 bp, 215 bp | 800 bp | *0729, 0741 |  |
| 285,6 | 110 bp | 1070 bp | *0730 |  |
| 295,6,8, 24 | 85 bp, 200 bp | 800 bp | *0731, 0734, 0743, 0744 | *4108, 420501, 420502, Cw*0738 |
| 30 | 190 bp | 800 bp | *070501-0706, 0732, 0740, 0753, 0769, 0778, 0780, 0790, 0797 | *0840, 130101-130206, 1307N-1309, 1311, 1313-1323, 1325, 1327-1330, 2707, 2711, 2720, 2724, 2727, 2733, 2743, 3531, 3588, 3947, 3950, 400101-400207, 4004, 40060101-4008, 4010-4016, 4019, 4021-4023, 4025, 4027, 4029, 4030, 4034-4038, 4040, 4043, 4045-4050, 4053-4058, 4061, 4062, 4064-4070, 407201-4088, 4090, 4091, 4093-4097, 4431, 480101, 480102, 480301-4807, 4809-4816, 4818-4820, 5110, 5116, 5131, 5134, 5181, 5182, 5208, 5509, 5522, 5524, 8101-8104N |
| 3125 | 215 bp, 280 bp | 800 bp | *0719, 0733, 0753, 0755, 0760 | *1405, 1413, 1507, 1545, 1555, 1568, 9526, 1814, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3522, 3531, 3551, 3558, 3572, 3589, 3597, 3709, 3819, 3903, 3914, 3924, 3929, 3937, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4035, 4037, 4039, 4040, 4050, 4056-4058, 4071, 4078, 4082, 4085, 4089-4091, 4094, 4097, 4208, 4454, 4612, 4804, 4813, 4819, 5164, 5181, 5314, 5504, 5818, Cw*0305, Cw*0325, Cw*0327, Cw*0808 |
| 329 | 190 bp | 1070 bp | *0734 | *080101-0806, 0808N-0810, 081201-0813, 0815-0820, 0822-0824, 0826, 0827, 0829-0836, 0838, 0839, 0841-0847, 1306, 1413, 1542, 1583, 1586, 1826, 3560, 3587, 3712, 380101, 380103-3807, 3809-3820, 39010101, 39010102L, 390103-390602, 3908-3914, 3916, 3918-3920, 3922-3924, 3926-3928, 3930, 3931, 3934-3937, 3939, 3941, 3942, 3944-3946, 3948, 3951-3954, 4039, 4051, 4101-410302, 4105-4109, 4111, 4112, 420101-4202, 4204-4208, 4210-4213, 4618, 5121, 5136, 5401, 5402, 5404, 5405N, 5407, 5408N, 5410-5413, 5417-5419, 550101-5505, 5507, 5510-5513, 5515-5521, 5525, 5526, 5528-5538, 5610, 5612, 5623, 5820, 5901-5903, 5905, 670101-6702 |
| 33 | 350 bp | 1070 bp | *0761 |  |
| 34 | 155 bp | 1070 bp | *0762, 0790 |  |
| 355 | 105 bp | 1070 bp | *0763 |  |
| 36 | 250 bp | 1070 bp | *0764 |  |
| 37 | 210 bp | 1070 bp | *0765 | *1804, 4058, 560501, 5606, 7801, 780202, 7803 |
| 38 | 215 bp | 1070 bp | *0766 |  |
| 397 | 425 bp | 1070 bp | *070501-0706, 0734, 0740, 0753, 0780, 0790, 0797 | *420101-4202, 4204-420502, 4207, 4208, 4210, 4212, 4213, 5404, 5411, 5504, 5508, 5517, 5520, 5528, 560501-5606, 5612, 5615, 5621, 8101-8104N |
| 406,26 | 265 bp, 395 bp | 1070 bp | *0756, 0772, 0783 | *0826, 4010?, 4021?, 4058?, 4112, 4903 |
| 41 | 400 bp | 1070 bp | *0758 |  |
| 4227 | 195 bp, 225 bp | 1070 bp | *0767N, 0771 |  |
| 438 | 140 bp | 1070 bp | *0768 | *1405, 1413, 1507, 1545, 1555, 1568, 9526, 1814, 2732, 3505, 3522, 3551, 3558, 3566, 3572, 3589, 3597, 3819, 3903, 3914, 3924, 3929, 3937, 4035, 4071, 4210, 4454, 4612, 4812, 4814, 5164, 5314, 5818 |
| 44 | 150 bp | 1070 bp | *0710 | *7301w |
| 455 | 105 bp | 1070 bp | *0727, 0750 | *0804, 0817, 150301-150303, 1547, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 9531, 9532, 9551, 9556, 9558, 9573, 1837, 2718, 2729, 3803, 390201, 390202, 3908, 391301, 391302, 3923, 3939, 3949, 4012, 4046, 4093, 4211, 4440, 4444, 480101-4805, 4807-4820, 5216, 5518 |
| 46 | 425 bp | 1070 bp | *0713, 0715, 0792 | *0815, 3927, 4073, 6702, 7301w |
| 47 | 215 bp | 800 bp | *0704, 0719, 0725 | *080101-0805, 0807, 0808N, 0810, 0811, 0814, 0815, 0817-0819N, 0821-0824, 0826-0839, 0841-0847, 3587, 3709, 410201, 410202, 4104, 4110, 4111, 420101-4202, 420501-4212 |
| 4828 | 200 bp, 280 bp | 1070 bp | *0776, 0777 | *4060, Cw*0738 |
| 49 | 200 bp | 1070 bp | *0782 |  |
| 505,29 | 75 bp, 165 bp | 1070 bp | *0774, 0787 |  |
| 5130 | 345 bp, 470 bp | 1070 bp | *0793, 0797 | *0839 |
| 52 | 290 bp | 800 bp | *0795 |  |
| 536 | 235 bp | 800 bp | *0714, 0717, 0728, 0796 | *2736, 4042, 4060, 4817, Cw*0738 |
| 54 | 190 bp | 1070 bp | *0798 |  |
| 55 | 260 bp | 1070 bp | *0799 |  |
| 568 | 230 bp | 1070 bp | *0720, 0724, 0745, 0760 | *0821, 0825, 1507, 1545, 1555, 1568, 9526, 3505, 3522, 3551, 3558, 3572, 3589, 3597, 4005, 4071, 4454, 4612, 5164, 5314, 5818, Cw*0305, Cw*0325, Cw*0327 |
| 57 | 215 bp | 1070 bp | *0770 |  |
| 58 | 440 bp | 1070 bp | *0779 |  |
| 59 | 190 bp | 800 bp | *0789 |  |
| 60 | 145 bp | 1070 bp | *0773 | *4506 |
| 61 | 205 bp | 1070 bp | *0788 |  |
| 62 | 415 bp | 800 bp | *0716, 0727, 0737, 0738, 0750, 0775, 0791 | *0803, 0823, 1414, 1568, 380101-380202, 3804-3812, 3815-3820, 3905, 3907, 3908, 3911, 391301, 391302, 3920, 3937, 3949, 400101-400108, 4007, 4009?-4011?, 401401?-4015?, 4016, 4018?, 4019?, 4021?, 4022N?, 4023, 4024?-4038?, 4042?, 4044?-4049?, 4051, 4052?-4058?, 4059, 4060, 4061?-4065?, 4067?-4069?, 4071?, 407201-4073, 4074?-4076?, 4077, 4078?, 4079, 4080?-4088?, 4090?-4093?, 4095?, 4096?, 4098?, 4101-4112, 4211, 4418, 4501-4505, 4507-4510, 480101-4820, 490101-4907, 500101-5002, 5004-5009 |
| 635 | 65 bp | 1070 bp | *0794 | Cw*0515 |
| 64 | 210 bp | 1070 bp | *0769, 0785 | *1401, 1407N, 1408, 1410, 1412, 1414, 1833, 2712, 2716, 380101-380202, 3804, 3808-3820, 39010101, 39010102L, 390103-390110, 3903, 3905-3907, 3909, 3911, 3914, 3915, 3918-391902, 3922, 3924-3938Q, 3940N-3948, 3950, 3951, 3953, 3954, 4075 |
| 65 | 385 bp | 1070 bp | *0754 | *4506 |
| 66 | 435 bp | 1070 bp | *0736, 0738, 0781 | *0803, 380101-380104, 3805-3807, 3809-3814, 3816, 3819, 3820, 4019?, 4418, 4818, 490101, 490102, 4903-4907 |
| 67 | 230 bp | 1070 bp | *0729, 0772, 0786 | *080101-0847, 1411, 3904, 400101-400108, 4007, 4010?, 401401?-4015?, 4016, 4021?, 4022N?, 4023, 4025?, 4030?-4034?, 4036?, 4038?, 4042?, 4043?, 4045?-4049?, 4051, 4052?-4055?, 4058?, 4059, 4060, 4061?-4063?, 4065?, 4066, 4067?, 4069?, 407201-4073, 4076?, 4077, 4079, 4080?, 4081?, 4084?, 4087?, 4088?, 4092?, 4101-4112, 4418, 4501-4510, 490101-4907, 500101-5002, 5004-5009 |
| 68 | 415 bp | 1070 bp | *0713, 0715 | *0816, 6702 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*07 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*07 subtyping.

In addition, wells number 4, 10, 14, 19, 24, 26, 27, 29, 30, 31, 47, 52, 53, 59 and 62 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st exon are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*07 alleles will be amplified by primer mixes 1 to 19, 22 to 26, 29 to 32, 37, 39, 40, 43 to 48, 51, 53, 56, 60, 62 and 64 to 68. In addition, the Cw*0223 allele will be amplified by primer mixes 3, 10 and 18, the Cw*0305, Cw*0325 and Cw*0327 alleles will be amplified by primer mixes 14, 26, 31and 56, the Cw*0515 allele will be amplified by primer mix 63, the Cw*0738 allele will be amplified by primer mixes 10, 12, 13, 18, 29, 48 and 53 and the Cw*0808 allele will be amplified by primer mixes 14, 20, 26 and 31.

The B*0750 and B*4808 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

5Specific PCR fragments shorter than 125 base pairs are less intense and not as sharp as longer specific bands.

6Primer mixes 14, 28, 29, 40 and 53 may have tendencies of non-specific amplification, most pronounced in primer mixes 29 and 53.

7Primer mixes 9 and 39 may yield less specific PCR product than the other HLA-B*07 primer mixes.

8Primer mixes 5, 14, 24, 29, 43 and 56 have tendencies of giving rise to primer dimer artefacts.

9Primer mix 32 may give rise to a faint band in the B*1401 to 1414, B*370101-37010107, B*3703N-3706, 3708, 3710, 3711, 3713-3721, B*3917, Cw*0103, Cw*0124, Cw*04010101-04010105, Cw*040107-040102, Cw*0403 to 0407, Cw*0409N  to 0420, Cw*0424-0431, Cw*0433, Cw*0435-0448, Cw*0501, Cw*0503, Cw*0505-0521, Cw*0523-0526, Cw*0528-0530, Cw*0609, Cw*080101- 0805, Cw*0807, Cw*0808, Cw*0810, Cw*0812-0829 and Cw*1801-1802.

10Primer mix 7: Specific PCR fragment of 105 bp in the B*0704, 0725 and 0752 and the B*4108, 420501 and 420502 alleles. Specific PCR fragment of 215 bp in the B*0729 allele.

11Primer mix 8: Specific PCR fragment of 160 bp in the B*0759 allele. Specific PCR fragment of 235 bp in the B*070501-0706, 0732, 0734, 0769, 0778, 0780, 0790 and 0797 and the B*400101-400108, 4007, 4010, 4012, 401401-4016, 4021-4023, 4025, 4030, 4034, 4036, 4038, 4043, 4045-4049, 4054, 4055, 4061-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079-4081, 4084, 4087, 4088, 4108, 420501, 420502, 4431, 480101, 480102, 480301, 480302, 4805-4807, 4809-4812, 4814-4816, 4818-4820 and 8101-8104N alleles.

12Primer mix 9: Specific PCR fragment of 240 bp in B*0749N allele. Specific PCR fragment of 355 bp in the B*070501-070503 and the B*3546 and 3707 alleles.

13Primer mix 10: Specific PCR fragment of 285 bp in the B*0707, 0712, 0714, 071801, 071802 and 0777 and the B*9538, 1835, 400101-400108, 4007, 4010, 4012, 401401-401403, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4052, 4054, 4055, 4059-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079, 4081, 4084, 4087, 4088, 4108, 4431, 4606, 480301, 480302 and 4817 and the Cw*0223 and Cw*0738 alleles. Specific PCR fragment of 415 bp in B*0747 and 0781 and the B*4818 alleles.

14Primer mix 11: Specific PCR fragment of 130 bp in B*0739 allele.Specific PCR fragment of 210 bp in the B*0708, 0710, 0732, and 0738 and the B*180701, 180702, 1829, 2701-270508, 270510-2711, 2713-2715, 2717, 2719-2721, 2723-2728, 2730-2759N, 3550, 3584, 3806, 3807, 4008, 4013, 4068, 4806, 5157 and 7301 alleles.

15Primer mix 13: Specific PCR fragment of 85 bp in the B*0731, 0734 and 0743 and the B*4108, 420501 and 420502 and the Cw*0738 alleles. Specific PCR fragment of 290 bp in the B*0712, 0714, 071801 and 071802 and the B*4030, 4034, 4059 and 4817 alleles.

16Primer mix 14: Specific PCR fragment of 215 bp in the B*0726, 0734, 0743, 0748 and 0780 and the B*0813, 0825, 1405, 1413, 1555, 1814, 1822, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3516, 3517, 3522, 3530, 3531, 3551, 3558, 3572, 3589, 3597, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4031, 4035, 4037, 4039, 4040, 4045, 4050, 4056-4058, 4071, 4078, 4080, 4082, 4085, 4089, 4091, 4094, 4097, 4454, 480101, 480102, 4804, 4806, 4807, 4809-4816, 4818, 4820, 5164, 5181, 5314, 5504, 5818 and 8101-8104N and the Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragment of 395 bp in the B*0713 and the B*6702 alleles.

17Primer mix 15: Specific PCR fragment of 385 bp in the B*0754 and the B*4506 alleles. Specific PCR fragment of 425 bp in the B*0711, 0747, 0757 and 0775 and the B*0806, 0817, 0847 and 3920 alleles.

18Primer mix 17: Specific PCR fragment of 345 bp in the B*0746 allele. Specific PCR fragment of 425 bp in the the B*0711, 0727, 0757 and 0775 and the B*0806, 0817, 0847, 3817 and 3920 alleles.

19Primer mix 19: Specific PCR fragment of 205 bp in the B*1514, 1591, 9531, 9561, 3545, 3571, 4410, 4414, 4417, 4431, 4443, 4451, 4462, 4477, 4482, 4509, 4617, 5123, 5215, 5707, 5807, 8201 and 8202 alleles. Specific PCR fragment of 205 and 250 bp in the B*0720 and in the B*4454 alleles. Specific PCR fragment of 250 and 295 bp in the B*0735 allele.

20Primer mix 20: Specific PCR fragment of 160 bp in the B*0759 allele. Specific PCR fragment of 205 bp in the B*0751 and the Cw*0808 alleles. Specific PCR fragment of 275 bp in the B*0721 allele.

21Primer mix 21: Specific PCR fragment of 100 bp in the B*0752 allele. Specific PCR fragment of 165 bp in the B*072201 and 072202 alleles.

22Primer mix 26: Specific PCR fragment of 95 bp in the B*0728 and the B*0814 and 2732 alleles. Specific PCR fragment of 220 bp in the B*0720, 0724, 0751, 0760 and the  B*0821, 0825, 1507, 1545, 1555, 1568, 9526, 3505, 3522, 3551, 3558, 3572,  3589, 3597, 4005, 4071, *4612, 5164, 5314, 5818, Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragment of 290 bp in the B*0742 allele. Specific PCR fragments of 95 and 220 bp in the B*4454 allele

23Primer mix 27: Specific PCR fragment of 165 bp in the B*0741 allele . Specific PCR fragment of 215 bp in the B*0729 allele.

24Primer mix 29: Specific PCR fragment of 85 bp in the B*0731, 0734 and 0743 and the B*4108, 420501, 420502 and Cw*0738alleles. Specific PCR fragment of 200 bp in the B*0744 allele.

25Primer mix 31: Specific PCR fragment of 215 bp in the B*0755 and the B*4819 alleles. Specific PCR fragment of 280 bp in the B*0719, B0733, B0753, B0760 and the B*1405, 1413, 1555, 1814, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3522, 3531, 3551, 3558, 3572, 3589, 3597, 3709, 3819, 3903, 3914, 3924, 3929, 3937, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4035, 4037, 4039, 4040, 4050, 4056-4058, 4071, 4078,  4078, 4082, 4085, 4089-4091, 4094, 4097, 4208, 4454, 4804, 4813, 5164, 5181, 5314, 5504, 5818, Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragments of 215 and 280 bp in the B*4612, 1507, 1545, 1568 and B*9526 alleles.

26Primer mix 40: Specific PCR fragment of 265 bp in the B*0756 and 0772 and the B*0826, 4010?, 4021?, 4058?, 4112 and 4903 alleles. Specific PCR fragment of 395 bp in the B*0783 alleles.

27Primer mix 42: Specific PCR fragment of 195 bp in the B*0767N allele. Specific PCR fragment of 225 bp in the B*0771 allele.

28Primer mix 48: Specific PCR fragment of 200 bp in the B*0776 allele. Specific PCR fragment of 280 bp in the B*0777 and the B*4060 and Cw*0738 alleles.

29Primer mix 50: Specific PCR fragment of 75 bp in the B*0774 allele. Specific PCR fragment of 165 bp in the B*0787 allele.

30Primer mix 51: Specific PCR fragment of 345 bp in the B*0797 allele. Specific PCR fragment of 470 bp in the B*0793 and the B*0839 alleles.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The sequence of B*0701 has been shown to be in error.

2The B*0750 and B*4808 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

3Primer mix 7: Specific PCR fragment of 105 bp in the B*0704, 0725 and 0752 and the B*4108, 420501 and 420502 alleles. Specific PCR fragment of 215 bp in the B*0729 allele.

Primer mix 8: Specific PCR fragment of 160 bp in the B*0759 allele. Specific PCR fragment of 235 bp in the B*070501-0706, 0732, 0734, 0769, 0778, 0780, 0790 and 0797 and the B*400101-400108, 4007, 4010, 4012, 401401-4016, 4021-4023, 4025, 4030, 4034, 4036, 4038, 4043, 4045-4049, 4054, 4055, 4061-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079-4081, 4084, 4087, 4088, 4108, 420501, 420502, 4431, 480101, 480102, 480301, 480302, 4805-4807, 4809-4812, 4814-4816, 4818-4820 and 8101-8104N alleles.

Primer mix 9: Specific PCR fragment of 240 bp in B*0749N allele. Specific PCR fragment of 355 bp in the B*070501-070503 and the B*3546 and 3707 alleles.

Primer mix 10: Specific PCR fragment of 285 bp in the B*0707, 0712, 0714, 071801, 071802 and 0777 and the B*9538, 1835, 400101-400108, 4007, 4010, 4012, 401401-401403, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4052, 4054, 4055, 4059-4063, 4065-4067, 4069, 407201-4074, 4076, 4077, 4079, 4081, 4084, 4087, 4088, 4108, 4431, 4606, 480301, 480302 and 4817 and the Cw*0223 and Cw*0738 alleles. Specific PCR fragment of 415 bp in B*0747 and 0781 and the B*4818 alleles.

Primer mix 11: Specific PCR fragment of 130 bp in B*0739 allele.Specific PCR fragment of 210 bp in the B*0708, 0710, 0732, and 0738 and the B*180701, 180702, 1829, 2701-270508, 270510-2711, 2713-2715, 2717, 2719-2721, 2723-2728, 2730-2759N, 3550, 3584, 3806, 3807, 4008, 4013, 4068, 4806, 5157 and 7301 alleles.

Primer mix 13: Specific PCR fragment of 85 bp in the B*0731, 0734 and 0743 and the B*4108, 420501 and 420502 and the Cw*0738 alleles. Specific PCR fragment of 290 bp in the B*0712, 0714, 071801 and 071802 and the B*4030, 4034, 4059 and 4817 alleles.

Primer mix 14: Specific PCR fragment of 215 bp in the B*0726, 0734, 0743, 0748 and 0780 and the B*0813, 0825, 1405, 1413, 1555, 1814, 1822, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3516, 3517, 3522, 3530, 3531, 3551, 3558, 3572, 3589, 3597, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4031, 4035, 4037, 4039, 4040, 4045, 4050, 4056-4058, 4071, 4078, 4080, 4082, 4085, 4089, 4091, 4094, 4097, 4454, 480101, 480102, 4804, 4806, 4807, 4809-4816, 4818, 4820, 5164, 5181, 5314, 5504, 5818 and 8101-8104N and the Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragment of 395 bp in the B*0713 and the B*6702 alleles.

Primer mix 15: Specific PCR fragment of 385 bp in the B*0754 and the B*4506 alleles. Specific PCR fragment of 425 bp in the B*0711, 0747, 0757 and 0775 and the B*0806, 0817, 0847 and 3920 alleles.

Primer mix 17: Specific PCR fragment of 345 bp in the B*0746 allele. Specific PCR fragment of 425 bp in the the B*0711, 0727, 0757 and 0775 and the B*0806, 0817, 0847, 3817 and 3920 alleles.

Primer mix 19: Specific PCR fragment of 205 bp in the B*1514, 1591, 9531, 9561, 3545, 3571, 4410, 4414, 4417, 4431, 4443, 4451, 4462, 4477, 4482, 4509, 4617, 5123, 5215, 5707, 5807, 8201 and 8202 alleles. Specific PCR fragment of 205 and 250 bp in the B*0720 and in the B*4454 alleles. Specific PCR fragment of 250 and 295 bp in the B*0735 allele.

Primer mix 20: Specific PCR fragment of 160 bp in the B*0759 allele. Specific PCR fragment of 205 bp in the B*0751 and the Cw*0808 alleles. Specific PCR fragment of 275 bp in the B*0721 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*0752 allele. Specific PCR fragment of 165 bp in the B*072201 and 072202 alleles.

Primer mix 26: Specific PCR fragment of 95 bp in the B*0728 and the B*0814 and 2732 alleles. Specific PCR fragment of 220 bp in the B*0720, 0724, 0751, 0760 and the  B*0821, 0825, 1507, 1545, 1555, 1568, 9526, 3505, 3522, 3551, 3558, 3572,  3589, 3597, 4005, 4071, *4612, 5164, 5314, 5818, Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragment of 290 bp in the B*0742 allele. Specific PCR fragments of 95 and 220 bp in the B*4454 allele

Primer mix 27: Specific PCR fragment of 165 bp in the B*0741 allele . Specific PCR fragment of 215 bp in the B*0729 allele.

Primer mix 29: Specific PCR fragment of 85 bp in the B*0731, 0734 and 0743 and the B*4108, 420501, 420502 and Cw*0738alleles. Specific PCR fragment of 200 bp in the B*0744 allele.

Primer mix 31: Specific PCR fragment of 215 bp in the B*0755 and the B*4819 alleles. Specific PCR fragment of 280 bp in the B*0719, B0733, B0753, B0760 and the B*1405, 1413, 1555, 1814, 2707, 2711, 2724, 2732-2734, 2743, 3505, 3522, 3531, 3551, 3558, 3572, 3589, 3597, 3709, 3819, 3903, 3914, 3924, 3929, 3937, 400201-4003, 4005, 4008, 4009, 4013, 4018, 4019, 4024, 4027, 4029, 4035, 4037, 4039, 4040, 4050, 4056-4058, 4071, 4078,  4078, 4082, 4085, 4089-4091, 4094, 4097, 4208, 4454, 4804, 4813, 5164, 5181, 5314, 5504, 5818, Cw*0305, Cw*0325, Cw*0327 and Cw*0808 alleles. Specific PCR fragments of 215 and 280 bp in the B*4612, 1507, 1545, 1568 and B*9526 alleles.

Primer mix 40: Specific PCR fragment of 265 bp in the B*0756 and 0772 and the B*0826, 4010?, 4021?, 4058?, 4112 and 4903 alleles. Specific PCR fragment of 395 bp in the B*0783 alleles.

Primer mix 42: Specific PCR fragment of 195 bp in the B*0767N allele. Specific PCR fragment of 225 bp in the B*0771 allele.

Primer mix 48: Specific PCR fragment of 200 bp in the B*0776 allele. Specific PCR fragment of 280 bp in the B*0777 and the B*4060 and Cw*0738 alleles.

Primer mix 50: Specific PCR fragment of 75 bp in the B*0774 allele. Specific PCR fragment of 165 bp in the B*0787 allele.

Primer mix 51: Specific PCR fragment of 345 bp in the B*0797 allele. Specific PCR fragment of 470 bp in the B*0793 and the B*0839 alleles.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.