PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*07

Prod. No:	101.512-24/24u

101.512-03/03u

Lot No:    	32N

Expiry Date:    	2014-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 79 primer mixes used for HLA-B*07 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*07 alleles3,4 | Other amplified HLA Class I alleles3,5 |
| --- | --- | --- | --- | --- |
| 1 | 395 bp | 800 bp | *07:02:01-07:02:27, 07:02:29, 07:04-07:07, 07:09, 07:10w, 07:11-07:12, 07:14-07:15, 07:17-07:26, 07:28-07:31, 07:33-07:36, 07:39-07:49N, 07:51-07:64, 07:66-07:68:03, 07:70-07:82, 07:84, 07:86-07:124, 07:126-07:144 | *14:21, 38:26, 40:166?, 42:01:01-42:02, 42:04-42:06, 42:08-42:10, 42:12-42:16, 45:06, 67:01:01-67:01:02, 67:03, 73:01w-73:02w, 81:02 |
| 2 | 285 bp | 1070 bp | *07:02:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:32, 07:34-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:76, 07:79-07:83, 07:85-07:99, 07:101-07:121, 07:123-07:136, 07:138, 07:140-07:144 | *08:79, 35:66, 37:07, 40:15-40:16, 40:31-40:32, 40:45, 40:80, 40:98, 42:05:01-42:05:02, 48:01:01-48:01:03, 48:05-48:12, 48:14-48:16, 48:18-48:20, 48:22, 48:27, 81:01-81:05 |
| 3 | 235 bp | 1070 bp | *07:02:01-07:04, 07:07-07:13, 07:15-07:16, 07:18:01-07:18:02, 07:20-07:27, 07:29-07:31, 07:35-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:68:03, 07:70-07:73, 07:75-07:77, 07:79, 07:81-07:89, 07:91-07:95, 07:98-07:99, 07:101-07:104, 07:106-07:111N, 07:113-07:114, 07:116-07:121, 07:124-07:136, 07:141-07:144 | *15:138, 18:35, 35:66, 37:07, 40:31-40:33, 40:52, 40:59, 40:98, 46:06, 48:08, 48:23, C*02:23 |
| 46 | 105 bp | 800 bp | *07:02:01-07:02:25, 07:02:27-07:03, 07:05:01-07:18:02, 07:20-07:24, 07:27-07:32, 07:35-07:39, 07:41-07:42, 07:44-07:47, 07:49N-07:52, 07:54, 07:56-07:59, 07:61-07:65, 07:67N-07:79, 07:81-07:99, 07:101-07:121, 07:123-07:130, 07:132-07:138, 07:140-07:144 | *08:79, 35:66, 37:07, 40:15-40:16, 40:23, 40:32, 40:98, 40:128, 48:05, 48:08, C*04:77 |
| 57 | 220 bp | 1070 bp | *07:02:01-07:02:29, 07:04-07:07, 07:09-07:15, 07:17-07:26, 07:28, 07:30-07:31, 07:33-07:36, 07:39-07:49N, 07:51-07:64, 07:66-07:68:03, 07:73-07:84, 07:87-07:144 | *27:01-27:11, 27:13-27:15, 27:17, 27:19-27:21, 27:24-27:28, 27:30-27:38, 27:40-27:58, 27:60-27:76, 27:78-27:86, 38:26, 42:01:01-42:02, 42:04-42:06, 42:08-42:10, 42:12-42:16, 54:02, 55:10, 67:01:01-67:03, 73:01-73:02, 81:01-81:05, C*03:137, C*07:102w |
| 6 | 215 bp | 1070 bp | *07:03, 07:08, 07:16, 07:27, 07:32, 07:38, 07:50, 07:69, 07:85 | *13:14, 14:01:01-14:01:02, 14:07N-14:08, 14:10, 14:12, 14:14, 14:19, 14:26, 15:68, 15:71, 15:175, 18:01:01-18:01:12, 18:01:14-18:03, 18:05-18:15, 18:17N-18:24, 18:26-18:67, 27:12, 27:16, 27:18, 27:23, 27:29, 35:50, 35:84, 35:162, 37:01:01-37:31, 38:01:01-38:04, 38:06-38:25, 38:27-38:32, 38:35-38:37, 39:01:01:01-39:01:01:02L, 39:01:03-39:03, 39:05:01-39:11, 39:13:01-39:20, 39:22-39:51, 39:53-39:62, 39:64-39:68, 40:02:01-40:06:04, 40:08-40:09, 40:11:01-40:11:02, 40:13, 40:18-40:20, 40:24, 40:26-40:27:01, 40:28-40:29, 40:35, 40:37, 40:39-40:40, 40:44, 40:50, 40:56, 40:64, 40:68, 40:70-40:71, 40:74-40:75, 40:78, 40:82-40:83, 40:85-40:86, 40:89-40:91, 40:93-40:99, 40:104-40:105, 40:107, 40:109, 40:111, 40:115, 40:119-40:120, 40:122, 40:127, 40:131, 40:133Q, 40:142N-40:145, 40:148-40:149, 40:157, 40:159, 40:161-40:162, 40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:180, 42:07, 42:11, 44:103, 44:130-44:131, 48:01:01-48:21, 48:23-48:27, 51:57, 51:103, 51:116, 53:21 |
| 76,12 | 105 bp, 215 bp | 1070 bp | *07:04, 07:25, 07:29, 07:52 | *40:136, 41:08, 42:05:01-42:05:02 |
| 813 | 160 bp, 235 bp | 1070 bp | *07:05:01-07:06, 07:32, 07:34, 07:59, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140 | *08:79, 40:01:01-40:01:20, 40:01:22-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:16, 40:21-40:23, 40:25, 40:30, 40:34, 40:36, 40:38, 40:43, 40:45-40:49, 40:54-40:55, 40:61-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160, 40:166, 40:168, 40:170-40:171, 40:175, 40:179, 41:08, 42:05:01-42:05:02, 44:31, 48:01:01-48:01:03, 48:03:01-48:03:02, 48:05-48:07, 48:09-48:12, 48:14-48:16, 48:18-48:22, 81:01-81:05 |
| 98 | 355 bp | 1070 bp | *07:05:01-07:05:06 | *35:46, 37:07 |
| 1014 | 285 bp, 415 bp | 800 bp | *07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:47, 07:77, 07:81, 07:137 | *08:52, 15:138, 15:230, 18:35, 40:01:01-40:01:17, 40:01:19-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:109?, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 41:08, 44:31, 46:06, 48:03:01-48:03:02, 48:17-48:18, 48:23, C*02:23, C*04:77, C*07:38 |
| 1115 | 130 bp, 210 bp | 1070 bp | *07:08, 07:10, 07:32, 07:38-07:39 | *18:07:01-18:07:02, 18:29, 27:01-27:05:08, 27:05:10-27:11, 27:13-27:15, 27:17, 27:19-27:21, 27:23-27:28, 27:30-27:76, 27:78-27:84, 27:86, 35:50, 35:84, 35:162, 37:21, 38:06-38:07, 39:58, 40:08, 40:13, 40:68, 40:162, 48:06, 51:57, 51:103, 51:116, 53:21, 73:01-73:02 |
| 12 | 225 bp | 1070 bp | *07:09, 07:11, 07:17 | *15:138, 18:35, 35:66, 40:38, 40:52, 40:59-40:60, 40:158, 46:06, 48:14, 48:23, C*07:38 |
| 136,16 | 85 bp, 290 bp | 1070 bp | *07:12, 07:14, 07:18:01-07:18:02, 07:31, 07:34, 07:43, 07:137 | *40:30, 40:34, 40:59, 40:137, 40:160, 41:08, 42:05:01-42:05:02, 48:17, C*07:38 |
| 149 | 215 bp | 800 bp | *07:26, 07:34, 07:43, 07:48, 07:80, 07:131 | *08:13, 08:25, 14:05, 14:13, 15:55, 18:14, 18:22, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:02, 35:16-35:17, 35:22, 35:30-35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:113-35:114, 35:125, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:31, 40:35, 40:37, 40:39-40:40, 40:45, 40:50, 40:56-40:58, 40:71, 40:78, 40:80, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180, 44:54, 44:110, 44:135, 48:01:01-48:01:03, 48:04, 48:06-48:07, 48:09-48:16, 48:18, 48:20, 48:22, 48:24, 48:27, 51:64, 51:81, 53:14, 55:04, 55:49, 55:51, 58:18, 58:27, 81:01-81:05, C*03:05, C*03:25, C*03:27, C*08:08 |
| 1517 | 385 bp, 415 bp | 1070 bp | *07:11, 07:47, 07:54, 07:57, 07:75, 07:123 | *08:17, 08:47, 39:20, 42:15, 45:06 |
| 16 | 230 bp | 1070 bp | *07:16, 07:27, 07:37-07:38, 07:50, 07:75, 07:91 | *13:14, 14:14, 15:68, 15:71, 15:175, 18:01:01, 18:01:03-18:01:12, 18:01:14-18:02, 18:05-18:15, 18:17N-18:24, 18:26-18:67, 27:01, 27:18, 27:23, 27:29, 27:44, 35:50, 35:84, 35:162, 37:01:01-37:31, 38:01:01-38:02:03, 38:04, 38:06-38:12, 38:15-38:25, 38:27-38:32, 38:34N-38:37, 39:05:01-39:05:02, 39:07-39:08, 39:11, 39:13:01-39:13:02, 39:20, 39:37, 39:49, 39:55-39:56, 40:02:01-40:06:04, 40:08-40:09, 40:11:01-40:11:02, 40:13, 40:18-40:20, 40:24, 40:26-40:29, 40:35, 40:37, 40:39-40:40, 40:44, 40:56, 40:64, 40:68, 40:70-40:71, 40:74-40:75, 40:78, 40:82-40:83, 40:85-40:86, 40:89-40:91, 40:93-40:99, 40:103-40:105, 40:107, 40:109, 40:111, 40:115, 40:119-40:120, 40:122, 40:127, 40:131, 40:133Q, 40:142N-40:145, 40:148-40:149, 40:157, 40:159, 40:161-40:162, 40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:180, 42:11, 44:103, 44:130-44:131, 48:01:01-48:21, 48:23-48:27, 51:57, 51:103, 51:116, 53:21, 57:10 |
| 1718 | 345 bp, 425 bp | 1070 bp | *07:11, 07:27, 07:46, 07:57, 07:75 | *08:17, 08:47, 38:17, 39:20, 42:15 |
| 18 | 265 bp | 1070 bp | *07:12, 07:78, 07:84 | *35:66, 40:59-40:60, 40:125, 48:17, C*02:23, C*04:77, C*07:38 |
| 1919 | 205 bp, 250 bp, 295 bp | 800 bp | *07:20, 07:35, 07:140 | *15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 40:132, 40:178, 44:10, 44:14, 44:17, 44:31, 44:43:01-44:43:02, 44:45, 44:51, 44:54, 44:62, 44:77, 44:82, 44:106-44:107, 44:123, 44:135, 45:09, 46:17, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07, 82:01-82:03 |
| 2020 | 160 bp, 205 bp, 275 bp, | 1070 bp | *07:21, 07:51, 07:59 | C*08:08 |
| 216,21 | 100 bp, 165 bp | 1070 bp | *07:22:01-07:22:02, 07:52 |  |
| 22 | 385 bp | 1070 bp | *07:23 | *40:79, 41:14 |
| 236 | 85 bp | 1070 bp | *07:20, 07:24, 07:131 | *15:230, 40:63 |
| 246,7 | 125bp | 800 bp | *07:25, 07:39, 07:48 | *18:35, 27:36, 35:66, 40:01:01-40:01:19, 40:01:21-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:22N, 40:25, 40:30-40:31, 40:33-40:34, 40:36, 40:38, 40:42-40:43, 40:45-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:66, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:160, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 41:08, 42:05:01-42:05:02, 44:31, 46:06, 48:01:01-48:01:03, 48:03:01-48:03:02, 48:06-48:07, 48:09-48:12, 48:14, 48:16-48:23, 48:26-48:27, 81:01-81:05 |
| 2510,22 | 305 bp, 425 bp | 1070 bp | *07:27, 07:117 | *38:17 |
| 266,9,11,23 | 95 bp, 205 bp, 235 bp, 290 bp | 800 bp | *07:20, 07:24, 07:28, 07:42, 07:51, 07:60, 07:100, 07:118, 07:131 | *08:14, 08:21, 08:25, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 27:32, 35:05:01-35:05:02, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 40:05, 40:71, 40:174, 40:180, 44:54, 44:106, 44:135, 46:12, 51:64, 53:14, 55:51, 58:18, C*03:05, C*03:25, C*03:27, C*08:08 |
| 2724 | 165 bp, 215 bp | 800 bp | *07:29, 07:41 |  |
| 286,9 | 110 bp | 1070 bp | *07:30 |  |
| 296,7,9, 25 | 85 bp, 200 bp | 800 bp | *07:31, 07:34, 07:43-07:44 | *41:08, 42:05:01-42:05:02, C*07:38 |
| 30 | 190 bp | 800 bp | *07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140 | *08:40, 08:79, 13:01:01-13:01:02, 13:01:04-13:02:12, 13:07N-13:09, 13:11, 13:13-13:23, 13:25, 13:27-13:33, 13:36-13:45, 13:47, 13:49N-13:50, 13:52, 27:07:01-27:07:02, 27:11, 27:20, 27:24, 27:27, 27:33, 27:43, 35:31, 35:88, 39:47, 39:50, 40:01:01-40:01:20, 40:01:22-40:02:09, 40:02:11-40:02:12, 40:04, 40:06:01:01-40:08, 40:10:01-40:16, 40:19, 40:21-40:23, 40:25, 40:27:01-40:27:02, 40:29-40:30, 40:34-40:38, 40:40, 40:43, 40:45-40:50, 40:53-40:58, 40:61-40:62, 40:64-40:70, 40:72:01-40:88, 40:90-40:91, 40:93-40:97, 40:99-40:119, 40:121-40:123, 40:125-40:130, 40:132, 40:134-40:158, 40:160-40:162, 40:164-40:171, 40:173, 40:175-40:179, 41:19, 44:31, 48:01:01-48:01:03, 48:03:01-48:07, 48:09-48:16, 48:18-48:22, 48:24, 51:10, 51:16, 51:31, 51:34, 51:81-51:82, 51:93, 52:08, 55:09, 55:22, 55:24, 58:27, 81:01-81:05 |
| 3126 | 215 bp, 280 bp | 800 bp | *07:19, 07:33, 07:53, 07:55, 07:60, 07:100 | *08:70, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:02, 35:22, 35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:56-40:58, 40:71, 40:78, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180, 42:08, 44:54, 44:106, 44:135, 46:12, 48:04, 48:13, 48:19, 48:24, 51:64, 51:81, 53:14, 55:04, 55:49, 55:51, 58:18, 58:27, C*03:05, C*03:25, C*03:27, C*08:08 |
| 3211 | 190 bp | 1070 bp | *07:34 | *08:01:01-08:05, 08:08N-08:10, 08:12:01-08:13, 08:15-08:20, 08:22-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:73, 08:75-08:76, 08:78, 08:80, 13:06, 14:13, 15:42, 15:83, 15:86, 15:188, 15:224, 18:26, 18:61, 35:60, 35:87, 37:12, 38:01:01, 38:01:03-38:07, 38:09-38:21, 38:23-38:28, 38:31-38:37, 39:01:01:01-39:01:01:02L, 39:01:03-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22-39:24:02, 39:26-39:28, 39:30-39:31, 39:34-39:37, 39:39, 39:41-39:42, 39:44-39:46, 39:48, 39:51-39:54, 39:56-39:66, 39:68, 40:39, 40:51, 40:163, 41:01-41:03:02, 41:05-41:09, 41:11-41:16, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 46:18, 51:21, 51:36, 51:101, 54:01:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10-54:13, 54:17-54:24, 55:01:01-55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:25-55:26, 55:28-55:40, 55:42-55:45, 55:47-55:50, 55:52-55:54, 56:10, 56:12, 56:23, 58:20, 59:01:01:01-59:03, 59:05, 67:01:01-67:03, 78:07, C*15:24 |
| 33 | 350 bp | 1070 bp | *07:61 |  |
| 34 | 155 bp | 1070 bp | *07:62, 07:90 |  |
| 356 | 105 bp | 1070 bp | *07:63 |  |
| 36 | 250 bp | 1070 bp | *07:64 |  |
| 37 | 210 bp | 1070 bp | *07:65 | *18:04, 35:08:05, 35:42:02, 35:43:02, 39:63, 40:01:11, 40:58, 56:05:01, 56:06, 78:01:01-78:01:02, 78:02:02-78:03, 78:07 |
| 389,27 | 190 bp, 215 bp | 1070 bp | *07:66, 07:103, 07:113 | *08:64 |
| 398 | 425 bp | 1070 bp | *07:05:01-07:06, 07:34, 07:40, 07:53, 07:80, 07:90, 07:97, 07:105, 07:112, 07:137-07:138, 07:140 | *40:166, 42:01:01-42:02, 42:04-42:05:02, 42:07-42:08, 42:10, 42:12-42:15, 54:04, 54:11, 55:04, 55:08, 55:17, 55:20, 55:28, 55:49, 55:51, 56:05:01-56:06, 56:12, 56:15, 56:21, 81:01-81:04N |
| 409,28 | 265 bp, 395 bp | 1070 bp | *07:56, 07:72, 07:83 | *08:26, 08:56, 38:28, 39:63, 40:10:01?-40:10:02?, 40:21?, 40:58?, 40:137?, 41:12, 49:03 |
| 41 | 400 bp | 1070 bp | *07:58 |  |
| 4229 | 195 bp, 225 bp | 1070 bp | *07:67N, 07:71 |  |
| 437 | 140 bp | 1070 bp | *07:68:01-07:68:03, 07:100 | *08:71, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:32, 35:05:01-35:05:02, 35:22, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 40:35, 40:71, 42:10, 44:54, 44:106, 44:135, 46:12, 48:12, 48:14, 51:64, 53:14, 58:18 |
| 44 | 150 bp | 1070 bp | *07:10 | *27:75w, 73:01w-73:02w |
| 456 | 105 bp | 1070 bp | *07:27, 07:50 | *08:04, 08:17, 08:54, 15:03:01-15:03:03, 15:47, 15:54, 15:61-15:62, 15:64, 15:68-15:69, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 18:37, 27:18, 27:29, 37:28, 38:03, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:23, 39:39, 39:49, 40:12, 40:46, 40:93, 42:11, 44:40, 44:44, 44:130, 48:01:01-48:05, 48:07-48:27, 52:16, 55:18 |
| 46 | 425 bp | 1070 bp | *07:13, 07:15, 07:92 | *08:15, 39:27, 40:73, 67:02, 73:01w-73:02w |
| 47 | 215 bp | 800 bp | *07:04, 07:19, 07:25 | *08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:14-08:15, 08:17-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:59, 08:61-08:69, 08:71-08:78, 08:80, 35:87, 37:09, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:18-41:19, 42:01:01-42:02, 42:05:01-42:12, 42:14-42:16, 44:106 |
| 4830 | 200 bp, 280 bp | 1070 bp | *07:76-07:77 | *40:60, C*07:38 |
| 49 | 200 bp | 1070 bp | *07:82 |  |
| 506,31 | 75 bp, 165 bp | 1070 bp | *07:74, 07:87 | *08:77, 48:27 |
| 5132 | 345 bp, 470 bp | 1070 bp | *07:93, 07:97 | *08:39, 38:27 |
| 52 | 290 bp | 800 bp | *07:95 |  |
| 539 | 235 bp | 800 bp | *07:14, 07:17, 07:28, 07:96:01-07:96:02, 07:115 | *15:230, 27:36, 40:42, 40:60, 40:124:01-40:124:02, 40:172, 48:17, 48:26, C*04:77, C*07:38 |
| 547 | 190 bp | 1070 bp | *07:98 |  |
| 55 | 260 bp | 1070 bp | *07:99 |  |
| 567,9,11 | 230 bp | 1070 bp | *07:20, 07:24, 07:45, 07:60, 07:100, 07:131 | *08:21, 08:25, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:02, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 40:05, 40:71, 40:174, 44:54, 44:106, 44:135, 46:12, 51:64, 53:14, 55:51, 58:18, C*03:05, C*03:25, C*03:27 |
| 5733 | 150 bp, 215 bp | 1070 bp | *07:70, 07:109 |  |
| 5834 | 245 bp, 440 bp | 1070 bp | *07:79, 07:112 |  |
| 596,35 | 95 bp, 190 bp | 800 bp | *07:89, 07:113, 07:115 | *08:64, 08:69, 14:05, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 41:18, 42:06, 48:07, C*08:08 |
| 60 | 145 bp | 1070 bp | *07:73 | *40:166, 44:90, 45:06 |
| 6136 | 205 bp, 420 bp | 1070 bp | *07:88, 07:105 |  |
| 62 | 415 bp | 800 bp | *07:16, 07:27, 07:37-07:38, 07:50, 07:75, 07:91 | *08:03, 08:23, 08:54, 14:14, 14:18, 15:68, 38:01:01-38:02:03, 38:04-38:12, 38:15-38:25, 38:27-38:37, 39:05:01-39:05:02, 39:07-39:08, 39:11, 39:13:01-39:13:02, 39:20, 39:37, 39:49, 39:55-39:56, 40:01:01-40:01:23, 40:07, 40:09?-40:11:02?, 40:14:01?-40:15?, 40:16, 40:18?-40:19?, 40:21?-40:22N?, 40:23, 40:24?-40:38?, 40:42?, 40:44?-40:49?, 40:51, 40:52?-40:58?, 40:59-40:60, 40:61?-40:65?, 40:67?-40:69?, 40:71?, 40:72:01-40:73, 40:74?-40:76?, 40:77, 40:78?, 40:79, 40:80?-40:88?, 40:90?-40:93?, 40:95?-40:96?, 40:98?-40:121?, 40:123?, 40:124:01, 40:124:02?-40:137?, 40:138-40:140, 40:141?, 40:145?, 40:146, 40:148?-40:149?, 40:150, 40:151?, 40:152-40:153, 40:154?, 40:155N, 40:156?-40:165?, 40:167?-40:180?, 41:01-41:19, 42:11, 44:18, 45:01-45:05, 45:07-45:13, 48:01:01-48:27, 49:01:01-49:20, 50:01:01, 50:01:02?, 50:01:03-50:02, 50:04-50:15 |
| 636,37 | 65 bp, 230 bp | 1070 bp | *07:94, 07:135N | C*03:124, C*04:49, C*05:15 |
| 64 | 210 bp | 1070 bp | *07:69, 07:85 | *14:01:01-14:01:02, 14:07N-14:08, 14:10, 14:12, 14:14, 14:19, 14:26, 18:33, 27:12, 27:16, 38:01:01-38:02:03, 38:04, 38:08-38:25, 38:27-38:32, 38:34N-38:37, 39:01:01:01-39:01:01:02L, 39:01:03-39:01:12, 39:03, 39:05:01-39:07, 39:09, 39:11, 39:14-39:15, 39:18-39:19:02, 39:22, 39:24:01-39:38Q, 39:40N-39:48, 39:50-39:51, 39:53-39:57, 39:59-39:62, 39:64-39:68, 40:75 |
| 6538 | 385 bp, 450 bp | 1070 bp | *07:54, 07:111N, 07:123 | *45:06 |
| 66 | 435 bp | 1070 bp | *07:36, 07:38, 07:81 | *08:03, 08:52, 08:78, 38:01:01-38:01:05, 38:05-38:07, 38:09-38:14, 38:16, 38:19-38:22, 38:24-38:28, 38:30-38:34N, 38:36-38:37, 40:19?, 40:109?, 40:117?, 44:18, 48:18, 49:01:01-49:01:03, 49:03-49:20 |
| 678 | 230 bp | 800 bp | *07:29, 07:72, 07:86, 07:114 | *08:01:01-08:05, 08:07-08:56, 08:58-08:80, 14:11, 14:28, 38:33, 39:04, 39:63, 40:01:01-40:01:23, 40:07, 40:10:01?-40:10:02?, 40:14:01?-40:15?, 40:16, 40:21?-40:22N?, 40:23, 40:25?, 40:30?-40:34?, 40:36?, 40:38?, 40:42?-40:43?, 40:45?-40:49?, 40:51, 40:52?-40:55?, 40:58?, 40:59-40:60, 40:61?-40:63?, 40:65?, 40:66, 40:67?, 40:69?, 40:72:01-40:73, 40:76?, 40:77, 40:79, 40:80?-40:81?, 40:84?, 40:87:01?-40:88?, 40:92?, 40:100?-40:102?, 40:106?, 40:108?, 40:110?, 40:112?-40:114?, 40:116?-40:118N?, 40:121?, 40:123?, 40:124:01, 40:124:02?-40:126?, 40:128?-40:130?, 40:132?, 40:134?-40:137?, 40:138-40:140, 40:141?, 40:146-40:147, 40:150, 40:151?, 40:152-40:153, 40:154?, 40:155N, 40:156?, 40:158?, 40:160?, 40:163?, 40:166?, 40:168?, 40:170?-40:172?, 40:175?, 40:178?-40:179?, 41:01-41:19, 44:18, 45:01-45:13, 48:22, 49:01:01-49:20, 50:01:01, 50:01:02?, 50:01:03-50:02, 50:04-50:15 |
| 6839 | 365 bp, 415 bp | 1070 bp | *07:13, 07:15, 07:101 | *08:16, 67:02 |
| 697,40 | 190 bp, 245 bp, 465 bp | 1070 bp | *07:102, 07:106, 07:108 | *08:18, 73:01-73:02 |
| 706,41 | 125 bp, 205 bp | 800 bp | *07:104, 07:114 |  |
| 7142 | 245 bp, 280 bp | 1070 bp | *07:107-07:108 |  |
| 72 | 165 bp | 1070 bp | *07:13, 07:110 | *38:11, 54:02, 67:02, C*03:137, C*07:102w |
| 73 | 240 bp | 1070 bp | *07:49N |  |
| 74 | 345 bp | 1070 bp | *07:120 | *40:150, 57:29 |
| 756,43 | 105 bp, 250 bp | 1070 bp | *07:121, 07:126 |  |
| 7644 | 170 bp, 285 bp | 1070 bp | *07:122, 07:128 |  |
| 77 | 405 bp | 800 bp | *07:116 |  |
| 786,45 | 110 bp, 380 bp | 1070 bp | *07:125, 07:129 |  |
| 796 | 65 bp | 1070 bp | *07:130 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*07 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*07 subtyping.

In addition, wells number 4, 10, 14, 19, 24, 26, 27, 29 to 31, 47, 52, 53, 59, 62, 67, 70 and 77 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st, 4th and 5th exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these exons are conserved within allelic groups.

4The B*07:102 and 07:106 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 69.

The B*07:50 and B*48:08 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

5Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*07 alleles will be amplified by primer mixes 1 to 19, 22 to 26, 29 to 32, 37 to 40, 43 to 48, 50, 51, 53, 56, 59, 60, 62, 62, 64 to 69, 72 and 74. In addition, the C*02:23 allele will be amplified by primer mixes 3, 10 and 18, the C*03:05, C*03:25 and C*03:27 alleles will be amplified by primer mixes 14, 26, 31 and 56, the C*03:124, C*04:49 and C*05:15 alleles will be amplified by primer mix 63, the C*03:137 allele will be amplified by primer mixes 5 and 72, the C*04:77 allele will be amplified by primer mixes 4, 10, 18 and 53, the C*07:38 allele will be amplified by primer mixes 10, 12, 13, 18, 29, 48 and 53,  the C*07:102 allele will be weakly amplified by primer mixes 5 and 72, the C*08:08 allele will be amplified by primer mixes 14, 20, 26, 31 and 59 and the C*15:24 allele will be amplified by primer mix 32.

6Specific PCR fragments shorter than 125 base pairs are less intense and not as sharp as longer specific bands.

7Primer mixes 5, 24, 29, 43, 56 and 69 have tendencies of giving rise to primer dimer artefacts.

8Primer mixes 9, 39 and 67 may yield less specific PCR product than the other HLA-B*07 primer mixes.

9Primer mixes 14, 28, 29, 38, 40, 53 and 56 may have tendencies of non-specific amplification, most pronounced in primer mixes 29 and 53.

10Primer mix 25 may give rise to non-specific amplification in B*73 alleles.

11Primer mix 32 may give rise to a faint band in many B*14, B*37, C*04, C*05, C*08 and C*18 alleles.

12Primer mix 7: Specific PCR fragment of 105 bp in the B*07:04, 07:25 and 07:52 and the B*40:136, 41:08 and 42:05:01-42:05:02 alleles. Specific PCR fragment of 215 bp in the B*07:29 allele.

13Primer mix 8: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 235 bp in the B *07:05:01-07:06, 07:32, 07:34, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138 and 07:140 and the B*08:79, 40:01:01-40:01:20, 40:01:22-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:16, 40:21-40:23, 40:25, 40:30, 40:34, 40:36, 40:38, 40:43, 40:45-40:49, 40:54-40:55, 40:61-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160, 40:166, 40:168, 40:170-40:171, 40:175, 40:179, 41:08, 42:05:01-42:05:02, 44:31, 48:01:01-48:01:03, 48:03:01-48:03:02, 48:05-48:07, 48:09-48:12, 48:14-48:16, 48:18-48:22 and 81:01-81:05 alleles.

14Primer mix 10: Specific PCR fragment of 285 bp in the B*07:07 and 07:77 and the B*15:138, 15:230, 18:35, 40:01:01-40:01:17, 40:01:19-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:60-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:136, 40:138-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 41:08, 44:31, 46:06, 48:03:01-48:03:02 and 48:23 and in the C*02:23, C*04:77 and C*07:38 alleles. Specific PCR fragment of 415 bp in B*07:47 and 07:81 and the B*08:52, 40:109? and 48:18 alleles.

15Primer mix 11: Specific PCR fragment of 130 bp in B*07:39 allele. Specific PCR fragment of 210 bp in the B*07:08, 07:10, 07:32 and 07:38 and the B*18:07:01-18:07:02, 18:29, 27:01-27:05:08, 27:05:10-27:11, 27:13-27:15, 27:17, 27:19-27:21, 27:23-27:28, 27:30-27:76, 27:78-27:84, 27:86, 35:50, 35:84, 35:162, 37:21, 38:06-38:07, 39:58, 40:08, 40:13, 40:68, 40:162, 48:06, 51:57, 51:103, 51:116, 53:21 and 73:01-73:02 alleles.

16Primer mix 13: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*41:08 and 42:05:01-42:05:02 and in the C*07:38 alleles. Specific PCR fragment of 290 bp in the B*07:12, 07:14, 07:18:01-07:18:02 and 07:137 and the B*40:30, 40:34, 40:59, 40:137, 40:160 and 48:17 alleles.

17Primer mix 15: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 415 bp in the B *07:11, 07:47, 07:57 and 07:75 and the B*08:17, 08:47, 39:20 and 42:15 alleles.

18Primer mix 17: Specific PCR fragment of 345 bp in the B*07:46 allele. Specific PCR fragment of 425 bp in the the B*07:11, 07:27, 07:57 and 07:75 and the B*08:17, 08:47, 38:17, 39:20 and 42:15 alleles.

19Primer mix 19: Specific PCR fragment of 205 bp in the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 40:132, 40:178, 44:10, 44:14, 44:17, 44:31, 44:43:01-44:43:02, 44:45, 44:51, 44:62, 44:77, 44:82, 44:107, 44:123, 45:09, 46:17, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07 and 82:01-82:03 alleles. Specific PCR fragment of 250 bp in the B*44:54 and 44:106 alleles. Specific PCR fragment of 205 and 250 bp in the B*07:20 and 07:140 and the B*44:135 alleles. Specific PCR fragment of 250 and 295 bp in the B*07:35 allele.

20Primer mix 20: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 205 bp in the B*07:51 and the C*08:08 alleles. Specific PCR fragment of 275 bp in the B*07:21 allele.

21Primer mix 21: Specific PCR fragment of 100 bp in the B*07:52 allele. Specific PCR fragment of 165 bp in the B*07:22:01-07:22:02 alleles.

22Primer mix 25: Specific PCR fragment of 305 bp in the B*07:117 allele. Specific PCR fragment of 425 bp in the B*07:27 and 38:17 alleles.

23Primer mix 26: Specific PCR fragment of 95 bp in the B*07:28 and 07:118 and B*08:14, 27:32 and 40:180 alleles. Specific PCR fragment of 205 bp in the B*07:51 and C*08:08 alleles. Specific PCR fragment of 235 bp in the B*07:20, 07:24, 07:60, 07:100 and 07:131 and the B*08:21, 08:25, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:02, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 40:05, 40:71, 40:174, 46:12, 51:64, 53:14, 55:51 and 58:18 and in the C*03:05, C*03:25 and C*03:27  alleles. Specific PCR fragment of 290 bp in the B*07:42 allele. Specific PCR fragments of 95 and 235 bp in the B*44:54 and 44:106 44:135 alleles.

24Primer mix 27: Specific PCR fragment of 165 bp in the B*07:41 allele . Specific PCR fragment of 215 bp in the B*07:29 allele.

25Primer mix 29: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*41:08 and 42:05:01-42:05:02 and in the C*07:38 alleles. Specific PCR fragment of 200 bp in the B*07:44 allele.

26Primer mix 31: Specific PCR fragment of 215 bp in the B*07:55 and the B*08:70 and 48:19 alleles. Specific PCR fragment of 280 bp in the B*07:19, 07:33, 07:53 and 07:60 and the B*14:05, 14:13, 15:55, 18:14, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:02, 35:22, 35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:56-40:58, 40:71, 40:78, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180, 42:08, 44:54, 44:106, 44:135, 48:04, 48:13, 48:24, 51:64, 51:81, 53:14, 55:04, 55:49, 55:51, 58:18 and 58:27 and in the C*03:05, C*03:25, C*03:27 and C*08:08 alleles. Specific PCR fragments of 215 and 280 bp in the B*07:100 and the B*15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207 and 46:12 alleles.

27Primer mix 38: Specific PCR fragment of 190 bp in the B*07:103 and 07:113 and the B*08:64 alleles. Specific PCR fragment of 215 bp in the B*07:66 allele.

28Primer mix 40: Specific PCR fragment of 265 bp in the B*07:56 and 07:72 and the B*08:26, 08:56, 38:28, 39:63, 40:10:01?-40:10:02?, 40:21?, 40:58?, 40:137?, 41:12 and 49:03 alleles. Specific PCR fragment of 395 bp in the B*07:83 allele.

29Primer mix 42: Specific PCR fragment of 195 bp in the B*07:67N allele. Specific PCR fragment of 225 bp in the B*07:71 allele.

30Primer mix 48: Specific PCR fragment of 200 bp in the B*07:76 allele. Specific PCR fragment of 280 bp in the B*07:77 and the B*40:60 and C*07:38 alleles.

31Primer mix 50: Specific PCR fragment of 75 bp in the B*07:74 and the B*08:77 and 48:27 alleles. Specific PCR fragment of 165 bp in the B*07:87 allele.

32Primer mix 51: Specific PCR fragment of 345 bp in the B*07:97 allele. Specific PCR fragment of 470 bp in the B*07:93 and the B*08:39 and 38:27 alleles.

33Primer mix 57: Specific PCR fragment of 150 bp in the B*07:109 allele. Specific PCR fragment of 215 bp in the B*07:70 allele.

34Primer mix 58: Specific PCR fragment of 245 bp in the B*07:112 allele. Specific PCR fragment of 440 bp in the B*07:79 and 07:112 alleles.

35Primer mix 59: Specific PCR fragment of 95 bp in the B*07:115 and the B*08:69, 14:05, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 41:18, 42:06 and 48:07 and in the C*08:08 alleles. Specific PCR fragment of 190 bp in the B*07:89 and 07:113 and the B*08:64 alleles.

36Primer mix 61: Specific PCR fragment of 205 bp in the B*07:88 allele. Specific PCR fragment of 420 bp in the B*07:105 allele.

37Primer mix 63: Specific PCR fragment of 65 bp in the B*07:94 and in the C*03:124, C*04:49 and C*05:15 alleles. Specific PCR fragment of 230 bp in the B*07:135N allele.

38Primer mix 65: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 450 bp in the B*07:111N allele.

39Primer mix 68: Specific PCR fragment of 365 bp in the B*07:101 allele. Specific PCR fragment of 415 bp in the B*07:13 and 07:15 and the B*08:16 and 67:02 alleles.

40Primer mix 69: Specific PCR fragment of 190 bp in the B*07:106 allele. Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 465 bp in the B*07:102 and the B*08:18 and 73:01-73:02 alleles.

41Primer mix 70: Specific PCR fragment of 125 bp in the B*07:104 allele. Specific PCR fragment of 205 bp in the B*07:114 allele.

42Primer mix 71: Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 280 bp in the B*07:107 allele.

43Primer mix 75: Specific PCR fragment of 105 bp in the B*07:126 allele. Specific PCR fragment of 250 bp in the B*07:121 allele.

44Primer mix 76: Specific PCR fragment of 170 bp in the B*07:128 allele. Specific PCR fragment of 285 bp in the B*07:122 allele.

45Primer mix 78: Specific PCR fragment of 110 bp in the B*07:125 allele. Specific PCR fragment of 380 bp in the B:07:129 allele.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The sequence of B*0701 has been shown to be in error.

2HLA-B*07 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.7.0, January 2012.

3The B*07:50 and B*48:08 alleles will give rise to identical amplification pattern with the HLA-B*07 subtyping kit. These two alleles can be distinguished e.g with the HLA-B low resolution kit.

4The B*07:102 and 07:106 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 69.

5Primer mix 7: Specific PCR fragment of 105 bp in the B*07:04, 07:25 and 07:52 and the B*40:136, 41:08 and 42:05:01-42:05:02 alleles. Specific PCR fragment of 215 bp in the B*07:29 allele.

Primer mix 8: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 235 bp in the B *07:05:01-07:06, 07:32, 07:34, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138 and 07:140 and the B*08:79, 40:01:01-40:01:20, 40:01:22-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:16, 40:21-40:23, 40:25, 40:30, 40:34, 40:36, 40:38, 40:43, 40:45-40:49, 40:54-40:55, 40:61-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160, 40:166, 40:168, 40:170-40:171, 40:175, 40:179, 41:08, 42:05:01-42:05:02, 44:31, 48:01:01-48:01:03, 48:03:01-48:03:02, 48:05-48:07, 48:09-48:12, 48:14-48:16, 48:18-48:22 and 81:01-81:05 alleles.

Primer mix 10: Specific PCR fragment of 285 bp in the B*07:07 and 07:77 and the B*15:138, 15:230, 18:35, 40:01:01-40:01:17, 40:01:19-40:01:23, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:60-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:136, 40:138-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 41:08, 44:31, 46:06, 48:03:01-48:03:02 and 48:23 and in the C*02:23, C*04:77 and C*07:38 alleles. Specific PCR fragment of 415 bp in B*07:47 and 07:81 and the B*08:52, 40:109? and 48:18 alleles.

Primer mix 11: Specific PCR fragment of 130 bp in B*07:39 allele. Specific PCR fragment of 210 bp in the B*07:08, 07:10, 07:32 and 07:38 and the B*18:07:01-18:07:02, 18:29, 27:01-27:05:08, 27:05:10-27:11, 27:13-27:15, 27:17, 27:19-27:21, 27:23-27:28, 27:30-27:76, 27:78-27:84, 27:86, 35:50, 35:84, 35:162, 37:21, 38:06-38:07, 39:58, 40:08, 40:13, 40:68, 40:162, 48:06, 51:57, 51:103, 51:116, 53:21 and 73:01-73:02 alleles.

Primer mix 13: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*41:08 and 42:05:01-42:05:02 and in the C*07:38 alleles. Specific PCR fragment of 290 bp in the B*07:12, 07:14, 07:18:01-07:18:02 and 07:137 and the B*40:30, 40:34, 40:59, 40:137, 40:160 and 48:17 alleles.

Primer mix 15: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 415 bp in the B *07:11, 07:47, 07:57 and 07:75 and the B*08:17, 08:47, 39:20 and 42:15 alleles.

Primer mix 17: Specific PCR fragment of 345 bp in the B*07:46 allele. Specific PCR fragment of 425 bp in the the B*07:11, 07:27, 07:57 and 07:75 and the B*08:17, 08:47, 38:17, 39:20 and 42:15 alleles.

Primer mix 19: Specific PCR fragment of 205 bp in the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 40:132, 40:178, 44:10, 44:14, 44:17, 44:31, 44:43:01-44:43:02, 44:45, 44:51, 44:62, 44:77, 44:82, 44:107, 44:123, 45:09, 46:17, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07 and 82:01-82:03 alleles. Specific PCR fragment of 250 bp in the B*44:54 and 44:106 alleles. Specific PCR fragment of 205 and 250 bp in the B*07:20 and 07:140 and the B*44:135 alleles. Specific PCR fragment of 250 and 295 bp in the B*07:35 allele.

Primer mix 20: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 205 bp in the B*07:51 and the C*08:08 alleles. Specific PCR fragment of 275 bp in the B*07:21 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*07:52 allele. Specific PCR fragment of 165 bp in the B*07:22:01-07:22:02 alleles.

Primer mix 25: Specific PCR fragment of 305 bp in the B*07:117 allele. Specific PCR fragment of 425 bp in the B*07:27 and 38:17 alleles.

Primer mix 26: Specific PCR fragment of 95 bp in the B*07:28 and 07:118 and B*08:14, 27:32 and 40:180 alleles. Specific PCR fragment of 205 bp in the B*07:51 and C*08:08 alleles. Specific PCR fragment of 235 bp in the B*07:20, 07:24, 07:60, 07:100 and 07:131 and the B*08:21, 08:25, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:02, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 40:05, 40:71, 40:174, 46:12, 51:64, 53:14, 55:51 and 58:18 and in the C*03:05, C*03:25 and C*03:27  alleles. Specific PCR fragment of 290 bp in the B*07:42 allele. Specific PCR fragments of 95 and 235 bp in the B*44:54 and 44:106 44:135 alleles.

Primer mix 27: Specific PCR fragment of 165 bp in the B*07:41 allele . Specific PCR fragment of 215 bp in the B*07:29 allele.

Primer mix 29: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*41:08 and 42:05:01-42:05:02 and in the C*07:38 alleles. Specific PCR fragment of 200 bp in the B*07:44 allele.

Primer mix 31: Specific PCR fragment of 215 bp in the B*07:55 and the B*08:70 and 48:19 alleles. Specific PCR fragment of 280 bp in the B*07:19, 07:33, 07:53 and 07:60 and the B*14:05, 14:13, 15:55, 18:14, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:02, 35:22, 35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:56-40:58, 40:71, 40:78, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180, 42:08, 44:54, 44:106, 44:135, 48:04, 48:13, 48:24, 51:64, 51:81, 53:14, 55:04, 55:49, 55:51, 58:18 and 58:27 and in the C*03:05, C*03:25, C*03:27 and C*08:08 alleles. Specific PCR fragments of 215 and 280 bp in the B*07:100 and the B*15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207 and 46:12 alleles.

Primer mix 38: Specific PCR fragment of 190 bp in the B*07:103 and 07:113 and the B*08:64 alleles. Specific PCR fragment of 215 bp in the B*07:66 allele.

Primer mix 40: Specific PCR fragment of 265 bp in the B*07:56 and 07:72 and the B*08:26, 08:56, 38:28, 39:63, 40:10:01?-40:10:02?, 40:21?, 40:58?, 40:137?, 41:12 and 49:03 alleles. Specific PCR fragment of 395 bp in the B*07:83 allele.

Primer mix 42: Specific PCR fragment of 195 bp in the B*07:67N allele. Specific PCR fragment of 225 bp in the B*07:71 allele.

Primer mix 48: Specific PCR fragment of 200 bp in the B*07:76 allele. Specific PCR fragment of 280 bp in the B*07:77 and the B*40:60 and C*07:38 alleles.

Primer mix 50: Specific PCR fragment of 75 bp in the B*07:74 and the B*08:77 and 48:27 alleles. Specific PCR fragment of 165 bp in the B*07:87 allele.

3Primer mix 51: Specific PCR fragment of 345 bp in the B*07:97 allele. Specific PCR fragment of 470 bp in the B*07:93 and the B*08:39 and 38:27 alleles.

Primer mix 57: Specific PCR fragment of 150 bp in the B*07:109 allele. Specific PCR fragment of 215 bp in the B*07:70 allele.

Primer mix 58: Specific PCR fragment of 245 bp in the B*07:112 allele. Specific PCR fragment of 440 bp in the B*07:79 and 07:112 alleles.

Primer mix 59: Specific PCR fragment of 95 bp in the B*07:115 and the B*08:69, 14:05, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 41:18, 42:06 and 48:07 and in the C*08:08 alleles. Specific PCR fragment of 190 bp in the B*07:89 and 07:113 and the B*08:64 alleles.

Primer mix 61: Specific PCR fragment of 205 bp in the B*07:88 allele. Specific PCR fragment of 420 bp in the B*07:105 allele.

Primer mix 63: Specific PCR fragment of 65 bp in the B*07:94 and in the C*03:124, C*04:49 and C*05:15 alleles. Specific PCR fragment of 230 bp in the B*07:135N allele.

Primer mix 65: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 450 bp in the B*07:111N allele.

Primer mix 68: Specific PCR fragment of 365 bp in the B*07:101 allele. Specific PCR fragment of 415 bp in the B*07:13 and 07:15 and the B*08:16 and 67:02 alleles.

Primer mix 69: Specific PCR fragment of 190 bp in the B*07:106 allele. Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 465 bp in the B*07:102 and the B*08:18 and 73:01-73:02 alleles.

Primer mix 70: Specific PCR fragment of 125 bp in the B*07:104 allele. Specific PCR fragment of 205 bp in the B*07:114 allele.

Primer mix 71: Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 280 bp in the B*07:107 allele.

Primer mix 75: Specific PCR fragment of 105 bp in the B*07:126 allele. Specific PCR fragment of 250 bp in the B*07:121 allele.

Primer mix 76: Specific PCR fragment of 170 bp in the B:07:128 allele. Specific PCR fragment of 285 bp in the B*07:122 allele.

Primer mix 78: Specific PCR fragment of 110 bp in the B*07:125 allele. Specific PCR fragment of 380 bp in the B*07:129 allele.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00: 1. Primer mix 14 amplifies the B*39:03, 39:14, 39:24:01-39:24:02 and 40:90 alleles. This has been corrected in the Specificity and Interpretation tables.