Gel Documentation Form and Worksheet

HLA-B*07 (101.512-24/03, -24u/03u) 	Lot No: 84V	Expiry Date: 2017-January-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:___________	                             Failed lanes: ___________                         Comments:_________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 21, 24, 29, 33, 54, 56, 58 and 69 have a tendency to giving rise to primer oligomer formation.

Primer mixes 9, 11, 39 and 67 may give rise to a lower yield of HLA-specific PCR product than the other B*07 primer mixes.

Primer mixes 14, 28, 29, 35, 38, 40, 52, 53, 56 69 and 76 may have tendencies of unspecific amplifications, most pronounced in primer mixes 29, 35 and 53.

Primer mix 25 may give rise to unspecific amplification in B*73 alleles.

Primer mix 32 may give rise to a faint band in many B*14, B*37, C*04, C*05, C*08 and C*18 alleles.

Primer mix 71 may give rise to an unspecific amplification product of approx. 900 bp in some HLA-B alleles. This band should be disregarded in the interpretatation of HLA-B*07 typings.

Primer mix 84 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*07 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 100 bp in the B*07:04, 07:25, 07:52 and 07:146 and the B*40:136, 40:231, 40:279, 41:08 and 42:05:01-42:05:02 alleles. Specific PCR fragment of 215 bp in the B*07:29 and 07:186 and the B*08:123 and in the C*07:335 alleles.

Primer mix 8: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 235 bp in the B*07:05:01-07:06, 07:32, 07:34, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 07:182N, 07:201N, 07:206-07:207, 07:209-07:210 and 07:213-07:214 and the B*08:79, 27:125, 40:01:01-40:01:20, 40:01:22-40:01:25, 40:01:27, 40:01:29-40:01:31, 40:01:33-40:01:39, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:16, 40:21-40:23, 40:25, 40:30, 40:34, 40:36, 40:38, 40:43, 40:45-40:49, 40:54-40:55, 40:61-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:171, 40:175, 40:179, 40:182-40:183, 40:185-40:186, 40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 40:227-40:228, 40:231, 40:233-40:242, 40:245, 40:247, 40:249-40:253, 40:257-40:265N, 40:272-40:273, 40:277-40:279, 40:281-40:282, 40:285, 41:08, 42:05:01-42:05:02, 44:31, 48:01:01-48:01:06, 48:03:01-48:03:02, 48:05-48:07, 48:09-48:12, 48:14-48:16, 48:18-48:22, 48:28-48:34 and 81:01-81:07 alleles.

Primer mix 10: Specific PCR fragment of 285 bp in the B*07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:137, 07:162-07:163, 07:193, 07:214 and the B*15:138, 15:230, 15:241, 15:297, 18:35, 27:125, 40:01:01-40:01:17, 40:01:19-40:01:39, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:59, 40:60-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:136, 40:137, 40:138-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182-40:183, 40:185-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 40:227-40:228, 40:231, 40:234-40:242, 40:245, 40:247, 40:249-40:253, 40:257-40:265N, 40:272-40:273, 40:277-40:282, 40:285, 41:08, 44:31, 44:150, 46:06, 48:03:01-48:03:02, 48:17 and 48:23 and in the C*02:23, C*04:77 and C*07:38:01-07:38:02 alleles. Specific PCR fragment of 420 bp in the B*07:47 and 07:81 and the B*08:52, 38:41, 40:109? and 48:18 alleles

Primer mix 11: Specific PCR fragment of 130 bp in B*07:39 allele. Specific PCR fragment of 210 bp in the B*07:08, 07:10, 07:32, 07:38, 07:132 and 07:207 and the B*08:94, 18:07:01-18:07:02, 18:29, 18:79, 27:01-27:05:08, 27:05:10-27:11, 27:13-27:15, 27:17, 27:19-27:21, 27:23-27:28, 27:30-27:76, 27:78-27:84, 27:86-27:91, 27:93-27:100, 27:102-27:105, 27:107-27:118, 27:120-27:125, 35:50, 35:84, 35:162, 35:197, 35:231, 37:21, 38:06-38:07, 39:58, 39:83, 40:08, 40:13, 40:68, 40:162, 40:220, 40:232, 48:06, 48:31, 51:57, 51:103, 51:116, 53:21 and 73:01-73:02 alleles.

Primer mix 13: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*40:199, 41:08 and 42:05:01-42:05:02 and in the C*07:38:01-07:38:02 alleles. Specific PCR fragment of 290 bp in the B*07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162-07:163 and 07:199 and the B*15:297, 40:30, 40:34, 40:59, 40:137, 40:160:01-40:160:02, 44:150 and 48:17 alleles.

Primer mix 15: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 420 bp in the B*07:11, 07:47, 07:57 and 07:75 and the B*08:17, 08:47, 39:20 and 42:15 alleles.

Primer mix 16: Specific PCR fragment of 205 bp in the B*07:132 allele. Specific PCR fragment of 230 bp in the B*07:16, 07:27, 07:37-07:38, 07:50, 07:75, 07:91, 07:180, 07:207 and 07:219 and the B*13:14, 14:14, 15:68, 15:71, 15:175, 18:01:01:01-18:01:01:02, 18:01:03-18:01:12, 18:01:14-18:02, 18:05-18:15, 18:17N-18:24, 18:26-18:67, 18:69, 18:71-18:93, 18:95-18:103, 27:01, 27:18, 27:23, 27:29, 27:44, 27:92, 27:119, 35:50, 35:84, 35:162, 35:197, 35:231, 37:01:01-37:36, 37:38-37:49, 38:01:01-38:02:07, 38:04, 38:06-38:12, 38:15-38:25, 38:27-38:32, 38:34N-38:40, 38:42-38:53, 39:05:01-39:05:02, 39:07-39:08, 39:11, 39:13:01-39:13:02, 39:20, 39:37, 39:49, 39:55-39:56, 40:02:01-40:06:10, 40:08-40:09, 40:11:01-40:11:02, 40:13, 40:18-40:20, 40:24, 40:26-40:29, 40:35:01-40:35:02, 40:37, 40:39-40:40, 40:44, 40:56, 40:64, 40:68, 40:70:01-40:71, 40:74-40:75, 40:78, 40:82-40:83, 40:85-40:86, 40:89-40:91, 40:93-40:99, 40:103-40:105, 40:107, 40:109, 40:111, 40:115, 40:119-40:120, 40:122, 40:127, 40:131, 40:133Q, 40:142N-40:145, 40:148-40:149, 40:157, 40:159, 40:161-40:162, 40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:180-40:181, 40:184, 40:189-40:190, 40:200-40:203, 40:205-40:206, 40:209-40:211, 40:214, 40:220, 40:224-40:226, 40:229, 40:232, 40:243-40:244, 40:246, 40:248, 40:254-40:255, 40:266-40:271, 40:274-40:276, 40:283-40:284, 42:11, 44:103, 44:130-44:131, 48:01:01-48:21, 48:23-48:34, 49:31, 51:57, 51:103, 51:116, 53:21 and 57:10 alleles.

Primer mix 17: Specific PCR fragment of 345 bp in the B*07:46 allele. Specific PCR fragment of 425 bp in the the B*07:11, 07:27, 07:57 and 07:75 and the B*08:17, 08:47, 38:17, 39:20 and 42:15 alleles.

Primer mix 19: Specific PCR fragment of 205 bp in the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 40:132, 40:178, 44:10, 44:14, 44:17, 44:31, 44:43:01-44:43:02, 44:45, 44:51, 44:62, 44:77, 44:82, 44:107, 44:123, 45:09, 45:14, 46:17, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07, 82:01-82:03 alleles. Specific PCR fragment of 250 bp in the B*44:54, 44:106 and 44:158 alleles. Specific PCR fragment of 205 and 250 bp in the B*07:20, 07:140 and 07:153 and the B*44:135 and 44:184 alleles. Specific PCR fragment of 250 and 295 bp in the B*07:35 allele.

Primer mix 20: Specific PCR fragment of 160 bp in the B*07:59 allele. Specific PCR fragment of 205 bp in the B*07:51 and in the C*07:294 and C*08:08:01-08:08:02 alleles. Specific PCR fragment of 275 bp in the B*07:21 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*07:52 allele. Specific PCR fragment of 165 bp in the B*07:22:01-07:22:02 alleles.

Primer mix 25: Specific PCR fragment of 305 bp in the B*07:117 and the B*40:250 alleles. Specific PCR fragment of 425 bp in the B*07:27 and the B*38:17 and 40:188? alleles.

Primer mix 26: Specific PCR fragment of 95 bp in the B*07:28 and 07:118 and the B*08:14, 08:87, 27:32 and 40:180 alleles. Specific PCR fragment of 205 bp in the B*07:51 and in the C*07:294 and 08:08:01-08:08:02 alleles. Specific PCR fragment of 235 bp in the B*07:20, 07:24, 07:60, 07:100 and 07:131 and the B*08:21, 08:25, 15:07:01-15:07:03, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 35:199, 35:232, 40:05, 40:71, 40:174, 44:158, 44:184, 46:12, 51:64, 51:148, 53:14, 55:51 and 58:18 and in the C*03:05, 03:25, 03:27, 03:167 alleles. Specific PCR fragment of 290 bp in the B*07:42 allele. Specific PCR fragments of 95 and 235 bp in the B*44:54, 44:106 and 44:135 alleles.

Primer mix 27: Specific PCR fragment of 165 bp in the B*07:41 allele . Specific PCR fragment of 215 bp in the B*07:29 and 07:186 and the B*08:123 and in the C*07:335 alleles.

Primer mix 29: Specific PCR fragment of 85 bp in the B*07:31, 07:34 and 07:43 and the B*40:199 41:08 and 42:05:01-42:05:02 and in the C*07:38:01-07:38:02 alleles. Specific PCR fragment of 200 bp in the B*07:44 allele.

Primer mix 31: Specific PCR fragment of 215 bp in the B*07:55 and the B*08:70 and 48:19 alleles. Specific PCR fragment of 280 bp in the B*07:19, 07:33:01-07:33:03, 07:53 and 07:60 and the B*08:103, 13:71, 14:05, 14:13, 15:55, 18:14, 27:07:01-27:07:04, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:03, 35:22, 35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 35:199, 35:232, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:35:01-40:35:02, 40:37, 40:39-40:40, 40:50, 40:56-40:58, 40:71, 40:78, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180-40:181, 40:189, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, 40:219-40:220, 40:224, 40:226, 40:229, 40:232, 40:246, 40:248, 40:254-40:255, 40:266-40:267, 40:271, 40:274, 40:276, 40:283-40:284, 42:08, 44:54, 44:106, 44:135, 44:158, 44:184, 48:04, 48:13, 48:24, 51:64, 51:81, 51:148, 53:14, 55:04, 55:49, 55:51, 58:18, 58:27, C*03:05, 03:25, 03:27, 03:167, C*08:08:01-08:08:02 alleles. Specific PCR fragments of 215 and 280 bp in the B*07:100 and the B*15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207 and 46:12 and in the C02:60 alleles.

Primer mix 33: Specific PCR fragment of 90 bp in the B *07:149 and the B*08:02, 08:117, 13:36, 15:89, 15:115, 18:09, 38:02:01-38:02:06, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43-38:50, 44:12, 51:54, 51:78:01-51:78:02, 53:09, 53:11-53:13, 53:31, 56:07 and 59:08 alleles. Specific PCR fragment of 350 bp in the B*07:61 allele.

Primer mix 35: Specific PCR fragment of 105 bp in the B*07:63 allele. Specific PCR fragment of 215 bp in the B*07:143 and the B*40:166, 42:02, 42:09, 42:17-42:18, 45:06, 54:02, 55:16 and 56:35 alleles.

Primer mix 36: Specific PCR fragment of 180 bp in the B*07:167N and 07:201N allele. Specific PCR fragment of 250 bp in the B*07:64 allele.

Primer mix 38: Specific PCR fragment of 190 bp in the B*07:103 and 07:113 and the B*08:64 alleles. Specific PCR fragment of 215 bp in the B*07:66 allele.

Primer mix 40: Specific PCR fragment of 265 bp in the B*07:56:01-07:56:02, 07:72 and 07:206 and the B*08:26, 08:56:01-08:56:02, 38:28, 39:63, 40:21?, 40:58?, 40:137?, 40:248?, 40:282?, 41:12 and 49:03 alleles. Specific PCR fragment of 395 bp in the B*07:83 allele.

Primer mix 41: Specific PCR fragment of 400 bp in the B*07:58 allele. Specific PCR fragment of 425 bp in the B*07:156 allele.

Primer mix 42: Specific PCR fragment of 195 bp in the B*07:67N allele. Specific PCR fragment of 225 bp in the B*07:71 allele.

Primer mix 48: Specific PCR fragment of 200 bp in the B*07:76 allele. Specific PCR fragment of 280 bp in the B*07:77 and 07:193 and the B*40:60 and 40:245 and in the C*07:38:01-07:38:02 alleles.

Primer mix 50: Specific PCR fragment of 75 bp in the B*07:74 and the B*08:77 and 48:27 alleles. Specific PCR fragment of 105 bp in the B*07:175 and the 15:126 alleles. Specific PCR fragment of 165 bp in the B*07:87 allele.

Primer mix 51: Specific PCR fragment of 345 bp in the B*07:97 and the B*08:114 allele. Specific PCR fragment of 470 bp in the B*07:93 and the B*08:39 and 38:27 alleles.

Primer mix 56: Specific PCR fragment of 220 bp in the B*07:45 allele. Specific PCR fragment of 235 bp in the B*07:20, 07:24, 07:60, 07:100 and 07:131 and the B*08:21, 08:25, 15:07:01-15:07:03, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:72, 35:89, 35:97, 35:114, 35:199, 35:232, 40:05, 40:71, 40:174, 44:54, 44:106, 44:135, 44:158, 44:184, 46:12, 51:64, 51:148, 53:14, 55:51 and 58:18 and in the C*03:05, C*03:25, C*03:27 and 03:167 alleles.

Primer mix 57: Specific PCR fragment of 150 bp in the B*07:109 allele. Specific PCR fragment of 215 bp in the B*07:70 allele.

Primer mix 58: Specific PCR fragment of 245 bp in the B*07:112 allele. Specific PCR fragment of 440 bp in the B*07:79 allele.

Primer mix 59: Specific PCR fragment of 100 bp in the B*07:115 and 07:182N and the B*08:69, 14:05, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 39:76, 40:71, 41:18, 42:06, 42:20, 48:07, C*08:08:01-08:08:02 alleles. Specific PCR fragment of 190 bp in the B*07:89 and 07:113 and the B*08:64 alleles.

Primer mix 61: Specific PCR fragment of 205 bp in the B*07:88 allele. Specific PCR fragment of 420 bp in the B*07:105 allele.

Primer mix 63: Specific PCR fragment of 65 bp in the B*07:94 and the B*67:04 and in the C*03:124, C*04:49, C*05:15, C*07:262 and C*12:95 alleles. Specific PCR fragment of 230 bp in the B*07:135N allele.

Primer mix 65: Specific PCR fragment of 385 bp in the B*07:54 and 07:123 and the B*45:06 alleles. Specific PCR fragment of 450 bp in the B*07:111N allele.

Primer mix 68: Specific PCR fragment of 335 bp in the B*07:148 and the B*40:193? Alleles. Specific PCR fragment of 365 bp in the B*07:101 allele. Specific PCR fragment of 415 bp in the B*07:13, 07:15 and 07:160 and the B*08:16, 08:123, 42:18 and 67:02 alleles.

Primer mix 69: Specific PCR fragment of 130 bp in the B*07:136 allele. Specific PCR fragment of 190 bp in the B*07:106 allele. Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 465 bp in the B*07:102 and the B*08:18 and 73:01-73:02 alleles.

Primer mix 70: Specific PCR fragment of 125 bp in the B*07:104 allele. Specific PCR fragment of 205 bp in the B*07:114 allele.

Primer mix 71: Specific PCR fragment of 245 bp in the B*07:108 allele. Specific PCR fragment of 280 bp in the B*07:107 allele. Specific PCR fragment of 390 bp in the B*07:181N allele.

Primer mix 73: Specific PCR fragment of 85 bp in the B*07:119 and 07:169 and the B*48:34 alleles. Specific PCR fragment of 240 bp in the B *07:49N allele.

Primer mix 74: Specific PCR fragment of 345 bp in the B*07:120 and the B*40:150 and 57:29 alleles. Specific PCR fragment of 425 bp in the B*07:156 allele.

Primer mix 75: Specific PCR fragment of 105 bp in the B*07:126 and 07:175 and the B*15:126 alleles. Specific PCR fragment of 250 bp in the B*07:121 allele.

Primer mix 76: Specific PCR fragment of 130 bp in the B*07:136 allele. Specific PCR fragment of 170 bp in the B*07:128 allele. Specific PCR fragment of 285 bp in the B*07:122 allele.

Primer mix 77: Specific PCR fragment of 335 bp in the B*07:148 and the B*40:193? alleles. Specific PCR fragment of 405 bp in the B*07:116 allele.

Primer mix 78: Specific PCR fragment of 110 bp in the B*07:125 allele. Specific PCR fragment of 380 bp in the B*07:129 allele.

Primer mix 79: Specific PCR fragment of 65 bp in the B*07:130 allele. Specific PCR fragment of 95 bp in the B*07:119 allele.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The B*07:50 and B*48:08 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution kit and/or the HLA-B*48 high resolution kit.

5The following HLA-C*07 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*07:42, 07:118 | 26 | B*07:94, 07:135 | 63 |
| B*07:49N, 07:169 | 73 | B*07:102, 07:106 | 69 |
| B*07:61, 07:149 | 33 | B*07:107, 07:181N | 71 |
| B*07:63, 07:143 | 35 | B*07:121, 07:126 | 75 |

The HLA-B*07 subtyping kit cannot distinguish the following silent mutations: the B*07:02:01-07:02:25, 07:02:27 and 07:02:29-07:02:41, the B*07:05:01-07:05:06, the B*07:18:01-07:18:02, the B*07:22:01-07:22:02, the B*07:33:01-07:33:03, the B*07:56:01-B*07:56:02, the B*07:68:01-07:68:03, the B*07:96:01-07:96:02 or the B*07:151:01-07:151:02 alleles.

6This lot of the B*07 kit cannot distinguish the B*07:23 and the B*07:02:01-07:02:25, 07:02:27, 07:02:29-07:02:48, 07:124, 07:127, 07:133-07:134, 07:141-07:142, 07:144-07:145, 07:150, 07:152, 07:155, 07:157-07:159, 07:166, 07:170-07:171, 07:173, 07:177-07:179, 07:185, 07:187-07:190, 07:192, 07:194-07:195, 07:200, 07:203, 07:205, 07:211-07:212, 07:215-07:218, 07:221, 07:224, 07:230, 07:233-07:234, 07:241-07:245, 07:247, 07:250, 07:252, 07:254 and 07:256 alleles.

Changes in revision R01 compared to R00:

- Primer mix 22 does not amplify the B*07:23 and the B*40:79, 40:190 and 41:14 alleles. Thus, this lot of the B*07 kit cannot distinguish the B*07:23 and the B*07:02:01-07:02:25, 07:02:27, 07:02:29-07:02:41, 07:124, 07:127, 07:133-07:134, 07:141-07:142, 07:144-07:145, 07:150, 07:152, 07:155, 07:157-07:159, 07:166, 07:170-07:171, 07:173, 07:177-07:179, 07:185, 07:187-07:190, 07:192, 07:194-07:195, 07:200, 07:203, 07:205, 07:208, 07:211-07:212, 07:215-07:218 alleles. This has been corrected in the Specificity and Interpretation Tables.