Gel Documentation Form and Worksheet

HLA-B*07 Add-on (101.852-12/12u)	                           Lot: 93V                                 Expiry Date:   2016-November-01

Name:____________________

Sample ID:________________

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 2 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B*07 Add-on primer mixes.

Primer mix 7 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1Based on HLA-B alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

‘?’, nucleotide sequence information not available for the primer matching sequence.

The HLA-B*07 Add-on kit cannot distinguish these silent mutations: the B*07:02:01-07:02:05, B*07:02:07-07:02:25, 07:02:27-07:02:38 and 07:02:41, the B*07:02:06 and 07:02:39-07:02:40, the B*07:05:01-07:05:06, the B*07:18:01-07:18:02, the B*07:22:01-07:22:02, the B*07:56:01-07:56:02, the B*07:68:01-07:68:03 and the B*07:96:01-07:96:02 alleles.