PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*08

Prod. No:	101.513-24/24u

101.513-04/04u

Lot No:    	07K

Expiry Date:    	2012-June-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 40 primer mixes used for HLA-B*08 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*08 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 215 bp | 800 bp | *08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:14-08:15, 08:17-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:59, 08:61 | *07:04, 07:19, 07:25, 35:87, 37:09, 41:02:01-41:02:02, 41:04, 41:10-41:11, 42:01:01-42:02, 42:05:01-42:12 |
| 2 | 215 bp | 800 bp | *08:01:01-08:03, 08:05-08:16, 08:18-08:25, 08:27-08:49, 08:51-08:53, 08:55-08:61 | *15:180, 51:68 |
| 3 | 245 bp | 1070 bp | *08:01:01-08:01:10, 08:04-08:14, 08:16-08:25, 08:27-08:49, 08:51, 08:53-08:61 | *07:29, 15:142, 15:180, 39:12 |
| 46 | 255 bp | 1070 bp | *08:02 | *44:49 |
| 5 | 245 bp | 1070 bp | *08:03, 08:23, 08:52, 08:54 | *15:142, 51:68 |
| 6 | 205 bp | 800 bp | *08:04, 08:17, 08:24, 08:54 | *15:142, 44:49 |
| 76,9 | 215 bp, 250 bp | 1070 bp | *08:03, 08:05, 08:36 | *51:68 |
| 8 | 170 bp | 1070 bp | *08:06, 08:20, 08:40 | *07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:90, 07:97, 13:18, 13:31, 15:30, 15:58, 15:73, 15:150, 35:18, 35:44, 39:08, 39:11, 39:18, 39:33, 39:36, 40:15-40:16, 40:23, 48:05, 48:19, 51:05, 51:29, 51:54, 51:61, 51:82, 54:10, 54:20, 55:09, 55:21, 55:37, 57:02:01-57:02:02, 57:12, 57:28N |
| 9 | 165 bp | 1070 bp | *08:07, 08:37 | *07:04, 07:19, 07:25, 15:51, 15:179, 35:38, 37:09, 41:04, 42:09, 44:17, 44:51, 45:09, 53:22, 57:24 |
| 105,10 | 85 bp, 170 bp | 800 bp | *08:08N, 08:40 |  |
| 11 | 290 bp | 800 bp | *08:09, 08:27 | *41:01, 41:05-41:07, 41:12, 42:04, 55:20 |
| 12 | 385 bp | 1070 bp | *08:10 |  |
| 135,11 | 85 bp, 290 bp | 1070 bp | *08:11, 08:49, 08:60 | *42:13, 53:15 |
| 145,12 | 115 bp , 280 bp | 1070 bp | *08:12:01-08:12:03, 08:16, 08:43, 08:49 | *41:03:01-41:03:02, 42:13, 53:15 |
| 155 | 75 bp | 1070 bp | *08:01:01-08:25, 08:27-08:49, 08:50w, 08:51-08:55, 08:57-08:61 | *07:29, 07:86w, 14:11w, 15:03:01w-15:03:03w, 15:09w-15:10:02w, 15:18:01w-15:18:04w, 15:23w, 15:29w, 15:37w, 15:47w, 15:49w, 15:51w-15:52w, 15:54w, 15:61w-15:62w, 15:64w, 15:69w, 15:72w, 15:74w, 15:80w, 15:90w-15:91w, 15:93w, 15:98w-15:99w, 15:103w, 15:108w, 15:114w-15:115w, 15:119w, 15:123w-15:124w, 15:127w, 15:131w-15:134w, 15:151w, 15:153w, 15:156w, 15:158w, 15:161w, 15:173w, 15:176w, 15:180, 15:186w, 18:25w, 35:25w, 39:04w, 40:12w, 48:22w, 52:16w, 54:21w, 56:16w, 58:12w, 83:01w |
| 165 | 105 bp | 800 bp | *08:13, 08:25, 08:55 | *53:15 |
| 175 | 95 bp | 1070 bp | *08:14 | *07:28, 27:32, 44:54 |
| 1813 | 425 bp, 470 bp | 800 bp | *08:15, 08:39 | *07:13, 07:15, 07:92-07:93, 39:27, 40:73, 67:02, 73:01 |
| 1914 | 245 bp, 415 bp | 1070 bp | *08:16, 08:44 | *07:13, 07:15, 67:02 |
| 205,7,15 | 140 bp, 205 bp | 1070 bp | *08:17, 08:22, 08:38, 08:54 | *15:142, 44:49 |
| 21 | 465 bp | 1070 bp | *08:18 | *73:01 |
| 225 | 130 bp | 800 bp | *08:19N |  |
| 235, 16 | 85 bp, 235 bp | 800 bp | *08:06, 08:17w, 08:21, 08:25, 08:47w | *15:57w, 15:135w, 35:27w, 35:56w, 44:75w, 53:15, 55:12w, 78:06w, C*05:30w |
| 24 | 215 bp | 1070 bp | *08:26, 08:50 | *07:08, 07:32, 07:38, 15:08, 15:29, 15:56, 15:191, 35:01:01-35:19, 35:21-35:25, 35:27, 35:29-35:49, 35:51-35:62, 35:64-35:71, 35:74-35:75, 35:77, 35:79-35:81, 35:83, 35:86-35:94, 35:96-35:99, 38:06-38:07, 44:06, 48:06, 51:01:01-51:01:11, 51:01:13-51:06, 51:08-51:21, 51:23-51:24:03, 51:26-51:46, 51:48-51:67, 51:69-51:95, 52:06:01-52:06:02, 53:01:01-53:08:02, 53:10-53:16, 53:18-53:23, 59:01-59:05, 78:01-78:02:02, 78:04, 78:07 |
| 25 | 160 bp | 1070 bp | *08:28, 08:35, 08:37 | *15:51, 15:179, 42:09, 44:17, 45:09, 53:22, 57:24, C*07:68 |
| 26 | 390 bp | 1070 bp | *08:29 |  |
| 275,17 | 105 bp, 140 bp | 1070 bp | *08:22, 08:30N |  |
| 285 | 85 bp | 1070 bp | *08:31 |  |
| 2918 | 150 bp, 250 bp | 1070 bp | *08:32, 08:36 | *51:68 |
| 30 | 280 bp | 1070 bp | *08:33 |  |
| 31 | 380 bp | 1070 bp | *08:34 |  |
| 327 | 230 bp | 1070 bp | *08:01:01-08:06, 08:08N-08:13, 08:15-08:27, 08:29-08:30N, 08:32-08:36, 08:38-08:48, 08:50-08:61 | *35:87, 41:01-41:03:02, 41:05, 41:07, 41:11-41:12, 42:01:01-42:02, 42:04, 42:06-42:07, 42:10-42:13, 55:20 |
| 3319 | 220 bp, 285 bp | 800 bp | *08:42, 08:55 | *38:19, 39:03, 39:14, 39:24, 39:29, 39:37 |
| 3420 | 210 bp, 305 bp | 1070 bp | *08:45, 08:59 |  |
| 355,21 | 120 bp, 205 bp | 1070 bp | *08:51, 08:57 |  |
| 365 | 115 bp | 800 bp | *08:06, 08:20, 08:53 |  |
| 3722 | 155 bp, 270 bp | 1070 bp | *08:41, 08:48 |  |
| 3823 | 175 bp, 265 bp | 1070 bp | *08:58, 08:61 |  |
| 398 | 190 bp | 1070 bp | *08:46 |  |
| 40 | 265 bp | 1070 bp | *08:26, 08:56 | *07:56, 07:72, 40:10?, 40:21?, 40:58?, 41:12, 49:03 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*08 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*08 subtyping.

In addition, wells number 2, 6, 10, 11, 16, 18, 22, 23, 33 and 36 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The B*08:21 and 08:47 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

The B*08:41 and 08:48 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 37.

The B*08:45 and 08:59 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 34.

The B*08:51 and 08:57 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

The B*08:58 and 08:61 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 38.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*08 alleles will be amplified by primer mixes 1 to 9, 11, 13 to 25, 29, 32, 33 and 40. In addition, the C*05:30 allele will be amplified by the primer mix 23 and the C*07:68 allele will be amplified by primer mix 25.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 4 and 7 may have a tendency of giving rise to primer oligomer formation.

7Primer mix 32 may give a lower yield of specific PCR product.

8Primer mix 39 may have a tendency of giving rise to nonspecific amplifications.

9Primer mix 7: Specific PCR fragment of 215 bp in the B*08:05 allele. Specific PCR fragment of 250 bp in the B*08:03 and 08:36 and in the B*51:68 alleles.

10Primer mix 10: Specific PCR fragment of 85 bp in the B*08:40 allele. Specific PCR fragment of 170 bp in the B*08:08N allele.

11Primer mix 13: Specific PCR fragment of 85 bp in the B*08:11 allele. Specific PCR fragment of 290 bp in the B*08:49 and 08:60 and in the B*42:13 and 53:15 alleles.

12Primer mix 14: Specific PCR fragment of 115 bp in the B*08:43 allele. Specific PCR fragment of 280 bp in the B*08:12:01-08:12:03, 08:16 and 08:49 and in the B*41:03:01-41:03:02, 42:13 and 53:15 alleles.

13Primer mix 18: Specific PCR fragment of 425 bp in the B*08:15 and in the B*07:13, 07:15, 07:92, 39:27, 40:73, 67:02 and 73:01 alleles. Specific PCR fragment of 470 bp in the B*08:39 and in the B*07:93 alleles.

14Primer mix 19: Specific PCR fragment of 245 bp in the B*08:44 allele. Specific PCR fragment of 415 bp in the B*08:16 and in the B*07:13, 07:15, and 67:02 alleles.

15Primer mix 20: Specific PCR fragment of 140 bp in the B*08:22 allele. Specific PCR fragment of 205 bp in B*08:17, 08:38 and 08:54 and in the B*15:142 and 44:49 alleles.

16Primer mix 23: Specific PCR fragment of 85 bp in the B*08:21 and 08:25 and in the B*53:15 alleles. Specific PCR fragment of 235 bp in the B*08:06, 08:17 and 08:47 and in the B*15:57, 15:135, 35:27, 35:56, 44:75, 55:12 and 78:06 and in the C*05:30 alleles.

17Primer mix 27: Specific PCR fragment of 105 bp in the B*08:30N allele. Specific PCR fragment of 140 bp in the B*08:22 allele.

18Primer mix 29: Specific PCR fragment of 150 bp in the B*08:32 and in the B* 51:68 alleles. Specific fragment of 250 bp in the B*08:36 allele.

19Primer mix 33: Specific PCR fragment of 220 bp in the B*08:55 and in the B*38:19, 39:03, 39:14, 39:24, 39:29 and 39:37 alleles. Specific fragment of 285 bp in the B*08:42 allele.

20Primer mix 34: Specific PCR fragment of 210 bp in the B*08:45 allele. Specific fragment of 305 bp in the B*08:59 allele.

21Primer mix 35: Specific PCR fragment of 120 bp in the B*08:51 allele. Specific fragment of 205 bp in the B*08:57 allele.

22Primer mix 37: Specific PCR fragment of 155 bp in the B*08:41 allele. Specific fragment of 270 bp in the B*08:48 allele.

23Primer mix 38: Specific PCR fragment of 175 bp in the B*08:61 allele. Specific fragment of 265 bp in the B*08:58 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The B*08:21 and 08:47 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

The B*08:41 and 08:48 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 37.

The B*08:45 and 08:59 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 34.

The B*08:51 and 08:57 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

The B*08:58 and 08:61 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 38.

2Primer mix 7: Specific PCR fragment of 215 bp in the B*08:05 allele. Specific PCR fragment of 250 bp in the B*08:03 and 08:36 and in the B*51:68 alleles.

Primer mix 10: Specific PCR fragment of 85 bp in the B*08:40 allele. Specific PCR fragment of 170 bp in the B*08:08N allele.

Primer mix 13: Specific PCR fragment of 85 bp in the B*08:11 allele. Specific PCR fragment of 290 bp in the B*08:60 and in the B*42:13 and 53:15 alleles.

Primer mix 14: Specific PCR fragment of 115 bp in the B*08:43 allele. Specific PCR fragment of 280 bp in the B*08:12:01-08:12:03, 08:16 and 08:49 and in the B*41:03:01-41:03:02, 42:13 and 53:15 alleles.

Primer mix 18: Specific PCR fragment of 425 bp in the B*08:15 and in the B*07:13, 07:15, 07:92, 39:27, 40:73, 67:02 and 73:01 alleles. Specific PCR fragment of 470 bp in the B*08:39 and in the B*07:93 alleles.

Primer mix 19: Specific PCR fragment of 245 bp in the B*08:44 allele. Specific PCR fragment of 415 bp in the B*08:16 and in the B*07:13, 07:15, and 67:02 alleles.

Primer mix 20: Specific PCR fragment of 140 bp in the B*08:22 allele. Specific PCR fragment of 205 bp in B*08:17, 08:38 and 08:54 and in the B*15:142 and 44:49 alleles.

Primer mix 23: Specific PCR fragment of 85 bp in the B*08:21 and 08:25 and in the B*53:15 alleles. Specific PCR fragment of 235 bp in the B*08:06, 08:17 and 08:47 and in the B*15:57, 15:135, 35:27, 35:56, 44:75, 55:12 and 78:06 and in the C*05:30 alleles.

Primer mix 27: Specific PCR fragment of 105 bp in the B*08:30N allele. Specific PCR fragment of 140 bp in the B*08:22 allele.

Primer mix 29: Specific PCR fragment of 150 bp in the B*08:32 and in the B* 51:68 alleles. Specific fragment of 250 bp in the B*08:36 allele.

Primer mix 33: Specific PCR fragment of 220 bp in the B*08:55 and in the B*38:19, 39:03, 39:14, 39:24, 39:29 and 39:37 alleles. Specific fragment of 285 bp in the B*08:42 allele.

Primer mix 34: Specific PCR fragment of 210 bp in the B*08:45 allele. Specific fragment of 305 bp in the B*08:59 allele.

Primer mix 35: Specific PCR fragment of 120 bp in the B*08:51 allele. Specific fragment of 205 bp in the B*08:57 allele.

Primer mix 37: Specific PCR fragment of 155 bp in the B*08:41 allele. Specific fragment of 270 bp in the B*08:48 allele.

Primer mix 38: Specific PCR fragment of 175 bp in the B*08:61 allele. Specific fragment of 265 bp in the B*08:58 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Changes in revision R01 compared to R00:

- The B*08:17 and 08:47 and the B*15:57, 15:135, 35:27, 35:56, 44:75, 55:12 and 78:06 and the C*05:30 alleles are weakly amplified by primer mix 23. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

- Primer mix 3 amplifies the B*08:17 and 08:47 alleles. This has been corrected in the specificity and amplification tables.