PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*13

Prod. No:	101.515-12/12u

Lot No:    	13M

Expiry Date:    	2013-November-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*13 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*13 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 17 | 140 bp | 800 bp | *13:01:01-13:04, 13:06-13:08Q, 13:10-13:23, 13:25-13:38, 13:40-13:46 | *44:60 |
| 25,6 | 95 bp | 800 bp | *13:01:01-13:02:10, 13:07N-13:21, 13:23, 13:25-13:44 | *40:91, 51:93 |
| 3 | 245 bp | 800 bp | *13:01:01-13:01:06, 13:07N, 13.12, 13:13, 13:17, 13:20-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43 | *07:12, 07:14, 07:18:01-07:18:02, 27:19, 27:30, 35:15, 35:33, 35:88, 40:04, 40:30, 40:34, 40:59, 40:64, 40:68, 40:120, 40:129, 40:137, 40:160, 44:16, 44:21, 44:64:01-44:64:02, 44:124, 48:17, 57:13, 57:25, C*03:34, C*15:42 |
| 4 | 245 bp | 1070 bp | *13:02:01-13:02:10, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37-13:38, 13:40-13:42, 13:44-13:45 | *07:78, 07:84, 27:14, 39:50, 40:06:01:01-40:06:03, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 45:10, 49:07, 51:10, 51:16, 51:31, 51:34, 51:82, 51:93, 52:08, 55:09, 55:22, 55:24, 73:01-73:02 |
| 55,7,10 | 125 bp, 150 bp, 180 bp | 800 bp | *13:03, 13:16, 13:20, 13:22:01-13:22:02, 13:31, 13:41, 13:45 | *07:78, 15:42, 15:73, 15:86, 15:224, 35:60, 40:71, 44:10, 46:11, 46:18, 51:62, 51:106, 54:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:24, 55:01:01-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:40, 55:42-55:45, 55:47-55:48, 56:01:01-56:02, 56:04, 56:07-56:08, 56:10, 56:13-56:14, 56:16-56:17, 56:19N-56:20, 56:23-56:30, 59:01:01:01-59:01:01:02, 59:04-59:05, 82:01-82:03 |
| 65,9 | 105 bp | 1070 bp | *13:04, 13:46 | *15:04, 15:16:01-15:16:02, 15:67, 15:95, 15:137, 15:155, 15:222, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 39:62, 40:86, 40:159, 45:02, 45:09, 49:04-49:05, 50:09, 51:13:01-51:13:02, 51:37, 51:63, 51:92, 51:97, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03, 73:01-73:02 |
| 78 | 190 bp | 1070 bp | *13:06 | *07:34, 08:01:01-08:05, 08:08N-08:10, 08:12:01-08:13, 08:15-08:20, 08:22-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:70, 14:13, 15:42, 15:83, 15:86, 15:188, 15:224, 18:26, 18:61, 35:60, 35:87, 35:157w, 37:12, 38:01:01, 38:01:03-38:07, 38:09-38:21, 38:23-38:28, 39:01:01:01-39:01:01:02L, 39:01:03-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22-39:24:02, 39:26-39:28, 39:30-39:31, 39:34-39:37, 39:39, 39:41-39:42, 39:44-39:46, 39:48, 39:51-39:54, 39:56-39:63, 40:39, 40:51, 40:163, 41:01-41:03:02, 41:05-41:09, 41:11-41:16, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 46:18, 51:21, 51:36, 51:101, 54:01:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10-54:13, 54:17-54:24, 55:01:01-55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:25-55:26, 55:28-55:40, 55:42-55:45, 55:47-55:50, 56:10, 56:12, 56:23, 58:20, 59:01:01:01-59:03, 59:05, 67:01:01-67:03, 78:07, C*15:24 |
| 88,11 | 185 bp, 225 bp | 1070 bp | *13:07N, 13:18, 13:31, 13:41 | *07:78, 07:84, 15:04, 15:137, 39:33, 40:161, 51:05, 51:29, 51:54, 51:61, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:37 |
| 95,12 | 130 bp, 230 bp | 1070 bp | *13:08Q, 13:42 | *51:38 |
| 105,13 | 105 bp, 210 bp | 800 bp | *13:09, 13:21, 13:39 | *07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 08:01:02, 08:01:13, 08:20, 15:53, 15:150, 15:183, 15:188, 15:212, 27:07-27:08, 27:11-27:12, 27:18, 27:20, 27:24, 27:26-27:27, 27:33, 27:40, 27:42-27:44, 35:09:02, 35:18, 35:31, 35:63, 35:84, 35:88, 35:90, 35:150, 40:01:01-40:16, 40:18-40:40, 40:42-40:164, 41:01-41:04, 41:06-41:11, 41:13-41:18, 44:09, 44:31, 44:46, 44:75, 44:90, 44:129, 45:01-45:13, 46:10, 47:02, 47:03w, 48:01:01-48:01:03, 48:03:01-48:07, 48:09-48:11, 48:13, 48:15-48:16, 48:18-48:22, 48:24, 50:01:01-50:02, 50:04-50:13, 51:01:09, 51:01:21, 51:01:25, 51:10, 51:24:02-51:24:04, 51:81, 54:11, 55:04, 55:08, 55:49, 58:27, 67:03, 73:01-73:02, 81:01-81:05, C*15:24 |
| 11 | 280 bp | 800 bp | *13:04, 13:10, 13:26 | *07:09, 07:11, 07:17, 08:28, 08:35, 08:37, 15:01:01:01-15:01:04, 15:01:06-15:08, 15:11:01-15:16:02, 15:18:01-15:21, 15:23-15:29, 15:31-15:36, 15:38:01-15:40, 15:43-15:44, 15:46-15:47, 15:49-15:57, 15:60-15:62, 15:64-15:72, 15:74-15:76, 15:78:01-15:82, 15:84-15:85, 15:87-15:89, 15:91-15:98, 15:101-15:129, 15:131-15:132, 15:134-15:136, 15:138-15:149N, 15:151-15:161, 15:163-15:167, 15:169-15:176, 15:178-15:187, 15:189-15:195, 15:197-15:207, 15:209N-15:215, 15:217-15:219, 15:221-15:223, 18:01:01-18:15, 18:17N-18:25, 18:27-18:40, 18:42-18:60, 18:62-18:63, 27:41, 35:01:01:01-35:01:26, 35:05:01-35:05:02, 35:07-35:08:04, 35:10-35:11:02, 35:14:01-35:17, 35:19-35:21, 35:23-35:30, 35:32, 35:35, 35:37, 35:40N-35:43:02, 35:45-35:54, 35:57-35:58, 35:61-35:64, 35:66-35:69, 35:71-35:72, 35:76-35:80, 35:82, 35:86, 35:89-35:94, 35:97, 35:99-35:105, 35:107-35:108:02, 35:110-35:126, 35:130N-35:135, 35:137-35:148, 35:158-35:159, 35:161, 39:07, 39:43, 40:03, 40:20, 40:38, 40:52, 40:59-40:60, 40:105, 40:158-40:159, 42:09, 44:17, 44:43:01-44:43:02, 45:09, 46:01:01-46:10, 46:12-46:17, 46:19-46:27, 48:02:01-48:02:02, 48:14, 48:23, 48:25, 49:04-49:05, 51:37, 51:45, 51:63, 51:97, 53:01:01-53:03, 53:05-53:06, 53:08:01-53:18, 53:20-53:24, 54:06, 54:09, 54:14, 55:14, 55:23, 55:32, 56:03, 56:09, 56:18, 56:31-56:32, 57:01:01-57:01:11, 57:06, 57:08, 57:10-57:11, 57:13-57:16, 57:18-57:27, 57:29-57:31, 57:33-57:38, 57:40-57:41, 57:43-57:44, 58:01:01-58:02, 58:04-58:07, 58:09-58:19, 58:21-58:26, 58:29-58:33 |
| 125,8 | 90 bp | 1070 bp | *13:11 | *15:18:03, 15:73, 15:224, 39:17, 40:48, 40:71, 51:62, 56:02, 56:04, 56:10, C*02:06, C*02:47 |
| 135,14 | 90 bp, 180 bp | 800 bp | *13:12, 13:19 |  |
| 145 | 130 bp | 1070 bp | *13:13, 13:21, 13:35 | *40:91, 51:93 |
| 155,15 | 105 bp, 250 bp | 800 bp | *13:14, 13:22:01, 13:23 | *07:78, 15:73, 18:09, 27:01, 37:10, 38:02:01-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 40:47-40:48, 40:96, 40:157, 44:15, 44:55, 44:103, 44:130, 49:02, 54:22, 56:01:03 |
| 165,16 | 90 bp, 205 bp | 1070 bp | *13:15, 13:17, 13:33 | *35:46, 49:09, 51:62, 51:106 |
| 17 | 225 bp | 1070 bp | *13:27, 13:43 |  |
| 1817 | 155 bp, 205 bp, 275 bp | 1070 bp | *13:28, 13:32, 13:44 |  |
| 1918 | 195 bp, 340 bp | 1070 bp | *13:34, 13:38 | C*17:08 |
| 205,7 | 105 bp | 1070 bp | *13:36 | *18:48, 35:46-35:47, 35:154, 38:12, 40:08, 40:25, 40:68, 40:106, 44:12, 51:74 |
| 215,19 | 120 bp, 180 bp | 1070 bp | *13:29-13:30, 13:40 |  |
| 229,20 | 135 bp, 175 bp | 800 bp | *13:25, 13:40 |  |
| 235,21 | 130 bp, 200 bp, 275 bp | 1070 bp | *13:37, 13:42, 13:44 | *51:38 |
| 247 | 170 bp | 1070 bp | *13:16, 13:20, 13:31 | *07:02:01-07:24, 07:26-07:47, 07:49N-07:50, 07:52-07:130, 08:20, 08:53, 14:01:01-14:24, 15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:42-15:47, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:217, 15:219, 15:221, 15:223, 18:15, 18:19, 18:21, 18:30, 18:57, 27:04:01-27:04:03, 27:06, 27:10, 27:15, 27:18, 27:20-27:21, 27:24-27:25, 27:40, 27:54, 27:63, 27:66N, 27:68-27:69, 27:79, 35:11:01-35:11:02, 35:14:01-35:14:02, 35:21, 35:43:01-35:44, 35:58, 35:67, 35:79, 35:86, 35:96, 35:99, 35:102, 35:117-35:118, 35:135, 37:07, 37:13, 38:10, 39:18, 39:35-39:36, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:32, 40:51, 40:95, 40:98, 40:148, 40:158, 40:161, 44:76, 44:79, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 46:27, 48:05, 48:08, 48:15, 48:25, 49:01:01-49:10, 49:12-49:17, 50:01:01-50:02, 50:04-50:13, 51:01:01-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:30, 51:32-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:113, 52:01:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20-52:24, 53:06, 53:08:01-53:08:02, 54:06, 54:20, 55:01:01-55:01:07, 55:03, 55:05, 55:09, 55:11, 55:14-55:15, 55:17, 55:21, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 56:03, 56:05:01-56:06, 56:21, 56:25, 56:32, 57:09, 57:13, 57:22, 58:06, 58:08, 58:19, 78:01-78:03, 78:05-78:07 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*13 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*13 subtyping.

In addition, wells number 2, 3, 5, 10, 11, 13, 15 and 22 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The B*13:15 and B*13:33 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 16.

The B*13:34 and B*13:38 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*13 alleles will be amplified by primer mixes 1 to 12, 14 to 16, 20 23 and 24. In addition, the C*02:06 and C*02:47 alleles will be amplified by primer mix 12, the C*03:34 and C*15:42 alleles will be amplified by primer mix 3, the C*15:24 allele will be amplified by primer mixes 7 and 10 and the C*17:08 allele will be amplified by primer mix 19

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 2 may give rise to a weak band of about 400 bp. This band should be disregarded when interpreting HLA-B*13 SSP subtypings.

7Primer mixes 1, 5, 20 and 24 may give a lower yield of specific PCR product than the other HLA-B*13 primer mixes.

8Primer mixes 7, 8 and 12 have a weak tendency of nonspecific amplifications.

9Primer mixes 6 and 22 may have a tendency of giving rise to primer oligomer formation.

10Primer mix 5: Specific PCR fragment of 125 bp in the B*13:22:01-13:22:02 and 13:45 and the B*15:86, 15:224, 35:60, 46:18, 54:01:01-54:02, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:19, 54:21-54:24, 55:02:01-55:02-06, 55:07, 55:10, 55:12, 55:16, 55:18-55:19, 55:22, 55:26, 55:30, 55:34, 55:35, 55:37, 55:39, 55:42-55:43, 55:47-55:48, 56:10, 56:23, 59:01:01:01-59:01:01:02 and  59:05 alleles. Specific PCR fragment of 150 bp in the B*13:16, 13:20, 13:31 and 13:41 alleles. Specific PCR fragment of 125 and 150 bp in the B*07:78, 15:42, 54:20, 55:01:01-55:01:07, 55:03, 55:05, 55:09, 55:11, 55:15, 55:21, 55:24-55:25, 55:29, 55:31, 55:33, 55:36, 55:38, 55:40 and 55:44-55:45 alleles. Specific PCR fragments of 125 and 180 bp in the B*13:03 and the B*40:71, 44:10, 46:11, 54:03, 56:01:01-56:02, 56:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20, 56:24, 56:26-56:30, 59:04 and 82:01-82:03  alleles. Specific PCR fragments of 125, 150 and 180 bp in the B*15:73, 51:62, 51:106 and 56:25 alleles. All bands may not always be visible.

11Primer mix 8: Specific PCR fragment of 185 bp in the B*13:07N allele. Specific PCR fragment of 225 bp in the B*13:18, 13:31 and 13:41 and the B*07:78, 07:84, 15:04, 15:137, 39:33, 40:161, 51:05, 51:29, 51:54, 51:61, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles.

12Primer mix 9: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 230 bp in the B*13:08Q allele.

13Primer mix 10: Specific PCR fragment of 105 bp in the B*13:21 and the B*07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 08:01:02, 08:01:13, 08:20, 15:150, 15:188, 27:07, 27:11, 27:20, 27:24, 27:27, 27:43, 35:09:02, 35:18, 35:31, 35:88, 40:01:11, 40:10:01-40:10:02, 40:12-40:13, 40:19, 40:21, 40:47, 40:58, 40:76, 40:96, 40:109-40:110, 40:117, 40:137, 40:149, 40:157, 44:31, 48:01:01-48:01:03, 48:03:01-48:07, 48:09-48:11, 48:13, 48:15-48:16, 48:18-48:22, 48:24, 51:01:09, 51:01:21, 51:01:25, 51:10, 51:24:02-51:24:04, 51:81, 54:11, 55:04, 55:08, 55:49, 58:27, 67:03 and 81:01-81:05 and in the C*15:24 alleles. Specific PCR fragment of 210 bp in the B*13:09 and 13:39 and the B*15:53, 15:183, 15:212, 27:08, 27:12, 27:18, 27:26, 27:40, 27:42, 27:44, 35:63, 35:84, 35:90, 35:150, 40:01:14, 40:03, 40:09, 40:14:01-40:14:02, 40:18, 40:20,  40:24, 40:26, 40:28, 40:31-40:33, 40:42, 40:44, 40:52, 40:59-40:60, 40:71-40:72:01, 40:77, 40:87:01, 40:95, 40:98, 40:120-40:121, 40:124:01-40:124:02, 40:136, 40:158-40:159, 41:01-41:04, 41:06-41:07, 41:09-41:11, 41:13-41:18, 44:09, 44:46, 44:75, 44:90, 44:129, 45:01-45:13, 46:10, 47:02, 47:03w, 50:01:01-50:02 and 50:04-50:13  alleles. Specific PCR fragments of 105 and 210 bp in the B*27:33, 40:01:01-40:01:10, 40:01:12-40:01:13, 40:01:15-40:02:12, 40:04-40:08, 40:11:01-40:11:02, 40:14:03-40:16, 40:22N-40:23, 40:25, 40:27:01-40:27:02, 40:29-40:30, 40:34-40:40, 40:43, 40:45-40:46, 40:48-40:51, 40:53-40:57, 40:61-40:70, 40:72:02-40:75, 40:78-40:86, 40:87:02-40:94, 40:97, 40:99-40:108, 40:111-40:116, 40:118N-40:119, 40:122-40:123, 40:125-40:135, 40:138-40:148, 40:150-40:156, 40:160-40:164, 41:08 and 73:01-73:02 alleles. Both bands may not always be visible.

14Primer mix 13: Specific PCR fragment of 90 bp in the B*13:19 allele. Specific PCR frgment of 180 bp in the B*13:12 allele.

15Primer mix 15: Specific PCR fragment of 105 bp in the B*13:22:01 and in the B*07:78, 15:73, 40:48, 54:22 and 56:01:03 alleles. Specific PCR fragment of 250 bp in the B*13:14 and 13:23 and the B*18:09, 27:01, 37:10, 38:02:01-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 40:47, 40:96, 40:157, 44:15, 44:55, 44:103, 44:130 and 49:02 alleles.

16Primer mix 16: Specific PCR fragment of 90 bp in the B*13:17 and 13:33 and the B*35:46 alleles. Specific PCR fragment of 205 bp in the B*13:15 and in the B*49:09, 51:62 and 51:106 alleles.

17Primer mix 18: Specific PCR fragment of 155 bp in the B*13:28 allele. Specific PCR fragment of 205 bp in the B*13:32 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

18Primer mix 19: Specific PCR fragment of 195 bp in the B*13:34 and in the C*17:08 alleles. Specific PCR fragment of 340 bp in the B*13:38 allele.

19Primer mix 21: Specific PCR fragment of 120 bp in the B*13:29 allele. Specific PCR fragment of 180 bp in the B*13:30 and 13:40 alleles.

20Primer mix 22: Specific PCR fragment of 135 bp in the B*13:25 allele. Specific PCR fragment of 175 bp in the B*13:40 allele.

21Primer mix 23: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 200 bp in the B*13:37 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

‘w’, may be weakly amplified.

1The  sequence of the B*1305 allele has been shown to be identical to B*13:04.

The B*1324 allele has been renamed B*13:22:02.

2The B*13:15 and B*13:33 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 16.

3The B*13:34 and B*13:38 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 19.

4Primer mix 5: Specific PCR fragment of 125 bp in the B*13:22:01-13:22:02 and 13:45 and the B*15:86, 15:224, 35:60, 46:18, 54:01:01-54:02, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:19, 54:21-54:24, 55:02:01-55:02-06, 55:07, 55:10, 55:12, 55:16, 55:18-55:19, 55:22, 55:26, 55:30, 55:34, 55:35, 55:37, 55:39, 55:42-55:43, 55:47-55:48, 56:10, 56:23, 59:01:01:01-59:01:01:02 and  59:05 alleles. Specific PCR fragment of 150 bp in the B*13:16, 13:20, 13:31 and 13:41 alleles. Specific PCR fragment of 125 and 150 bp in the B*07:78, 15:42, 54:20, 55:01:01-55:01:07, 55:03, 55:05, 55:09, 55:11, 55:15, 55:21, 55:24-55:25, 55:29, 55:31, 55:33, 55:36, 55:38, 55:40 and 55:44-55:45 alleles. Specific PCR fragments of 125 and 180 bp in the B*13:03 and the B*40:71, 44:10, 46:11, 54:03, 56:01:01-56:02, 56:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20, 56:24, 56:26-56:30, 59:04 and 82:01-82:03  alleles. Specific PCR fragments of 125, 150 and 180 bp in the B*15:73, 51:62, 51:106 and 56:25 alleles. All bands may not always be visible.

Primer mix 8: Specific PCR fragment of 185 bp in the B*13:07N allele. Specific PCR fragment of 225 bp in the B*13:18, 13:31 and 13:41 and the B*07:78, 07:84, 15:04, 15:137, 39:33, 40:161, 51:05, 51:29, 51:54, 51:61, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles.

Primer mix 9: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 230 bp in the B*13:08Q allele.

Primer mix 10: Specific PCR fragment of 105 bp in the B*13:21 and the B*07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 08:01:02, 08:01:13, 08:20, 15:150, 15:188, 27:07, 27:11, 27:20, 27:24, 27:27, 27:43, 35:09:02, 35:18, 35:31, 35:88, 40:01:11, 40:10:01-40:10:02, 40:12-40:13, 40:19, 40:21, 40:47, 40:58, 40:76, 40:96, 40:109-40:110, 40:117, 40:137, 40:149, 40:157, 44:31, 48:01:01-48:01:03, 48:03:01-48:07, 48:09-48:11, 48:13, 48:15-48:16, 48:18-48:22, 48:24, 51:01:09, 51:01:21, 51:01:25, 51:10, 51:24:02-51:24:04, 51:81, 54:11, 55:04, 55:08, 55:49, 58:27, 67:03 and 81:01-81:05 and in the C*15:24 alleles. Specific PCR fragment of 210 bp in the B*13:09 and 13:39 and the B*15:53, 15:183, 15:212, 27:08, 27:12, 27:18, 27:26, 27:40, 27:42, 27:44, 35:63, 35:84, 35:90, 35:150, 40:01:14, 40:03, 40:09, 40:14:01-40:14:02, 40:18, 40:20,  40:24, 40:26, 40:28, 40:31-40:33, 40:42, 40:44, 40:52, 40:59-40:60, 40:71-40:72:01, 40:77, 40:87:01, 40:95, 40:98, 40:120-40:121, 40:124:01-40:124:02, 40:136, 40:158-40:159, 41:01-41:04, 41:06-41:07, 41:09-41:11, 41:13-41:18, 44:09, 44:46, 44:75, 44:90, 44:129, 45:01-45:13, 46:10, 47:02, 47:03w, 50:01:01-50:02 and 50:04-50:13  alleles. Specific PCR fragments of 105 and 210 bp in the B*27:33, 40:01:01-40:01:10, 40:01:12-40:01:13, 40:01:15-40:02:12, 40:04-40:08, 40:11:01-40:11:02, 40:14:03-40:16, 40:22N-40:23, 40:25, 40:27:01-40:27:02, 40:29-40:30, 40:34-40:40, 40:43, 40:45-40:46, 40:48-40:51, 40:53-40:57, 40:61-40:70, 40:72:02-40:75, 40:78-40:86, 40:87:02-40:94, 40:97, 40:99-40:108, 40:111-40:116, 40:118N-40:119, 40:122-40:123, 40:125-40:135, 40:138-40:148, 40:150-40:156, 40:160-40:164, 41:08 and 73:01-73:02 alleles. Both bands may not always be visible.

Primer mix 13: Specific PCR fragment of 90 bp in the B*13:19 allele. Specific PCR frgment of 180 bp in the B*13:12 allele.

Primer mix 15: Specific PCR fragment of 105 bp in the B*13:22:01 and in the B*07:78, 15:73, 40:48, 54:22 and 56:01:03 alleles. Specific PCR fragment of 250 bp in the B*13:14 and 13:23 and the B*18:09, 27:01, 37:10, 38:02:01-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 40:47, 40:96, 40:157, 44:15, 44:55, 44:103, 44:130 and 49:02 alleles.

Primer mix 16: Specific PCR fragment of 90 bp in the B*13:17 and 13:33 and the B*35:46 alleles. Specific PCR fragment of 205 bp in the B*13:15 and in the B*49:09, 51:62 and 51:106 alleles.

Primer mix 18: Specific PCR fragment of 155 bp in the B*13:28 allele. Specific PCR fragment of 205 bp in the B*13:32 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

Primer mix 19: Specific PCR fragment of 195 bp in the B*13:34 and in the C*17:08 alleles. Specific PCR fragment of 340 bp in the B*13:38 allele.

Primer mix 21: Specific PCR fragment of 120 bp in the B*13:29 allele. Specific PCR fragment of 180 bp in the B*13:30 and 13:40 alleles.

Primer mix 22: Specific PCR fragment of 135 bp in the B*13:25 allele. Specific PCR fragment of 175 bp in the B*13:40 allele.

Primer mix 23: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 200 bp in the B*13:37 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

- Primer mixes 2 and 3 amplify the B*13:12 allele. This has been corrected in the specificity and amplification tables.