Gel Documentation Form and Worksheet

HLA-B*13 	Lot No: 56V	Expiry Date: 2016-September-01

(101.515-12/12u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 13 may give rise to a weak band of about 500 bp. This band should be disregarded when interpreting HLA-B*13 SSP subtypings.

Primer mixes 1, 5 and 24 may give rise to a lower yield of HLA-specific PCR product than the other B*13 primer mixes.

Primer mixes 7, 8, 12, 16 and 23 may have tendencies of unspecific amplifications.

Primer mixes 6, 8, 22 and 23 have a tendency to giving rise to primer oligomer formation.

Primer mix 29 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*13 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.15.0, January 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 125 bp in the B*13:22:01-13:22:02, 13:45 and the B*15:86, 15:224, 35:60, 46:18, 51:157, 54:01:01-54:02, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:19, 54:21-54:32, 55:02:01-55:02:08, 55:07, 55:10, 55:12, 55:16, 55:18-55:19, 55:22, 55:26, 55:30, 55:34, 55:35, 55:37, 55:39, 55:42-55:43, 55:47-55:48, 55:56, 55:57, 55:61-55:63, 56:10, 56:19N, 56:23, 59:01:01:01-59:01:01:02, and 59:05-59:06 alleles. Specific PCR fragment of 155 bp in the B*13:16, 13:20, 13:31 and 13:41 alleles. Specific PCR fragment of 125 and 155 bp in the B*07:78, 15:42, 54:20, 55:01:01-55:01:11, 55:03, 55:05, 55:09, 55:11, 55:15, 55:21, 55:24-55:25, 55:29, 55:31, 55:33, 55:36, 55:38, 55:40 and 55:44-55:45, 55:52-55:55N, 55:59-55:60 and in the C*01:90 alleles. Specific PCR fragments of 125 and 180 bp in the B*13:03 and the B*40:71, 44:10, 45:14, 46:11, 54:03, 56:01:01-56:01:04, 56:01:06-56:02, 56:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:20:01-56:20:02, 56:24, 56:26-56:30, 56:33-56:36, 56:38-56:42 59:04 and 82:01-82:03 alleles. Specific PCR fragments of 125, 155 and 180 bp in the B*13:48 and the B*15:73, 15:303, 51:62, 51:106, 52:25, 56:25 and 56:37 alleles. All bands may not always be visible.

Primer mix 8: Specific PCR fragment of 185 bp in the B*13:07N allele. Specific PCR fragment of 225 bp in the B*13:18, 13:31 and 13:41 and the B*07:78, 07:84, 15:04, 15:137, 15:303, 39:33, 40:161, 46:32, 51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:37, 55:52 and 56:43 alleles.

Primer mix 9: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 230 bp in the B*13:08 allele.

Primer mix 10: Specific PCR fragment of 105 bp in the B*13:21 and 13:71 and the B*07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 07:182N, 07:201N, 07:206-07:207, 07:209-07:210, 08:01:02, 08:01:13, 08:20, 08:53:02, 08:79, 15:150, 15:188, 27:07:01-27:07:04, 27:11, 27:20, 27:24, 27:27, 27:43, 35:09:02-35:09:03, 35:18, 35:31, 35:88, 35:230, 40:01:11, 40:10:01-40:10:02, 40:12-40:13, 40:19, 40:21, 40:47, 40:58, 40:76, 40:96, 40:109-40:110, 40:117, 40:137, 40:149, 40:157, 40:188, 40:201, 40:215, 40:248, 44:31, 48:01:01-48:01:06, 48:03:01-48:07, 48:09-48:11, 48:13, 48:15-48:16, 48:18-48:22, 48:24, 48:28-48-34, 51:01:09, 51:01:21, 51:01:25, 51:10, 51:24:02-51:24:04, 51:81, 54:11, 55:04, 55:08, 55:49, 56:20:02, 58:27, 67:03 and 81:01-81:06 and in the C*01:90, C*02:68 and C*15:24 alleles. Specific PCR fragment of 210 bp in the B*13:09, 13:39 and 13:67 and the B*07:177, 08:102, 15:53, 15:183, 15:212, 18:80, 27:08, 27:12, 27:18, 27:26, 27:40, 27:42, 27:44, 27:89, 35:63, 35:84, 35:90, 35:150, 35:184, 35:201, 35:217, 40:01:14, 40:01:21, 40:01:26, 40:01:28, 40:01:30, 40:01:32, 40:02:10, 40:02:13, 40:02:18, 40:03, 40:06:05, 40:09, 40:14:01-40:14:02, 40:18, 40:20, 40:24, 40:26, 40:28, 40:31-40:33, 40:42, 40:44, 40:52, 40:59-40:60, 40:71-40:72:01, 40:77, 40:78, 40:87:01, 40:89, 40:95, 40:98, 40:120-40:121, 40:124:01-40:124:02, 40:131, 40:136, 40:158-40:159, 40:172, 40:180-40:181, 40:184, 40:187, 40:237, 40:267, 41:01-41:04, 41:06-41:11, 41:13-41:21, 41:23-41:25, 41:27-41:31, 44:09, 44:46, 44:75, 44:90, 44:129, 44:131, 45:01-45:14, 46:10, 47:02, 47:03w, 50:01:01-50:02, 50:04-50:20, 50:31-50:37, 56:36 and 73:01-73:02 alleles. Specific PCR fragments of 105 and 210 bp in the B*27:33 and the B*40:01:01-40:01:10, 40:01:12-40:01:13, 40:01:15-40:01:20, 40:01:22-40:01:25, 40:01:27, 40:01:29, 40:01:31, 40:01:33-40:02:09, 40:02:11-40:02:12, 40:02:14-40:02:17, 40:02:19, 40:04-40:06:04, 40:06:06-40:08, 40:11:01-40:11:02, 40:14:03-40:16, 40:22N-40:23, 40:25, 40:27:01-40:27:02, 40:29-40:30, 40:34-40:40, 40:43, 40:45-40:46, 40:48-40:51, 40:53-40:57, 40:61-40:70:02, 40:72:02-40:75, 40:79-40:86, 40:87:02-40:88, 40:90-40:94, 40:97, 40:99-40:108, 40:111-40:116, 40:118N-40:119, 40:122-40:123, 40:125-40:130:02, 40:132-40:135, 40:138-40:148, 40:150-40:156, 40:160:01-40:171, 40:173-40:179, 40:182-40:183, 40:185-40:186, 40:189-40:200, 40:202-40:214 40:216-40:236, 40:239-40:247, 40:249-40:266, 40:268-40:270 and 41:08 alleles. Both bands may not always be visible.

Primer mix 13: Specific PCR fragment of 100 bp in the B*13:19 and 13:52 and the B*27:04:02-27:04:03 alleles. Specific PCR frgment of 180 bp in the B*13:12:01-13:12:02 alleles.

Primer mix 15: Specific PCR fragment of 105 bp in the B*13:22:01 and the B*07:78, 15:73, 15:303, 40:48, 54:22, 56:01:03 and 56:20:02 alleles. Specific PCR fragment of 250 bp in the B*13:14, 13:23 and 13:55 and the B*07:149, 18:09, 27:01, 37:10, 38:02:01-38:02:06, 38:03-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43-38:50, 40:47, 40:96, 40:157, 40:201, 44:15, 44:55, 44:103, 44:130 and 49:02 alleles.

Primer mix 16: Specific PCR fragment of 90 bp in the B*13:17 and 13:33 and the B*35:46 and 35:207 alleles. Specific PCR fragment of 205 bp in the B*13:15 and the B*14:37, 49:09, 51:62, 51:106, 52:25 and 56:34 alleles.

Primer mix 17: Specific PCR fragment of 160 bp in the B*13:49N allele. Specific PCR fragment of 225 bp in the B*13:27 and 13:43 alleles.

Primer mix 18: Specific PCR fragment of 155 bp in the B*13:28 allele. Specific PCR fragment of 205 bp in the B*13:32 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

Primer mix 19: Specific PCR fragment of 195 bp in the B*13:34 and in the C*17:08 alleles. Specific PCR fragment of 340 bp in the B*13:38 allele.

Primer mix 21: Specific PCR fragment of 120 bp in the B*13:29 allele. Specific PCR fragment of 180 bp in the B*13:30 and 13:40 alleles.

Primer mix 22: Specific PCR fragment of 135 bp in the B*13:25 allele. Specific PCR fragment of 175 bp in the B*13:40 allele.

Primer mix 23: Specific PCR fragment of 130 bp in the B*13:42 and the B*51:38 alleles. Specific PCR fragment of 200 bp in the B*13:37 allele. Specific PCR fragment of 275 bp in the B*13:44 allele.

Primer mix 25: Specific PCR fragment of 160 bp in the B*13:70 allele. Specific PCR fragment of 430 bp in the B*13:64 allele.

Primer mix 26: Specific PCR fragment of 120 bp in the B*13:50 and the B*27:82 allele. Specific PCR fragment of 175 bp in the B*13:47 allele.

‘w’, may be weakly amplified.

4The following HLA-B*13 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*13:12:01, 13:52 | 13 |
| B*13:15, 13:33 | 16 |
| B*13:27, 13:49N | 17 |
| B*13:34, 13:38 | 19 |

The HLA-B*13 kit cannot distinguish the silent mutations in the B*13:01:01-13:01:08 alleles, the 13:02:01-13:02:16 or the B*13:26:01-13:26:02 alleles.