Gel Documentation Form and Worksheet

HLA-B*14 (101.524-12/12u) 	       Lot No: 61X	Expiry Date: 2017-June-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ____________

Tested By: _____________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2 and 10 may give rise to a lower yield of HLA-specific PCR product than the other B*14 primer mixes.

Primer mix 4, 13 and 14 may have tendencies of unspecific amplifications.

Primer mix 19 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*14 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.17.0, July 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 85 bp in the B*14:03 and the B*07:218, 07:220, 18:13, 18:30, 51:29, 51:82 and 52:24 and in the C*01:30 and C*08:51 alleles. Specific PCR fragment of 270 bp in the B*14:20 allele.

Primer mix 5: Specific PCR fragment of 135 bp in the B*14:07N and the B*39:40:01N-39:40:02N alleles. Specific PCR fragment of 220 bp in the B*14:04 allele.

Primer mix 6: Specific PCR fragment of 100 bp in the B*14:05 and the B*07:115, 08:69, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 39:76, 41:18, 42:06, 42:20 and 48:07 and the C*08:08:01-08:08:02 alleles. Specific PCR fragment of 175 bp in the B*14:17 allele. Specific PCR fragment of 100 bp and 530 bp in the B*14:29 allele.

Primer mix 9: Specific PCR fragment of 160 bp in the B*14:09 allele. Specific PCR fragment of 280 bp in the B*14:32 and in the C*05:16, C*05:85, C*06:129, C*07:364 and C*08:12 alleles.

Primer mix 10: Specific PCR fragment of 110 bp in the B*14:29 allele. Specific PCR fragment of 180 bp in the B*14:11 and 14:28 and the B*08:01:24, 15:189, 35:03:17, 35:26, 38:33, 39:04 and 49:26 alleles.

Primer mix 15: Specific PCR fragment of 100 bp in the B*14:15 allele. Specific PCR fragment of 270 bp in the B*14:10 and the B*18:22, 18:69, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 35:233, 37:04:01-37:04:02, 40:28, 44:190, 44:203, 51:04, 51:46, 51:56:01-51:56:02, 51:139, 53:02, 53:06, 53:28, 57:14:01 and 58:09 and in the C*15:39 alleles.

Primer mix 16: Specific PCR fragment of 90 bp in the B*14:23 and in the C*15:55 alleles. Specific PCR fragment of 175 bp in the B*14:16 allele. Specific PCR fragment of 280 bp in the B*14:32 and in the C*05:16, 05:85, C*06:129, C*07:364 and C*08:12 alleles.

4The B*14:08:01-14:08:02 and the B*39:43 alleles will give rise to identical amplification patterns with the HLA-B*14 subtyping kit. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*39 subtyping kit.

5The following HLA-B*14 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*14:16, 14:23 | 16 |

The HLA-B*14 primer set cannot distinguish the following silent mutations: the B*14:01:01-14:01:05, the B*14:02:01-14:02:12, the B*14:06:01-14:06:02 alleles or the B*14:08:01-14:08:02 alleles.

‘w’, might be weakly amplified.