PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*15

Prod. No:	101.516-24/24u

101.516-04/04u

Lot No:    	97E

Expiry Date:    	2010-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 80 primer mixes used for HLA-B*15 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*15 alleles3 | Other amplified Class I alleles4 |
| --- | --- | --- | --- | --- |
| 16,7 | 395 bp | 800 bp | 15010101-150104, 150106-1507, 1512-1515, 1519, 1520, 1524-1528, 1530-1536, 1538-1540, 1542, 1543, 1545-1550, 1553-1555, 1557, 1558, 1560-1565, 1569-1571, 1573, 1575, 1577-1579N, 1581-1589, 1591, 1592, 1594N, 1596, 1598, 9502-9507, 9509-9513, 9516-9518, 9520-9523, 9525-9529, 9531, 9532, 9535-9538, 9540-9542, 9544-9547 | 4012 |
| 26 | 290 bp | 1070 bp | 15010101-150103, 150106-1502, 1504-1508, 151101-1515, 15170101-151702, 1519-1521, 1524-1528, 1530-1536, 1538-1540, 1542-1546, 1548, 1550, 1555-1558, 1560, 1563, 1565, 1566, 1570, 1571, 1573, 1575-1579N, 1581-1589, 1592, 1594N, 1596, 1597, 9501, 9502, 9504-9507, 9509-9513, 9516-9518, 9520-9522, 9525, 9526, 9528, 9529, 9535-9549N | 460101-4616 |
| 35 | 120 bp | 1070 bp | 15010101-150104, 150106-150108, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 1538, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1590, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 9535, 9537, 9540, 9542-9549N | 1819, 2725, 351401-351402, 3543, 3544, 3562, 3567, 3579, 3586, 3936, 4505, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 4612, 4614-4616, 5406, 5521, 5603 |
| 49 | 180, 395 bp | 800 bp | 15010102N, 151101-151103, 9543, 9548, 9549N |  |
| 5 | 385 bp | 1070 bp | 1502, 1508-151103, 1513, 1515, 1518, 1521, 1523, 1529, 1531, 1537, 1544, 1551, 1552, 1555, 1564, 1572, 1576, 1580, 1588-1590, 1593, 1599, 9508, 9512, 9514, 9515, 9519, 9521, 9524, 9533, 9534, 9539, 9543, 9544, 9548 |  |
| 6 | 565 bp | 1070 bp | 1502, 1513, 1521, 1525, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 9544 |  |
| 7 | 330 bp | 1070 bp | 1503, 1509, 1510, 1518, 1523, 1529, 1537, 1546, 1547, 1549, 1551-1554, 1561, 1562, 1564, 1569, 1572, 1574, 1580, 1590, 1591, 1593, 1598, 1599, 9503, 9506, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 9531-9534, 9543 | 4012, Cw*0746 |
| 85 | 105 bp | 1070 bp | 1504, 1516, 1567, 1595, 9537 | 1304, 3537, 390601-390602, 3933, 3934, 4086, 4502, 4509, 4904, 4905, 511301-511302, 5137, 5214, 5414, 5513, 5523, 5532, 5622, 5903, 7301 |
| 9 | 200 bp | 1070 bp | 1505, 1531, 1552, 1555, 1591, 9507, 9514, 9523, 9524 | 0748, 0813, 0825, 1310, 1311, 180101-180103, 1803-1807, 1809-1812, 1814, 1817N, 1820, 1823N-1826, 1828, 1829, 2707, 2711, 2732-2734, 2743, 3505 , 3522, 3531, 3532, 3551, 356802, 3572, 3930, 3943, 400101-400103, 400105-4003, 4007-401403, 4018-4022N, 4024, 4025, 4027, 4029, 4031, 4033, 4035-4040, 4042, 4043, 4045-4050, 4052, 4054-4058, 4061-4063, 4065-4067, 4069, 4071-4074, 4076-4082, 4084, 4085, 4087-4092, 4431, 4606, 4613, 480101-480102, 480301, 4804, 4806, 4807, 4809-4814, 4816, 4818, 5314, 5409, 5504, 5508, 5602, 5604, 5610, 5618, 5816, 5818, 8101-8104N, Cw*0203 |
| 1010 | 335, 555 bp | 800 bp | 1506, 152701-152703, 1537, 1538, 1584, 9509, 9512 |  |
| 115,8 | 140 bp | 1070 bp | 1507, 1545, 1555, 1568, 9526 | 1405, 1814, 2732, 3505, 3522, 3551, 3558, 3566, 3572, 3903, 3914, 3924, 3929, 3937, 4035, 4071, 4454, 4612, 4812, 4814, 5314, 5818 |
| 12 | 405 bp | 1070 bp | 1508, 1529, 1549, 1556 |  |
| 1311 | 395, 450 bp | 800 bp | 1509, 1510, 1518, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1579N, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534 |  |
| 1412 | 500, 550 bp | 1070 bp | 1507, 1509, 1510, 1530, 1537, 1545, 1548, 1555, 1563, 1568, 1583, 1590, 1599, 9510, 9526 | 4612 |
| 155 | 105 bp | 1070 bp | 150102, 1509 | 070503weakly, 400106, 4026, 5106 |
| 165,13 | 120, 190 bp | 1070 bp | 1512, 1519, 9516, 9524 | 4052, 4059, 4606 |
| 17 | 435 bp | 1070 bp | 1513, 1516-151702, 1523, 1524, 1567, 1587, 1595 |  |
| 18 | 200 bp | 1070 bp | 1514, 1591, 9531 | 3545, 3571, 4417, 4443, 4509, 5807 |
| 198 | 400 bp | 800 bp | 1516-151702, 1567, 1574, 1595 |  |
| 207,14 | 395, 540 bp | 1070 bp | 1516, 1534, 1562, 1567, 1585, 1586, 1595, 9505, 9537 | 4611 |
| 217,15 | 210, 425 bp | 1070 bp | 1516, 1543, 1567, 1595 |  |
| 227 | 190 bp | 800 bp | 15010101-150104, 150106-150108, 1503-1505, 1507-151103, 1512weakly, 1514-1516, 1518, 1519weakly, 1520, 1523, 1524, 1526N-1530, 1532-1535, 1537-1539, 1543, 1545, 1546, 1548, 1551, 1553, 1554, 1556-1558, 1560-1568, 1570-1576, 1578-1582, 1584, 1585, 1587, 1590-1592, 1594N-1599, 9501-9505, 9507-9511N, 9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9527, 9529, 9531-9536, 9540-9543, 9545-9549N | 0720, 0724, 0760, 0821, 0825, 1303, 1304, 350101- 351402, 3516-3530, 3532, 3534, 3536-3559, 3561-3564, 3567-3572, 3574-3585, 3590-3592, 3594, 3932, 3933, 4005, 4026, 4028, 4063, 4071, 4092, 4410, 4414, 4417, 4443, 4445, 4451, 4462, 4509, 460101-4602, 4604, 4605, 4607N-4616, 4802, 4904, 510101- 510902, 5111N-5115, 5119, 5120, 5122-512402, 5126-5130, 5132, 5133, 5135, 5137-5141N, 5143-5146, 5148-5157, 520101-5207, 5209-5214, 530101-5306, 5308-5316, 5403, 5406, 5508, 5601- 5609, 5611, 5613-5617, 5620-5622, 570101-570102, 5702-570302, 5706-5712, 5714-5717, 580101-5802, 5804, 5806-5819, 7801-7806, 8201, 8202, Cw*1515 |
| 238 | 235 bp | 1070 bp | 1519 |  |
| 248,16 | 205, 300 bp | 1070 bp | 1526N, 1533, 1572, 1578, 9507, 9516, 9541 |  |
| 2517 | 320, 390 bp | 1070 bp | 1528, 1546, 1553, 9506 |  |
| 26 | 230 bp | 1070 bp | 1532 |  |
| 275 | 115 bp | 1070 bp | 1533 |  |
| 28 | 240 bp | 1070 bp | 1535, 9541 |  |
| 29 | 255 bp | 1070 bp | 1537, 1538 | 1405, 140601, 180101-180103, 1803-1807, 1809, 1812-1815, 1817N, 1819, 1820, 1823N-1826, 1828, 1829, 3932, 3943, 4051, 5106, 5145 |
| 3018 | 360, 395 bp | 1070 bp | 1540, 1547, 1549, 1552, 1575, 9514, 9517, 9524, 9538 | 4606 |
| 317,19 | 360, 430 bp | 1070 bp | 1544, 1550, 1569, 1583, 1586, 1593, 9514, 9521 | 4603 |
| 327 | 380 bp | 1070 bp | 1548, 9508, 9536 |  |
| 338,20 | 200, 255 bp | 1070 bp | 1542, 1573, 1586, 9518 | 4611 |
| 347,8, | 160 bp | 1070 bp | 1551 | 0828, 0835, 4209, 4417, 4509 |
| 35 | 165 bp | 1070 bp | 1530, 1558, 1573 | 3544, 3936, 4819, 5521 |
| 3621 | 365, 435 bp | 800 bp | 1536, 1582, 1589, 9515 |  |
| 37 | 170 bp | 1070 bp | 1547, 1549, 1565, 1584, 1599 | 070201-0703, 070501-0713, 0715, 0716, 071801-071802, 0720-0724, 0727, 0729-0733, 0735-0742, 0744, 0745weakly, 0746, 0747, 0749N-0751, 0752weakly, 0753, 0754, 0756-0765, 0806, 0820, 1318, 1813, 1821, 350801-350803, 3518, 3545, 3561, 3566, 3580, 3707, 3908weakly, 3911weakly, 3933, 4015, 4016, 4023, 4032, 4603, 4805, 4808, 5105, 5129, 5154, 5311, 5316, 5410, 5509, 5702, 5712, 5713, Cw*1508 |
| 386 | 225 bp | 1070 bp | 1561, 1570, 1576, 9501 | 0729weakly, 0765, 080101-080105weakly, 0804-0822weakly, 0824weakly, 0825weakly, 0826, 0827-0836weakly, 3529, 3569, 3576, 3904, 4043weakly, 4506weakly, 460101weakly, 4603weakly, 4604weakly, 4606-4616 weakly, 5401, 5403-5415, 550101-550202, 5503weakly, 5504, 5505, 5507-5509, 5511, 5512weakly, 5513-5515, 5516weakly, 5517, 5519-5524, 5525weakly, 5526-5530, 5532, 5601-5606, 5608-5621, 5622weakly, 7801, 7803, 8301 |
| 3922 | 305, 330, 380 bp | 800 bp | 1560, 1595, 9519 |  |
| 4023 | 220, 425 bp | 1070 bp | 1513, 1516-151702, 1523, 1524, 1567, 1571, 1595 |  |
| 41 | 500 bp | 1070 bp | 15010101-150104, 150106-1508, 151101-1516, 1518, 1519, 1521, 1523-1529, 1531-1536, 1538-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 1578-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 9531, 9532, 9534-9536, 9538-9549N | 460101-4610, 4612-4616 |
| 4224 | 380, 500 bp | 1070 bp | 1502, 1503, 1505, 1506, 1509, 1510, 1513, 1516-1518, 1521, 1523, 1525, 1529, 1531, 1536, 1537, 1539, 1540, 1544, 1548, 1552, 1555, 1561, 1562, 1564, 1567, 1569, 1572-1574, 1580, 1586, 1588weakly, 1589-1591, 1593, 1595, 1598, 9503, 9506-9508, 9512, 9514, 9515, 9519, 9521, 9523, 9524, 9527, 9531-9534, 9536, 9538, 9539 | 4606, 4608, 4611, 4613 |
| 43 | 565 bp | 1070 bp | 1504, 1516, 1567, 1583, 1595, 9537 | 4611 |
| 44 | 510 bp | 1070 bp | 15010101-150104, 150106-150108, 1503, 1505, 1507-151102, 1512, 1514, 1515, 15170101-1519, 1523, 1524, 1526Nweakly, 1528-1531, 1533-1535, 1537-1540, 1543, 1545-1558, 1560, 1561, 1563-1566, 1568-1576, 1578, 1579N, 1581, 1582, 1587, 1590-1594N, 1596-1599, 9501-9505, 9507, 9508, 9511N, 9513-9520, 9522-9528, 9531-9536, 9538, 9540-9543, 9545-9549N | 460101-4610, 4612-4616 |
| 45 | 440 bp | 1070 bp | 15010101-150104, 150106-150108, 1503-1505, 1507-1512, 1514-1516, 1518, 1519, 1523, 1524, 1526N-1530, 1532-1535, 1537-1540, 1543, 1545-1554, 1556-1558, 1560-1576, 1578-1587, 1590-1599, 9501-9505, 9507-9511N, 9513-9520, 9522-9527, 9529, 9531-9536, 9538, 9540-9543, 9545-9549N | 460101-4616 |
| 46 | 395 bp | 800 bp | 15010101-150104, 150106-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1543-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9544, 9546-9549N | 460101-4605, 4607N, 4608, 4610, 4612, 4614-4616 |
| 47 | 360 bp | 1070 bp | 15010101-150104, 150106-1519, 1521, 1523-1539, 1543, 1545, 1546, 1548, 1551, 1553-1558, 1560-1568, 1570-1582, 1584, 1585, 1587-1592, 1594N-1599, 9501-9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9529, 9531-9537, 9539-9549N | 460101-4602, 4604, 4605, 4607N- 4616 |
| 48 | 455 bp | 1070 bp | 15010101-150104, 150106-1519, 1521, 1523-1532, 1534-1540, 1543-1558, 1560-1571, 1573-1577, 1579N-1599, 9501-9506, 9508-9515, 9517-9529, 9531-9540, 9542-9549N | 460101-4605, 4607N-4616 |
| 495 | 135 bp | 1070 bp | 1557, 9535 |  |
| 505 | 85 bp | 1070 bp | 1567 |  |
| 515,25 | 80, 135 bp | 1070 bp | 1581, 1598, 9509 |  |
| 52 | 345 bp | 800 bp | 1592 |  |
| 53 | 210 bp | 800 bp | 1596 |  |
| 54 | 410 bp | 800 bp | 1597 |  |
| 55 | 250 bp | 1070 bp | 9502 |  |
| 565 | 70 bp | 1070 bp | 9503 |  |
| 57 | 380 bp | 1070 bp | 9511N |  |
| 58 | 170 bp | 1070 bp | 9513 |  |
| 59 | 420 bp | 1070 bp | 1594N |  |
| 60 | 385 bp | 800 bp | 9520 |  |
| 61 | 205 bp | 1070 bp | 9525 | 4422 |
| 625 | 105 bp | 1070 bp | 9526 |  |
| 63 | 175 bp | 1070 bp | 9527 |  |
| 64 | 365 bp | 800 bp | 9522 | Cw*0348 |
| 65 | 550 bp | 1070 bp | 9529 |  |
| 66 | 430 bp | 1070 bp | 1502, 1513, 1520, 1521, 1525, 1536, 1544, 1577, 1585, 1588, 1589, 9512, 9518, 9521, 9539, 9544 | 1301, 1306, 1307N, 1312, 1313, 1317, 1320-1322, 3546, 4408, 4457, 4460, 570101-5710, 5712-5715, 5717 |
| 67 | 305 bp | 800 bp | 9532 |  |
| 68 | 215 bp | 1070 bp | 9534 |  |
| 695 | 130 bp | 1070 bp | 1557 |  |
| 70 | 185 bp | 1070 bp | 9538 | 3566, 4077, 4087, 4812, 4814 |
| 71 | 405 bp | 1070 bp | 9539 |  |
| 72 | 205 bp | 1070 bp | 9540 |  |
| 735 | 110 bp | 1070 bp | 9542 | 0729 |
| 745 | 75 bp | 800 bp | 9545 |  |
| 75 | 190 bp | 1070 bp | 9546 |  |
| 76 | 515 bp | 1070 bp | 1502, 1506, 1513, 15170101-151702, 1521, 1525, 1531, 1536, 1544, 1555, 1577, 1588, 1589, 9506, 9512, 9521, 9528, 9537, 9539, 9544 |  |
| 77 | 195 bp | 1070 bp | 9504 |  |
| 78 | 430 bp | 1070 bp | 9547 |  |
| 79 | 420 bp | 1070 bp | 9548 |  |
| 805 | 85 bp | 1070 bp | 9549N |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*15 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*15 subtyping.

In addition, wells number 4, 10, 13, 19, 22, 36, 39, 46, 52, 53, 54, 60, 64, 67 and 74 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups. We also assume that the B*15- and B*46-specific sequence motifs in the 2nd and 3rd intron is conserved within the HLA-B*15 and HLA-B*46 groups of alleles.

4Due to the sharing of sequence motifs between HLA-B alleles many non-HLA-B*15 alleles will be amplified by the HLA-B15 primer mixes. In addition, the Cw*0746 allele will be amplified by primer mix 7, the Cw*0203 allele will be amplified by primer mix 9, the Cw*0348 allele will be amplified by prier mix 64, the Cw*0746 allele will be amplified by primer mix 7, the Cw*1508 allele will be amplified by primer mix 37 and the Cw*1515 allele will be amplified by primer mix 22.

## 5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6The specific primer pairs in primer mixes 1, 2 and 38 may give rise to less specific PCR product than the other HLA-B15 primer mixes.

7Primer mixes 1, 20, 21, 22, 31, 32 and 34 might have a tendency of giving rise to primer dimer artifacts.

8Primer mixes 11, 19, 23, 24, 33 and 34 might give rise to non-specific amplifications.

9Primer solution 4: Specific PCR fragment of 180 bp in the B*15010102N allele. Specific PCR fragment of 395 bp in the B*151101-151103, 9543, 9548 and 9549N alleles.

10Primer solution 10: Specific PCR fragment of 335 bp in the B*1537 and B*1538 alleles. Specific PCR fragment of 555 bp in the B*1506, B*152701-152702, B*1584, B*9509 and B*9512 alleles.

11Primer solution 13: Specific PCR fragment of 395 bp in the B*1509, B*1510, B*1518, B*1521, B*1523, B*1537, B*1544, B*1551, B*1552, B*1566, B*1572, B*1580, B*1590, B*1593, B*1599, B*9508, B*9514, B*9519, 9524, 9533 and B*9534 alleles. Specific PCR fragment of 450 bp in the B*1579N allele.

12Primer mix 14: Specific PCR fragment of 500 bp in B*1509, B*1510, B*1530, B*1537, B*1545, B*1548, B*1563, B*1583, B*1590 and B*1599 alleles. Specific PCR fragment of 550 bp in the B*9510 allele.

13Primer mix 16: Specific PCR fragment of 120 bp in the B*1512 and B*1519 alleles. Specific PCR fragment of 190 bp in the B*9516 and B*9524 and the B*4052, B*4059 and B*4606 alleles.

14Primer mix 20: Specific PCR fragment of 395 bp in B*9505 allele. Specific PCR fragment of 540 bp in the B*1516, B*1534, B*1562, B*1567, B*1585, B*1586, B*1595 and B*9537 and the B*4611  alleles.

15Primer solution 21: Specific PCR fragment of 210 bp in the B*1516, B*1567 and B*1595 alleles. Specific PCR fragment of 425 bp in the B*1543 allele.

16Primer mix 24: Specific PCR fragment of 205 bp in the B*1526N allele. Specific PCR fragment of 300 bp in the B*1533, B*1572, B*1578, B*9507, B*9516 and B*9541 alleles.

17Primer solution 25: Specific PCR fragment of 320 bp in the B*1546 and B*1553 and B*9506 alleles. Specific PCR fragment of 390 bp in the B*1528 allele.

18Prrimer solution 30: Specific PCR fragment of 360 bp in the B*1540, B*1547, B*1549, B*1552, B*9514, B*9517, B*9524 and B*9538 and the B*4606 alleles. Specific PCR fragment of 395 bp in the B*1575 allele.

19Primer mix 31: Specific PCR fragment of 360 bp in the B*1544, B*1550, B*1569, B*1583, B*1586, B*1593, B*9521 and the B*4603 alleles. Specific PCR fragment of 430 bp in the B*9514 allele.

20Primer solution 33: Specific PCR fragment of 200 bp in the B*9518 allele. Specific PCR fragment of 255 bp in the B*1542, B*1573 and B*1586 and the B*4611 alleles.

21Primer solution 36: Specific PCR fragment of 365 bp in the B*1582 allele. Specific PCR fragment of 435 bp in the B*1536, B*1589 and 9515 alleles.

22Primer solution 39: Specific PCR fragment of 305 bp in the B*1560 allele. Specific PCR fragment of 330 bp in the B*9519 allele. Specific PCR fragment of 380 bp in the B*1595 allele.

23Primer solution 40: Specific PCR fragment of 220 bp in the B*1571 allele. Specific PCR fragment of 425 bp in the B*1513, B*1516-151702, B*1523, B*1524, B*1567 and B*1595 alleles.

24Primer mix 42: Specific PCR fragment of 380 bp in the B*1502, B*1503, B*1505, B*1506, B*1509, B*1510, B*1513, B*1516-1518, B*1521, B*1523, B*1525, B*1529, B*1531, B*1536, B*1537, B*1539, B*1540, B*1544, B*1548, B*1552, B*1555, B*1561, B*1562, B*1564, B*1567, B*1569, B*1572, B*1574, B*1580, B*1588weakly, B*1589-1591, B*1593, B*1595, B*1598, B*9503, B*9506-9508, B*9512, B*9514, B*9515, B*9519, B*9521, B*9523, B*9524, B*9527, B*9531-9534, B*9536, B*9538 and B*9539 and the B*4606, B*4608  and B*4613 alleles. Specific PCR fragment of 500 bp in the B*1573 and B*1586 and the B*4611 alleles.

25Primer mix 51: Specific PCR fragment of 80 bp in the B*1581 allele. Specific PCR fragment of 135 bp in the B*1598 and B*9509 alleles.

1The sequence of B*150105 has been renamed to B*9520. The sequence of B*1522 has been named in error, B*3543. The sequence of B*1541 has been shown to be in error and identical to B*1539. The sequence of B*1559 has been named in error B*3544. The sequence of B*9530 has been renamed to B*152702.

2Primer solution 4: Specific PCR fragment of 180 bp in the B*15010102N allele. Specific PCR fragment of 395 bp in the B*151101-151103, 9543, 9548 and 9549N alleles.

Primer solution 10: Specific PCR fragment of 335 bp in the B*1537 and B*1538 alleles. Specific PCR fragment of 555 bp in the B*1506, B*152701-152702, B*1584, B*9509 and B*9512 alleles.

Primer solution 13: Specific PCR fragment of 395 bp in the B*1509, B*1510, B*1518, B*1521, B*1523, B*1537, B*1544, B*1551, B*1552, B*1566, B*1572, B*1580, B*1590, B*1593, B*1599, B*9508, B*9514, B*9519, 9524, 9533 and B*9534 alleles. Specific PCR fragment of 450 bp in the B*1579N allele.

Primer mix 14: Specific PCR fragment of 500 bp in B*1509, B*1510, B*1530, B*1537, B*1545, B*1548, B*1563, B*1583, B*1590 and B*1599 alleles. Specific PCR fragment of 550 bp in the B*9510 allele.

Primer mix 16: Specific PCR fragment of 120 bp in the B*1512 and B*1519 alleles. Specific PCR fragment of 190 bp in the B*9516 and B*9524 and the B*4052, B*4059 and B*4606 alleles.

14Primer mix 20: Specific PCR fragment of 395 bp in B*9505 allele. Specific PCR fragment of 540 bp in the B*1516, B*1534, B*1562, B*1567, B*1585, B*1586, B*1595 and B*9537 and the B*4611  alleles.

Primer solution 21: Specific PCR fragment of 210 bp in the B*1516, B*1567 and B*1595 alleles. Specific PCR fragment of 425 bp in the B*1543 allele.

Primer mix 24: Specific PCR fragment of 205 bp in the B*1526N allele. Specific PCR fragment of 300 bp in the B*1533, B*1572, B*1578, B*9507, B*9516 and B*9541 alleles.

Primer solution 25: Specific PCR fragment of 320 bp in the B*1546 and B*1553 and B*9506 alleles. Specific PCR fragment of 390 bp in the B*1528 allele.

Prrimer solution 30: Specific PCR fragment of 360 bp in the B*1540, B*1547, B*1549, B*1552, B*9514, B*9517, B*9524 and B*9538 and the B*4606 alleles. Specific PCR fragment of 395 bp in the B*1575 allele.

Primer mix 31: Specific PCR fragment of 360 bp in the B*1544, B*1550, B*1569, B*1583, B*1586, B*1593, B*9521 and the B*4603 alleles. Specific PCR fragment of 430 bp in the B*9514 allele.

Primer solution 33: Specific PCR fragment of 200 bp in the B*9518 allele. Specific PCR fragment of 255 bp in the B*1542, B*1573 and B*1586 and the B*4611 alleles.

Primer solution 36: Specific PCR fragment of 365 bp in the B*1582 allele. Specific PCR fragment of 435 bp in the B*1536, B*1589 and 9515 alleles.

Primer solution 39: Specific PCR fragment of 305 bp in the B*1560 allele. Specific PCR fragment of 330 bp in the B*9519 allele. Specific PCR fragment of 380 bp in the B*1595 allele.

Primer solution 40: Specific PCR fragment of 220 bp in the B*1571 allele. Specific PCR fragment of 425 bp in the B*1513, B*1516-151702, B*1523, B*1524, B*1567 and B*1595 alleles.

Primer mix 42: Specific PCR fragment of 380 bp in the B*1502, B*1503, B*1505, B*1506, B*1509, B*1510, B*1513, B*1516-1518, B*1521, B*1523, B*1525, B*1529, B*1531, B*1536, B*1537, B*1539, B*1540, B*1544, B*1548, B*1552, B*1555, B*1561, B*1562, B*1564, B*1567, B*1569, B*1572, B*1574, B*1580, B*1588weakly, B*1589-1591, B*1593, B*1595, B*1598, B*9503, B*9506-9508, B*9512, B*9514, B*9515, B*9519, B*9521, B*9523, B*9524, B*9527, B*9531-9534, B*9536, B*9538 and B*9539 and the B*4606, B*4608  and B*4613 alleles. Specific PCR fragment of 500 bp in the B*1573 and B*1586 and the B*4611 alleles.

Primer mix 51: Specific PCR fragment of 80 bp in the B*1581 allele. Specific PCR fragment of 135 bp in the B*1598 and B*9509 alleles.

‘w’, might be weakly amplified.

Changes in revision R01 compared to R00:

- Length of specific PCR product by primer mix 76 corrected to 515 bp.

Changes in revision R04 compared to R02:

- Primer mix 14 amplifies the B*1507, 1545, 1555, 1568 and 9526 and the B*4612 alleles.