PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*15

Prod. No:	101.516-24/24u

101.516-04/04u

Lot No:    	65G

Expiry Date:    	2012-January-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 96 primer mixes used for HLA-B*15 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*15 alleles3 | Other amplified Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 395 bp | 800 bp | *15010101-150104, 150106-1507, 1512-1515, 1519, 1520, 1524-1528, 1530-1536, 153801-1540, 1542, 1543, 1545-1550, 1553-1555, 1557, 1558, 1560-1565, 1569-1571, 1573, 1575, 1577-1579N, 1581-1589, 1591, 1592, 1594N, 1596, 1598, 9502-9507, 9509-9513, 9516-9518, 9520-9523, 9525-9529, 9531, 9532, 9535-9538, 9540-9542, 9544-9547, 9550, 9551, 9554-9560, 9563-9567, 9569-9575, 9578 | *4012 |
| 2 | 290 bp | 1070 bp | *15010101-150103, 150106-150202, 150303-1508, 151101-151103, 1512-1515, 15170101-151702, 1519-1521, 1524-1528, 1530-1536, 153801-1540, 1542-1546, 1548, 1550, 1555-1558, 1560, 1563, 1565, 1566, 1570, 1571, 1573, 1575-1579N, 1581-1589, 1592, 1594N, 1596, 1597, 9501, 9502, 9504-9507, 9509-9513, 9516-9518, 9520-9522, 9525, 9526, 9528, 9529, 9535-9550, 9552, 9554, 9555, 9557, 9559, 9560, 9562-9572, 9574, 9575, 9577, 9578 | *460101-4622 |
| 35 | 120 bp | 1070 bp | *15010101-150104, 150106-150112, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 153801, 153802, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1590, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 9535, 9537, 9540, 9542-9549N, 9552, 9554, 9557, 9559, 9560, 9563-9567, 9569, 9571, 9572, 9574, 9575, 9578 | *1819, 2725, 351401, 351402, 3543, 3544, 3562, 3567, 3579, 3586, 3936, 4505, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 4612, 4614-4617, 4620, 4622, 5161, 5406, 5521, 5603, Cw*0620 |
| 4 | 180 bp | 800 bp | *15010102N |  |
| 58 | 385 bp | 1070 bp | *150201, 150202, 1508-151104, 1513, 1515, 151801-151803, 1521, 1523, 1529, 1531, 1537, 1544, 1551, 1552, 1555, 1564, 1572, 1576, 1580, 1588-1590, 1593, 1599, 9508, 9512, 9514, 9515, 9519, 9521, 9524, 9533, 9534, 9539, 9543, 9544, 9548, 9553, 9561, 9570, 9576 |  |
| 6 | 525 bp | 1070 bp | *150201, 150202, 1513, 1521, 152501, 152502, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 9544, 9554, 9565, 9570 |  |
| 7 | 330 bp | 1070 bp | *150301-150303, 1509, 1510, 151801-151803, 1523, 1529, 1537, 1546, 1547, 1549, 1551-1554, 1561, 1562, 1564, 1569, 1572, 1574, 1580, 1590, 1591, 1593, 1598, 1599, 9503, 9506, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 9531-9534, 9543, 9551, 9553, 9556, 9558, 9561, 9573, 9576 | *4012, Cw*0746 |
| 85 | 105 bp | 1070 bp | *1504, 1516, 1567, 1595, 9537, 9555 | *1304, 3537, 390601, 390602, 3933, 3934, 3950, 4086, 4502, 4509, 4904, 4905, 5009, 511301, 511302, 5137, 5163, 5214, 5414, 5513, 5523, 5532, 5622, 5903, 7301 |
| 9 | 200 bp | 1070 bp | *1505, 1531, 1552, 1555, 1591, 9507, 9514, 9523, 9524, 9551 | *0748, 0813, 0825, 0840w, 1310, 1311, 180101-180105, 1803-180702, 1809-1812, 1813w, 1814, 1817N, 1820, 1823N-1826, 1828, 1829, 1831-1845, 2707, 2711, 2732-2734, 2743, 3505, 3522, 3531, 3532, 3551, 3566w, 356802, 3572, 3589, 3597, 3930, 3943, 400101-400103, 400105-4003, 4007-401403, 4018-4022N, 4024, 4025, 4027, 4029, 4031, 4033, 4035-4040, 4042, 4043, 4045-4050, 4052, 4054-4058, 4061-4063, 4065-4067, 4069, 4071-4074, 4076-4082, 4084, 4085, 4087-4092, 4094, 4097, 4431, 4454, 4465, 4482, 4606, 461301, 461302, 4621, 480101, 480102, 480301, 4804, 4806, 4807, 4809-4814, 4816, 4818, 4820, 5181, 5314, 5409, 5504, 5508, 5602, 5604, 5610, 5618, 5816, 5818, 8101-8104N, Cw*0203 |
| 109 | 300 bp, 520 bp | 800 bp | *1506, 152701-152703, 1537-153802, 1584, 9509, 9512 |  |
| 115,7,8 | 140 bp | 1070 bp | *1507, 1545, 1555, 1568, 9526 | *0768, 1405, 1413, 1814, 2732, 3505, 3522, 3551, 3558, 3566, 3572, 3589, 3597, 3819, 3903, 3914, 3924, 3929, 3937, 4035, 4071, 4210, 4454, 4612, 4812, 4814, 5164, 5314, 5818 |
| 12 | 405 bp | 1070 bp | *1508, 1529, 1549, 1556 |  |
| 1310 | 395 bp, 435 bp | 800 bp | *1509, 1510, 151801-151803, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1579N, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534, 9553, 9561, 9576 |  |
| 1411 | 465 bp, 515 bp | 1070 bp | *1507, 1509, 1510, 1530, 1537, 1545, 1548, 1555, 1563, 1568, 1583, 1590, 1599, 9510, 9526, 9550 | *4612 |
| 155 | 105 bp | 1070 bp | *150102, 1509 | *070211, 070503, 400106, 4026, 5106, 5159, 5164 |
| 165,12 | 120 bp, 190 bp | 1070 bp | *1512, 1519, 9516, 9524 | *4052, 4059, 4606 |
| 17 | 435 bp | 1070 bp | *1513, 1516-151702, 1523, 1524, 1567, 1587, 1595, 9557, 9562, 9568, 9577 |  |
| 18 | 195 bp | 1070 bp | *1514, 1591, 9531, 9561 | *3545, 3571, 4417, 4443, 4509, 4617, 5807 |
| 198 | 400 bp | 800 bp | *1516-151702, 1567, 1574, 1595, 9562, 9568, 9577 |  |
| 207,13 | 360 bp, 505 bp | 1070 bp | *1516, 1534, 1562, 1567, 1585, 1586, 1595, 9505, 9537 | *4611, 4618 |
| 2114 | 205 bp, 425 bp | 1070 bp | *1516, 1543, 1567, 1595 |  |
| 227 | 190 bp | 800 bp | *15010101-150104, 150106-150112, 150301-1505, 1507-151104, 1512w, 1514-1516, 151801-151803, 1519w, 1520, 1523, 1524, 1526N-1530, 1532-1535, 1537-1539, 1543, 1545, 1546, 1548, 1551, 1553, 1554, 1556-1558, 1560-1568, 1570-1576, 157801-1582, 1584, 1585, 1587, 1590-1592, 1594N-1599, 9501-9505, 9507-9511N, 9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9527, 9529, 9531-9536, 9540-9543, 9545-9555, 9557-9561, 9563-9567, 9569, 9571-9576, 9578 | *0720, 0724, 0760, 0821, 0825, 1303, 1304, 1836, 350101-351402, 3516-3530, 3532, 3534, 3536-3559, 3561-3564, 3567-3572, 3574-3585, 3589-3592, 3594, 3595, 3597-3599, 3932, 3933, 4005, 4026, 4028, 4063, 4071, 4092, 4410, 4414, 4417, 4443, 4445, 4451, 4462, 4477, 4482, 4509, 460101-4602, 4604, 4605, 4607N-4617, 4619, 4620, 4622, 4802, 4904, 510101-510902, 5111N-5115, 5119, 5120, 5122-512402, 5126-5130, 5132, 5133, 5135, 5137-5141N, 5143-5146, 5148-5180, 5183, 5184, 520101-5207, 5209-5216, 530101-5306, 5308-5319, 5403, 5406, 5508, 560101-5609, 5611, 5613-5617, 5620-5622, 5624-5626, 570101, 570102, 570104-570302, 5706-5712, 5714-5724, 580101-5802, 5804, 5806-5819, 5821-5824, 5904, 7801-7806, 8201, 8202, Cw*1515 |
| 238 | 230 bp | 1070 bp | *1519 |  |
| 248,15 | 205 bp, 300 bp | 1070 bp | *1526N, 1533, 1572, 157801, 157802, 9507, 9516, 9541, 9550 | *4606 |
| 2516 | 315 bp, 385 bp | 1070 bp | *1528, 1546, 1553, 9506 |  |
| 26 | 230 bp | 1070 bp | *1532 |  |
| 275 | 115 bp | 1070 bp | *1533 | Cw*0527 |
| 28 | 240 bp | 1070 bp | *1535, 9541 |  |
| 29 | 255 bp | 1070 bp | *1537-153802 | *1405, 140601, 1413, 180101-180105, 1803-180702, 1809, 1812-1815, 1817N, 1819, 1820, 1823N-1826, 1828-1834, 1836-1845, 3932, 3943, 3948, 4051, 5106, 5145, 5162, 5164 |
| 3017 | 320 bp, 355 bp | 1070 bp | *1540, 1547, 1549, 1552, 1575, 9514, 9517, 9524, 9538 | *4606 |
| 317,18 | 320 bp, 395 bp | 1070 bp | *1544, 1550, 1569, 1583, 1586, 1593, 9514, 9521, 9553 | *4603, 4618, 4621 |
| 327 | 380 bp | 1070 bp | *1548, 9508, 9536 | *4619 |
| 338,19 | 200 bp, 255 bp | 1070 bp | *151803, 1542, 1573, 1586, 9518 | *4611, 4618 |
| 347,8 | 160 bp | 1070 bp | *1551 | *0828, 0835, 0837, 4209, 4417, 4509, 5724, Cw*0768 |
| 35 | 165 bp | 1070 bp | *1530, 1558, 1573, 9550 | *3544, 3936, 4819, 5161, 5521 |
| 3620 | 360 bp, 435 bp | 800 bp | *1536, 1582, 1589, 9515 |  |
| 37 | 170 bp | 1070 bp | *1547, 1549, 1565, 1584, 1599 | *070201-070217, 0703, 070501-0713, 0715, 0716, 071801, 071802, 0720-0724, 0727, 0729-0733, 0735-0742, 0744, 0745w, 0746, 0747, 0749N-0751, 0752w, 0753, 0754, 0756-0765, 0767N-0779, 0781-0795, 0797-0799, 0806, 0820, 0840, 1318, 1813, 1821, 1830, 350801-350804, 3518, 3545, 3561, 3566, 3580, 3599, 3707, 3908w, 3911w, 3933, 4015, 4016, 4023, 4032, 4098, 4603, 4805, 4808, 5105, 5129, 5154, 5182, 5311, 5316, 5410, 5509, 5537, 5702, 5712, 5713, 5719, 5822, Cw*1508 |
| 386 | 225 bp | 1070 bp | *1561, 1570, 1576, 9501 | *0729w, 0765, 0772, 0786, 080101w-080109w, 0804w-0822w, 0824w, 0825w, 0826, 0827w-0847w, 1411, 3529, 3569, 3576, 3904, 4043w, 4506w, 460101w, 4603w, 4604w, 4606w-4622w, 5120w, 5401, 5403-5411, 5412w, 5413-5419, 550101-550205, 5503w, 5504, 5505, 5507-5509, 5511, 5512w, 5513-5515, 5516w, 5517, 5519-5524, 5525w, 5526-5530, 5532-5538, 560101-5606, 5608-5620, 5621w, 5622, 5624-5626, 7801, 7803, 8301 |
| 3921 | 305 bp, 325 bp, 380 bp | 800 bp | *1560, 1595, 9519 |  |
| 4022 | 220 bp, 425 bp | 1070 bp | *1513, 1516-151702, 1523, 1524, 1567, 1571, 1595, 9557, 9562, 9568, 9575, 9577 |  |
| 41 | 465 bp | 1070 bp | *15010101-150104, 150106-1508, 151101-1516, 151801-1519, 1521, 1523-1529, 1531-1536, 153801-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 157801-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 9531, 9532, 9534-9536, 9538-9549N, 9551-9561, 9563-9567, 9569-9576, 9578 | *460101-4610, 4612-4617, 4619-4622 |
| 4223 | 345 bp, 460 bp | 1070 bp | *150201-150303, 1505, 1506, 1509, 1510, 1513, 1516-151803, 1521, 1523, 152501, 152502, 1529, 1531, 1536, 1537, 1539, 1540, 1544, 1548, 1552, 1555, 1561, 1562, 1564, 1567, 1569, 1572-1574, 1580, 1586, 1588w, 1589-1591, 1593, 1595, 1598, 9503, 9506-9508, 9512, 9514, 9515, 9519, 9521, 9523, 9524, 9527, 9531-9534, 9536, 9538, 9539, 9551, 9553, 9555, 9556, 9558, 9561, 9562, 9570, 9573, 9576w, 9577 | *4606, 4608, 4611, 461301, 461302, 4618, 4619, 4621 |
| 43 | 525 bp | 1070 bp | *1504, 1516, 1567, 1583, 1595, 9537, 9555 | *4611, 4618 |
| 44 | 515 bp | 1070 bp | *15010101-150104, 150106-150112, 150301-150303, 1505, 1507-151102, 151104, 1512, 1514, 1515, 15170101-151801, 151803, 1519, 1523, 1524, 1526Nw, 1528-1531, 1533-1535, 1537-1540, 1543, 1545-1558, 1560, 1561, 1563-1566, 1568-1576, 157801-1579N, 1581, 1582, 1587, 1590-1594N, 1596-1599, 9501-9505, 9507, 9508, 9511N, 9513-9520, 9522-9528, 9531-9536, 9538, 9540-9543, 9545-9553, 9556-9569, 9571-9578 | *460101-4610, 4612-4617, 4619-4622 |
| 45 | 475 bp | 1070 bp | *15010101-150104, 150106-150112, 150301-1505, 1507-1512, 1514-1516, 151801-1519, 1523, 1524, 1526N-1530, 1532-1535, 1537-1540, 1543, 1545-1554, 1556-1558, 1560-1576, 157801-1587, 1590-1599, 9501-9505, 9507-9511N, 9513-9520, 9522-9527, 9529, 9531-9536, 9538, 9540-9543, 9545-9555, 9557-9561, 9563-9567, 9569, 9571-9576, 9578 | *460101-4622 |
| 46 | 355 bp | 800 bp | *15010101-150104, 150106-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1543-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9544, 9546-9550, 9552-9554, 9556-9561, 9563-9575, 9577, 9578 | *460101-4605, 4607N, 4608, 4610, 4612, 4614-4617, 4620, 4622 |
| 47 | 320 bp | 1070 bp | *15010101-150104, 150106-1519, 1521, 1523-1539, 1543, 1545, 1546, 1548, 1551, 1553-1558, 1560-1568, 1570-1582, 1584, 1585, 1587-1592, 1594N-1599, 9501-9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9529, 9531-9537, 9539-9578 | *460101-4602, 4604, 4605, 4607N-4617, 4619, 4620, 4622 |
| 48 | 420 bp | 1070 bp | *15010101-150104, 150106-1519, 1521, 1523-1532, 1534-1540, 1543-1558, 1560-1571, 1573-1577, 1579N-1599, 9501-9506, 9508-9515, 9517-9529, 9531-9540, 9542-9549N, 9551-9578 | *460101-4605, 4607N-4622 |
| 495 | 135 bp | 1070 bp | *1557, 9535 |  |
| 505 | 85 bp | 1070 bp | *1567 |  |
| 515 | 135 bp | 1070 bp | *1598, 9509, 9563 |  |
| 528 | 345 bp | 800 bp | *1592 |  |
| 53 | 210 bp | 800 bp | *1596 |  |
| 54 | 410 bp | 800 bp | *1597 |  |
| 55 | 250 bp | 1070 bp | *9502 |  |
| 565 | 70 bp | 1070 bp | *9503 |  |
| 57 | 345 bp | 1070 bp | *9511N |  |
| 58 | 170 bp | 1070 bp | *9513 |  |
| 59 | 420 bp | 800 bp | *1594N |  |
| 60 | 385 bp | 800 bp | *9520 |  |
| 6124 | 160 bp, 205 bp | 1070 bp | *9525, 9575 | *4422 |
| 625 | 105 bp | 1070 bp | *9526 |  |
| 63 | 175 bp | 1070 bp | *9527 |  |
| 64 | 365 bp | 800 bp | *9522 | Cw*0348 |
| 65 | 520 bp | 1070 bp | *9529 |  |
| 66 | 430 bp | 1070 bp | *150201, 150202, 1513, 1520, 1521, 152501, 152502, 1536, 1544, 1577, 1585, 1588, 1589, 9512, 9518, 9521, 9539, 9544, 9554 | *130101, 130102, 1306, 1307N, 1312, 1313, 1317, 1320-1323, 1325, 1326, 1328, 1329, 3546, 4408, 4457, 4460, 570101-5710, 5712-5715, 5717-5726 |
| 67 | 300 bp | 800 bp | *9532 |  |
| 68 | 215 bp | 1070 bp | *9534 |  |
| 695 | 130 bp | 1070 bp | *1557 |  |
| 70 | 185 bp | 1070 bp | *9538 | *0768, 1835, 3566, 4077, 4087, 4812, 4814 |
| 71 | 400 bp | 1070 bp | *9539 |  |
| 72 | 295 bp | 1070 bp | *9540 |  |
| 735 | 110 bp | 1070 bp | *9542 | *0729, 5168 |
| 745 | 75 bp | 800 bp | *9545, 9576 |  |
| 75 | 280 bp | 1070 bp | *9546 |  |
| 76 | 475 bp | 1070 bp | *150201, 150202, 1506, 1513, 15170101-151702, 1521, 152501, 152502, 1531, 1536, 1544, 1555, 1577, 1588, 1589, 9506, 9512, 9521, 9528, 9537, 9539, 9544, 9556, 9562, 9568, 9570, 9577 |  |
| 77 | 195 bp | 1070 bp | *9504 |  |
| 78 | 385 bp | 1070 bp | *9547 |  |
| 79 | 420 bp | 800 bp | *9548 |  |
| 805 | 85 bp | 1070 bp | *9549N |  |
| 818 | 395 bp | 1070 bp | *151101-151104, 9543, 9548, 9549N, 9552 |  |
| 825 | 80 bp | 1070 bp | *1581 |  |
| 838 | 210 bp | 1070 bp | *9559 | *0723, 4079 |
| 84 | 155 bp | 1070 bp | *9567 |  |
| 8525 | 340 bp, 420 bp | 1070 bp | *9557, 9564 |  |
| 86 | 230 bp | 1070 bp | *9566 |  |
| 87 | 295 bp | 1070 bp | *9569 |  |
| 8826 | 240 bp, 445 bp | 1070 bp | *9558, 9571 |  |
| 89 | 370 bp | 1070 bp | *9560 |  |
| 90 | 195 bp | 800 bp | *9573 |  |
| 91 | 325 bp | 1070 bp | *9570 |  |
| 92 | 155 bp | 1070 bp | *9572 |  |
| 93 | 295 bp | 1070 bp | *9577 |  |
| 9427 | 285 bp, 325 bp | 1070 bp | *9523, 9578 |  |
| 95 | 395 bp | 1070 bp | *1540, 1547, 1549, 1552, 9514, 9517, 9524, 9538 | *4606 |
| 96 | 185 bp | 1070 bp | *9574 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*15 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*15 subtyping.

In addition, wells number 4, 10, 13, 19, 22, 36, 39, 46, 52, 53, 54, 59, 60, 64, 67, 74, 79 and 90 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups. We also assume that the B*15- and B*46-specific sequence motifs in the 2nd and 3rd intron is conserved within the HLA-B*15 and HLA-B*46 groups of alleles.

## 4Due to the sharing of sequence motifs between HLA-B alleles, non-HLA-B*15 alleles will be amplified by many HLA-B*15 primer mixes. In addition, the Cw*0620 allele will be amplified by primer mix 3, the Cw*0746 allele will be amplified by primer mix 7, the Cw*0203 allele will be amplified by primer mix 9, the Cw*1515 allele will be amplified by primer mix 22, the Cw*0527 allele will be amplified by primer mix 27, the Cw*0768 allele will be amplified by primer mix 34, the Cw*1508 allele will be amplified by primer mix 37 and the Cw*0348 allele will be amplified by primer mix 64.

## 5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6The specific primer pairs in primer mix 38 may give rise to less specific PCR product than the other HLA-B15 primer mixes.

7Primer mixes 11, 20, 22, 31, 32 and 34 might have a tendency of giving rise to primer dimer artifacts.

8Primer mixes 5, 11, 19, 23, 24, 33, 34, 52, 81 and 83 might give rise to non-specific amplifications.

9Primer solution 10: Specific PCR fragment of 300 bp in the B*1537 to 153802 alleles. Specific PCR fragment of 520 bp in the B*1506, 152701-152703, 1584, 9509 and 9512 alleles.

10Primer solution 13: Specific PCR fragment of 395 bp in the B*1509, 1510, 151801-151803, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534, 9553, 9561, 9576 alleles. Specific PCR fragment of 435 bp in the B*1579N allele.

11Primer mix 14: Specific PCR fragment of 465 bp in B*1509, 1510, 1530, 1537, 1545, 1548, 1563, 1583, 1590, 1599 and 9550 alleles. Specific PCR fragment of 515 bp in the B*9510 allele.

12Primer mix 16: Specific PCR fragment of 120 bp in the B*9516 and B*9524 and the B*4052, B*4059 and B*4606 alleles. Specific PCR fragment of 190 bp in the B*1512 and B*1519 alleles.

13Primer mix 20: Specific PCR fragment of 360 bp in B*9505 allele. Specific PCR fragment of 505 bp in the B*1516, 1534, 1562, 1567, 1585, 1586, 1595 and 9537 and the B*4611 and 4618 alleles.

14Primer solution 21: Specific PCR fragment of 205 bp in the B*1516, 1567 and 1595 alleles. Specific PCR fragment of 425 bp in the B*1543 allele.

15Primer mix 24: Specific PCR fragment of 205 bp in the B*1526N allele. Specific PCR fragment of 300 bp in the B*1533, 1572, 157801, 157802, 9507, 9516, 9541 and 9550 and the B*4606 alleles.

16Primer solution 25: Specific PCR fragment of 315 bp in the B*1546, 1553 and B*9506 alleles. Specific PCR fragment of 385 bp in the B*1528 allele.

17Prrimer solution 30: Specific PCR fragment of 320 bp in the B*1540, 1547, 1549, 1552, 9514, 9517, 9524 and 9538 and the B*4606 alleles. Specific PCR fragment of 355 bp in the B*1575 allele.

18Primer mix 31: Specific PCR fragment of 320 bp in the B*1544, 1550, 1569, 1583, 1586, 1593, 9521 and the B*4603, 4618 and 4621 alleles. Specific PCR fragment of 395 bp in the B*9514 and 9553 alleles.

19Primer solution 33: Specific PCR fragment of 200 bp in the B*9518 allele. Specific PCR fragment of 255 bp in the B*151803, 1542, 1573 and 1586 and the B*4611 and 4618 alleles.

20Primer solution 36: Specific PCR fragment of 360 bp in the B*1582 allele. Specific PCR fragment of 435 bp in the B*1536, B*1589 and 9515 alleles.

21Primer solution 39: Specific PCR fragment of 305 bp in the B*1560 allele. Specific PCR fragment of 325 bp in the B*9519 allele. Specific PCR fragment of 380 bp in the B*1595 allele.

22Primer solution 40: Specific PCR fragment of 220 bp in the B*1571 and B*9575 alleles. Specific PCR fragment of 425 bp in the B*1513, 1516-151702, 1523, 1524, 1567, 1595, 9557, 9562, 9568 and 9577 alleles.

23Primer mix 42: Specific PCR fragment of 345 bp in the B*150201-150303, 1505, 1506, 1509, 1510, 1513, 1516-151803, 1521, 1523, 152501, 152502, 1529, 1531, 1536, 1537, 1539, 1540, 1544, 1548, 1552, 1555, 1561, 1562, 1564, 1567, 1569, 1572, 1574, 1580, 1588w, 1589-1591, 1593, 1595, 1598, 9503, 9506-9508, 9512, 9514, 9515, 9519, 9521, 9523, 9524, 9527, 9531-9534, 9536, 9538, 9539, 9551, 9553, 9555, 9556, 9558, 9561, 9562, 9570, 9573, 9576w and 9577 and the B*4606, 4608, 461301, 461302, 4619 and 4621  alleles. Specific PCR fragment of 460 bp in the B*1573 allele. PCR fragment of 345 and 460 bp in the B* 1586 and the B*4611 and 4618 alleles.

24Primer mix 61: Specific PCR fragment of 160 bp in the B*9575 allele. Specific PCR fragment of 205 bp in the B*9525 and the B*4422 alleles.

25Primer mix 85: Specific PCR fragment of 340 bp in the B*9557 allele. Specific PCR fragment of 420 bp bp in the B*9564 allele.

26Primer mix 88: Specific PCR fragment of 240 bp in the B*9571 allele. Specific PCR fragment of 445 bp in the B*9558 allele.

27Primer mix 94: Specific PCR fragment of 285 bp in the B*9523 allele. Specific PCR fragment of 325 bp in the B*9578 allele.

‘w’, might be weakly amplified.

1The sequence of B*150105 has been renamed to B*9520. The sequence of B*1522 has been named in error and identical to B*3543. The sequence of B*1541 has been shown to be in error and identical to B*1539. The sequence of B*1559 has been named in error B*3544. The sequence of B*9530 has been renamed to B*152702.

2Primer solution 10: Specific PCR fragment of 300 bp in the B*1537 to 153802 alleles. Specific PCR fragment of 520 bp in the B*1506, 152701-152703, 1584, 9509 and 9512 alleles.

Primer solution 13: Specific PCR fragment of 395 bp in the B*1509, 1510, 151801-151803, 1521, 1523, 1537, 1544, 1551, 1552, 1566, 1572, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534, 9553, 9561, 9576 alleles. Specific PCR fragment of 435 bp in the B*1579N allele.

Primer mix 14: Specific PCR fragment of 465 bp in B*1509, 1510, 1530, 1537, 1545, 1548, 1563, 1583, 1590, 1599 and 9550 alleles. Specific PCR fragment of 515 bp in the B*9510 allele.

Primer mix 16: Specific PCR fragment of 120 bp in the B*9516 and B*9524 and the B*4052, B*4059 and B*4606 alleles. Specific PCR fragment of 190 bp in the B*1512 and B*1519 alleles.

Primer mix 20: Specific PCR fragment of 360 bp in B*9505 allele. Specific PCR fragment of 505 bp in the B*1516, 1534, 1562, 1567, 1585, 1586, 1595 and 9537 and the B*4611 and 4618 alleles.

Primer solution 21: Specific PCR fragment of 205 bp in the B*1516, 1567 and 1595 alleles. Specific PCR fragment of 425 bp in the B*1543 allele.

Primer mix 24: Specific PCR fragment of 205 bp in the B*1526N allele. Specific PCR fragment of 300 bp in the B*1533, 1572, 157801, 157802, 9507, 9516, 9541 and 9550 and the B*4606 alleles.

Primer solution 25: Specific PCR fragment of 315 bp in the B*1546, 1553 and B*9506 alleles. Specific PCR fragment of 385 bp in the B*1528 allele.

Primer solution 30: Specific PCR fragment of 320 bp in the B*1540, 1547, 1549, 1552, 9514, 9517, 9524 and 9538 and the B*4606 alleles. Specific PCR fragment of 355 bp in the B*1575 allele.

Primer mix 31: Specific PCR fragment of 320 bp in the B*1544, 1550, 1569, 1583, 1586, 1593, 9521 and the B*4603, 4618 and 4621 alleles. Specific PCR fragment of 395 bp in the B*9514 and 9553 alleles.

Primer solution 33: Specific PCR fragment of 200 bp in the B*9518 allele. Specific PCR fragment of 255 bp in the B*151803, 1542, 1573 and 1586 and the B*4611 and 4618 alleles.

Primer solution 36: Specific PCR fragment of 360 bp in the B*1582 allele. Specific PCR fragment of 435 bp in the B*1536, B*1589 and 9515 alleles.

Primer solution 39: Specific PCR fragment of 305 bp in the B*1560 allele. Specific PCR fragment of 325 bp in the B*9519 allele. Specific PCR fragment of 380 bp in the B*1595 allele.

Primer solution 40: Specific PCR fragment of 220 bp in the B*1571 and B*9575 alleles. Specific PCR fragment of 425 bp in the B*1513, 1516-151702, 1523, 1524, 1567, 1595, 9557, 9562, 9568 and 9577 alleles.

Primer mix 42: Specific PCR fragment of 345 bp in the B*150201-150303, 1505, 1506, 1509, 1510, 1513, 1516-151803, 1521, 1523, 152501, 152502, 1529, 1531, 1536, 1537, 1539, 1540, 1544, 1548, 1552, 1555, 1561, 1562, 1564, 1567, 1569, 1572, 1574, 1580, 1588w, 1589-1591, 1593, 1595, 1598, 9503, 9506-9508, 9512, 9514, 9515, 9519, 9521, 9523, 9524, 9527, 9531-9534, 9536, 9538, 9539, 9551, 9553, 9555, 9556, 9558, 9561, 9562, 9570, 9573, 9576w and 9577 and the B*4606, 4608, 461301, 461302, 4619 and 4621  alleles. Specific PCR fragment of 460 bp in the B*1573 allele. PCR fragment of 345 and 460 bp in the B* 1586 and the B*4611 and 4618 alleles.

Primer mix 61: Specific PCR fragment of 160 bp in the B*9575 allele. Specific PCR fragment of 205 bp in the B*9525 and the B*4422 alleles.

Primer mix 85: Specific PCR fragment of 340 bp in the B*9557 allele. Specific PCR fragment of 420 bp bp in the B*9564 allele.

Primer mix 88: Specific PCR fragment of 240 bp in the B*9571 allele. Specific PCR fragment of 445 bp in the B*9558 allele.

Primer mix 94: Specific PCR fragment of 285 bp in the B*9523 allele. Specific PCR fragment of 325 bp in the B*9578 allele.

‘w’, might be weakly amplified.

Changes in revision R01 compared to R00:

- Primer mix 14 amplifies the B*1507, 1545, 1555, 1568 and 9526 and the B*4612 alleles.