PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*15

Prod. No:	101.516-24/24u

101.516-04/04u

Lot No:    	23L

Expiry Date:    	2013-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 96 primer mixes used for HLA-B*15 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*15 alleles3 | Other amplified Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 395 bp | 800 bp | *15:01:01:01-15:01:04, 15:01:06-15:07:02, 15:12-15:15, 15:19-15:20, 15:24-15:28, 15:30-15:36, 15:38:01-15:40, 15:42-15:43, 15:45-15:50, 15:53-15:55, 15:57-15:58, 15:60-15:65, 15:69-15:71, 15:73, 15:75, 15:77-15:79N, 15:81-15:89, 15:91-15:92, 15:94N, 15:96, 15:98, 15:102-15:107, 15:109-15:113, 15:116-15:118, 15:120-15:123, 15:125-15:129, 15:131-15:132, 15:135-15:138, 15:140-15:142, 15:144-15:147, 15:150-15:151, 15:154-15:160, 15:163-15:167, 15:169-15:175, 15:178-15:179, 15:181N-15:185, 15:187-15:188, 15:190N, 15:192-15:195, 15:199, 15:201-15:207 | *40:12 |
| 2 | 290 bp | 1070 bp | *15:01:01:01-15:01:03, 15:01:06-15:02:05, 15:03:03-15:08, 15:10:02-15:11:03, 15:11:05-15:15, 15:17:01:01-15:17:02, 15:19-15:21, 15:24-15:28, 15:30-15:36, 15:38:01-15:40, 15:42-15:46, 15:48, 15:50, 15:55-15:58, 15:60, 15:63, 15:65-15:66, 15:70-15:71, 15:73, 15:75-15:79N, 15:81-15:89, 15:92, 15:94N, 15:96-15:97, 15:101-15:102, 15:104-15:107, 15:109-15:113, 15:116-15:118, 15:120-15:122, 15:125-15:126, 15:128-15:129, 15:135-15:150, 15:152, 15:154-15:155, 15:157, 15:159-15:160, 15:162-15:172, 15:174-15:175, 15:177-15:179, 15:181N-15:185, 15:187-15:196, 15:199, 15:201-15:209N | *46:01:01-46:26 |
| 35 | 120 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:01:16, 15:01:17w, 15:01:18-15:01:20, 15:04, 15:07:01-15:08, 15:11:01-15:12, 15:14-15:15, 15:19, 15:24, 15:26N-15:28, 15:30, 15:32, 15:34-15:35, 15:38:01-15:38:02, 15:43, 15:45-15:46, 15:50, 15:53-15:54, 15:56-15:58, 15:60, 15:63, 15:66, 15:68, 15:70-15:71, 15:73, 15:75-15:77, 15:79N, 15:81-15:82, 15:85, 15:87, 15:90, 15:92, 15:94N, 15:96-15:97, 15:101-15:102, 15:104-15:105, 15:109-15:111N, 15:113, 15:117-15:118, 15:120, 15:122, 15:125-15:126, 15:128-15:129, 15:135, 15:137, 15:140, 15:142-15:149N, 15:152, 15:154, 15:157, 15:159-15:160, 15:163-15:167, 15:169, 15:171-15:172, 15:174-15:175, 15:178, 15:180-15:184, 15:187, 15:189-15:193, 15:201-15:203, 15:205-15:207, 15:209N | *07:100, 13:31, 18:19, 27:25, 35:14:01-35:14:02, 35:43:01-35:44, 35:62, 35:67, 35:79, 35:86, 35:102, 35:117, 35:135, 39:36, 45:05, 46:01:01-46:02, 46:04-46:05, 46:07N, 46:09-46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 51:61, 52:21, 54:06, 55:21, 56:03, A*68:56, C*06:20, C*12:50 |
| 4 | 180 bp | 800 bp | *15:01:01:02N |  |
| 58 | 385 bp | 1070 bp | *15:02:01-15:02:05, 15:08-15:11:05, 15:13, 15:15, 15:18:01-15:18:04, 15:21, 15:23, 15:29, 15:31, 15:37, 15:44, 15:51-15:52, 15:55, 15:64, 15:72, 15:76, 15:80, 15:88-15:90, 15:93, 15:99, 15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:124, 15:133-15:134, 15:139, 15:143-15:144, 15:148, 15:153, 15:161, 15:170, 15:176, 15:186, 15:189, 15:191, 15:194, 15:197-15:198, 15:200, 15:209N |  |
| 6 | 525 bp | 1070 bp | *15:02:01-15:02:05, 15:13, 15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:62, 15:77, 15:80, 15:85, 15:88-15:89, 15:106, 15:112, 15:121, 15:139, 15:144, 15:154, 15:165, 15:170, 15:194, 15:204 |  |
| 7 | 330 bp | 1070 bp | *15:03:01-15:03:03, 15:09-15:10:02, 15:18:01-15:18:04, 15:23, 15:29, 15:37, 15:46-15:47, 15:49, 15:51-15:54, 15:61-15:62, 15:64, 15:69, 15:72, 15:74, 15:80, 15:90-15:91, 15:93, 15:98-15:99, 15:103, 15:106, 15:108, 15:114-15:115, 15:119, 15:123-15:124, 15:127, 15:131-15:134, 15:143, 15:151, 15:153, 15:156, 15:158, 15:161, 15:173, 15:176, 15:186, 15:197-15:198, 15:200 | *40:12, C*07:46 |
| 85 | 105 bp | 1070 bp | *15:04, 15:16, 15:67, 15:95, 15:137, 15:155 | *13:04, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 39:62, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 51:13:01-51:13:02, 51:37, 51:63, 51:92, 51:97, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03, 73:01-73:02 |
| 9 | 200 bp | 1070 bp | *15:05:01-15:05:02, 15:31, 15:52, 15:55, 15:91, 15:107, 15:114, 15:123-15:124, 15:151, 15:185, 15:188 | *07:48, 08:13, 08:25, 08:40w, 13:10-13:11, 18:01:01-18:01:05, 18:01:07-18:01:09, 18:03-18:07:02, 18:09-18:12, 18:13w, 18:14, 18:17N, 18:20, 18:23N-18:26, 18:28-18:29, 18:31-18:51, 27:07, 27:11, 27:32-27:34, 27:43, 27:70, 35:05:01-35:05:02, 35:22, 35:31-35:32, 35:51, 35:66w, 35:68:02, 35:72, 35:89, 35:97, 35:114, 35:151, 39:01:11, 39:30, 39:43, 40:01:01-40:01:03, 40:01:05-40:01:11, 40:01:13-40:02:08, 40:02:10-40:03, 40:07-40:11:01, 40:12-40:14:03, 40:18-40:22N, 40:24-40:25, 40:27, 40:29, 40:31, 40:33, 40:35-40:40, 40:42-40:43, 40:45-40:50, 40:52, 40:54-40:58, 40:61-40:63, 40:65-40:67, 40:69, 40:71-40:74, 40:76-40:82, 40:84-40:85, 40:87-40:92, 40:94, 40:97, 40:99, 40:101-40:102, 40:104-40:108, 40:111-40:119, 40:121-40:123, 40:124:02, 40:126, 40:128w, 40:130, 40:132-40:135, 40:138-40:142N, 40:144N-40:147, 40:149-40:157, 44:31, 44:54, 44:65, 44:82, 46:06, 46:13:01-46:13:03, 46:21:01-46:21:02, 46:26, 48:01:01-48:01:03, 48:03:01, 48:04, 48:06-48:07, 48:09-48:14, 48:16, 48:18, 48:20, 48:22-48:23, 48:24w, 51:81, 53:14, 54:09, 55:04, 55:08, 56:02, 56:04, 56:10, 56:18, 58:16, 58:18, 58:27, 81:01-81:05, C*02:03 |
| 1010 | 300 bp, 520 bp, | 1070 bp | *15:06, 15:27:01-15:27:03, 15:37-15:38:02, 15:84, 15:109, 15:112, 15:185, 15:195 |  |
| 115,7,8 | 140 bp | 1070 bp | *15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207 | *07:68:01-07:68:02, 07:100, 14:05, 14:13, 18:14, 27:32, 35:05:01-35:05:02, 35:22, 35:51,35:58, 35:66, 35:72, 35:89, 35:97, 38:19, 39:03, 39:14, 39:24, 39:29, 39:37, 40:35, 40:71, 42:10, 44:54, 44:106, 46:12, 48:12, 48:14, 51:64, 53:14, 58:18 |
| 12 | 405 bp | 1070 bp | *15:08, 15:29, 15:49, 15:56, 15:191 |  |
| 1311 | 395 bp, 435 bp | 800 bp | *15:09-15:10:02, 15:18:01-15:18:04, 15:21, 15:23, 15:37, 15:44, 15:51-15:52, 15:66, 15:72, 15:79N-15:80, 15:90, 15:93, 15:99, 15:108, 15:114-15:115, 15:119, 15:124, 15:133-15:134, 15:153, 15:161, 15:176, 15:186, 15:189, 15:197-15:198, 15:200 |  |
| 1412 | 465 bp, 515 bp | 1070 bp | *15:09-15:10:02, 15:30, 15:37, 15:45, 15:48, 15:63, 15:83, 15:90, 15:99, 15:110, 15:150, 15:188 |  |
| 155 | 105 bp | 1070 bp | *15:01:02, 15:09 | *07:02:11, 07:05:03, 40:01:06, 40:26, 51:06, 51:59, 51:64 |
| 165,13 | 120 bp, 190 bp | 1070 bp | *15:12, 15:19, 15:116, 15:124 | *40:52, 40:59, 46:06, 48:23 |
| 17 | 435 bp | 1070 bp | *15:13, 15:16-15:17:02, 15:23-15:24, 15:67, 15:87, 15:95, 15:157, 15:162, 15:168, 15:177, 15:196, 15:208 |  |
| 18 | 195 bp | 1070 bp | *15:14, 15:91, 15:131, 15:161 | *35:45, 35:71, 44:17, 44:43:01-44:43:02, 45:09, 46:17, 53:22, 58:07 |
| 198 | 400 bp | 800 bp | *15:16-15:17:02, 15:67, 15:74, 15:95, 15:162, 15:168, 15:177, 15:196, 15:208 |  |
| 207,14 | 360 bp, 505 bp | 1070 bp | *15:16, 15:34, 15:62, 15:67, 15:85-15:86, 15:95, 15:105, 15:137, 15:194 | *46:11, 46:18 |
| 2115 | 205 bp, 425 bp | 1070 bp | *15:16, 15:43, 15:67, 15:95 |  |
| 227 | 190 bp | 800 bp | *15:01:01:01-15:01:04, 15:01:06-15:01:20, 15:03:01-15:05:02, 15:07:01-15:11:05, 15:12w, 15:14-15:16, 15:18:01-15:18:04, 15:19w, 15:20, 15:23-15:24, 15:26N-15:30, 15:32-15:35, 15:37-15:39:02, 15:43, 15:45-15:46, 15:48, 15:51, 15:53-15:54, 15:56-15:58, 15:60-15:68, 15:70-15:76, 15:78:01-15:82, 15:84-15:85, 15:87, 15:90-15:92, 15:94N-15:99, 15:101-15:105, 15:107-15:111N, 15:113, 15:115-15:116, 15:118-15:120, 15:122-15:123, 15:125-15:127, 15:129, 15:131-15:136, 15:140-15:143, 15:145-15:155, 15:157-15:161, 15:163-15:167, 15:169, 15:171-15:176, 15:178-15:185, 15:187, 15:189-15:195, 15:197-15:198, 15:200-15:203, 15:205-15:206, 15:209N | *07:20, 07:24, 07:60, 07:100, 08:21, 08:25, 13:03-13:04, 18:36, 35:01:01:01-35:03:05, 35:03:07-35:14:02, 35:16-35:30, 35:32, 35:34, 35:36-35:59, 35:61-35:64, 35:67-35:72, 35:74-35:85, 35:89-35:92, 35:94-35:95, 35:97-35:130N, 35:132-35:151, 39:32-39:33, 40:05, 40:26, 40:28, 40:63, 40:71, 40:92, 44:10, 44:14, 44:17, 44:43:01-44:43:02, 44:45, 44:51, 44:62, 44:77, 44:82, 44:107, 45:09, 46:01:01-46:02, 46:04-46:05, 46:07N-46:17, 46:19-46:20, 46:22-46:26, 48:02:01-48:02:02, 49:04, 51:01:01-51:09:02, 51:11N-51:15, 51:19-51:20, 51:22-51:24:04, 51:26-51:30, 51:32-51:33, 51:35, 51:37-51:41N, 51:43-51:46, 51:48-51:80, 51:83-51:84, 51:86-51:92, 51:94-51:100, 51:102-51:106, 52:01:01-52:07, 52:09-52:22, 53:01:01-53:06, 53:08:01-53:24, 54:03, 54:06, 55:08, 56:01:01-56:09, 56:11, 56:13-56:17, 56:20-56:22, 56:24-56:30, 57:01:01-57:01:02, 57:01:04-57:03:02, 57:06-57:12, 57:14-57:24, 57:27-57:31, 57:33-57:37, 58:01:01-58:02, 58:04, 58:06-58:19, 58:21-58:26, 58:28-58:31N, 59:04, 78:01-78:06, 82:01-82:03, C*03:81, C*15:15 |
| 238 | 230 bp | 1070 bp | *15:19 | *46:24 |
| 2416 | 205 bp, 300 bp | 1070 bp | *15:26N, 15:33, 15:72, 15:78:01-15:78:02, 15:107, 15:116, 15:141, 15:150, 15:188, 15:209N | *46:06 |
| 2517 | 315 bp, 385 bp | 1070 bp | *15:28, 15:46, 15:53, 15:106 |  |
| 26 | 230 bp | 1070 bp | *15:32 |  |
| 275 | 115 bp | 1070 bp | *15:33 | C*03:87, C*05:27, C*05:39 |
| 28 | 240 bp | 1070 bp | *15:35, 15:141 |  |
| 29 | 255 bp | 1070 bp | *15:37-15:38:02, 15:185 | *14:05-14:06:01, 14:13, 18:01:01-18:01:05, 18:01:07-18:01:09, 18:03-18:07:02, 18:09, 18:12-18:15, 18:17N, 18:19-18:20, 18:23N-18:26, 18:28-18:34, 18:36-18:51, 39:32, 39:43, 39:48, 40:51, 40:113, 51:06, 51:45, 51:62, 51:64 |
| 308,18 | 320 bp, 355 bp | 1070 bp | *15:40, 15:47, 15:49, 15:52, 15:75, 15:114, 15:117, 15:124, 15:138 | *46:06 |
| 317,19 | 320 bp, 395 bp | 1070 bp | *15:44, 15:50, 15:69, 15:83, 15:86, 15:93, 15:114, 15:121, 15:153, 15:186, 15:188, 15:199 | *46:03, 46:18, 46:21:01-46:21:02 |
| 327,8,20 | 275 bp, 350 bp, 380 bp | 1070 bp | *15:48, 15:108, 15:136, 15:190N, 15:196 | *46:19 |
| 3321 | 200 bp, 255 bp, 340 bp | 1070 bp | *15:18:03, 15:42, 15:73, 15:86, 15:118, 15:192 | *46:11, 46:18 |
| 347,8 | 160 bp | 1070 bp | *15:51, 15:179, 15:199 | *08:28, 08:35, 08:37, 35:115, 42:09, 44:17, 45:09, 51:97, 53:22, 57:24, C*07:68, C*07:140, C*07:151 |
| 35 | 165 bp | 1070 bp | *15:30, 15:58, 15:73, 15:150 | *13:31, 35:44, 39:36, 48:19, 51:61, 52:21, 55:21 |
| 3622 | 360 bp, 435 bp | 800 bp | *15:36, 15:82, 15:89, 15:115 |  |
| 37 | 170 bp | 1070 bp | *15:47, 15:49, 15:65, 15:84, 15:99 | *07:02:01-07:02:17, 07:02:19-07:03, 07:05:01-07:13, 07:15-07:16, 07:18:01-07:18:02, 07:20-07:24, 07:27, 07:29-07:33, 07:35-07:42, 07:44, 07:45w, 07:46-07:47, 07:49N-07:51, 07:52w, 07:53-07:54, 07:56-07:65, 07:67N-07:79, 07:81-07:95, 07:97-07:99, 07:101-07:114, 07:116-07:117, 08:20, 08:40, 13:18, 18:13, 18:21, 18:30, 35:08:01-35:08:04, 35:18, 35:45, 35:61, 35:66, 35:80, 35:99-35:100, 35:105, 35:142, 37:07, 39:08w, 39:11w, 39:33, 40:15-40:16, 40:23, 40:32, 40:98, 40:128, 46:03, 48:05, 48:08, 51:05, 51:29, 51:54, 51:82, 53:11, 53:16, 53:24, 54:10, 54:20, 55:09, 55:37, 57:02:01-57:02:02, 57:12-57:13, 57:19, 57:28N, 57:30, 58:22, C*15:08 |
| 386 | 225 bp | 1070 bp | *15:61, 15:70, 15:76, 15:101, 15:180, 15:189 | *07:29w, 07:65, 07:72, 07:86, 08:01:01w-08:01:13w, 08:04w-08:05w, 08:07w-08:22w, 08:24w-08:25w, 08:26, 08:27w-08:49w, 08:50, 08:51w-08:53w, 08:55w-08:65w, 14:11, 35:29, 35:69, 35:76, 35:136, 39:04, 40:43w, 44:90, 45:06w, 46:01:01w, 46:01:03w-46:01:05w, 46:03w-46:04w, 46:06w-46:26w, 51:20w, 53:23w, 54:01, 54:03-54:11, 54:12w, 54:13-54:22, 55:01:01-55:02:06, 55:03w, 55:04-55:05, 55:07-55:09, 55:11, 55:12w, 55:13-55:15, 55:16w, 55:17, 55:19-55:24, 55:25w, 55:26-55:30, 55:32-55:48, 56:01:01-56:06, 56:08-56:20, 56:21w, 56:22, 56:24-56:30, 78:01, 78:03, 78:07, 83:01 |
| 3923 | 305 bp, 325 bp, 380 bp | 800 bp | *15:60, 15:95, 15:119 |  |
| 407,24 | 220 bp, 425 bp | 1070 bp | *15:13, 15:16-15:17:02, 15:23-15:24, 15:67, 15:71, 15:95, 15:157, 15:162, 15:168, 15:175, 15:177, 15:196, 15:208 |  |
| 41 | 465 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:08, 15:11:01-15:16, 15:18:01-15:19, 15:21, 15:23-15:29, 15:31-15:36, 15:38:01-15:40, 15:43-15:44, 15:46-15:47, 15:49-15:57, 15:60-15:62, 15:64-15:72, 15:74-15:76, 15:78:01-15:82, 15:84-15:85, 15:87-15:89, 15:91-15:98, 15:101-15:129, 15:131-15:132, 15:134-15:136, 15:138-15:149N, 15:151-15:161, 15:163-15:167, 15:169-15:176, 15:178-15:187, 15:189-15:195, 15:197-15:207, 15:209N | *35:43:01-35:43:02, 46:01:01-46:10, 46:12-46:17, 46:19-46:26, 56:03 |
| 4225 | 345 bp, 460 bp | 1070 bp | *15:02:01-15:03:03, 15:05:01-15:06, 15:09-15:10:02, 15:13, 15:16-15:18:04, 15:21, 15:23, 15:25:01-15:25:03, 15:29, 15:31, 15:36-15:37, 15:39:01-15:40, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64, 15:67, 15:69, 15:72-15:74, 15:80, 15:86, 15:88w, 15:89-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:170, 15:173, 15:176w, 15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200w, 15:204, 15:208 | *46:06, 46:08, 46:11, 46:13:01-46:13:03, 46:18-46:19, 46:21:01-46:21:02, 46:26 |
| 43 | 525 bp | 1070 bp | *15:04, 15:16, 15:67, 15:83, 15:95, 15:137, 15:155 | *46:11, 46:18 |
| 44 | 515 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:01:13, 15:01:15-15:01:20, 15:03:01-15:03:03, 15:05:01-15:05:02, 15:07:01-15:11:02, 15:11:04-15:12, 15:14-15:15, 15:17:01:01-15:18:01, 15:18:03-15:19, 15:23-15:24, 15:26Nw, 15:28-15:31, 15:33-15:35, 15:37-15:40, 15:43, 15:45-15:58, 15:60-15:61, 15:63-15:66, 15:68-15:76, 15:78:01-15:79N, 15:81-15:82, 15:87, 15:90-15:94N, 15:96-15:99, 15:101-15:105, 15:107-15:108, 15:111N, 15:113-15:120, 15:122-15:128, 15:131-15:136, 15:138, 15:140-15:143, 15:145-15:153, 15:156-15:169, 15:171-15:183, 15:185-15:193, 15:196-15:203, 15:205-15:209N | *35:43:01-35:43:02, 46:01:01-46:10, 46:12-46:17, 46:19-46:26, 56:03 |
| 45 | 475 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:01:20, 15:03:01-15:05:02, 15:07:01-15:12, 15:14-15:16, 15:18:01-15:19, 15:23-15:24, 15:26N-15:30, 15:32-15:35, 15:37-15:40, 15:43, 15:45-15:54, 15:56-15:58, 15:60-15:76, 15:78:01-15:87, 15:90-15:99, 15:101-15:105, 15:107-15:111N, 15:113-15:120, 15:122-15:127, 15:129, 15:131-15:136, 15:138, 15:140-15:143, 15:145-15:155, 15:157-15:161, 15:163-15:167, 15:169, 15:171-15:176, 15:178-15:195, 15:197-15:203, 15:205-15:206, 15:209N | *35:43:01-35:43:02, 46:01:01-46:26, 56:03 |
| 46 | 355 bp | 800 bp | *15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:43-15:47, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:209N | *35:43:01-35:43:02, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 56:03 |
| 47 | 320 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:19, 15:21, 15:23-15:39:02, 15:43, 15:45-15:46, 15:48, 15:51, 15:53-15:58, 15:60-15:68, 15:70-15:82, 15:84-15:85, 15:87-15:92, 15:94N-15:99, 15:101-15:113, 15:115-15:116, 15:118-15:120, 15:122-15:123, 15:125-15:129, 15:131-15:137, 15:139-15:185, 15:187, 15:189-15:198, 15:200-15:209N | *35:43:01-35:43:02, 46:01:01-46:02, 46:04-46:05, 46:07N-46:17, 46:19-46:20, 46:22-46:26, 56:03 |
| 48 | 420 bp | 1070 bp | *15:01:01:01-15:01:04, 15:01:06-15:01:16, 15:01:17w, 15:01:18-15:19, 15:21, 15:23-15:32, 15:34-15:40, 15:43-15:58, 15:60-15:71, 15:73-15:77, 15:79N-15:99, 15:101-15:106, 15:108-15:115, 15:117-15:129, 15:131-15:140, 15:142-15:149N, 15:151-15:187, 15:189-15:209N | *35:43:01-35:43:02, 46:01:01-46:05, 46:07N-46:26, 56:03 |
| 495 | 135 bp | 1070 bp | *15:57, 15:135 | *13:39 |
| 505,8,26 | 85 bp, 185 bp | 1070 bp | *15:67, 15:206 | *35:110, A*68:56 |
| 515 | 135 bp | 1070 bp | *15:98, 15:109, 15:163 |  |
| 528 | 345 bp | 800 bp | *15:92 |  |
| 53 | 210 bp | 800 bp | *15:96 |  |
| 5427 | 250 bp, 410 bp | 800 bp | *15:97, 15:187 | C*12:36 |
| 55 | 250 bp | 1070 bp | *15:102 |  |
| 565 | 70 bp | 1070 bp | *15:103 |  |
| 57 | 345 bp | 1070 bp | *15:111N |  |
| 58 | 170 bp | 1070 bp | *15:113 |  |
| 5928 | 230 bp, 375 bp, 420 bp | 800 bp | *15:94N, 15:191, 15:198 | C*06:33 |
| 60 | 385 bp | 800 bp | *15:120 |  |
| 6129 | 160 bp, 205 bp | 1070 bp | *15:125, 15:175 | *44:22, 44:105 |
| 625 | 105 bp | 1070 bp | *15:126 |  |
| 63 | 175 bp | 1070 bp | *15:127 |  |
| 64 | 365 bp | 800 bp | *15:122 | C*03:48 |
| 65 | 520 bp | 1070 bp | *15:129 |  |
| 66 | 435 bp | 1070 bp | *15:02:01-15:02:05, 15:13, 15:20-15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:77, 15:85, 15:88-15:89, 15:112, 15:118, 15:121, 15:139, 15:144, 15:154, 15:194, 15:204 | *13:01:01-13:01:05, 13:06-13:07N, 13:12-13:13, 13:17, 13:20-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 35:46, 40:137, 44:08, 44:57, 44:60, 57:01:01-57:10, 57:12-57:15, 57:17-57:33, 57:34w, 57:35-57:37 |
| 6730 | 265 bp, 300 bp | 800 bp | *15:53, 15:132, 15:183 | *46:10 |
| 68 | 215 bp | 1070 bp | *15:134 |  |
| 695 | 130 bp | 1070 bp | *15:57 |  |
| 705,31 | 90 bp, 185 bp | 1070 bp | *15:138, 15:208 | *07:68:01-07:68:02, 18:35, 35:66, 40:77, 40:87, 40:121, 40:158, 48:12, 48:14 |
| 7132 | 315 bp, 400 bp | 1070 bp | *15:139, 15:205 |  |
| 7233 | 295 bp, 390 bp | 1070 bp | *15:140, 15:201 |  |
| 735 | 110 bp | 1070 bp | *15:142 | *07:29, 08:01:11, 08:56, 51:68 |
| 745 | 75 bp | 800 bp | *15:145, 15:176 |  |
| 7534 | 280 bp, 390 bp | 1070 bp | *15:146, 15:201 |  |
| 76 | 475 bp | 1070 bp | *15:02:01-15:02:05, 15:06, 15:13, 15:17:01:01-15:17:02, 15:21, 15:25:01-15:25:03, 15:31, 15:36, 15:44, 15:55, 15:77, 15:88-15:89, 15:106, 15:112, 15:121, 15:128, 15:137, 15:139, 15:144, 15:156, 15:162, 15:168, 15:170, 15:177, 15:196, 15:204, 15:208 |  |
| 77 | 195 bp | 1070 bp | *15:104 |  |
| 78 | 385 bp | 1070 bp | *15:147 |  |
| 7935 | 215 bp, 420 bp | 800 bp | *15:148, 15:182N |  |
| 805 | 85 bp | 1070 bp | *15:149N |  |
| 818 | 395 bp | 1070 bp | *15:11:01-15:11:05, 15:143, 15:148-15:149N, 15:152, 15:209N |  |
| 825 | 80 bp | 1070 bp | *15:81 |  |
| 838 | 210 bp | 1070 bp | *15:159 | *07:23, 40:79, 41:14 |
| 8436 | 155 bp, 235 bp | 1070 bp | *15:167, 15:197 | *35:117 |
| 8537 | 340 bp, 395 bp, 420 bp | 1070 bp | *15:76, 15:101, 15:157, 15:164 |  |
| 8638 | 230 bp, 400 bp | 1070 bp | *15:166, 15:193 |  |
| 875,39 | 85 bp, 295 bp | 1070 bp | *15:71, 15:169, 15:175, 15:204 | *18:29, 35:50, 37:22, 41:12, 46:14, 49:03, 54:02, 55:16 |
| 8840 | 240 bp, 445 bp | 1070 bp | *15:158, 15:171 |  |
| 89 | 370 bp | 1070 bp | *15:160 |  |
| 905,41 | 95 bp, 195 bp | 800 bp | *15:173, 15:202 | *18:12, 35:10, 35:13, 35:16, 35:28, 35:69, 35:80, 37:01:01-37:01:05, 37:01:07-37:05, 37:07, 37:09-37:25, 44:83, 49:03, 50:11, 52:01:01-52:01:06, 52:03-52:15, 52:17, 52:19-52:22, 53:17, 78:05-78:06 |
| 915,9,42 | 135 bp, 325 bp | 1070 bp | *15:170, 15:184, 15:203 |  |
| 92 | 155 bp | 1070 bp | *15:172 |  |
| 937 | 295 bp | 1070 bp | *15:177 |  |
| 9443 | 285 bp, 325 bp | 1070 bp | *15:123, 15:178 |  |
| 9544 | 340 bp, 395 bp | 1070 bp | *15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124, 15:138, 15:181N | *46:06 |
| 96 | 185 bp | 1070 bp | *15:174 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*15 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*15 subtyping.

In addition, wells number 4, 13, 19, 22, 36, 39, 46, 52 to 54, 59, 60, 64, 67, 74, 79 and 90 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The B*15:180 and B*56:03 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

The B*15:166 and 15:193 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 86.

For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups. We also assume that the B*15- and B*46-specific sequence motifs in the 2nd and 3rd intron is conserved within the HLA-B*15 and HLA-B*46 groups of alleles.

4Due to the sharing of sequence motifs between HLA-B alleles, non-HLA-B*15 alleles will be amplified by many HLA-B*15 primer mixes. In addition, the A*68:56 allele will be amplified by primer mixes 3 and 50,   the C*06:20 and C*12:50 alleles will be amplified by primer mix 3, the C*07:46 allele will be amplified by primer mix 7, the C*02:03 allele will be amplified by primer mix 9, the C*03:81 and C*15:15 alleles will be amplified by primer mix 22, the C*03:87, C*05:27 and C*05:39 alleles will be amplified by primer mix 27, the C*07:68, C*07:140, and C*07:151 alleles will be amplified by primer mix 34, the C*15:08 allele will be amplified by primer mix 37, the C*12:36 allele will be amplified by primer mix 54, the C*06:33 allele will be amplified by primer mix 59 and the C*03:48 allele will be amplified by primer mix 64.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6The specific primer pairs in primer mix 38 may give rise to less specific PCR product than the other HLA-B15 primer mixes.

7Primer mixes 11, 20, 22, 31, 32, 34, 40 and 93 might have a tendency of giving rise to primer oligomer artifacts.

8Primer mixes 5, 11, 19, 23, 30, 32, 34, 50, 52, 81 and 83 might give rise to non-specific amplifications.

9Primer solution 91 may give rise to a long unspecific amplification product of approximately 800 bp. This should be disregarded when interpreting the B*15 typings.

10Primer solution 10: Specific PCR fragment of 300 bp in the B*15:37-15:38:02 and 15:185 alleles. Specific PCR fragment of 520 bp in the B*15:06, 15:27:01-15:27:03, 15:84, 15:109, 15:112 and 15:195 alleles.

11Primer solution 13: Specific PCR fragment of 395 bp in the B*15:09-15:10:02, 15:18:01-15:18:04, 15:21, 15:23, 15:37, 15:44, 15:51-15:52, 15:66, 15:72, 15:80, 15:90, 15:93, 15:99, 15:108, 15:114-15:115, 15:119, 15:124, 15:133-15:134, 15:153, 15:161, 15:176, 15:186, 15:189, 15:197-15:198 and 15:200 alleles. Specific PCR fragment of 435 bp in the B*15:79N allele.

12Primer mix 14: Specific PCR fragment of 465 bp in B*15:09-15:10:02, 15:30, 15:37, 15:45, 15:48, 15:63, 15:83, 15:90, 15:99, 15:150 and 15:188 alleles. Specific PCR fragment of 515 bp in the B*15:110 allele.

13Primer mix 16: Specific PCR fragment of 120 bp in the B*15:116 and 15:124 and the B*40:52, 40:59, 46:06 and 48:23 alleles. Specific PCR fragment of 190 bp in the B*15:12 and 15:19 alleles.

14Primer mix 20: Specific PCR fragment of 360 bp in B*15:105 allele. Specific PCR fragment of 505 bp in the B*15:16, 15:34, 15:62, 15:67, 15:85-15:86, 15:95, 15:137 and 15:194 and the B*46:11 and 46:18 alleles.

15Primer solution 21: Specific PCR fragment of 205 bp in the B*15:16, 15:67 and 15:95 alleles. Specific PCR fragment of 425 bp in the B*15:43 allele.

16Primer mix 24: Specific PCR fragment of 205 bp in the B*15:26N allele. Specific PCR fragment of 300 bp in the B*15:33, 15:72, 15:78:01-15:78:02, 15:107, 15:116, 15:141, 15:150, 15:188 and 15:209N and the B*46:06 alleles.

17Primer solution 25: Specific PCR fragment of 315 bp in the B*15:46, 15:53 and 15:106 alleles. Specific PCR fragment of 385 bp in the B*15:28 allele.

18Primer solution 30: Specific PCR fragment of 320 bp in the B*15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124 and 15:138 and the B*46:06 alleles. Specific PCR fragment of 355 bp in the B*15:75 allele.

19Primer mix 31: Specific PCR fragment of 320 bp in the B*15:44, 15:50, 15:69, 15:83, 15:86, 15:93, 15:121, 15:186, 15:188 and 15:199 and the B*46:03, 46:18 and 46:21:01-46:21:02 alleles. Specific PCR fragment of 395 bp in the B*15:114 and 15:153 alleles.

20Primer mix 32: Specific PCR fragment of 275 bp in the B*15:196 allele. Specific PCR fragment of 350 bp in the B*15:190N allele. Specific PCR fragment of 380 bp in the B*15:48, 15:108 and 15:136 and the B*46:19 alleles.

21Primer solution 33: Specific PCR fragment of 200 bp in the B*15:118 allele. Specific PCR fragment of 255 bp in the B*15:18:03, 15:42, 15:73 and 15:86 and the B*46:11 and 46:18 alleles. Specific PCR fragment of 340 bp in the B*15:192 allele.

22Primer solution 36: Specific PCR fragment of 360 bp in the B*15:82 allele. Specific PCR fragment of 435 bp in the B*15:36, 15:89 and 15:115 alleles.

23Primer solution 39: Specific PCR fragment of 305 bp in the B*15:60 allele. Specific PCR fragment of 325 bp in the B*15:119 allele. Specific PCR fragment of 380 bp in the B*15:95 allele.

24Primer solution 40: Specific PCR fragment of 220 bp in the B*15:71 and B*15.175 alleles. Specific PCR fragment of 425 bp in the B*15:13, 15:16-15:17:02, 15:23-15:24, 15:67, 15:95, 15:157, 15:162, 15:168, 15:177, 15:196 and 15:208 alleles.

25Primer mix 42: Specific PCR fragment of 345 bp in the B*15:02:01-15:03:03, 15:05:01-15:06, 15:09-15:10:02, 15:13, 15:16-15:18:02, 15:18:04, 15:21, 15:23, 15:25:01-15:25:03, 15:29, 15:31, 15:36-15:37, 15:39:01-15:40, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64, 15:67, 15:69, 15:72, 15:74, 15:80, 15:88w, 15:89-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:170, 15:173, 15:176w, 15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200w, 15:204 and 15:208 and in the B*46:06, 46:08, 46:13:01-46:13:03, 46:19, 46:21:01-46:21:02 and 46:26  alleles. Specific PCR fragment of 460 bp in the B*15:73 allele. PCR fragment of 345 and 460 bp in the B*15:18:03, 15:86 and the B*46:11 and 46:18 alleles.

26Primer mix 50: Specific PCR fragment of 85 bp in the B*15:67 and the B*35:110 and in the A*68:56 alleles. Specific PCR fragment of 185 bp in the B*15:206 allele.

27Primer mix 54: Specific PCR fragment of 250 bp in the B*15:187 and in the C*12:36 alleles. Specific PCR fragment of 410 bp in the B*15:97 allele.

28Primer mix 59: Specific PCR fragment of 230 bp in the B*15:191 and in the C*06:33 alleles. Specific PCR fragment of 375 bp in the B*15:198 allele. Specific PCR fragment of 420 bp in the B*15:94N allele.

29Primer mix 61: Specific PCR fragment of 160 bp in the B*15:175 allele. Specific PCR fragment of 205 bp in the B*15:125 and the B*44:22 and 44:105 alleles.

30Primer mix 67: Specific PCR fragment of 265 bp in the B*15:53 and15:183 and the B*46:10 alleles. Specific PCR fragment of 300 bp in the B*15:132 allele.

31Primer mix 70: Specific PCR fragment of 90 bp in the B*15:208 allele. Specific PCR fragment of 185 bp in the B*15:138 and the B*07:68:01-07:68:02, 18:35, 35:66, 40:77, 40:87, 40:121, 40:158, 48:12 and 48:14 alleles.

32Primer mix 71: Specific PCR fragment of 315 bp in the B*15:205 allele. Specific PCR fragment of 400 bp in the B*15:139 allele.

33Primer mix 72: Specific PCR fragment of 295 bp in the B*15:140 allele. Specific PCR fragment of 390 bp in the B*15:201 allele.

34Primer mix 75: Specific PCR fragment of 280 bp in the B*15:146 allele. Specific PCR fragment of 390 bp in the B*15:201

35Primer mix 79: Specific PCR fragment of 215 bp in the B*15:182N allele. Specific PCR fragment of 420 bp in the B*15:148 allele.

36Primer mix 84: Specific PCR fragment of 155 bp in the B*15:167 allele. Specific PCR fragment of 235 bp in the B*15:197 and the B*35:117 alleles.

37Primer mix 85: Specific PCR fragment of 340 bp in the B*15:157 allele. Specific PCR fragment of 395 bp in the B*15:76 and15:101 alleles. Specific PCR fragment of 420 bp in the B*15:164 allele.

38Primer mix 86: Specific PCR fragment of 230 bp in the B*15:166 allele. Specific PCR fragment of 400 bp in the B*15:193 allele.

39Primer mix 87: Specific PCR fragment of 85 bp in the B*15:71, 15:175 and 15:204 and the B*18:29, 35:50, 37:22, 41:12, 46:14, 49:03, 54:02 and 55:16 alleles. Specific PCR fragment of 295 bp in the B*15:169 allele.

40Primer mix 88: Specific PCR fragment of 240 bp in the B*15:171 allele. Specific PCR fragment of 445 bp in the B*15:158 allele.

41Primer mix 90: Specific PCR fragment of 95 bp in the B*15:202 and the B*18:12, 35:13, 35:16, 35:28, 35:69, 35:80, 37:01:01-37:01:05, 37:01:07-37:05, 37:07, 37:09-37:25, 44:83, 49:03, 52:01:01-52:01:06, 52:03-52:15, 52:17, 52:19-52:22, 53:17 and 78:05-78:06 alleles. Specific PCR fragment of 195 bp in the B*15:173 and the B*50:11 alleles. Specific PCR fragment of 95 and 195 bp in the B*35:10 allele.

42Primer mix 91: Specific PCR fragment of 135 bp in the B*15:184 and 15:203 alleles. Specific PCR fragment of 325 bp in the B*15:170 allele.

43Primer mix 94: Specific PCR fragment of 285 bp in the B*15:123 allele. Specific PCR fragment of 325 bp in the B*15:178 allele.

44Primer mix 95: Specific PCR fragment of 340 bp in the B*15:181N allele. Specific PCR fragment of 395 bp in the B*15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124 and 15:138 and the B*46:06 alleles.

‘w’, might be weakly amplified.

1The sequence of B*150105 has been renamed to B*15:120.

The sequence of B*1522 has been named in error and identical to B*35:43.

The sequence of B*1541 has been shown to be identical to B*15:39.

The sequence of B*1559 has been renamed B*35:44.

The sequence of B*9530 has been renamed to B*15:27:02.

The B*15:100 allele has never been assigned.

2The B*15:166 and 15:193 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 86.

3The B*15:180 and B*56:03 alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-B low resolution primer set.

4Primer solution 10: Specific PCR fragment of 300 bp in the B*15:37-15:38:02 and 15:185 alleles. Specific PCR fragment of 520 bp in the B*15:06, 15:27:01-15:27:03, 15:84, 15:109, 15:112 and 15:195 alleles.

Primer solution 13: Specific PCR fragment of 395 bp in the B*15:09-15:10:02, 15:18:01-15:18:04, 15:21, 15:23, 15:37, 15:44, 15:51-15:52, 15:66, 15:72, 15:80, 15:90, 15:93, 15:99, 15:108, 15:114-15:115, 15:119, 15:124, 15:133-15:134, 15:153, 15:161, 15:176, 15:186, 15:189, 15:197-15:198 and 15:200 alleles. Specific PCR fragment of 435 bp in the B*15:79N allele.

Primer mix 14: Specific PCR fragment of 465 bp in B*15:09-15:10:02, 15:30, 15:37, 15:45, 15:48, 15:63, 15:83, 15:90, 15:99, 15:150 and 15:188 alleles. Specific PCR fragment of 515 bp in the B*15:110 allele.

Primer mix 16: Specific PCR fragment of 120 bp in the B*15:116 and 15:124 and the B*40:52, 40:59, 46:06 and 48:23 alleles. Specific PCR fragment of 190 bp in the B*15:12 and 15:19 alleles.

Primer mix 20: Specific PCR fragment of 360 bp in B*15:105 allele. Specific PCR fragment of 505 bp in the B*15:16, 15:34, 15:62, 15:67, 15:85-15:86, 15:95, 15:137 and 15:194 and the B*46:11 and 46:18 alleles.

Primer solution 21: Specific PCR fragment of 205 bp in the B*15:16, 15:67 and 15:95 alleles. Specific PCR fragment of 425 bp in the B*15:43 allele.

Primer mix 24: Specific PCR fragment of 205 bp in the B*15:26N allele. Specific PCR fragment of 300 bp in the B*15:33, 15:72, 15:78:01-15:78:02, 15:107, 15:116, 15:141, 15:150, 15:188 and 15:209N and the B*46:06 alleles.

Primer solution 25: Specific PCR fragment of 315 bp in the B*15:46, 15:53 and 15:106 alleles. Specific PCR fragment of 385 bp in the B*15:28 allele.

Primer solution 30: Specific PCR fragment of 320 bp in the B*15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124 and 15:138 and the B*46:06 alleles. Specific PCR fragment of 355 bp in the B*15:75 allele.

Primer mix 31: Specific PCR fragment of 320 bp in the B*15:44, 15:50, 15:69, 15:83, 15:86, 15:93, 15:121, 15:186, 15:188 and 15:199 and the B*46:03, 46:18 and 46:21:01-46:21:02 alleles. Specific PCR fragment of 395 bp in the B*15:114 and 15:153 alleles.

Primer mix 32: Specific PCR fragment of 275 bp in the B*15:196 allele. Specific PCR fragment of 350 bp in the B*15:190N allele. Specific PCR fragment of 380 bp in the B*15:48, 15:108 and 15:136 and the B*46:19 alleles.

Primer solution 33: Specific PCR fragment of 200 bp in the B*15:118 allele. Specific PCR fragment of 255 bp in the B*15:18:03, 15:42, 15:73 and 15:86 and the B*46:11 and 46:18 alleles. Specific PCR fragment of 340 bp in the B*15:192 allele.

Primer solution 36: Specific PCR fragment of 360 bp in the B*15:82 allele. Specific PCR fragment of 435 bp in the B*15:36, 15:89 and 15:115 alleles.

Primer solution 39: Specific PCR fragment of 305 bp in the B*15:60 allele. Specific PCR fragment of 325 bp in the B*15:119 allele. Specific PCR fragment of 380 bp in the B*15:95 allele.

Primer solution 40: Specific PCR fragment of 220 bp in the B*15:71 and B*15.175 alleles. Specific PCR fragment of 425 bp in the B*15:13, 15:16-15:17:02, 15:23-15:24, 15:67, 15:95, 15:157, 15:162, 15:168, 15:177, 15:196 and 15:208 alleles.

Primer mix 42: Specific PCR fragment of 345 bp in the B*15:02:01-15:03:03, 15:05:01-15:06, 15:09-15:10:02, 15:13, 15:16-15:18:02, 15:18:04, 15:21, 15:23, 15:25:01-15:25:03, 15:29, 15:31, 15:36-15:37, 15:39:01-15:40, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64, 15:67, 15:69, 15:72, 15:74, 15:80, 15:88w, 15:89-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:170, 15:173, 15:176w, 15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200w, 15:204 and 15:208 and in the B*46:06, 46:08, 46:13:01-46:13:03, 46:19, 46:21:01-46:21:02 and 46:26  alleles. Specific PCR fragment of 460 bp in the B*15:73 allele. PCR fragment of 345 and 460 bp in the B*15:18:03, 15:86 and the B*46:11 and 46:18 alleles.

Primer mix 50: Specific PCR fragment of 85 bp in the B*15:67 and the B*35:110 and in the A*68:56 alleles. Specific PCR fragment of 185 bp in the B*15:206 allele.

Primer mix 54: Specific PCR fragment of 250 bp in the B*15:187 and in the C*12:36 alleles. Specific PCR fragment of 410 bp in the B*15:97 allele.

Primer mix 59: Specific PCR fragment of 230 bp in the B*15:191 and in the C*06:33 alleles. Specific PCR fragment of 375 bp in the B*15:198 allele. Specific PCR fragment of 420 bp in the B*15:94N allele.

Primer mix 61: Specific PCR fragment of 160 bp in the B*15:175 allele. Specific PCR fragment of 205 bp in the B*15:125 and the B*44:22 and 44:105 alleles.

Primer mix 67: Specific PCR fragment of 265 bp in the B*15:53 and15:183 and the B*46:10 alleles. Specific PCR fragment of 300 bp in the B*15:132 allele.

Primer mix 70: Specific PCR fragment of 90 bp in the B*15:208 allele. Specific PCR fragment of 185 bp in the B*15:138 and the B*07:68:01-07:68:02, 18:35, 35:66, 40:77, 40:87, 40:121, 40:158, 48:12 and 48:14 alleles.

Primer mix 71: Specific PCR fragment of 315 bp in the B*15:205 allele. Specific PCR fragment of 400 bp in the B*15:139 allele.

Primer mix 72: Specific PCR fragment of 295 bp in the B*15:140 allele. Specific PCR fragment of 390 bp in the B*15:201 allele.

Primer mix 75: Specific PCR fragment of 280 bp in the B*15:146 allele. Specific PCR fragment of 390 bp in the B*15:201

Primer mix 79: Specific PCR fragment of 215 bp in the B*15:182N allele. Specific PCR fragment of 420 bp in the B*15:148 allele.

Primer mix 84: Specific PCR fragment of 155 bp in the B*15:167 allele. Specific PCR fragment of 235 bp in the B*15:197 and the B*35:117 alleles.

Primer mix 85: Specific PCR fragment of 340 bp in the B*15:157 allele. Specific PCR fragment of 395 bp in the B*15:76 and15:101 alleles. Specific PCR fragment of 420 bp in the B*15:164 allele.

Primer mix 86: Specific PCR fragment of 230 bp in the B*15:166 allele. Specific PCR fragment of 400 bp in the B*15:193 allele.

Primer mix 87: Specific PCR fragment of 85 bp in the B*15:71, 15:175 and 15:204 and the B*18:29, 35:50, 37:22, 41:12, 46:14, 49:03, 54:02 and 55:16 alleles. Specific PCR fragment of 295 bp in the B*15:169 allele.

Primer mix 88: Specific PCR fragment of 240 bp in the B*15:171 allele. Specific PCR fragment of 445 bp in the B*15:158 allele.

Primer mix 90: Specific PCR fragment of 95 bp in the B*15:202 and the B*18:12, 35:13, 35:16, 35:28, 35:69, 35:80, 37:01:01-37:01:05, 37:01:07-37:05, 37:07, 37:09-37:25, 44:83, 49:03, 52:01:01-52:01:06, 52:03-52:15, 52:17, 52:19-52:22, 53:17 and 78:05-78:06 alleles. Specific PCR fragment of 195 bp in the B*15:173 and the B*50:11 alleles. Specific PCR fragment of 95 and 195 bp in the B*35:10 allele.

Primer mix 91: Specific PCR fragment of 135 bp in the B*15:184 and 15:203 alleles. Specific PCR fragment of 325 bp in the B*15:170 allele.

Primer mix 94: Specific PCR fragment of 285 bp in the B*15:123 allele. Specific PCR fragment of 325 bp in the B*15:178 allele.

Primer mix 95: Specific PCR fragment of 340 bp in the B*15:181N allele. Specific PCR fragment of 395 bp in the B*15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124 and 15:138 and the B*46:06 alleles.

w’, might be weakly amplified.