Gel Documentation Form and Worksheet

HLA-B*18 (101.519-12/12u)	Lot No: 56X	Expiry Date: 2017-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 15, 20, 24 and 30 may have tendencies of unspecific amplifications.

Primer mixes 10, 18 and 26 have a tendency to giving rise to primer oligomer formation.

Primer mix 29 may give rise to a lower yield of HLA-specific PCR product than the other B*18 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*18 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.13.0, July 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 115 bp in the B*18:72 and in the B*15:64:02, 35:02:02w, 35:20:02w and 39:39:02 alleles. Specific PCR fragment of 140 bp in the B*18:04 and 18:24 alleles.

Primer mix 7: Specific PCR fragment of 90 bp in the B*18:41 allele. Specific PCR fragment of 150 bp in the B*18:07:01-18:07:02 and 18:79 alleles. Specific PCR fragment of 230 bp in the B*18:74N allele.

Primer mix 9: Specific PCR fragment of 125 bp in the B*18:75 allele. Specific PCR fragment of 255 bp in the B*18:08 and 18:27 and in the A*24:220 alleles.

Primer mix 10: Specific PCR fragment of 85 bp in the B*18:23N and the B*44:108N allele. Specific PCR fragment of 175 bp in the B*18:28 and the B*15:250 and 40:226 alleles.

Primer mix 11: Specific PCR fragment of 125 bp in the B*18:09, 18:54 and 18:67 and in the A*24:02:37 alleles. Specific PCR fragment of 610 bp in the B*18:36 and 18:56-18:58 and the B*15:64:02, 35:02:02, 35:20:02 and in the A*26:01:16 alleles. Specific PCR fragment of 125 and 610 bp in the B*44:03:12 allele.

Primer mix 12: Specific PCR fragment of 80 bp in the B*18:41 and 18:73 alleles. Specific PCR fragment of 140 bp in the B*18:12 and 18:77 and the B*48:28 alleles.

Primer mix 13: Specific PCR fragment of 85 bp in the B*18:13, 18:19 and 18:30 and the B*15:38:01-15:38:02, 51:29, 51:61:01-51:61:02, 51:82, 52:21 and 52:24 and in the A*66:04w and C*08:51 alleles. Specific PCR fragment of 265 bp in the B*18:44:01-18:44:02 and the B*14:01:01-14:02:08, 14:04, 14:07N, 14:09, 14:11-14:12 and 14:14-14:36 alleles. Specific PCR fragment of 85 and 265 bp in the B*14:03 and in the C*01:30 and C*12:87 alleles.

Primer mix 14: Specific PCR fragment of 170 bp in the B*18:04, 18:25 and 18:68 and the B*15:64:02, 35:02:02, 35:20:02 and 44:03:12 alleles. Specific PCR fragment of 260 bp in the B*18:14 and the B*14:05, 14:13, 40:174 and 51:64 alleles.

Primer mix 16: Specific PCR fragment of 95 bp in the B*18:19 and the B*08:70, 13:31, 13:41, 15:27:03, 15:38:02, 15:269, 35:14:01, 35:62, 35:163, 39:36, 44:146, 46:01:03, 51:61:02, 52:21 and 55:21 and in the A*26:68, C*01:09, C*02:02:14, C*06:02:27, C*07:22, 07:138 and C*12:03:16 alleles. Specific PCR fragment of 360 bp in the B*18:17N allele.

Primer mix 17: Specific PCR fragment of 100 bp in the B*18:31 and the B*52:28 alleles. Specific PCR fragment of 255 bp in the B*18:18 allele.

Primer mix 18: Specific PCR fragment of 85 bp in the B*18:29 and the B*15:71, 15:175, 15:204, 15:225, 35:50, 35:231, 37:22, 41:12, 46:14, 49:03, 51:151, 54:02, 55:16, 56:35, 57:39 and 58:41 alleles. Specific PCR fragment of 555 bp in the B*18:32 allele. Specific PCR fragment of 580 bp in the B*18:15, 18:21w, 18:30w, 18:57 and 15:64:02 alleles.

Primer mix 19: Specific PCR fragment of 105 bp in the B*18:06 allele. Specific PCR fragment of 160 bp in the B*18:53 allele. Specific PCR fragment of 405 bp in the B*18:39 allele.

Primer mix 22: Specific PCR fragment of 125 bp in the B*18:75 and 18:77 alleles. Specific PCR fragment of 150 bp in the B*18:33 allele. Specific PCR fragment of 270 bp in the B*18:22 and 18:69w and the B*14:10, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 35:233, 37:04:01w-37:04:02w, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 51:139, 53:02, 53:06, 53:28, 57:14:01, 58:09, C*15:39 alleles.

Primer mix 23: Specific PCR fragment of 150 bp in the B*18:51 and 18:53 alleles. Specific PCR fragment of 515 bp in the B*18:21, 18:40 and 18:61 alleles.

Primer mix 25: Specific PCR fragment of 75 bp in the B*18:48 allele. Specific PCR fragment of 180 bp in the B*18:35 and 18:54 and the B*07:68:01-07:68:03, 15:138, 15:230, 15:241, 35:66, 40:77, 40:87:01-40:87:02, 40:121, 40:158, 40:222, 40:237, 44:150, 48:12, 48:14, 48:26 and 48:29 alleles.

Primer mix 26: Specific PCR fragment of 90 bp in the B*18:42 allele. Specific PCR fragment of 180 bp in the B*18:04, 18:25 and 18:43 and the B*15:64:02, 35:02:02, 35:20:02, 39:39:02 and 44:03:12 and in the A*24:02:37 and A*26:01:16 alleles.

Primer mix 27: Specific PCR fragment of 80 bp in the B*18:37 and 18:73 and the B*07:109 and 48:28 alleles. Specific PCR fragment of 135 bp in the B*18:46, 18:74N and 18:78 and the B*13:10 and 13:26:01 alleles.

Primer mix 28: Specific PCR fragment of 100 bp in the B*18:45 allele. Specific PCR fragment of 180 bp in the B*18:38, 18:74N and 18:78 and the B*08:83, 13:10-13:11, 38:38, 40:91 and 40:197 alleles.

Primer mix 29: Specific PCR fragment of 65 bp in the B*18:50 and the B*13:15, 40:113, 51:16, 51:31, 51:82, 52:08 and 73:01 alleles. Specific PCR fragment of 120 bp in the B*18:47 allele.

Primer mix 30: Specific PCR fragment of 145 bp in the B*18:34 allele. Specific PCR fragment of 420 bp in the B*18:52 allele.

4The following HLA-B*18 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*18:23N, 18:28 | 10 | B*18:38, 18:45 | 28 |
| B*18:34, 18:52 | 30 | B*18:40, 18:51 | 23 |
| B*18:36, 18:67 | 11 | B*18:42, 18:43 | 26 |
| B*18:37, 18:46 | 27 |

The HLA-B*18 kit cannot distinguish the silent mutations in the B*18:01:01-18:01:18, the B*18:07:01-18:07:02 or the B*18:44:01-18:44:02 alleles.

‘w’, might be weakly amplified.

Changes in revision R01 compared to R00:

- Primer mix 11 does not amplify the B*18:10-18:11, 18:21 and 18:35 and the B*39:39:02 alleles. This has been corrected in the Specificity and Interpretation Tables. Furthermore, primer mix 11 does not amplify the B*18:56 and 18:58 and the B*15:64:02, 35:02:02, 35:20:02, 44:03:12, A*24:02:37 and A*26:01:16 alleles with the HLA-specific PCR product of 635 bp. This has been corrected in the Specificity Table and in the foot notes to the Interpretation Table.