Gel Documentation Form and Worksheet

HLA-B*18 (101.519-12/12u)	Lot No: 5D1	Expiry Date: 2018-08-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 15, 17, 18, 20 and 30 may have tendencies of unspecific amplifications.

Primer mixes 10 and 26 have a tendency to giving rise to primer oligomer formation.

Primer mix 29 may give rise to a lower yield of HLA-specific PCR product than the other B*18 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*18 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.22.0, October 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 115 bp in the B*18:72 and in the B*15:01:38w, 15:64:02, 35:02:02w, 35:20:02w and 39:39:02 alleles. Specific PCR fragment of 145 bp in the B*18:04 and 18:24 alleles.

Primer mix 6: Specific PCR fragment of 130 bp in the B*18:05 allele. Specific PCR fragment of 245 bp in the B*18:60 allele.

Primer mix 7: Specific PCR fragment of 90 bp in the B*18:41 allele. Specific PCR fragment of 150 bp in the B*18:07:01-18:07:02 and 18:79 and the B*35:289 alleles. Specific PCR fragment of 230 bp in the B*18:74N allele.

Primer mix 9: Specific PCR fragment of 125 bp in the B*18:75 allele. Specific PCR fragment of 255 bp in the B*18:08 and 18:27 and in the A*24:220 alleles.

Primer mix 10: Specific PCR fragment of 85 bp in the B*18:23N and the B*44:108N allele. Specific PCR fragment of 175 bp in the B*18:28 and the B*15:250, 27:132 and 40:226 alleles.

Primer mix 11: Specific PCR fragment of 125 bp in the B*18:09, 18:54 and 18:67 and the A*24:02:37 alleles. Specific PCR fragment of 610 bp in the B*18:36, B*18:56-18:58 and 18:101 and the B*15:01:38, 15:64:02, 35:02:02, 35:20:02 and in the A*26:01:16 alleles. Specific PCR fragment of 125 bp and 610 bp in the B*44:03:12 allele.

Primer mix 12: Specific PCR fragment of 80 bp in the B*18:41 and 18:73 alleles. Specific PCR fragment of 140 bp in the B*18:12:01-18:12:02 and 18:77 and the B*48:28 alleles.

Primer mix 13: Specific PCR fragment of 85 bp in the B*18:13, 18:19 and 18:30 and the B*07:218, 07:220, 15:38:01-15:38:02, 15:368, 51:29, 51:61:01-51:61:02, 51:82, 52:21 and 52:24 and in the A*66:04w and C*08:51 and 08:114 alleles. Specific PCR fragment of 265 bp in the B*18:44:01-18:44:02 and the B*14:01:01-14:02:08, 14:02:10-14:02:13, 14:04, 14:07N, 14:09, 14:11-14:12 and 14:14-14:36, 14:38-14:45 and 14:47-14:50 alleles. Specific PCR fragment of 85 bp and 265 bp in the B*14:03 and in the C*01:30 and C*12:87 alleles.

Primer mix 14: Specific PCR fragment of 110 bp in the B*18:102 allele. Specific PCR fragment of 170 bp in the B*18:04, 18:25 and 18:68 and the B*15:01:38, 15:64:02, 35:02:02 and 35:20:02 alleles. Specific PCR fragment of 260 bp in the B*18:14 and the B*07:218, 07:220, 08:118, 14:05, 14:13, 40:174 and 51:64 alleles. Specific PCR fragment of 110 and 170 bp in the B*18:107 and the 44:03:12 alleles.

Primer mix 16: Specific PCR fragment of 95 bp in the B*18:19 and the B*08:70, 13:31, 13:41, 15:07:03, 15:27:03, 15:38:02, 15:269, 35:14:01, 35:62, 35:163, 39:36, 44:146, 46:01:03, 46:01:16, 51:61:02, 52:21, 54:33, 55:21 and 56:43 and in the A*26:68, C*01:09, C*02:02:14, C*06:02:27, C*07:22, 07:138 and C*12:03:16 and 12:03:30 alleles. Specific PCR fragment of 360 bp in the B*18:17N allele.

Primer mix 18: Specific PCR fragment of 85 bp in the B*18:29 and 18:98 and the B*15:71, 15:175, 15:204, 15:225, 15:334, 35:50, 35:231, 35:280, 37:22, 40:248, 40:282, 41:12, 41:36, 46:14, 49:03, 51:151, 52:51, 54:02, 55:16, 56:35, 57:39, 57:73 and 58:41 and in the C*03:278 and 16:86 alleles. Specific PCR fragment of 175 bp in the B*18:32 and 15:192 and 15:281 alleles. Specific PCR fragment of 200 bp in the B*18:15, 18:21w, 18:30w, 18:57 and 18:101 and the B*07:07w, 07:214w, 07:255w, 14:06:01, 14:08:02, 15:03:01:01-15:03:05, 15:09-15:10:04, 15:17:01:01-15:18:01, 15:18:03-15:18:06, 15:23, 15:29, 15:37, 15:39:01-15:40, 15:47:01w-15:47:02w, 15:49w, 15:61, 15:64:01-15:64:02, 15:65w, 15:69, 15:72, 15:74, 15:90, 15:93, 15:98, 15:99w, 15:103, 15:108, 15:115, 15:119, 15:127, 15:131-15:134, 15:138, 15:153, 15:156, 15:158, 15:161, 15:168w, 15:173, 15:176-15:177, 15:196, 15:198, 15:208, 15:210, 15:216, 15:219-15:220, 15:221w, 15:226N, 15:229-15:230, 15:238, 15:242-15:243, 15:252-15:253, 15:255, 15:263, 15:266, 15:268, 15:273-15:274, 15:281-15:282, 15:288, 15:292, 15:294N, 15:306-15:307, 15:311-15:314, 15:323, 15:335, 15:337-15:339, 15:351, 15:354, 15:356, 15:361, 15:364, 15:369, 27:21, 35:99w, 38:10, 38:32, 39:35, 39:107, 40:23w, 40:26, 40:51, 40:158, 40:183, 40:198w, 46:03w, 46:08, 46:62w, 51:06:01, 51:06:03, 51:45, 51:59, 51:62, 51:135, 56:32 and in the C*01:79:01w, C*02:16:01-02:16:02, 02:32w, C*03:13:02, 03:135, C*04:15:01w, 04:15:03w, C*05:01:03w, 05:22:02w, C*12:18:01-12:18:02, 12:83, 12:85w and C*14:09w alleles.

Primer mix 19: Specific PCR fragment of 105 bp in the B*18:06 allele. Specific PCR fragment of 160 bp in the B*18:53 allele. Specific PCR fragment of 405 bp in the B*18:39 allele.

Primer mix 22: Specific PCR fragment of 130 bp in the B*18:75 and 18:77 alleles. Specific PCR fragment of 150 bp in the B*18:33 allele. Specific PCR fragment of 270 bp in the B*18:22, 18:69w and 18:105 and the B*14:10, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 35:233, 35:287, 37:04:01w-37:04:02w, 40:28, 44:190, 44:203, 51:04, 51:46, 51:56:01-51:56:03, 51:139, 53:02, 53:06, 53:28, 57:14:01-57:14:02, 58:09 and in the C*15:39 alleles.

Primer mix 23: Specific PCR fragment of 145 bp in the B*18:51 allele. Specific PCR fragment of 160 bp in the B*18:53 allele. Specific PCR fragment of 515 bp in the B*18:21, 18:40 and 18:61 alleles.

Primer mix 25: Specific PCR fragment of 75 bp in the B*18:48 allele. Specific PCR fragment of 190 bp in the B*18:35, 18:54, 18:95 and 18:110 and the B*07:68:01-07:68:03, 07:214, 07:237, 15:138, 15:230, 15:241, 15:297, 35:66, 40:77, 40:87:01-40:87:02, 40:121, 40:158, 40:222, 40:237, 44:150, 48:12, 48:14, 48:26 and 48:29 alleles.

Primer mix 26: Specific PCR fragment of 90 bp in the B*18:42 allele. Specific PCR fragment of 115 bp in the B*18:92 allele. Specific PCR fragment of 180 bp in the B*18:04, 18:25, 18:43 and 18:107 and the B*15:01:38, 15:64:02, 35:02:02, 35:20:02, 39:39:02 and 44:03:12 and in the A*24:02:37 and A*26:01:16 alleles.

Primer mix 27: Specific PCR fragment of 80 bp in the B*18:37 and 18:73 and the B*07:109 and 48:28 alleles. Specific PCR fragment of 135 bp in the B*18:46, 18:74N and 18:78 and the B*13:10 and 13:26:01-13:26:02, 13:72 and in the C*12:120 alleles. Specific PCR fragment of 175 bp in the B*18:94N allele.

Primer mix 28: Specific PCR fragment of 100 bp in the B*18:45 allele. Specific PCR fragment of 175 bp in the B*18:38, 18:74N and 18:78 and the B*08:83, 13:10-13:11, 13:71, 38:38, 40:91 and 40:197 alleles. Specific PCR fragment of 200 bp in the B*18:95 allele.

Primer mix 29: Specific PCR fragment of 65 bp in the B*18:50 and the B*07:218, 13:15, 40:113, 51:16, 51:31, 51:82, 52:08, 73:01 and 78:08 alleles. Specific PCR fragment of 120 bp in the B*18:47 allele. Specific PCR fragment of 255 bp in the B*18:18 allele.

Primer mix 30: Specific PCR fragment of 100 bp in the B*18:31 and the B*52:28 alleles. Specific PCR fragment of 145 bp in the B*18:34 allele. Specific PCR fragment of 420 bp in the B*18:52 and 18:105 and the B*35:02:02 and 35:20:02 alleles. Specific PCR fragment of 495 bp in the C*06:60 and C*07:427 alleles.

4The following HLA-B*18 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*18:05, 18:60 | 6 | B*18:36, 18:67 | 11 |
| B*18:18, 18:47 | 29 | B*18:37, 18:46 | 27 |
| B*18:23N, 18:28 | 10 | B*18:38, 18:45 | 28 |
| B*18:32, 18:98 | 18 | B*18:40, 18:51 | 23 |
| B*18:34, 18:52 | 30 | B*18:42, 18:43 | 26 |

The HLA-B*18 kit cannot distinguish the silent mutations in the B*18:01:01:01-18:01:23, the B*18:07:01-18:07:02, the B*18:12:01-18:12:02 or the B*18:44:01-18:44:02 alleles.

‘w’, might be weakly amplified.

Changes in revision R01 compared to R00:

- Primer mix 11 does not amplify the B*18:10-18:11, 18:21, 18:35 and 18:110 and the B*39:39:02 alleles. This has been corrected in the Specificity and Interpretation Tables. Furthermore, primer mix 11 does not amplify the B*18:56, 18:58 and 18:101 and the B*15:01:38, 15:64:02, 35:02:02, 35:20:02, 44:03:12, A*24:02:37 and A*26:01:16 alleles with the HLA-specific PCR product of 635 bp. This has been corrected in the Specificity Table and in the foot notes to the Interpretation Table.