PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-B*27

Prod. No:	101.521-24/04 – including Taq pol.

101.521-24u/04u – without Taq pol.

Lot No:    	X94

Expiry Date:    	2009-June-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*27 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*27 alleles3 | Other amplified HLA Class I alleles3,4 |
| --- | --- | --- | --- | --- |
| 1 | 390 bp | 800 bp | 2701, 2718, 2723, 2729 | 180101, 180103, 1802, 1804-1815, 1817N-1824, 1826, 3542, 370101-3713, 400201, 400202-400203?, 4003-40060102, 400602?, 4008, 4009-4011?, 4013, 401401-4015?, 4018-4022N?, 4024-4038?, 4039, 4040?, 4042?, 4043, 4044-4049?, 4050, 4052-4058?, 4061-4065?, 4067-4069?, 4070, 4071?, 4074-4076?, 47010101-4705 |
| 2 | 405 bp | 800 bp | 2702, 2730 | 4013, 4019? |
| 35 | 120 bp | 1070 bp | 2703 |  |
| 4 | 245 bp | 1070 bp | 2703, 270502-270510, 2707, 2709, 2710, 2713, 2714, 2716, 2717, 2719, 2727-2729, 2732, 2734, 2735, 2738 | 370101-3704, 3706-3709, 3712, 3713 |
| 5 | 400 bp | 1070 bp | 270401-270402, 2706, 2708, 2711, 2712, 2715, 2718, 2720, 2721, 2723-2726, 2731, 2733, 2736 | 180101-1808, 1810-1815, 1817N-1824, 1826, 3542, 400201-400602, 4008, 4009-4011?, 401401-4016?, 4018?, 4020-4022N?, 4024-4036?, 4038?, 4039, 4040?, 4042-4046?, 4048-4050?, 4052-4058?, 4061-4065?, 4067-4069?, 4070, 4071?, 4074-4076?, 4702, 4703, 8201, 8202 |
| 6 | 415 bp | 800 bp | 2701-270402, 270502-270503, 270505-2707, 2709-2711, 2713-2717, 2719-2721, 2723-2725, 2727-2732, 2734-2738 | 1809, 370101-3704, 3706-3710, 3712, 3713, 4013, 4019?, 4047?, 47010101-47010102, 4703-4705 |
| 7 | 410 bp | 1070 bp | 2708, 2712, 2718, 2726, 2733 | 180101-1808, 1810-1815, 1817N-1824, 1826, 3542, 3705, 400201-400602, 4008, 4009-4011?, 401401-4015?, 4018?, 4020-4022N?, 4024-4038?, 4039, 4040?, 4042-4046?, 4048-4050?, 4052-4058?, 4061-4065?, 4067-4069?, 4070, 4071?, 4074?, 4075?, 4702, 4703faintly, 8201, 8202 |
| 85 | 95 bp | 1070 bp | 2701-270402, 270502-270510, 2708, 2710, 2712, 2713, 2715-2718, 2723, 2725, 2726, 2728, 2729, 2731, 2736-2738 | 3702, 4704, 4705 |
| 9 | 205 bp | 1070 bp | 270401-270402, 2706, 2710, 2715, 2718, 2720 |  |
| 105 | 85 bp | 800 bp | 2706 | Cw*0705weakly |
| 11 | 190 bp | 1070 bp | 2707, 2711, 2720, 2724, 2727, 2733 | 070501-0706, 0732, 0740, 0753, 1301-130204, 1307N-1309, 1311, 1313-1320, 3531, 400101-400203, 4004, 40060101-4008, 4010-4016, 4019, 4021-4023, 4025, 4027, 4029, 4030, 4034-4038, 4040, 4043, 4045-4050, 4053-4058, 4061, 4062, 4064-4070, 4072-4077, 4431, 480101-480102, 480301-4807, 4809-4816, 4818, 5110, 5116, 5131, 5134, 5208, 5509, 5522, 5524, 8101, 8102 |
| 12 | 430 bp | 1070 bp | 2713 |  |
| 136 | 370 bp | 800 bp | 2712, 2716 |  |
| 145,8 | 120, 345 bp | 800 bp | 2717, 2734 | 400602, 570302 |
| 15 | 370 bp | 1070 bp | 2718, 2729 | 180101-1806, 1808-1815, 1817N-1824, 1826, 3520, 370101-3713, 400201, 400202?, 4003-40060102, 400602?, 4009-4011?, 401401-4015?, 4018-4022N?, 4024-4038?, 4039, 4040?, 4042-4050?, 4052-4058?, 4062-4065?, 4067?, 4069?, 4070, 4071?, 4074?, 4076?, 47010101-4705 |
| 167 | 245 bp | 1070 bp | 2719, 2730 | 0712, 0714, 0718, 1301, 1307N, 1313, 1317, 1320, 3515, 3533, 4004, 4030, 4034, 4059, 4064, 4068, 4416, 4421, 4817, 5713, Cw*0334 |
| 175 | 100 bp | 1070 bp | 2714 | 4420, 4447 |
| 185,9 | 95, 175 bp | 800 bp | 2724, 2732 | 0728, 0814, 4031, 4045, 4454, 480101-480102, 4804, 4806, 4807, 4809, 4811, 4815, 4816, 4818, 8101, 8102 |
| 195,10 | 95, 235 bp | 800 bp | 2725, 2735, 2738 | 9529 |
| 205,11 | 95, 175 bp | 800 bp | 2709, 2736 |  |
| 215 | 110 bp | 800 bp | 270401, 270402?, 2706 |  |
| 2212 | 195, 380 bp | 800 bp | 2726, 2731, 2737 | 8201, 8202 |
| 23 | 235 bp | 800 bp | 2701-270402, 270502-2706, 2708-2710, 2712, 2713, 2716-2718, 2720, 2723, 2726, 2727, 2729, 2731, 2735-2737 | 3702, 4704, 4705 |
| 245,13 | 105, 260 bp | 1070 bp | 2718, 2728, 2729 | 0727, 0750, 0804, 0817, 1503, 1547, 1549, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 9532, 1802, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 4046, 4440, 4444, 480101-4805, 4807-4818, 5518 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*27 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*27 subtyping.

In addition, tubes number 2, 6, 10, 13, 14, 18 to 23 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the HLA-B*27 SSP subtyping kit are completely matched with the target sequences or not. We assume that unknown sequences in the 1st exon are conserved within allelic groups.

## 4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*27 alleles will be amplified by primer mixes 1, 2, 4 to 8, 11, 15, to 20, 22 to 24. In addition, the primers in vial 10 will amplify the Cw*0705 allele and the Cw*0334 allele will be amplified by primer mix 16.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 13 has a tendency of giving rise to a primer oligomer artifact.

7Primer mix 16 has a tendency of giving rise to nonspecific amplifications.

8Primer mix 14: Specific PCR product of 120 bp in the B*2734 and B*400602 and 570302 alleles. Specific PCR product of 345 bp in the B*2717 allele.

9Primer mix 18: Specific PCR product or 95 bp in the B*2732 and B*0728, 0814 and 4454 alleles. Specific PCR product of 175 bp in the B*2724 and B*4031, 4045, 480101-480102, 4804, 4806, 4807, 4809, 4811, 4815, 4816, 4818, 8101 and 8102 alleles.

10Primer mix 19: Specific PCR fragment of 95 bp in the B*2732 allele. Specific PCR fragment of 235 bp in the B*2725, 2738 and B*9529 alleles.

11Primer mix 20: Specific PCR fragment of 95 bp in the B*2709 allele. Specific PCR fragment of 175 bp in the B*2736 allele.

12Primer mix 22: Specific PCR fragment of 195 bp in the B*2737 allele. Specific PCR fragment of 380 bp in the B*2726, 2731 and B*8201-8202 alleles.

13Primer mix 24: Specific PCR fragment of 105 bp in the B*2718, 2729 and the B*0727, 0750, 0804, 0817, 1503, 1547, 1549, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 4046, 4440, 4444, 480101-4805, 4807-4818, 5518, 9503, 9523, 9527 and 9532  alleles. Specific PCR fragment of 260 bp in the B*2728 and B*1802 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The sequence of the B*270501 allele has been shown to be identical to B*270502.

The sequence of the B*2722 allele has been shown to be identical to the corrected B*2706 nucleotide sequence.

2Primer mix 14: Specific PCR product of 120 bp in the B*2734 and B*400602 and 570302 alleles. Specific PCR product of 345 bp in the B*2717 allele.

Primer mix 18: Specific PCR product or 95 bp in the B*2732 and B*0728, 0814 and 4454 alleles. Specific PCR product of 175 bp in the B*2724 and B*4031, 4045, 480101-480102, 4804, 4806, 4807, 4809, 4811, 4815, 4816, 4818, 8101 and 8102 alleles.

Primer mix 19: Specific PCR fragment of 95 bp in the B*2732 allele. Specific PCR fragment of 235 bp in the B*2725, 2738 and B*9529 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the B*2709 allele. Specific PCR fragment of 175 bp in the B*2736 allele.

Primer mix 22: Specific PCR fragment of 195 bp in the B*2737 allele. Specific PCR fragment of 380 bp in the B*2726, 2731 and B*8201-8202 alleles.

Primer mix 24: Specific PCR fragment of 105 bp in the B*2718, 2729 and the B*0727, 0750, 0804, 0817, 1503, 1547, 1549, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 4046, 4440, 4444, 480101-4805, 4807-4818, 5518, 9503, 9523, 9527 and 9532  alleles. Specific PCR fragment of 260 bp in the B*2728 and B*1802 alleles.

Change in revision R03 compared to R00:

- The B*270504 allele is not amplified by primer mix 6.