Gel Documentation Form and Worksheet

HLA-B*27 (101.521-24/04, -24u/04u) 	Lot No: 5D3	Expiry Date: 2018-07-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                           Failed lanes: ___________ 	                               Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 12, 28, 30, 31, 32 and 39 may have tendencies of unspecific amplifications.

Primer mixes 1, 5 and 43 have a tendency to giving rise to primer oligomer formation.

Primer mix 24 may give rise to a lower yield of HLA-specific PCR product than the other B*27 primer mixes.

Primer mix 30 may give rise to a long unspecific amplification product. This band should be disregarded when interpreting the typing results.

Primer mix 45 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*27 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.22.0, October 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 10: Specific PCR product of 90 bp in the B*27:06, 27:35, 27:41, 27:78, 27:91 and 27:106-27:107 and the B*15:129, 18:02 and 38:22 and in the C*07:05 alleles. Specific PCR product of 185 bp in the B*27:60 allele.

Primer mix 12: Specific PCR product of 210 bp in the B*27:74 allele. Specific PCR product of 310 bp in the B*27:43 and the B*08:100, 15:292, 35:113, 39:62, 40:202, 44:98, 46:27 and 52:31:01-52:31:02 alleles. Specific PCR product of 425 bp in the B*27:13 allele.

Primer mix 13: Specific PCR product of 215 bp in the B*27:47 allele. Specific PCR product of 370 bp in the B*27:12, 27:16, 27:92 and 27:119 and the B*37:57 and 40:75? alleles. Specific PCR product of 400 bp in the B*27:53 allele.

Primer mix 14: Specific PCR product of 120 bp in the B*27:34 and the B*35:01:30, 40:02:07, 40:06:02, 51:01:52, 57:01:16 and 57:03:02 and in the C*02:23, 02:36 and 02:68 alleles. Specific PCR product of 345 bp in the B*27:17 allele.

Primer mix 17: Specific PCR product of 100 bp in the B*27:14 and 27:81 and the B*44:20, 44:47, 44:100, 44:197, 50:20, 51:85, 51:192 and 52:26 alleles. Specific PCR product of 310 bp in the B*27:51 allele.

Primer mix 18: Specific PCR product of 175 bp in the B*27:24 and the B*07:174, 07:202, 07:222, 40:31, 40:45, 40:80, 48:01:01-48:01:06, 48:04:01-48:04:02, 48:06-48:07, 48:09, 48:11, 48:15-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:37 and 81:01-81:08 alleles. Specific PCR product of 415 bp in the B*27:49 allele.

Primer mix 19: Specific PCR fragment of 95 bp in the B*27:35 and the B*38:22 alleles. Specific PCR fragment of 240 bp in the B*27:25, 27:38, 27:47, 27:50:01-27:50:02, 27:63, 27:76 and 27:139 and the B*15:129 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the B*27:09 allele. Specific PCR fragment of 175 bp in the B*27:36 and the B*48:21 and 48:26 alleles. Specific PCR fragment of 215 bp in the B*27:25, 27:45, 27:108 and 27:115 and the B*07:197 and 15:129 alleles. Specific PCR fragment of 345 bp in the B*27:69 and the B*15:227, 37:23, 40:213, 51:32 and 58:52 alleles.

Primer mix 21: Specific PCR fragment of 110 bp in the B*27:04:01, 27:04:02?-27:04:03?, 27:04:04-27:04:05, 27:06, 27:24-27:25, 27:66N, 27:68-27:69, 27:100, 27:103, 27:105, 27:109, 27:112-27:115 and 27:138 and the B*37:47alleles. Specific PCR fragment of 160 bp in the B*27:39 allele.

Primer mix 22: Specific PCR fragment of 165 bp in the B*27:55 allele. Specific PCR fragment of 195 bp in the B*27:37 and the B*18:43, B*40:210? and 40:229 alleles. Specific PCR fragment of 235 bp in the B*27:15, 27:28, 27:62 and 27:71 and the B*18:02 and in the C*07:05 alleles. Specific PCR fragment of 375 bp in the B*27:26, 27:31 and 27:101 and the B*40:166? and 82:01-82:03 alleles.

Primer mix 26: Specific PCR fragment of 105 bp in the B*27:52 allele. Specific PCR fragment of 145 bp in the B*27:64N and the B*40:291N alleles. Specific PCR fragment of 235 bp in the B*27:72 allele.

Primer mix 27: Specific PCR fragment of 215 bp in the B*27:104 allele. Specific PCR fragment of 320 bp in the B*27:57 and 37:27 allele.

Primer mix 28: Specific PCR fragment of 145 bp in the B*27:64N and the B*40:118N and 40:291N alleles. Specific PCR fragment of 325 bp in the B*27:48 allele.

Primer mix 29: Specific PCR fragment of 70 bp in the B*27:54 and 27:123 alleles. Specific PCR fragment of 105 bp in the B*27:67 allele. Specific PCR fragment of 210 bp in the B*27:74 allele.

Primer mix 30: Specific PCR fragment of 160 bp in the B*27:59N allele. Specific PCR fragment of 240 bp in the B*27:72-27:73 alleles.

Primer mix 31: Specific PCR fragment of 125 bp in the B*27:65N and in the A*24:185N alleles. Specific PCR fragment of 160 bp in the B*27:56 allele. Specific PCR fragment of 265 bp in the B*27:118 allele.

Primer mix 32: Specific PCR fragment of 90 bp in the B*27:32 and 27:70 and the B*07:28, 07:118, 08:14, 08:87, 15:17:01:01-15:17:05, 15:162, 15:168, 15:177, 15:196, 15:208, 15:216, 15:230, 15:233, 15:269, 15:273, 15:339, 15:356, 35:234, 40:124:02, 40:180, 40:240, 44:02:33, 44:41:01, 44:54, 44:65, 44:106 and 44:135 and in the C*02:07 and 02:97 alleles. Specific PCR fragment of 370 bp in the B*27:85 allele.

Primer mix 34: Specific PCR fragment of 160 bp in the B*27:82 allele. Specific PCR fragment of 265 bp in the B*27:118 allele.

Primer mix 35: Specific PCR fragment of 120 bp in the B*27:134 allele. Specific PCR fragment of 280 bp in the B*27:83 allele.

Primer mix 44: Specific PCR fragment of 225 bp in the B*27:66N allele. Specific PCR fragment of 290 bp in the B*27:58 allele.

4The following HLA-B*27 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*27:37, 27:55, 27:101 | 22 |
| B*27:67, 27:123 | 29 |
| B*27:83, 27:134 | 35 |

The HLA-B*27 subtyping kit cannot distinguish the following silent mutations: B*27:02:01-27:02:02, the B*27:04:01 and 27:04:04-24:04:05 alleles, the B*27:04:02-27:04:03, the B*27:05:02-27:05:03,  B*27:05:05-27:05:19, 27:05:21-27:05:31, 27:90:01-27:90:03 and 27:96:01-27:96:02 alleles, the B*27:07:01-27:07:04 and the B*27:50:01-27:50:02 alleles.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.