PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*35

Prod. No:	101.522-24/24u

101.522-03/03u

Lot No:    	88E

Expiry Date:    	2010-August-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B*35 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*35 alleles3 | Other amplified Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15,9 | 95 bp | 800 bp | 350101-350902, 3511, 3512, 351401-3515, 3517, 3518, 352001-3524, 3527, 3529-3545, 3548, 3550-3562, 3564-356802, 3570-3572, 3574, 3575, 3577-3579, 3581-3588 | 0832, 180101-1811, 1813-1815, 1817N-1829, 3806, 3807, 391901-391902, 4406, 510101-512402, 5126-5146, 5148-5155, 530101-5316, 7801-7804 |
| 2 | 150 bp | 1070 bp | 350101-350402, 3506-350803, 3510-3517, 3519-3521, 3523-3530, 3533-3536, 3538-3542, 3545-3550, 3552, 3554-3557, 3559, 3561-3563, 3565Q, 3569-3571, 3574, 3576-3578, 3580-3585 | 1301, 1306, 1307N, 1312, 1313, 1317, 1320, 1502, 1513, 1520, 1521, 1525, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 9544, 1822, 2719, 2730, 370101-370104, 3703N-3706, 3708, 3710, 3711, 3713, 3942, 4028, 44020101-4414, 4416, 4417, 4419N, 4421-4430, 4432-4440, 4442-4446, 4448-4452N, 4455-4460, 4802, 5104, 5142, 5146, 530101-5306, 5308-5313, 5315, 5316, 5514, 5609, 5611, 5612, 570101-5710, 5712, 5714-5716, 580101-580102, 5804, 5805, 5809-5815, 5817, 8301 |
| 35 | 115 bp | 800 bp | 350101-350107, 3503, 3505, 3507-350803, 3510, 3511, 3513, 351401, 3515-3517, 3519-3521, 3523-3530, 3532-3542, 3545-3558, 3561-3563, 3565Q, 3566, 356801-3572, 3574-3578, 3580, 3582, 3584, 3585 | 072202, 0807, 1520, 180101-1815, 1817N-1819, 1822-1825, 1827-1829, 3709, 3907, 3915, 3929, 3943, 4104, 4209, 4417, 4445, 4451, 4613, 4802, 4904, 5137, 5145, 5212, 530101-530102, 530104-5306, 5308-5316, 5409, 5514, 5523, 5527, 5609, 5611, 5618, 5714, 580101-5802, 5804-5807, 5809-5817 |
| 4 | 275 bp | 1070 bp | 350101-350107, 3505, 3507-350803, 3510, 3511, 351401-3517, 3519-3521, 3523-3530, 3532, 3535, 3537, 3540N-3543, 3545-3554, 3557, 3558, 3561-3564, 3566-3569, 3571, 3572, 3576-3580, 3582, 3586 | 0709, 0711, 0717, 0828, 0835, 1304, 1310, 15010101-150104, 150106-1508, 151101-1516, 1518-1521, 1523-1529, 1531-1536, 1538-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 1578-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 9531, 9532, 9534-9536, 9538-9546, 180101-1815, 1817N-1825, 1827-1829, 2741, 3907, 3943, 4003, 4020, 4038, 4052, 4059, 4060, 4209, 4417, 4443, 460101-4610, 4612-4614, 4802, 4814, 4904, 4905, 5137, 5145, 530101-5303, 5305, 5306, 5308-5316, 5406, 5409, 5514, 5523, 5603, 5609, 5618, 570101-570103, 5706, 5708, 5710, 5711, 5713-5716, 580101-5802, 5804-5807, 5809-5817 |
| 5 | 280 bp | 1070 bp | 350201-350202, 350401-350402, 3506, 350901-350902, 3512, 3518, 3522, 3531, 3544, 3559, 3560, 3581, 3583, 3587, 3588 | 070501-0706, 0732, 0734, 0740, 0753, 080101-0806, 0808N-0813, 0815-0827, 0829-0836, 1301-1303, 1306-1309, 1311-1321, 1509, 1530, 1542, 1548, 1558, 1573, 1583, 1586, 1826, 2707, 2711, 2720, 2724, 2727, 2733, 3712, 380101, 380201-3817, 39010101-39010102L, 390103-390602, 3908-3914, 3916, 3918-3920, 3922-3924, 3926-3928, 3930-3942, 400101-400203, 4004-4008, 4010-4016, 4019, 4021-4023, 4025-4030, 4034-4040, 4043, 4045-4051, 4053-4058, 4061-4088, 4101-410302, 4105-4108, 4201, 4202, 4204-4208, 4410, 4414, 4431, 4611, 480101-480102, 480301-4807, 4809-4816, 4818, 4819, 510101-510202, 5103-5116, 5119-512402, 5126-5136, 5138-5141N, 5143, 5144N, 5146, 5148-5155, 520101-5211, 5401-5405N, 5407, 5408N, 5410-5413, 550101-5505, 5507-5513, 5515-5522, 5524-5526, 5528-5530, 5601, 5602, 5604-5608, 5610, 5612-5617, 5619N-5623, 5702-570302, 5707, 5709, 5712, 5808, 5901, 5902, 670101-6702, 7801-7805, 8101-8104N, 8201, 8202 |
| 65 | 85 bp | 1070 bp | 350201-350202, 350401-350402, 3512, 3522, 3534, 3539, 3544, 3581, 3583 | 1313, 1509, 1510, 1530, 1537, 1545, 1548, 1563, 1583, 1590, 1599, 1826, 2727, 3914, 3929, 4026, 4028, 4035, 4087, 4812, 510101-510902, 5111N, 5112, 5116, 5118-5123, 5126-5136, 5138-5141N, 5143, 5144N, 5146, 5148-5155, 520101-5212, 5404, 5517, 5527, 5528, 560501-5606, 5612, 5615, 5621, 5702-570302, 5705, 5707, 5709, 5712, 5808, 7801-7805 |
| 76 | 325 bp | 1070 bp | 3523 | 1506, 152701-152702, 1584, 9509, 1827, 4410, 47010101-4703, 8201, 8202 |
| 8 | 275 bp | 1070 bp | 3503, 3506, 3513, 3533, 3536, 3538, 3555, 3556, 3559, 3560, 3565Q, 3570, 3574, 3575, 3584, 3585 | 1301-1303, 1306-1309, 1311, 1312, 1314-1320, 1542, 1558, 1573, 1586, 9533, 380101, 380201-3817, 39010101-39010102L, 390103-390602, 3908-391302, 3915, 3916, 3918-3920, 3922-3924, 3926-3928, 3930-3942, 4036, 4048, 4071, 4077, 4086, 4206, 4410, 4508, 4611, 4807, 4817, 511301-511302, 5115, 5304, 5401-5403, 5405N, 5407, 5408N, 5410, 5412, 5413, 550101-5503, 5505, 5507, 5509-5513, 5515, 5516, 5518, 5519, 5521, 5522, 5524-5526, 5529, 5530, 5601, 5602, 5604, 5607, 5608, 5610, 5611, 5613, 5614, 5616, 5617, 5619N, 5620, 5622, 5623, 5901, 670101-6702, 8201, 8202 |
| 95,7 | 140 bp | 800 bp | 3505, 3516, 3517, 3522, 3530, 3551, 3558, 3566, 3572 | 1405, 1507, 1545, 1555, 1568, 9526, 1814, 1822, 2732, 3903, 3914, 3924, 3929, 3937, 4035, 4071, 4454, 4612, 4812, 4814 5314 |
| 105,10 | 140, 240 bp | 1070 bp | 3507, 3583 |  |
| 118,9 | 225 bp | 800 bp | 350801-350803, 3518, 3545, 3561, 3580 | 0712, 0714, 071801-071802, 4404, 442801-442802, 4456N, 5311, 5316, 5702, 5704, 5705, 5712, 5713, Cw*0328, Cw*0510, Cw*1508 |
| 125 | 95 bp | 1070 bp | 3510, 3513, 3516, 3528, 3569, 3580 | 1812, 370101-3705, 3707, 3709-3713, 4903, 520101-520104, 5203-5212, 7805 |
| 13 | 170 bp | 800 bp | 3511, 351401-351402, 3521, 3543, 3544, 3558, 3567, 3579, 3586 | 070201-0724, 0726-0747, 0749N, 0750, 0752-0764, 0806, 0820, 1316, 1320, 1401-1408, 15010101-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1542-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9544, 9546, 1815, 1819, 1821, 270401-270402, 2706, 2710, 2715, 2718, 2720, 2721, 2724, 2725, 2740, 3707, 3713, 3810, 3918, 3935, 3936, 4005, 4015, 4016, 4023, 4026, 4028, 4032, 4051, 460101-4605, 4607N, 4608, 4610, 4612, 4614, 4805, 4808, 4815, 4901-4905, 5001, 5002, 5004, 510101-5104, 5106, 5107, 5111N-5114, 5116-5118, 5121-512402, 5126-5130, 5132-5139, 5141N, 5143, 5145, 5146, 5148-5152, 5155, 520101-5202, 5204-5209, 5211, 5212, 5306, 5308, 5406, 550101-550104, 5503, 5505, 5509, 5511, 5514, 5515, 5517, 5521, 5524, 5525, 5528, 5529, 5603, 560501-5606, 5621, 5709, 5713, 5806, 5808, 7801-7803, 7805 |
| 145,8,9 | 75 bp | 800 bp | 3512, 3539, 3559, 3561, 3588 | 0714, 071801-071802, 1301, 1306, 1307N, 1312, 1313, 1317, 1320, 1321, 1502, 1513, 1521, 1525, 1536, 1544, 1577, 1580, 1588, 1589, 9506, 9512, 9521, 9539, 9544, 2719, 2730, 3942, 4004, 4028, 4030, 4034, 4064, 4068, 44020101-4409, 4411-4414, 4416, 4417, 4419N, 4421-4430, 4432-4435, 4437-4440, 4442-4446, 4448-4453, 4455-4460, 5104, 5142, 5146, 5514, 5612, 570101-5704, 5706-5710, 5712-5716, 8301 |
| 155 | 135 bp | 1070 bp | 3515, 3533, 3566, 3586 | 1301-130204, 1307N-1311, 1313-1320, 1540, 1547, 1549, 1552, 9514, 9517, 9524, 9538, 1810, 2701-270402, 270502-2706, 2708-2710, 2712-2714, 2716-2719, 2721, 2723, 2726, 2727, 2729-2732, 2735, 2737, 2739-2742, 3702, 4035, 4077, 4087, 4416, 4421, 47010101-4705, 4812, 4814, 5116, 5131, 5134, 5208, 5509, 5522, 5524 |
| 165,11 | 95, 190 bp | 1070 bp | 3519, 3547, 3577 | 9543, 4008, 4025, 4068, 4412 |
| 178,12 | 180, 380 bp | 1070 bp | 3526, 3536 | 3904 |
| 185,8 | 105 bp | 1070 bp | 352001-352002, 3528, 3572 | 180101-1806, 1808-1815, 1817N-1828, 370101-370102, 370103weakly, 370104-3705, 3707-3713, 4903, 5107, 520101-520104, 5203-5205, 5207-5212, 5309, 7805 |
| 198,9 | 230 bp | 1070 bp | 3529, 3569, 3574, 3576 | 0729, 080101-080105, 0802weakly, 0804-0822, 0824-0836, 1561, 1570, 1576, 9501, 3904, 4043, 4073, 4506, 460101-4604, 4606-4614, 5120weakly, 5401, 5403-5411, 5412weakly, 5413, 550101-5505, 5507-5509, 5511-5517, 5519-5530, 5601-5606, 5607weakly, 5608-5620, 5621weakly, 5622, 7801, 7803, 8301 |
| 20 | 200 bp | 1070 bp | 3531, 3588 | 070501-0706, 0732, 0740, 0753, 1301-130204, 1307N-1309, 1311, 1313-1321, 2707, 2711, 2720, 2724, 2727, 2733, 400101-400203, 4004, 40060101-4008, 4010-4016, 4019, 4021-4023, 4025, 4027, 4029, 4030, 4034-4038, 4040, 4043, 4045-4050, 4053-4058, 4061, 4062, 4064-4070, 4072-4088, 4406, 4431, 480101-480102, 480301-4807, 4809-4816, 4818, 4819, 4903, 510101, 510103-510108, 510201, 510203-5104, 5106-510901, 5110-5114, 5116-512402, 5126-5146, 5148, 5149, 5151-5153, 5155, 520102, 520104-5203, 520601-520602, 5208, 5209, 5306, 5509, 5522, 5524, 5808, 8101-8104N |
| 218 | 265 bp | 800 bp | 3525 | 180101-1803, 1805-1815, 1817N-1828, 370101-3713, 5812, 8101, 8301 |
| 225,13 | 90, 270 bp | 1070 bp | 3521, 3524, 3546, 3581 | 1502, 1508, 151101-151103, 1513, 1515, 1521, 1531, 1544, 1555, 1588, 1589, 9512, 9521, 9539, 9544, 1822, 3704, 4028, 5104, 5146, 5302, 5306, 5714, 5809 |
| 23 | 190 bp | 800 bp | 350101-3510, 3513, 3515, 3518-352002, 3523-3530, 3533-3537, 3540N-3542, 3545 -3550, 3552-3557, 3560, 3563-3566, 356801-3572, 3574-3578, 3580-3585, 3588 | 1301-1304, 1306-1309, 1311-1315, 1317-1319, 1520, 1586, 1822, 2714, 4004, 4024, 4059, 4060, 4068, 4070, 4410, 4611, 4802, 4817, 5115, 530101-5305, 5309-5316, 5401-5405N, 5407, 5408N, 5410-5413, 550201-550202, 5507, 5510, 5512, 5513, 5516, 5518, 5519, 5522, 5523, 5526, 5527, 5530, 5601, 5602, 5607-5611, 5614-5617, 5619N, 5620, 5622, 5623, 5705, 580101-5802, 5804, 5807, 5809-5817, 5901, 5902, Cw*0203, Cw*0512 |
| 24 | 425 bp | 1070 bp |  | 2702, 2703, 270502-270510, 2707, 2709, 2710, 2713, 2714, 2716, 2717, 2719, 2727-2730, 2732, 2734, 2735, 2737-2739, 2741, 2742weakly, 370101-3704, 3705weakly, 3706-3709, 3712, 3713, 4013, 4019?, 4406, 4425, 4450, 47010101-47010102, 4705, 510101-512402, 5126-5146, 5148, 5149, 5151-5153, 5155, 520101-5212, 530101-5308, 5310, 5314-5316, 570101-5711, 5713-5716, 580101-5802, 5804-5816 |
| 255,7,14 | 135, 210 bp | 800 bp | 350902, 3518, 3527, 3531, 3556, 3564, 3588 | 070201-0764, 080102, 0806, 0820, 1321, 1533, 9507, 9516, 9541, 1821, 2701-270402, 270502-2721, 2723-2742, 3702, 3705, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 4073-4076, 4078-4086, 4088, 4108, 4431, 4606, 47010101-4705, 480101-480102, 480301-4811, 4813, 4815-4819, 510109, 5110, 512402, 5411, 5504, 5508, 5713, 8101-8104N |
| 2615 | 210, 370 bp | 800 bp | 3542, 3550, 3584 | 0708, 0732, 0738, 1807, 1829, 2723, 3806, 3807, 4008, 4013, 4068, 4806 |
| 275,8 | 110 bp | 1070 bp | 3541 |  |
| 28 | 230 bp | 800 bp | 3505, 3522, 3532, 3543, 3544, 3551, 3558, 3567, 356802, 3572, 3579 | 0720, 0724, 0760, 0821, 0825, 15010101-150104, 150106-150108, 1503, 1505, 1507-151102, 1512weakly, 1514, 1515, 15170101-1518, 1519weakly, 1523, 1524, 1528-1531, 1533-1535, 1537-1539, 1543, 1545, 1546, 1548, 1551, 1553-1558, 1560, 1561, 1563-1566, 1568, 1570-1576, 1578, 1579N, 1581, 1582, 1587, 1590-1592, 1594N, 1596-1599, 9501-9505, 9507, 9508, 9511N, 9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9528, 9531-9536, 9540-9543, 9545, 9546, 3932, 4005, 4026, 4063, 4071, 4441, 4454, 460101-4602, 4604, 4605, 4608-4610, 4612-4614, 5106, 5145, 5314, 5406, 5508, 5602-5604, 5816, Cw*0305, Cw*0325, Cw*0327 |
| 295 | 105 bp | 1070 bp | 3537 | 1304, 1504, 1516, 1567, 1595, 9537, 390601-390602, 3933, 3934, 4086, 4502, 4904, 4905, 511301-511302, 5137, 5513, 5523, 5622, 7301 |
| 305,8,16 | 115, 325 bp | 800 bp | 3515, 3525, 3526, 3533, 3549, 3566 | 1301-130204, 1307N-1311, 1313-1321, 1810, 2701-270402, 270502-2721, 2723-2742, 401401, 4046?, 4072, 4077, 4416, 4421, 4440, 4444, 4812, 5116, 5131, 5134, 5208, 5509, 5522, 5524, 8101, 8301, Cw*0110weakly, Cw*0715weakly |
| 318,17 | 170, 210 bp | 1070 bp | 3525, 3550, 3584 | 0708, 0732, 0738, 080101-0803, 0805-0816, 0818-0825, 0827-0836, 1529, 1807, 1829, 2723, 3806, 3807, 4008, 4013, 4068, 4806 |
| 325,9 | 170 bp | 1070 bp | 3529, 3569, 3576 | 070201-070202, 070204-0715, 0717-0726, 0728-0735, 0739-0749N, 0751-0755, 0757-0764, 1570, 1576, 9501, 1803weakly, 391902, 4201, 4202, 4204-4209, 460101, 4603-4614, 5603, 5606, 7301, 7801, 7803, 8101-8104, 8301 |
| 335,18 | 70, 205 bp | 1070 bp | 3545, 3547, 3571 | 0720, 1514, 1546, 1591, 9506, 9531, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 5123, 5707, 5807, 8201, 8202 |
| 34 | 230 bp | 800 bp | 3548 | 5307 |
| 358,19 | 150, 365 bp | 1070 bp | 3540N, 356801 |  |
| 365,20 | 110, 180, 230 bp | 800 bp | 3535, 3570, 3579 | 3942 |
| 375 | 85 bp | 1070 bp | 3560 | 1301-1303, 1306-1309, 1311, 1312, 1314-1320, 1542, 1573, 1586, 3917, 4071, 4410, 4415, 4418, 4501, 4504-4508, 4611, 4901-4903, 5001, 5002, 5004, 5115, 5401-5403, 5405N, 5407, 5408N, 5410, 5412, 5413, 550101-5503, 5505, 5507, 5509-5512, 5515, 5516, 5518, 5519, 5521, 5522, 5524-5526, 5529, 5530, 5601, 5602, 5604, 5607, 5608, 5610, 5613, 5614, 5616, 5617, 5619N, 5623, 5901, 8201, 8202 |
| 388,21 | 210, 295 bp | 1070 bp | 350201-350202, 350902, 3518, 3531, 3564, 3581, 3583, 3588 | 070201-0764, 080102, 0806, 0820, 1321, 1533, 9507, 9516, 9541, 1821, 2701-270402, 270502-2721, 2723-2742, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 4073-4076, 4078-4086, 4088, 4108, 4431, 4606, 47010101-4705, 480101-480102, 480301-4811, 4813, 4815-4819, 510109, 5110, 512402, 5411, 5504, 5508, 5713, 8101-8104N |
| 395 | 115 bp | 1070 bp | 351401-351402, 3543, 3544, 3562, 3567, 3579, 3586 | 15010101-150104, 150106-150108, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 1538, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 9535, 9537, 9540, 9542-9546, 1819, 2725, 3936, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 4612, 4614, 5406, 5521, 5603 |
| 40 | 185 bp | 1070 bp | 3563 | 1553, 2708, 2712, 2718, 2726, 2733, 2740, 2742, 400101-4009, 4011, 401401-4016, 4018, 4020, 4022N-4040, 4042-4046, 4048-4075, 4077-4082, 4084-4088, 4101-4104, 4106-4108, 4409, 4446, 4501-4508, 4702, 5001, 5002, 5004 |
| 415,22 | 105, 135 bp | 1070 bp | 3552, 3582, 3585 | 391901-390102, 5122, 7803 |
| 4223 | 155, 250 bp | 800 bp | 3553N, 3565Q |  |
| 43 | 205 bp | 1070 bp | 3554 |  |
| 445,24 | 110, 145, 300 bp | 1070 bp | 3555, 3578 | 1809, 3710, 5154, 5309, 5311-5313 |
| 4523 | 165 bp | 800 bp | 350101-3530, 3532-3542, 3544, 3545, 3547-3556, 3558, 3559, 3561-3572, 3574-3578, 3580-3586, 3588 | 1520, 4802, 510101-512402, 5126-5146, 5148-5155, 520101-520602, 5208-5212, 530101-5316, 5621, 580101- 5802, 5804-5810N, 5812-5817, 7801-7805, 8103 |
| 467,8,23,26 | 165, 380 bp | 1070 bp | 350104, 3505, 350803, 3512, 3517, 3530, 3531, 3543, 3546, 3551, 3557, 3558, 3560, 3566, 3567, 356802, 3579, 3586, 3587 | 070201-0757, 0759-0764, 080101-0836, 1301-1304, 1306-1321, 1401-1408, 15010101-1519, 1521, 1523-1540, 1542-1558, 1560-1599, 9501, 9503-9529, 9531-9546, 180101-1815, 1817N-1829, 2701-270402, 270502-2721, 2723-2742, 370101-3713, 380101-3817, 39010101-39010102L, 390103-3920, 3922-3943, 400101-4016, 4018-4040, 4042-4088, 4101-4108, 4201, 4202, 4204-4209, 44020101-4460, 4501-4508, 460101-4614, 47010101-4705, 480101-480102, 480301-4819, 4901- 4905, 5001, 5002, 5004, 5106, 5142, 5207, 5314, 5401-5413, 550101-550102, 550104-5505, 5507-5530, 5601-5620, 5622, 5623, 570101-5716, 5811, 5901, 5902, 670101-6702, 8101, 8102, 8104N, 8201, 8202, 8301 |
| 47 | 160 bp | 800 bp | 3538 | 4206, 5613, 8201, 8202, Cw*070401-070402 weakly Cw*0711 weakly, Cw*0712 weakly, Cw*0745 |
| 48 | 395 bp | 1070 bp | 350101-3519, 3521-3525, 3527, 3529-3562, 3564-3571, 3574, 3575, 3577, 3579-3581, 3583, 3584, 3586-3588 | 1807, 1829, 2723, 4008, 4013, 4068?, 4406, 510101-5106, 5108-5121, 5123-512402, 5126-5146, 5148-5155, 520601-520602, 530101-5308, 5310-5316, 7801-780202, 7804 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*35 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*35 subtyping.

In addition, wells number 3, 7, 9, 11, 13, 14, 21, 23, 25, 26, 28, 30, 34, 36, 42, 45 and 47 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles many non-HLA-B*35 alleles will be amplified by the HLA-B*35 primer mixes. In addition, the Cw*0110 and Cw*0715 alleles will be weakly amplified by primer mix 30, the Cw*0203 and Cw*0512 alleles by primer mix 23, the Cw*0305, Cw*0325 and Cw*0327 alleles by primer mix 28, the Cw*0328, Cw*1510 and Cw*1508 alleles by primer mix 11, the Cw*0510 and the Cw*1508 alleles by the primer mix 11 and the Cw*070401-070402, the Cw*0711, Cw*0712 and the Cw*0745 alleles weakly by primer mix 47.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 7 may faintly amplify the B*44 alleles.

7Primer mixes 9, 25 and 46 may give rise a primer oligomer artefact.

8Primer mixes 11, 14, 17, 18, 19, 21, 27, 30, 31, 35, 38 and 46 have a tendency of giving rise to nonspecific amplifications.

9Primer mixes 1, 11, 14, 19 and 32 may yield less specific PCR products than the other B*35 primer mixes.

10Primer mix 10: Specfic PCR fragment of 140 bp in the B*3583 allele. Specific PCR fragment of 240 bp in the B*3507 allele.

11Primer mix 16: Specific PCR fragment of 95 bp in the B*9543, 3519, 3547 and B*4008, 4025, 4068 and 4412 alleles. Specific PCR fragment of 190 bp in the B*3577 allele.

12Primer mix 17: Specific PCR fragment of 180 bp in the B*3526 and B*3904 alleles. Specific PCR fragment of 380 bp in the B*3536 allele.

13Primer mix 22: Specific PCR fragment of 90 bp in the B*3546 and the B*1502, 1508, 151101-151103, 1513, 1515, 1521, 1531, 1544, 1555, 1588, 1589, 9512, 9521, 9539 and 9544 alleles. Specific PCR fragment of 270 bp in the B*3521, 3524, 3581 and the B*1822, 3704, 4028, 5104, 5146, 5302, 5306, 5714 and 5809 alleles.

14Primer mix 25: Specific PCR fragment of 135 bp in the B*3527 and 3556 and the B*3705 alleles. Specific PCR fragment of 210 bp in the other alleles amplified by this primer mix.

15Primer mix 26: Specific PCR fragment of 210 bp in the B*3550, 3584 and B*0708, 0732, 0738, 3806, 3807 and 4806 alleles. Specific PCR fragment of 370 bp in the B*3542 and B*1807, 1829, 2723, 4008, 4013 and 4068 alleles.

16Primer mix 30: Specific PCR fragment of 115 bp in the B*3515, 3533 and 3566 and B*1301-130204, 1307N-1311, 1313-1321, 1810, 401401, 4046?, 4072, 4077, 4416, 4421, 4440, 4444, 4812, 5116, 5131, 5134, 5208, 5509, 5522, 5524, Cw*0110w and Cw*0715w alleles. Specific PCR fragment of 325 bp in the B*3525, 3526 and 3549 and B*2701-270402, 270502-2721, 2723-2742, 8101 and 8301 alleles.

17Primer mix 31: Specific PCR fragment of 170 bp in the B*3525 and B*0708, 0732, 0738, 080101-0803, 0805-0816, 0818-0825, 0827-0836, 1529, 1807, 1829, 3806, 3807 and 4806 alleles. Specific PCR fragment of 210 bp in the B*3550, 3584 and B*2723, 4008, 4013 and 4068 alleles.

18Primermix 33: Specific PCR fragment of 70 bp in the B*3547 and B*1546 and 9506 alleles. Specific PCR fragment of 205 bp in the B*3545, 3571 and B*0720, 1514, 1591, 9531, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 5123, 5707, 5807, 8201 and 8202 alleles.

19Primer mix 35: Specific PCR fragment of 150 bp in the B*3540N allele. Specific PCR fragment of 365 bp in the B*356801 allele.

20Primer mix 36: Specific PCR fragment of 110 bp in the b*3579 allele. Specific PCR fragment of 180 bp in the B*3570 allele. Specific PCR fragment of 230 bp in the B*3535 and B*3942 alleles.

21Primer mix 38: Specific PCR fragment of 295 bp in the B*350201-350202 alleles. Specific PCR fragment of 210 bp in the other alleles amplified by this primer mix.

22Primer mix 41: Specific PCR fragment of 105 bp in the B*3582, 3585 and B*391901-391902, 5122 and 7803 alleles. Specific PCR fragment of 135 bp in the B*3552 allele.

23Primer mix 42: Specific PCR fragment of 155 bp in the B*3553N allele. Specific PCR fragment of 250 bp in the B*3565Q allele.

24Primer mix 44: Specific PCR fragment of 110 bp in the B*3578 allele. Specific PCR fragment of 145 bp in the B*1809, 3710, 5154, 5309 and 5311-5313 alleles. Specific PCR fragment of 300 bp in the B*3555 allele.

25Primer mixes 45 and 46: For many HLA-B alleles fourth exon nucleotide sequences are not available. We assume that unknown sequences in the fourth exon are conserved within allelic groups.

26Primer mix 46: Specific PCR fragment of 380 bp for the B*3573 allele. Specific PCR fragment of 165 bp in the other alleles amplified by this primer mix. The B*7301 and Cw*0503 alleles may be weakly amplified by primer mix 46.

1The B*3573 allele has been renamed to B*350803.

2Primer mix 10: Specfic PCR fragment of 140 bp in the B*3583 allele. Specific PCR fragment of 240 bp in the B*3507 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the B*9543, 3519, 3547 and B*4008, 4025, 4068 and 4412 alleles. Specific PCR fragment of 190 bp in the B*3577 allele.

Primer mix 17: Specific PCR fragment of 180 bp in the B*3526 and B*3904 alleles. Specific PCR fragment of 380 bp in the B*3536 allele.

Primer mix 22: Specific PCR fragment of 90 bp in the B*3546 and the B*1502, 1508, 151101-151103, 1513, 1515, 1521, 1531, 1544, 1555, 1588, 1589, 9512, 9521, 9539 and 9544 alleles. Specific PCR fragment of 270 bp in the B*3521, 3524, 3581 and the B*1822, 3704, 4028, 5104, 5146, 5302, 5306, 5714 and 5809 alleles.

Primer mix 25: Specific PCR fragment of 135 bp in the B*3527 and 3556 and the B*3705 alleles. Specific PCR fragment of 210 bp in the other alleles amplified by this primer mix.

Primer mix 26: Specific PCR fragment of 210 bp in the B*3550, 3584 and B*0708, 0732, 0738, 3806, 3807 and 4806 alleles. Specific PCR fragment of 370 bp in the B*3542 and B*1807, 1829, 2723, 4008, 4013 and 4068 alleles.

Primer mix 30: Specific PCR fragment of 115 bp in the B*3515, 3533 and 3566 and B*1301-130204, 1307N-1311, 1313-1321, 1810, 401401, 4046?, 4072, 4077, 4416, 4421, 4440, 4444, 4812, 5116, 5131, 5134, 5208, 5509, 5522, 5524, Cw*0110w and Cw*0715w alleles. Specific PCR fragment of 325 bp in the B*3525, 3526 and 3549 and B*2701-270402, 270502-2721, 2723-2742, 8101 and 8301 alleles.

Primer mix 31: Specific PCR fragment of 170 bp in the B*3525 and B*0708, 0732, 0738, 080101-0803, 0805-0816, 0818-0825, 0827-0836, 1529, 1807, 1829, 3806, 3807 and 4806 alleles. Specific PCR fragment of 210 bp in the B*3550, 3584 and B*2723, 4008, 4013 and 4068 alleles.

Primermix 33: Specific PCR fragment of 70 bp in the B*3547 and B*1546 and 9506 alleles. Specific PCR fragment of 205 bp in the B*3545, 3571 and B*0720, 1514, 1591, 9531, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 5123, 5707, 5807, 8201 and 8202 alleles.

Primer mix 35: Specific PCR fragment of 150 bp in the B*3540N allele. Specific PCR fragment of 365 bp in the B*356801 allele.

Primer mix 36: Specific PCR fragment of 110 bp in the b*3579 allele. Specific PCR fragment of 180 bp in the B*3570 allele. Specific PCR fragment of 230 bp in the B*3535 and B*3942 alleles.

Primer mix 38: Specific PCR fragment of 295 bp in the B*350201-350202 alleles. Specific PCR fragment of 210 bp in the other alleles amplified by this primer mix.

Primer mix 41: Specific PCR fragment of 105 bp in the B*3582, 3585 and B*391901-391902, 5122 and 7803 alleles. Specific PCR fragment of 135 bp in the B*3552 allele.

Primer mix 42: Specific PCR fragment of 155 bp in the B*3553N allele. Specific PCR fragment of 250 bp in the B*3565Q allele.

Primer mix 44: Specific PCR fragment of 110 bp in the B*3578 allele. Specific PCR fragment of 145 bp in the B*1809, 3710, 5154, 5309 and 5311-5313 alleles. Specific PCR fragment of 300 bp in the B*3555 allele.

Primer mix 46: Specific PCR fragment of 380 bp for the B*3573 allele. Specific PCR fragment of 165 bp in the other alleles amplified by this primer mix. The B*7301 and Cw*0503 alleles may be weakly amplified by primer mix 46.

‘w’, might be weakly amplified. ‘?’, nucleotide sequence of the primer matching region not known.

Change in revision R01 compared to R00:

- Duplicate page 8 corrected.

Change in revision R02 compared to R01:

- The B*460101 and B*460102 alleles are amplified by primer mix 28.

Change in revision R03 compared to R02:

- The B*8201 allele is not amplified by primer mix 21.