PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*35

Prod. No:	101.522-24/24u

101.522-03/03u

Lot No:    	58G

Expiry Date:    	2011-December-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B*35 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*35 alleles3 | Other amplified Class I alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 95 bp | 800 bp | *350101-350902, 3511-351202, 351401-3515, 3517, 3518, 352001-3524, 3527, 3529-3545, 3548, 3550-3562, 3564-356802, 3570-3572, 3574, 3575, 3577-3579, 3581-3599 | *0832, 180101-1811, 1813-1815, 1817N-1836, 1838-1845, 3708, 3806, 3807, 391901, 391902, 4406, 510101-510110, 510112-512402, 5126-5146, 5148-5184, 530101-5316, 5318, 5319, 7801-7804 |
| 2 | 150 bp | 1070 bp | *350101-350403, 3506-350804, 3510-3517, 3519-3521, 3523-3530, 3533-3536, 3538-3542, 3545-3550, 3552, 3554-3557, 3559, 3561-3563, 3565Q, 3569-3571, 3574, 3576-3578, 3580-3585, 3590-3596, 3598 | *130101, 130102, 1306, 1307N, 1312, 1313, 1317, 1320, 132201-1323, 1325, 1326, 1328, 1329, 1410, 150201, 150202, 1513, 1520, 1521, 152501, 152502, 1536, 1544, 1562, 1577, 1580, 1585, 1588, 1589, 9506, 9512, 9521, 9539, 9544, 9554, 9570, 1822, 2719, 2730, 370101-370107, 3703N-3706, 3708, 3710, 3711, 3713-3719, 3820, 3942, 4028, 44020101-4414, 4416, 4417, 4419N, 4421-4430, 4432-4440, 4442-4446, 4448-4452N, 4455-446402, 4466-4488, 4802, 5104, 5142, 5146, 5156, 530101-5306, 5308-5313, 5315-5319, 5514, 5609, 5611, 5612, 570101-570104, 5702-5710, 5712, 5714-5720, 5722-5726, 580101, 580102, 5804, 5805, 5809-5815, 5817N, 5819, 5821-5824, 8301 |
| 35 | 115 bp | 800 bp | *350101-350113, 350301, 3505, 3507-350804, 3510, 3511, 3513, 351401, 3515-3517, 3519-3521, 3523-3530, 3532-3542, 3545-3558, 3561-3563, 3565Q, 3566, 356801-3572, 3574-3578, 3580, 3582, 3584, 3585, 3589-3594, 3596-3598 | *070213, 072202, 0807, 0837, 1326, 150302, 1520, 152703, 153802, 180101-1815, 1817N-1819, 1822-1825, 1827-1845, 3709, 3907, 3915, 3929, 3943, 3949, 4104, 4209, 4417, 4443, 4445, 4451, 4509, 461301, 4802, 4904, 5137, 5145, 5212, 530101, 530102, 530104-5306, 5308-5318, 5409, 5414, 5416, 5514, 5523, 5527, 5609, 5611, 5618, 5714, 580101-5802, 5804-5807, 5809-5819, 5821-5824 |
| 4 | 280 bp | 1070 bp | *350101-350113, 3505, 3507-350804, 3510, 3511, 351401-3517, 3519-3521, 3523-3530, 3532, 3535, 3537, 3540N-3543, 3545-3554, 3557, 3558, 3561-3564, 3566-3569, 3571, 3572, 3576-3580, 3582, 3586, 3589-3594, 3597, 3599 | *0709, 0711, 0717, 0828, 0835, 0837, 1304, 1310, 1326, 15010101-150104, 150106-1508, 151101-1516, 151801-1521, 1523-1529, 1531-1536, 153801-1540, 1543, 1544, 1546, 1547, 1549-1557, 1560-1562, 1564-1572, 1574-1576, 157801-1582, 1584, 1585, 1587-1589, 1591-1598, 9501-9529, 9531, 9532, 9534-9536, 9538-9549N, 9551-9561, 9563-9567, 9569-9576, 9578, 180101-1815, 1817N-1825, 1827-1840, 1842-1845, 2741, 3907, 3943, 4003, 4020, 4038, 4052, 4059, 4060, 4209, 4417, 4443, 4509, 460101-4610, 4612-4617, 4619-4622, 4802, 4814, 4904, 4905, 5137, 5145, 5163, 530101-5303, 5305, 5306, 5308-5318, 5406, 5409, 5414, 5514, 5523, 5532, 5603, 5609, 5618, 570101-570105, 5706, 5708, 5710, 5711, 5713-5716, 5718-5726, 580101-5802, 5804-5807, 5809-5819, 5821-5824 |
| 5 | 285 bp | 800 bp | *350401-350403, 3506, 350901, 350902, 351201, 351202, 3518, 3522, 3531, 3544, 3559, 3560, 3587, 3588 | *070501-0706, 0732, 0734, 0740, 0753, 0769, 0778, 0780, 0790, 0797, 080101-0806, 0808N-0813, 0815-0827, 0829-0836, 0838-0847, 130101-1303, 1306-1309, 1311-1323, 1325, 1327-1330, 1413, 1509, 1530, 1542, 1548, 1558, 1573, 1583, 1586, 9550, 1826, 2707, 2711, 2720, 2724, 2727, 2733, 2743, 3712, 380101, 380103-3820, 39010101, 39010102L, 390103-390602, 3908-3914, 3916, 3918-3920, 3922-3924, 3926-3928, 3930-3942, 3944-3948, 3950-3954, 400101-400207, 4004-4008, 4010-4016, 4019, 4021-4023, 4025-4030, 4034-4040, 4043, 4045-4051, 4053-4058, 4061-4088, 4090-4097, 4101-410302, 4105-4109, 4111, 4112, 420101-4202, 4204-4208, 4210-4213, 4410, 4414, 4431, 4462, 4477, 4482, 4611, 4618, 480101, 480102, 480301-4807, 4809-4816, 4818-4820, 510101-510202, 510204-5116, 5119-512402, 5126-5136, 5138-5141N, 5143, 5144N, 5146, 5148-5184, 520101-5211, 5213-5216, 5401-5405N, 5407, 5408N, 5410-5413, 5417-5419, 550101-5505, 5507-5513, 5515-5522, 5524-5526, 5528-5538, 560101-5602, 5604-5608, 5610, 5612-5617, 5619N-5626, 5702-570302, 5707, 5709, 5712, 5717, 5808, 5820, 5901-5905, 670101-6702, 7801-7806, 8101-8104N, 8201, 8202 |
| 65 | 85 bp | 1070 bp | *350201-350203, 350401-350403, 351201, 351202, 3522, 3534, 3539, 3544, 3581, 3583, 3595 | *0768, 1313, 1413, 1509, 1510, 1530, 1537, 1545, 1548, 1563, 1583, 1590, 1599, 1826, 2727, 3914, 3929, 4026, 4028, 4035, 4087, 4095, 4210, 4462, 4477, 4482, 4812, 510101-510902, 5111N, 5112, 5116, 5118-5123, 5126-5136, 5138-5141N, 5143, 5144N, 5146, 5148-5161, 5164-5180, 5182-5184, 520101-5213, 5215, 5216, 5319, 5404, 5517, 5527, 5528, 560501-5606, 5612, 5615, 5621, 5702-570302, 5705, 5707, 5709, 5712, 5717, 5808, 7801-7806 |
| 76,11 | 160 bp, 330 bp | 800 bp | *3523, 3584, 3590 | *1506, 152701-152703, 1584, 9509, 1827, 2723, 3816, 4008, 4025, 4068, 4410, 4412, 47010101-4703, 7301w, 8201, 8202 |
| 8 | 280 bp | 1070 bp | *350301, 350302, 3506, 3513, 3533, 3536, 3538, 3555, 3556, 3559, 3560, 3565Q, 3570, 3574, 3575, 3584, 3585, 3596, 3598 | *0778, 130101-1303, 1306-1309, 1311, 1312, 1314-1320, 132201-1323, 1325, 1327-1330, 1542, 1558, 1573, 1586, 9533, 380101-3820, 39010101, 39010102L, 390103-390602, 3908-391302, 3915, 3916, 3918-3920, 3922-3924, 3926-3928, 3930-3942, 3944-3954, 4036, 4048, 4071, 4077, 4086, 4206, 4410, 4611, 4618, 4807, 511301, 511302, 5115, 5162, 5214, 5304, 5401-5403, 5405N, 5407, 5408N, 5410, 5412, 5413, 5416-5419, 550101-5503, 5505, 5507, 5509-5513, 5515, 5516, 5518, 5519, 5521, 5522, 5524-5526, 5529-5531, 5533-5538, 560101-5602, 5604, 5607, 5608, 5610, 5611, 5613, 5614, 5616, 5617, 5619N, 5620, 5622-5626, 5820, 5901, 5903-5905, 670101-6702, 8201, 8202 |
| 95,7 | 140 bp | 800 bp | *3505, 3516, 3517, 3522, 3530, 3551, 3558, 3566, 3572, 3589, 3597 | *0768, 1405, 1413, 1507, 1545, 1555, 1568, 9526, 1814, 1822, 2732, 3819, 3903, 3914, 3924, 3929, 3937, 4035, 4071, 4210, 4454, 4612, 4812, 4814, 5164, 5314, 5818 |
| 105,12 | 140 bp, 240 bp, 310 bp | 1070 bp | *3507, 3583, 3594 | Cw*0763 |
| 118,9 | 225 bp | 800 bp | *350801-350804, 3518, 3545, 3561, 3580 | 0712, 0714, 071801, 071802, 4404, 442801, 442802, 4456N, 4476, 5311, 5316, 5702, 5704, 5705, 5712, 5713, 5719, 5822, A*0141w, Cw*0328, 0349, Cw*0510, Cw*1508 |
| 125,13 | 95 bp, 125 bp | 1070 bp | *3510, 3513, 3516, 3528, 3569, 3580, 3592 | *1812, 370101-370105, 370107-3705, 3707, 3709-3719, 4483, 4903, 520101-520105, 5203-5215, 5317, 7805, 7806 |
| 13 | 170 bp | 800 bp | *3511, 351401, 351402, 3521, 3543, 3544, 3558, 3567, 3579, 3586, 3596, 3599 | *070201-0724, 0726-0747, 0749N, 0750, 0752-0799, 0806, 0820, 1316, 1320, 1401-1416, 15010101-150104, 150106-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1542-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9544, 9546-9550, 9552-9554, 9556-9561, 9563-9575, 9577, 9578, 1815, 1819, 1821, 1830, 270401-270403, 2706, 2710, 2715, 2718, 2720, 2721, 2724, 2725, 2740, 2754, 3707, 3713, 3810, 3918, 3935, 3936, 4005, 4015, 4016, 4023, 4026, 4028, 4032, 4051, 4095, 4098, 4476, 4479, 460101-4605, 4607N, 4608, 4610, 4612, 4614-4617, 4620, 4622, 4805, 4808, 4815, 490101-4907, 500101-5002, 5004-5009, 510101-5104, 5106, 5107, 5111N-5114, 5116-5118, 5121-512402, 5126-5130, 5132-5139, 5141N, 5143, 5145, 5146, 5148-5152, 5155-5172, 5174-5180, 5182-5184, 520101-5202, 5204-5209, 5211-5216, 5306, 5308, 5406, 550101-550106, 5503, 5505, 5509, 5511, 5514, 5515, 5517, 5521, 5524, 5525, 5528, 5529, 5531, 5533, 5536, 5538, 5603, 560501-5606, 5621, 5625, 5709, 5713, 5722, 5806, 5808, 5819, 7801-7803, 7805, 7806 |
| 145,8,9 | 75 bp | 800 bp | *350403, 351201, 351202, 3539, 3559, 3561, 3588 | *0714, 071801, 071802, 130101, 130102, 1306, 1307N, 1312, 1313, 1317, 1320-1323, 1325, 1328, 1329, 1410, 150201, 150202, 1513, 1521, 152501, 152502, 1536, 1544, 1577, 1580, 1588, 1589, 9506, 9512, 9521, 9539, 9544, 9554, 9570, 2719, 2730, 3719, 3820, 3942, 4004, 4028, 4030, 4034, 4064, 4068, 4213, 44020101-440205, 440207-4409, 4411-4414, 4416, 4417, 4419N, 4421-4430, 4432-4435, 4437-4440, 4442-4446, 4448-4453, 4455-446402, 4466-4486, 4488, 5104, 5142, 5146, 5156, 5317, 5514, 5612, 570101-5704, 5706-5710, 5712-5720, 5722-5726, 8301 |
| 155 | 135 bp | 1070 bp | *3515, 3533, 3566, 3586 | *0768, 130101-130206, 1307N-1311, 1313-1320, 132201-1323, 1325-1330, 1540, 1547, 1549, 1552, 9514, 9517, 9524, 9538, 1810, 1835, 2701-2706, 2708-2710, 2712-2714, 2716-2719, 2721, 2723, 2726, 2727, 2729-2732, 2735, 2737, 2739-2742, 2744-2746, 2748-2759N, 3702, 3947, 3950, 4035, 4077, 4087, 4095, 4416, 4421, 446401, 446402, 4510, 47010101-4705, 4812, 4814, 4907, 5116, 5131, 5134, 5182, 5208, 5509, 5522, 5524, 5725 |
| 165,14 | 95 bp, 190 bp | 1070 bp | *3519, 3547, 3577 | *9543, 4008, 4025, 4068, 4412 |
| 178,10, 15 | 180 bp, 385 bp | 1070 bp | *3526, 3536 | *1411, 3904 |
| 185,8,16 | 105 bp, 180 bp | 800 bp | *352001, 352002, 3528, 3535, 3572, 3593 | *0837, 1550, 1569, 1593, 180101-1815, 1817N-1845, 370101-370105, 370107-3705, 3707-3719, 3907, 3943, 4209, 4483, 4603, 4621, 4903, 5107, 520101-520105, 5203-5205, 5207-5215, 5309, 5317, 5409, 5414, 5514, 5523, 5618, 5726, 5805, 7805, 7806, Cw*1509, Cw*1519, Cw*1520 |
| 198,9 | 230 bp | 1070 bp | *3529, 3569, 3574, 3576 | *0729, 0765, 0772, 0786, 080101-080109, 0802w, 0804-0822, 0824-0847, 1411, 1561, 1570, 1576, 9501, 3904, 4043, 4073, 4506, 460101-4604, 4606-4622, 5120w, 5401, 5403-5411, 5412w, 5413-5419, 550101-5505, 5507-5509, 5511-5517, 5519-5530, 5532-5538, 560101-5606, 5607w, 5608-5620, 5621w, 5622, 5624-5626, 7801, 7803, 8301 |
| 20 | 200 bp | 1070 bp | *3531, 3588 | *070501-0706, 0732, 0740, 0753, 0769, 0778, 0780, 0790, 0797, 0840, 130101-130206, 1307N-1309, 1311, 1313-1323, 1325, 1327-1330, 2707, 2711, 2720, 2724, 2727, 2733, 2743, 3947, 3950, 400101-400207, 4004, 40060101-4008, 4010-4016, 4019, 4021-4023, 4025, 4027, 4029, 4030, 4034-4038, 4040, 4043, 4045-4050, 4053-4058, 4061, 4062, 4064-4070, 407201-4088, 4090, 4091, 4093-4097, 4406, 4431, 480101, 480102, 480301-4807, 4809-4816, 4818-4820, 4903, 510101, 510103-510108, 510110-510201, 510203-5104, 5106-510901, 5110-5114, 5116-512402, 5126-5142, 5144N-5146, 5148-5153, 5155-5177, 5179-5184, 520102, 520104, 5202, 5203, 520601, 520602, 5208, 5209, 5306, 5509, 5522, 5524, 5808, 8101-8104N |
| 218 | 260 bp | 800 bp | *3525 | *180101-1803, 1805-1815, 1817N-1828, 1830-1845, 370101-3719, 5216, 5812, 8101, 8103?, 8104N?, 8301 |
| 225,17 | 90 bp, 270 bp | 1070 bp | *3521, 3524, 3546, 3581, 3596 | *1410, 150201, 150202, 1508, 151101-151104, 1513, 1515, 1521, 1531, 1544, 1555, 1576w, 1588, 1589, 9512, 9521, 9539, 9544, 9548, 9570, 1822, 3704, 4028, 5104, 5146, 5156, 5302, 5306, 5535w, 5714, 5809 |
| 23 | 190 bp | 800 bp | *350101-3510, 3513, 3515, 3518-352002, 3523-3530, 3533-3537, 3540N-3542, 3545-3550, 3552-3557, 3560, 3563-3566, 356801-3572, 3574-3578, 3580-3585, 3588-3595, 3597, 3598 | *130101-1304, 1306-1309, 1311-1315, 1317-1319, 132201-1323, 1325-1330, 1520, 1586, 1822, 2714, 4004, 4024, 4059, 4060, 4068, 4070, 4410, 4611, 4618, 4802, 4817, 5115, 530101-5305, 5309-5319, 5401-5405N, 5407, 5408N, 5410-5419, 550201-550205, 5507, 5510, 5512, 5513, 5516, 5518, 5519, 5522, 5523, 5526, 5527, 5530, 5532, 5534, 5535, 5537, 560101-5602, 5607-5611, 5614-5617, 5619N, 5620, 5622-5624, 5626, 5705, 580101-5802, 5804, 5807, 5809, 5811-5818, 5821-5824, 5901-5905, Cw*0203, Cw*0434, Cw*0512 |
| 249 | 425 bp | 1070 bp |  | *2702, 2703, 270502-270512, 2707, 2709, 2710, 2713, 2714, 2716, 2717, 2719, 2727-2730, 2732, 2734, 2735, 2737-2739, 2741, 2743, 2745-2748, 2750-2759N, 370101-3704, 3706-3709, 3712, 3713, 3715-3719, 4013, 4019?, 4406, 4425, 4450, 47010101, 47010102, 4705, 510101-512402, 5126-5146, 5148, 5149, 5151-5153, 5155-5177, 5179-5184, 520101-5216, 530101-5308, 5310, 5314-5319, 570101-5711, 5713-5726, 580101-5802, 5804-5816, 5818-5824 |
| 255,7,18 | 135 bp, 220 bp | 800 bp | *350902, 3518, 3527, 3531, 3556, 3564, 3588 | *070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2759N, 3702, 3705, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5181, 5411, 5504, 5508, 5713, 7806, 8101-8104N |
| 2619 | 210 bp, 370 bp | 800 bp | *3542, 3550, 3584 | *0708, 0732, 0738, 180701, 180702, 1829, 2723, 3806, 3807, 4008, 4013, 4068, 4806, 5157 |
| 275,8,20 | 110 bp, 160 bp | 1070 bp | *3541, 3584, 3590 | *2723, 3816, 4008, 4025, 4068, 4412, 7301w |
| 28 | 230 bp | 800 bp | *3505, 3522, 3532, 3543, 3544, 3551, 3558, 3567, 356802, 3572, 3579, 3589, 3597, 3599 | *0720, 0724, 0760, 0821, 0825, 15010101-150104, 150106-150112, 150301-150303, 1505, 1507-151102, 151104, 1512w, 1514, 1515, 15170101-151801, 151803, 1519w, 1523, 1524, 1528-1531, 1533-1535, 1537-1539, 1543, 1545, 1546, 1548, 1551, 1553-1558, 1560, 1561, 1563-1566, 1568, 1570-1576, 157801-1579N, 1581, 1582, 1587, 1590-1592, 1594N, 1596-1599, 9501-9505, 9507, 9508, 9511N, 9513, 9515, 9516, 9518-9520, 9522, 9523, 9525-9528, 9531-9536, 9540-9543, 9545-9553, 9556-9569, 9571-9578, 1836, 3932, 4005, 4026, 4063, 4071, 4092, 4441, 4454, 4465, 4482, 460101-4602, 4604, 4605, 4608-4610, 4612-4617, 4619, 4620, 4622, 5106, 5145, 5159, 5162, 5164, 5314, 5406, 5508, 5602-5604, 5816, 5818, Cw*0305, Cw*0325, Cw*0327 |
| 295 | 105 bp | 1070 bp | *3537 | *1304, 1504, 1516, 1567, 1595, 9537, 9555, 390601, 390602, 3933, 3934, 3950, 4086, 4502, 4509, 4904, 4905, 5009, 511301, 511302, 5137, 5163, 5214, 5414, 5513, 5523, 5532, 5622, 5903, 7301 |
| 305,8,21 | 115 bp, 325 bp | 800 bp | *3515, 3525, 3526, 3533, 3549, 3566 | *070213, 0840, 130101-130206, 1307N-1311, 1313-1321, 132202, 1323, 1325-1330, 1810, 1835, 1837, 2701-2721, 2723-2751, 2753-2759N, 3947, 3950, 401401, 4046?, 407201, 4077, 4093?, 4095, 4416, 4421, 4440, 4444, 446401, 446402, 4510, 4812, 4907, 5116, 5131, 5134, 5182, 5208, 5216, 5509, 5522, 5524, 8101, 8103?, 8104N?, 8301, Cw*0110w, Cw*0715w |
| 318,22 | 170 bp, 210 bp | 1070 bp | *3525, 3550, 3584 | *0708, 0732, 0738, 080101-0803, 0805-0816, 0818-0825, 0827-0847, 1529, 180701, 180702, 1829, 2723, 3806, 3807, 4008, 4013, 4068, 4806, 5157 |
| 329 | 170 bp | 1070 bp | *3529, 3569, 3576 | *070201, 070202, 070204-0715, 0717-0726, 0728-0736, 0739-0749N, 0751-0755, 0757-0772, 0774, 0776-0790, 0792-0799, 1570, 1576, 9501, 1803w, 391902, 420101-4202, 4204-4210, 4212, 4213, 460101, 4603-4622, 5120, 5535, 5603, 5606, 7301, 7801, 7803, 8101-8104N, 8301 |
| 335,23 | 70 bp, 205 bp, 310 bp | 1070 bp | *3545, 3547, 3571, 3594 | *0720, 1514, 1546, 1591, 9506, 9531, 9561, 400204, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 4462, 4477, 4482, 4484, 4509, 4617, 5123, 5215, 5707, 5807, 8201, 8202 |
| 34 | 230 bp | 800 bp | *3548 | *5307 |
| 357,8,24 | 240 bp, 365 bp | 1070 bp | *3540N, 356801 | *081203 |
| 365,25 | 110 bp, 180 bp, 230 bp | 800 bp | *3535, 3570, 3579 | *3820, 3942 |
| 375 | 85 bp | 1070 bp | *3560 | *130101-1303, 1306-1309, 1311, 1312, 1314-1320, 132201-1323, 1325, 1327-1330, 1542, 1573, 1586, 3917, 4071, 4410, 4415, 4418, 4501, 4504-4508, 4510, 4611, 4618, 490101-4903, 4906, 4907, 500101-5002, 5004-5008, 5115, 5162, 5401-5403, 5405N, 5407, 5408N, 5410, 5412, 5413, 5417-5419, 550101-5503, 5505, 5507, 5509-5512, 5515, 5516, 5518, 5519, 5521, 5522, 5524-5526, 5529-5531, 5533-5538, 560101-5602, 5604, 5607, 5608, 5610, 5613, 5614, 5616, 5617, 5619N, 5623-5626, 5901, 5904, 5905, 8201, 8202 |
| 388,26 | 220 bp, 300 bp | 1070 bp | *350201-350203, 350902, 3518, 3531, 3564, 3581, 3583, 3588, 3595 | *070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2759N, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5181, 5319, 5411, 5504, 5508, 5713, 8101-8104N |
| 395 | 115 bp | 1070 bp | *351401, 351402, 3543, 3544, 3562, 3567, 3579, 3586 | *15010101-150104, 150106-150112, 1504, 1507, 1508, 151101-1512, 1514, 1515, 1519, 1524, 1526N-1528, 1530, 1532, 1534, 1535, 153801, 153802, 1543, 1545, 1546, 1550, 1553, 1554, 1556-1558, 1560, 1563, 1566, 1568, 1570, 1571, 1573, 1575-1577, 1579N, 1581, 1582, 1585, 1587, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9509-9511N, 9513, 9517, 9518, 9520, 9522, 9525, 9526, 9528, 9529, 9535, 9537, 9540, 9542-9549N, 9552, 9554, 9557, 9559, 9560, 9563-9567, 9569, 9571, 9572, 9574, 9575, 9578, 1819, 2725, 3936, 460101-4602, 4604, 4605, 4607N, 4609, 4610, 4612, 4614-4617, 4620, 4622, 5161, 5406, 5521, 5603, Cw*0620 |
| 40 | 185 bp | 1070 bp | *3563 | *0773, 1553, 2708, 2712, 2718, 2726, 2733, 2740, 2742, 2744, 400101-400203, 400205-4009, 4011, 401401-4016, 4018, 4020, 4022N-4040, 4042-4046, 4048-4075, 4077-4082, 4084-4093, 4095, 4097, 4098, 4101-4104, 4106-4111, 4409, 4446, 4475, 4501-4510, 4702, 4703w, 500101-5002, 5004-5009 |
| 415,27 | 105 bp, 130 bp | 1070 bp | *3552, 3582, 3585, 3592 | *1833, 391901, 391902, 5122, 7803 |
| 425,28 | 115 bp, 155 bp, 190 bp, 250 bp | 800 bp | *3553N, 3565Q, 3591, 3597 |  |
| 4329 | 205 bp, 255 bp | 1070 bp | *3554, 3589 |  |
| 445,30 | 110 bp, 145 bp, 300 bp | 1070 bp | *3555, 3578 | *1809, 3710, 4483, 5154, 5178, 5309, 5311-5313 |
| 4532 | 165 bp | 800 bp | *350101-3530, 3532-3542, 3544-3556, 3558, 3559, 3561-3572, 3574-3578, 3580-3586, 3588-3599 | *1520, 4802, 510101-512402, 5126-5141N, 5143-5146, 5148-5184, 520101-520602, 5208-5216, 530101-5317, 5319, 560501, 560502, 5621, 580101-5802, 5804-5810N, 5812-5819, 5821-5824, 7801-7806, 8103, 8301? |
| 467,8,31,32 | 165 bp, 385 bp | 1070 bp | *350104, 3505, 350803, 3530, 3531, 3535, 3543, 3546, 3557, 3558, 3560, 3566, 356802, 3579, 3587, 3589, 3596-3598 | *070201-0757, 0759-0799, 080101-0847, 130101-1304, 1306-1323, 1325-1330, 1401-1416, 15010101-150104, 150106-1519, 1521, 1523-1540, 1542-1558, 1560-1599, 9501, 9503-9529, 9531-9578, 180101-1815, 1817N-1845, 2701-2721, 2723-2759N, 370101-3719, 380101-3820, 39010101, 39010102L, 390103-3920, 3922-3945, 3947-3954, 400101-4016, 4018-4040, 4042-4098, 4101-4112, 420101-4202, 4204-4213, 44020101-4465, 4467-4488, 4501-4510, 460101-4622, 47010101-4705, 480101, 480102, 480301-4820, 490101-4907, 500101-5002, 5004-5009, 5142, 5156, 5207, 5314, 5401-5419, 550101, 550102, 550104-5505, 5507-5538, 560101-5604, 5606-5620, 5622-5626, 570101-5726, 580103, 5811, 5820, 5901-5905, 670101-6702, 8101, 8102, 8104N, 8201, 8202, 8301? |
| 47 | 160 bp | 800 bp | *3538 | *4206, 5613, 8201, 8202, Cw*070401w-070403w, Cw*0711w, Cw*0712w, Cw*0745w, Cw*0763w |
| 48 | 390 bp | 1070 bp | *350101-3519, 3521-3525, 3527, 3529-3562, 3564-3571, 3574, 3575, 3577, 3579-3581, 3583, 3584, 3586-3594, 3596-3599 | *180701, 180702, 1829, 2723, 4008, 4013, 4068?, 4406, 510101-5106, 5108-5121, 5123-512402, 5126-5146, 5148-5184, 520601, 520602, 530101-5308, 5310-5316, 5318, 5319, 7801-780202, 7804 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*35 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*35 subtyping.

In addition, wells number 3, 5, 7, 9, 11, 13, 14, 18, 21, 23, 25, 26, 28, 30, 34, 36, 42, 45 and 47 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles many non-HLA-B*35 alleles will be amplified by the HLA-B*35 primer mixes. In addition, the A*0141 allele will be weakly amplified by primer mix 11. Furthermore, the Cw*0110 and Cw*0715 alleles will be weakly amplified by primer mix 30, the Cw*0203, Cw*0434 and Cw*0512 alleles will be amplified by primer mix 23, the Cw*0305, Cw*0325 and Cw*0327 alleles by primer mix 28, the Cw*0328, Cw*0349, Cw*0510 and Cw*1508 alleles by primer mix 11, the Cw*0620 allele by primer mix 39,  the Cw*070401-070403, the Cw*0711, Cw*0712 and the Cw*0745 alleles weakly by primer mix 47, the Cw*0763 allele by primer mix 10 and weakly by primer mix 47, and the Cw*1509, Cw*1519 and Cw*1520 alleles weakly by primer mix 18.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 7 may faintly amplify the B*44 alleles.

7Primer mixes 9, 25, 35 and 46 may give rise a primer oligomer artefact.

8Primer mixes 7, 10, 11, 14, 17, 18, 19, 21, 27, 30, 31, 35, 38 and 46 have a tendency of giving rise to nonspecific amplifications, most pronounced in primer mix 46.

9Primer mixes 11, 14, 19, 24 and 32 may yield less specific PCR products than the other B*35 primer mixes.

10Primer mix 17 may give rise to a long unspecific PCR product of approximately 600 bp. This should be disregarded when interpreting the typing results.

11Primer mix 7: Specfic PCR fragment of 160 bp in the B*3584 and 3590 and the B*2723, 3816, 4008, 4025, 4068, 4412, 7301w alleles. Specific PCR fragment of 330 bp in the B*3523 and the B*1506, 152701-152703, 1584, 1827, 9509, 4410, 47010101-4703, 8201 and 8202 alleles.

12Primer mix 10: Specfic PCR fragment of 140 bp in the B*3583 and the Cw*0763 alleles. Specific PCR fragment of 240 bp in the B*3507 allele. Specific PCR fragment of 310 bp in the B*3594 allele.

13Primer mix 12: Specfic PCR fragment of 95 bp in the B* 3510, 3513, 3516, 3528, 3569 and 3580 and the B*1812, 370101-370105, 370107-3705, 3707, 3709-3719, 4483, 4903, 520101-520105, 5203-5215, 5317, 7805 and 7806 alleles. Specific PCR fragment of 125 bp in the B*3592 allele.

14Primer mix 16: Specific PCR fragment of 95 bp in the B*3519, 3547 and B*9543, 4008, 4025, 4068 and 4412 alleles. Specific PCR fragment of 190 bp in the B*3577 allele.

15Primer mix 17: Specific PCR fragment of 180 bp in the B*3526 and the B*1411 and 3904 alleles. Specific PCR fragment of 385 bp in the B*3536 allele.

16Primer mix 18: Specific PCR fragment of 105 bp in the B*352001, 352002, 3528 and 3572 and in the B*1810, 1821 1835, 1836, 1841, 370101-370105, 370107-3705, 3707-3719, 4483, 4903, 5107, 520101-520105, 5203-5205, 5207-5215, 5309, 5317, 7805 and 7806 alleles. Specific PCR fragment of 180 bp in the B*3535 and 3593 and in the B**0837, 1550, 1569, 1593, 1807, 1827-1829, 1833 1837, 3907, 3943, 4209, 4603, 4621, 5409, 5414, 5514, 5523, 5618, 5726, 5805, Cw*1509, Cw*1519 and Cw*1520 alleles. Specfic PCR fragment of 105 and 180 bp in the B*180101-1806, 1808, 1809, 1811-1815, 1817N-1820, 1822-1825 1830-1832, 1834, 1838-1840 and 1842-1845 alleles.

17Primer mix 22: Specific PCR fragment of 90 bp in the B*3546 and the B*150201, 150202, 1508, 151101-151104, 1513, 1515, 1521, 1531, 1544, 1555, 1576w, 1588, 1589, 5535w, 9512, 9521, 9539, 9544, 9548 and 9570 alleles. Specific PCR fragment of 270 bp in the B*3521, 3524, 3581 and 3596 and the B*1410, 1822, 3704, 4028, 5104, 5146, 5156, 5302, 5306, 5714 and 5809 alleles.

18Primer mix 25: Specific PCR fragment of 135 bp in the B*3527 and 3556 and the B*3705 and 7806 alleles. Specific PCR fragment of 220 bp in the 350902, 3518, 3531, 3564 and 3588 and the B*070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2751, 2753-2759N, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5411, 5504, 5508, 5713 and 8101-8104N alleles. Specific PCR fragment of 135 and 220 bp in the B*2752 and 5181 alleles.

19Primer mix 26: Specific PCR fragment of 210 bp in the B*3550 and 3584 and the B*0708, 0732, 0738, 3806, 3807, 4806 and 5157 alleles. Specific PCR fragment of 370 bp in the B* 3542 allele.  Specific PCR fragment of 210 and 370 bp in the B*180701, 180702, 1829, 2723, 4008, 4013 and 4068 alleles.

20Primer mix 27: Specfic PCR fragment of 110 bp in the B*3541 allele. Specific PCR fragment of 160 bp in the B*3584 and 3590 and the B*2723, 3816, 4008, 4025, 4068, 4412 and 7301w alleles.

21Primer mix 30: Specific PCR fragment of 115 bp in the B*3515, 3533 and 3566 and the B*070213, 0840, 130101-130206, 1307N-1311, 1313-1321, 132202, 1323, 1325-1330, 1810, 1835, 3947, 3950, 401401, 407201, 4077, 4095, 4416, 4421, 446401, 446402, 4510, 4812, 4907, 5116, 5131, 5134, 5182, 5208, 5509, 5522, 5524, Cw*0110w and Cw*0715w alleles. Specific PCR fragment of 325 bp in the B*3525, 3526 and 3549 and the B*1837, 2701-2721, 2723-2751, 2753-2759N, 4046?, 4093?, 4440, 4444, 5216, 8101, 8103?, 8104N? and 8301 alleles.

22Primer mix 31: Specific PCR fragment of 170 bp in the B*3525 and the B*080101-0803, 0805-0816, 0818-0825, 0827-0847 and 1529 alleles. Specific PCR fragment of 210 bp in the B*3550, 3584 and B*1829, 2723, 4008, 4013, 4068 and 5157 alleles. Specific PCR fragment of 170 and 210 bp in the B*0708, 0732, 0738, 180701, 180702, 3806, 3807 and 4806 alleles.

23Primermix 33: Specific PCR fragment of 70 bp in the B*3547 and the B*1546, 9506, 400204 and 4484 alleles. Specific PCR fragment of 205 bp in the B*3545 and 3571 and the B*0720, 1514, 1591, 9531, 9561, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 4462, 4477, 4482, 4509, 4617, 5123, 5215, 5707, 5807, 8201 and 8202 alleles. Specific PCR fragment of 310 bp in the B*3594 allele.

24Primer mix 35: Specific PCR fragment of 240 bp in the B*3540N allele. Specific PCR fragment of 365 bp in the B*356801 and the B*081203 alleles.

25Primer mix 36: Specific PCR fragment of 110 bp in the b*3579 allele. Specific PCR fragment of 180 bp in the B*3570 allele. Specific PCR fragment of 230 bp in the B*3535 and the B*3820 and 3942 alleles.

26Primer mix 38: Specific PCR fragment of 220 bp in the B*350902, 3518, 3531, 3564 and 3588 and the B*070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2759N, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5181, 5411, 5504, 5508, 5713 and 8101-8104N alleles.

Specific PCR fragment of 300 bp in the B*350201-350203, 3581, 3583 and 3595 and the B*5319 alleles.

27Primer mix 41: Specific PCR fragment of 105 bp in the B*3582, 3585 and B*1833, 391901-391902, 5122 and 7803 alleles. Specific PCR fragment of 130 bp in the B*3552 and 3592 alleles.

28Primer mix 42: Specific PCR fragment of 115 bp in the B*3597 allele. Specific PCR fragment of 155 bp in the B*3553N allele. Specific PCR fragment of 190 bp in the B*3591 allele. Specific PCR fragment of 250 bp in the B*3565Q allele.

29Primer mix 43: Specfic PCR fragment of 205 bp in the B*3554 allele. Specific PCR fragment of 255 bp in the B*3589 allele.

30Primer mix 44: Specific PCR fragment of 110 bp in the B*3578 allele. Specific PCR fragment of 145 bp in the B*1809, 3710, 4483, 5154, 5309 and 5311-5313 alleles. Specific PCR fragment of 300 bp in the B*3555 allele.

31Primer mix 46: Specific PCR fragment of 165 bp in the B*3531, 3535, 3543, 3546, 3557, 3560, 3579, 3587, 3589, 3596 and 3598 and the B*070201-0757, 0759-0799, 080101-0847, 130101-1304, 1306-1323, 1325-1330, 1401-1416, 15010101-150104, 150106-1519, 1521, 1523-1540, 1542-1558, 1560-1599, 9501, 9503-9529, 9531-9578, 180101-1815, 1817N-1845, 2701-2721, 2723-2759N, 370101-3719, 380101-3820, 39010101, 39010102L, 390103-3920, 3922-3945, 3947-3954, 400101-4016, 4018-4040, 4042-4098, 4101-4112, 420101-4202, 4204-4213, 44020101-4465, 4467-4488, 4501-4510, 460101-4622, 47010101-4705, 480101, 480102, 480301-4820, 490101-4907, 500101-5002, 5004-5009, 5142, 5207, 5401-5419, 550101, 550102, 550104-5505, 5507-5538, 560101-5604, 5606-5620, 5622-5626, 570101-5726, 580103, 5811, 5820, 5901-5905, 670101-6702, 8101, 8102, 8104N, 8201, 8202, 8301?. Specific PCR fragment of 165 and 385 bp in the B*350104, 350803, 3530, 3558, 3566, 356802 and 3597 and the B*5156 alleles. Specific PCR fragment of 385 bp in the B*3505 and 3589 and the B*5314 alleles. The B*7301 and Cw*0503 alleles may be weakly amplified by primer mix 46. This primer mix may also give rise to nonspecific amplifications.

32Primer mixes 45 and 46: For many HLA-B alleles fourth exon nucleotide sequences are not available. We assume that unknown sequences in the fourth exon are conserved within allelic groups.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence of the primer matching region not known.

1The B*3573 allele has been renamed to B*350803.

2Primer mix 7: Specfic PCR fragment of 160 bp in the B*3584 and 3590 and the B*2723, 3816, 4008, 4025, 4068, 4412, 7301w alleles. Specific PCR fragment of 330 bp in the B*3523 and the B*1506, 152701-152703, 1584, 1827, 9509, 4410, 47010101-4703, 8201 and 8202 alleles.

Primer mix 10: Specfic PCR fragment of 140 bp in the B*3583 and the Cw*0763 alleles. Specific PCR fragment of 240 bp in the B*3507 allele. Specific PCR fragment of 310 bp in the B*3594 allele.

Primer mix 12: Specfic PCR fragment of 95 bp in the B* 3510, 3513, 3516, 3528, 3569 and 3580 and the B*1812, 370101-370105, 370107-3705, 3707, 3709-3719, 4483, 4903, 520101-520105, 5203-5215, 5317, 7805 and 7806 alleles. Specific PCR fragment of 125 bp in the B*3592 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the B*3519, 3547 and B*9543, 4008, 4025, 4068 and 4412 alleles. Specific PCR fragment of 190 bp in the B*3577 allele.

Primer mix 17: Specific PCR fragment of 180 bp in the B*3526 and the B*1411 and 3904 alleles. Specific PCR fragment of 385 bp in the B*3536 allele.

Primer mix 18: Specific PCR fragment of 105 bp in the B*352001, 352002, 3528 and 3572 and in the B*1810, 1821 1835, 1836, 1841, 370101-370105, 370107-3705, 3707-3719, 4483, 4903, 5107, 520101-520105, 5203-5205, 5207-5215, 5309, 5317, 7805 and 7806 alleles. Specific PCR fragment of 180 bp in the B*3535 and 3593 and in the B**0837, 1550, 1569, 1593, 1807, 1827-1829, 1833 1837, 3907, 3943, 4209, 4603, 4621, 5409, 5414, 5514, 5523, 5618, 5726, 5805, Cw*1509, Cw*1519 and Cw*1520 alleles. Specfic PCR fragment of 105 and 180 bp in the B*180101-1806, 1808, 1809, 1811-1815, 1817N-1820, 1822-1825 1830-1832, 1834, 1838-1840 and 1842-1845 alleles.

Primer mix 22: Specific PCR fragment of 90 bp in the B*3546 and the B*150201, 150202, 1508, 151101-151104, 1513, 1515, 1521, 1531, 1544, 1555, 1576w, 1588, 1589, 5535w, 9512, 9521, 9539, 9544, 9548 and 9570 alleles. Specific PCR fragment of 270 bp in the B*3521, 3524, 3581 and 3596 and the B*1410, 1822, 3704, 4028, 5104, 5146, 5156, 5302, 5306, 5714 and 5809 alleles.

Primer mix 25: Specific PCR fragment of 135 bp in the B*3527 and 3556 and the B*3705 and 7806 alleles. Specific PCR fragment of 220 bp in the 350902, 3518, 3531, 3564 and 3588 and the B*070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2751, 2753-2759N, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5411, 5504, 5508, 5713 and 8101-8104N alleles. Specific PCR fragment of 135 and 220 bp in the B*2752 and 5181 alleles.

Primer mix 26: Specific PCR fragment of 210 bp in the B*3550 and 3584 and the B*0708, 0732, 0738, 3806, 3807, 4806 and 5157 alleles. Specific PCR fragment of 370 bp in the B* 3542 allele.  Specific PCR fragment of 210 and 370 bp in the B*180701, 180702, 1829, 2723, 4008, 4013 and 4068 alleles.

Primer mix 27: Specfic PCR fragment of 110 bp in the B*3541 allele. Specific PCR fragment of 160 bp in the B*3584 and 3590 and the B*2723, 3816, 4008, 4025, 4068, 4412 and 7301w alleles.

Primer mix 30: Specific PCR fragment of 115 bp in the B*3515, 3533 and 3566 and the B*070213, 0840, 130101-130206, 1307N-1311, 1313-1321, 132202, 1323, 1325-1330, 1810, 1835, 3947, 3950, 401401, 407201, 4077, 4095, 4416, 4421, 446401, 446402, 4510, 4812, 4907, 5116, 5131, 5134, 5182, 5208, 5509, 5522, 5524, Cw*0110w and Cw*0715w alleles. Specific PCR fragment of 325 bp in the B*3525, 3526 and 3549 and the B*1837, 2701-2721, 2723-2751, 2753-2759N, 4046?, 4093?, 4440, 4444, 5216, 8101, 8103?, 8104N? and 8301 alleles.

Primer mix 31: Specific PCR fragment of 170 bp in the B*3525 and the B*080101-0803, 0805-0816, 0818-0825, 0827-0847 and 1529 alleles. Specific PCR fragment of 210 bp in the B*3550, 3584 and B*1829, 2723, 4008, 4013, 4068 and 5157 alleles. Specific PCR fragment of 170 and 210 bp in the B*0708, 0732, 0738, 180701, 180702, 3806, 3807 and 4806 alleles.

Primer mix 33: Specific PCR fragment of 70 bp in the B*3547 and the B*1546, 9506, 400204 and 4484 alleles. Specific PCR fragment of 205 bp in the B*3545 and 3571 and the B*0720, 1514, 1591, 9531, 9561, 4410, 4414, 4417, 4431, 4443, 4445, 4451, 4462, 4477, 4482, 4509, 4617, 5123, 5215, 5707, 5807, 8201 and 8202 alleles. Specific PCR fragment of 310 bp in the B*3594 allele.

Primer mix 35: Specific PCR fragment of 240 bp in the B*3540N allele. Specific PCR fragment of 365 bp in the B*356801 and the B*081203 alleles.

Primer mix 36: Specific PCR fragment of 110 bp in the b*3579 allele. Specific PCR fragment of 180 bp in the B*3570 allele. Specific PCR fragment of 230 bp in the B*3535 and the B*3820 and 3942 alleles.

Primer mix 38: Specific PCR fragment of 220 bp in the B*350902, 3518, 3531, 3564 and 3588 and the B*070201-070213, 070215-0767N, 0769-0799, 080102, 0806, 0820, 1321, 150302, 1533, 157802, 9507, 9516, 9541, 9550, 1821, 2701-2721, 2723-2759N, 3702, 3707, 3709, 400101-4013, 401403-4016, 4018-4025, 4027, 4029-4040, 4042-4070, 407202-4076, 4078-4081, 4083-4086, 4088-4094, 4096-4098, 4108, 4431, 4606, 47010101-4705, 480101, 480102, 480301-4811, 4813, 4815-4820, 510109, 5110, 512402, 5181, 5411, 5504, 5508, 5713 and 8101-8104N alleles.

Specific PCR fragment of 300 bp in the B*350201-350203, 3581, 3583 and 3595 and the B*5319 alleles.

Primer mix 41: Specific PCR fragment of 105 bp in the B*3582, 3585 and B*1833, 391901-391902, 5122 and 7803 alleles. Specific PCR fragment of 130 bp in the B*3552 and 3592 alleles.

Primer mix 42: Specific PCR fragment of 115 bp in the B*3597 allele. Specific PCR fragment of 155 bp in the B*3553N allele. Specific PCR fragment of 190 bp in the B*3591 allele. Specific PCR fragment of 250 bp in the B*3565Q allele.

Primer mix 43: Specfic PCR fragment of 205 bp in the B*3554 allele. Specific PCR fragment of 255 bp in the B*3589 allele.

Primer mix 44: Specific PCR fragment of 110 bp in the B*3578 allele. Specific PCR fragment of 145 bp in the B*1809, 3710, 4483, 5154, 5309 and 5311-5313 alleles. Specific PCR fragment of 300 bp in the B*3555 allele.

Primer mix 46: Specific PCR fragment of 165 bp in the B*3531, 3535, 3543, 3546, 3557, 3560, 3579, 3587, 3589, 3596 and 3598 and the B*070201-0757, 0759-0799, 080101-0847, 130101-1304, 1306-1323, 1325-1330, 1401-1416, 15010101-150104, 150106-1519, 1521, 1523-1540, 1542-1558, 1560-1599, 9501, 9503-9529, 9531-9578, 180101-1815, 1817N-1845, 2701-2721, 2723-2759N, 370101-3719, 380101-3820, 39010101, 39010102L, 390103-3920, 3922-3945, 3947-3954, 400101-4016, 4018-4040, 4042-4098, 4101-4112, 420101-4202, 4204-4213, 44020101-4465, 4467-4488, 4501-4510, 460101-4622, 47010101-4705, 480101, 480102, 480301-4820, 490101-4907, 500101-5002, 5004-5009, 5142, 5207, 5401-5419, 550101, 550102, 550104-5505, 5507-5538, 560101-5604, 5606-5620, 5622-5626, 570101-5726, 580103, 5811, 5820, 5901-5905, 670101-6702, 8101, 8102, 8104N, 8201, 8202, 8301?. Specific PCR fragment of 165 and 385 bp in the B*350104, 350803, 3530, 3558, 3566, 356802 and 3597 and the B*5156 alleles. Specific PCR fragment of 385 bp in the B*3505 and 3589 and the B*5314 alleles. The B*7301 and Cw*0503 alleles may be weakly amplified by primer mix 46. This primer mix may also give rise to nonspecific amplifications.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence of the primer matching region not known.

Changes in revision R01 compared to R00:

- The B*3502, 3581, 3583 and 3595 and the B*5319 alleles are not amplified by primer mix 5. This has been corrected in the specificity and interpretation tables.