PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*37

Prod. No:	101.541-06/06u

Lot No:    	32S

Expiry Date:    	2015-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*37 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*37 alleles3 | Other amplified HLA-B alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 210 bp | 800 bp | *37:01:01-37:01:09, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:18, 37:20-37:37 | *08:49, C*07:68 |
| 25,7 | 95 bp, 135 bp | 800 bp | *37:02, 37:28 | *07:27, 27:01-27:05:20, 27:07:01-27:10, 27:12-27:19, 27:23, 27:25-27:29, 27:31-27:32, 27:34-27:90:02, 27:92-27:99, 38:17, 47:04-47:05, 48:26 |
| 38 | 200 bp, 235 bp | 1070 bp | *37:03N, 37:13 |  |
| 49 | 200 bp, 255 bp | 1070 bp | *37:04:01-37:04:02, 37:13 | *18:18 |
| 5 | 210 bp | 1070 bp | *37:01:01-37:04:02, 37:06-37:09, 37:12-37:13, 37:15-37:21, 37:23-37:33N, 37:35-37:36 | *07:27, 18:54, 38:17 |
| 6 | 145 bp | 1070 bp | *37:05, 37:11, 37:14w, 37:37 | *07:65, 07:133-07:134, 08:32, 15:46, 15:53, 15:106, 15:143, 15:202, 15:212, 15:239, 18:01:01:01-18:08, 18:10-18:15, 18:17N-18:36, 18:38-18:53, 18:55-18:65, 18:68-18:83, 35:01:01:01-35:08:01, 35:08:03-35:08:04, 35:08:06-35:24:02, 35:27-35:45, 35:47-35:48, 35:50-35:72, 35:74-35:197, 35:199-35:206, 35:208-35:209, 35:211-35:220, 39:19:01-39:19:02, 39:69, 40:01:01-40:11:02, 40:14:01-40:16, 40:18, 40:20, 40:22N-40:40, 40:42-40:45, 40:48-40:75, 40:77-40:92, 40:94-40:95, 40:97-40:108, 40:111-40:116, 40:118N-40:136, 40:138-40:156, 40:158-40:187, 40:189-40:200, 40:202-40:207, 40:209-40:226, 41:01-41:04, 41:05w, 41:06-41:25, 44:09, 44:46, 44:75, 44:90, 44:129, 44:131, 45:01-45:14, 47:02, 47:03w, 50:01:01-50:02, 50:04-50:05, 50:07-50:19, 56:06, 78:01:01-78:07 |
| 710 | 135 bp, 195 bp | 1070 bp | *37:06, 37:36 | *40:188, 47:01:01:01-47:01:02, 47:05-47:08 |
| 85 | 120 bp | 1070 bp | *37:07 | *07:02:01-07:18:02, 07:20-07:24, 07:26-07:32, 07:34-07:39, 07:41-07:47, 07:49N-07:50, 07:52, 07:54-07:59, 07:61-07:99, 07:101-07:121, 07:123-07:138, 07:140-07:154, 07:156-07:163, 07:166-07:176, 08:79, 15:138, 15:230, 15:241, 40:15-40:16, 40:23, 40:32, 40:98, 40:158, 40:183, 40:198, 44:150, 48:05, 48:08, 48:15, C*02:23, C*04:77 |
| 95,11 | 80 bp, 155 bp, 215 bp, 495 bp | 1070 bp | *37:08, 37:22, 37:30N | *07:27, 15:209N, 18:54, 27:92, 38:17, 53:03 |
| 105,6,12 | 110 bp, 145 bp | 1070 bp | *37:14, 37:26 |  |
| 115,13 | 95 bp, 215 bp | 1070 bp | *37:09, 37:18 | *07:04, 07:19, 07:25, 07:146, 08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:14-08:15, 08:17-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:59:01, 08:61-08:69, 08:71-08:78, 08:80-08:83, 08:85-08:88, 08:90-08:105, 35:87, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:18-41:19, 41:23-41:24, 42:01:01-42:02, 42:05:01-42:12, 42:14-42:17, 44:106, 44:158 |
| 12 | 205 bp | 1070 bp | *37:01:01-37:07, 37:09-37:37 | *13:23, 13:55, 15:71, 15:175, 15:204, 15:210, 15:212, 15:225, 18:12, 27:01-27:21, 27:24-27:36, 27:38-27:91, 27:93-27:99, 35:63, 40:01:01-40:07, 40:09, 40:11:01-40:11:02, 40:13-40:16, 40:18-40:20, 40:22N-40:24, 40:26-40:39, 40:42-40:48, 40:50-40:57, 40:59-40:67, 40:70-40:105, 40:107-40:109, 40:111-40:128, 40:130-40:136, 40:138-40:163, 40:165, 40:167-40:190, 40:192-40:209, 40:211-40:218, 40:220-40:226, 41:01-41:25, 44:15, 44:18, 44:55, 44:103, 44:131, 45:01-45:14, 48:22, 49:01:01-49:09, 49:11-49:23, 50:01:01-50:02, 50:04-50:12, 50:14, 50:16-50:19 |
| 1314 | 170 bp, 195 bp, 255 bp | 800 bp | *37:10, 37:15, 37:33N | *13:23, 13:55, 18:09, 27:01, 27:94N, 40:47, 40:96, 40:157, 40:201, 44:15, 44:55, 44:103, 49:02 |
| 147 | 245 bp | 1070 bp | *37:11, 37:37 | *07:143, 08:62, 15:71, 15:175, 15:204, 15:210, 15:212, 15:225, 18:01:01:01-18:01:12, 18:01:14-18:03, 18:05-18:08, 18:10-18:15, 18:17N-18:24, 18:26-18:42, 18:44:01-18:48, 18:50-18:53, 18:55-18:66, 18:68-18:78, 18:80-18:83, 27:08, 27:12, 27:18, 27:26, 27:33, 27:40, 27:44, 35:50, 35:63, 35:84, 35:162, 35:217, 39:31, 40:01:01-40:01:04, 40:01:06-40:09, 40:11:01-40:11:02, 40:14:01-40:16, 40:18, 40:20, 40:22N-40:36, 40:38-40:39, 40:42-40:46, 40:48, 40:50-40:57, 40:59-40:75, 40:77-40:95, 40:97-40:108, 40:111-40:116, 40:118N-40:128, 40:130-40:134, 40:136, 40:138-40:156, 40:158-40:163, 40:165-40:187, 40:189-40:190, 40:192-40:200, 40:202-40:209, 40:211-40:218, 40:220-40:226, 41:01-41:04, 41:06-41:25, 42:02, 42:09, 42:17, 44:131, 45:01-45:14, 46:14, 48:22, 50:01:01-50:02, 50:04-50:12, 50:14-50:19, 54:02, 55:16, 56:35, 73:01-73:02 |
| 15 | 135 bp | 1070 bp | *37:11, 37:37 | *07:65, 07:134, 08:32, 15:202, 15:239, 18:01:01:01-18:08, 18:10-18:15, 18:17N-18:36, 18:38-18:47, 18:50-18:53, 18:55-18:65, 18:68-18:78, 18:80-18:83, 35:01:01:01-35:02:02, 35:02:04-35:03:02, 35:03:04-35:08:01, 35:08:03-35:08:04, 35:08:06-35:18, 35:20:01-35:24:02, 35:28-35:45, 35:48, 35:50-35:55, 35:57-35:62, 35:64:01-35:72, 35:74-35:153, 35:155-35:197, 35:199-35:202, 35:204-35:206, 35:208-35:209, 35:211-35:216N, 35:218-35:220, 39:19:01-39:19:02, 40:185, 40:209, 56:06, 78:01:01-78:05, 78:07 |
| 16 | 170 bp | 1070 bp | *37:09, 37:12, 37:35 | *07:04, 07:19, 07:25, 07:146, 08:01:01-08:05, 08:07-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:69, 08:71-08:73, 08:75-08:78, 08:80-08:86N, 08:88-08:105, 15:51, 15:83, 15:179, 15:199, 15:218Q, 18:56, 35:38, 35:87, 35:115, 35:169, 38:30, 40:136, 41:01-41:09, 41:11-41:25, 42:01:01-42:02, 42:04-42:17, 44:14, 44:17, 44:51, 44:62, 44:123, 45:09, 45:14, 51:08, 51:20, 51:36, 51:44N, 51:97, 51:141, 52:19, 53:22, 55:20, 55:56, 56:13, 57:09, 57:24, 82:01-82:03 |
| 17 | 165 bp | 1070 bp | *37:25 | *45:03 |
| 18 | 195 bp | 1070 bp | *37:20 |  |
| 19 | 215 bp | 1070 bp | *37:21 | *08:62, 18:07:01-18:07:02, 18:29, 18:79, 27:23, 35:50, 35:84, 35:162, 35:217, 40:07-40:08, 40:13, 40:68, 40:106, 40:162, 40:220, 51:103, 51:116 |
| 2015 | 195 bp, 235 bp | 800 bp | *37:16Q, 37:36 |  |
| 216,16 | 165 bp, 195 bp, 270 bp | 1070 bp | *37:24, 37:27, 37:33N | *27:57, 27:94N, 40:152 |
| 22 | 175 bp | 1070 bp | *37:17 | *40:153 |
| 235,17 | 90 bp, 345 bp | 1070 bp | *37:19, 37:23 | *14:10, 27:69, 35:59, 38:20, 39:42, 40:213, 44:117, 51:32 |
| 24 | 135 bp | 1070 bp | *37:11, 37:14, 37:29, 37:37 | *07:65, 07:134, 08:32, 15:202, 15:239, 18:01:01:01-18:08, 18:10-18:15, 18:17N-18:36, 18:38-18:47, 18:50-18:53, 18:55-18:65, 18:68-18:78, 18:80-18:83, 35:01:01:01-35:03:02, 35:03:04-35:08:01, 35:08:03-35:08:04, 35:08:06-35:18, 35:20:01-35:24:02, 35:28-35:45, 35:48, 35:50-35:51, 35:53N-35:55, 35:57-35:62, 35:64:01-35:72, 35:74-35:153, 35:155-35:197, 35:199-35:202, 35:204-35:206, 35:208-35:209, 35:211-35:216N, 35:218-35:220, 39:19:01-39:19:02, 40:185, 40:209, 56:06, 78:01:01-78:05, 78:07 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*37 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*37 SSP subtyping.

In addition, wells number 2, 13 and 20 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3The HLA-B*37:24 and 37:27 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*37 alleles will be amplified by primer mixes 1,2, 4 to 9, 11 to 17, 19 and 21 to 24. In addition, the C*07:68 allele will be amplified by primer mix 1, and the C*02:23 and C*04:77 alleles will be amplified by primer mix 8.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 10 and 21 may have tendencies of unspecific amplifications.

7Primer mix 2: Specific PCR fragment of 95 bp in the B*37:02 and in the B*27:01-27:02:02, 27:04:01-27:04:03, 27:08, 27:12, 27:15, 27:18, 27:23, 27:25-27:26, 27:31, 27:36, 27:40, 27:42, 27:44, 27:49, 27:52-27:53, 27:57, 27:61-27:63, 27:65N-27:69, 27:75, 27:77, 27:79, 27:83, 27:86, 27:89,  27:95 and the B*47:04-47:05 and 48:26 alleles. Specific PCR fragment of 135 bp in the B*37:28 and the B*07:27, 27:05:16, 27:07:01-27:07:03, 27:09, 27:14, 27:19, 27:27, 27:32, 27:34-27:35, 27:41, 27:43, 27:46, 27:70, 27:76, 27:78, 27:81 and 38:17 alleles. Specific PCR fragment of 95 and 135 bp in the 27:03, 27:05:02-27:05:15, 27:05:17-27:05:20, 27:10, 27:13, 27:16-27:17, 27:28-27:29, 27:37-27:39, 27:45, 27:47-27:48, 27:50-27:51, 27:54-27:56, 27:58-27:60, 27:64N, 27:71-27:74, 27:80, 27:84-27:85, 27:87-27:88, 27:90:01-27:90:02, 27:92-27:94N, 27:96-27:99 alleles.

8Primer mix 3: Specific PCR fragment of 200 bp in the B*37:13 allele. Specific PCR fragment of 235 bp in the B*37:03N allele.

9Primer mix 4: Specific PCR fragment of 200 bp in the B*37:13 allele. Specific PCR fragment of 255 bp in the B*37:04:01-37:04:02 and B*18:18 alleles.

10Primer mix 7: Specific PCR fragment of 135 bp in the B*37:06 and the B*40:188, 47:01:01:01-47:01:02 and 47:05-47:08 alleles. Specific PCR fragment of 195 bp in the B *37:36 allele.

11Primer mix 9: Specific PCR fragment of 80 bp in the B*37:08 and the B*07:27, 18:54, 27:92, 38:17 and 53:03 alleles. Specific PCR fragment of 155 bp in the B*37:30N allele. Specific PCR fragment of 215 bp in the B*37:22 allele. Specific PCR fragment of 495 bp in the B*15:209N allele.

12Primer mix 10: Specific PCR fragment of 110 bp in the B*37:26 allele. Specific PCR fragment of 145 bp in the B*37:14 allele.

13Primer mix 11: Specific PCR fragment of 95 bp in the B*37:18 allele. Specific PCR fragment of 215 bp in the B*37:09 and the B*07:04, 07:19, 07:25, 07:146, 08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:14-08:15, 08:17-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:59:01, 08:61-08:69, 08:71-08:78, 08:80-08:83, 08:85-08:88, 08:90-08:105, 35:87, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:18-41:19, 41:23-41:24, 42:01:01-42:02, 42:05:01-42:12, 42:14-42:17, 44:106 and 44:158 alleles.

14Primer mix 13: Specific PCR fragment of 170 bp in the B*37:15 allele. Specific PCR fragment of 195 bp in the B*37:33N and the 27:94N allele. Specific PCR fragment of 255 bp in the B*37:10 and the B*13:23, 13:55, 18:09, 27:01, 40:47, 40:96, 40:157, 40:201, 44:15, 44:55, 44:103 and 49:02 alleles.

15Primer mix 20: Specific PCR fragment of 195 bp in the B*37:36 allele. Specific PCR fragment of 235 bp in the B*37:16Q allele.

16Primer mix 21: Specific PCR fragment of 165 bp in the B*37:27 and the B*27:57 alleles. Specific PCR fragment of 195 bp in the B*37:33N and the 27:94N alleles. Specific PCR fragment of 270 bp in the B*37:24 and the B*40:152 alleles.

17Primer mix 23: Specific PCR fragment of 90 bp in the B*37:19 and in the B*14:10, 35:59, 38:20, 39:42 and 44:117 alleles. Specific PCR fragment of 345 bp in the B*37:23 and in the B*27:69, 40:213 and 51:32 alleles.

‘w’, might be weakly amplified.

1HLA-B*37 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

2The HLA-B*37:24 and 37:27 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 21.

3Primer mix 2: Specific PCR fragment of 95 bp in the B*37:02 and in the B*27:01-27:02:02, 27:04:01-27:04:03, 27:08, 27:12, 27:15, 27:18, 27:23, 27:25-27:26, 27:31, 27:36, 27:40, 27:42, 27:44, 27:49, 27:52-27:53, 27:57, 27:61-27:63, 27:65N-27:69, 27:75, 27:77, 27:79, 27:83, 27:86, 27:89,  27:95 and the B*47:04-47:05 and 48:26 alleles. Specific PCR fragment of 135 bp in the B*37:28 and the B*07:27, 27:05:16, 27:07:01-27:07:03, 27:09, 27:14, 27:19, 27:27, 27:32, 27:34-27:35, 27:41, 27:43, 27:46, 27:70, 27:76, 27:78, 27:81 and 38:17 alleles. Specific PCR fragment of 95 and 135 bp in the 27:03, 27:05:02-27:05:15, 27:05:17-27:05:20, 27:10, 27:13, 27:16-27:17, 27:28-27:29, 27:37-27:39, 27:45, 27:47-27:48, 27:50-27:51, 27:54-27:56, 27:58-27:60, 27:64N, 27:71-27:74, 27:80, 27:84-27:85, 27:87-27:88, 27:90:01-27:90:02, 27:92-27:94N, 27:96-27:99 alleles.

Primer mix 3: Specific PCR fragment of 200 bp in the B*37:13 allele. Specific PCR fragment of 235 bp in the B*37:03N allele.

Primer mix 4: Specific PCR fragment of 200 bp in the B*37:13 allele. Specific PCR fragment of 255 bp in the B*37:04:01-37:04:02 and B*18:18 alleles.

Primer mix 7: Specific PCR fragment of 135 bp in the B*37:06 and the B*40:188, 47:01:01:01-47:01:02 and 47:05-47:08 alleles. Specific PCR fragment of 195 bp in the B *37:36 allele.

Primer mix 9: Specific PCR fragment of 80 bp in the B*37:08 and the B*07:27, 18:54, 27:92, 38:17 and 53:03 alleles. Specific PCR fragment of 155 bp in the B*37:30N allele. Specific PCR fragment of 215 bp in the B*37:22 allele. Specific PCR fragment of 495 bp in the B*15:209N allele.

Primer mix 10: Specific PCR fragment of 110 bp in the B*37:26 allele. Specific PCR fragment of 145 bp in the B*37:14 allele.

Primer mix 11: Specific PCR fragment of 95 bp in the B*37:18 allele. Specific PCR fragment of 215 bp in the B*37:09 and the B*07:04, 07:19, 07:25, 07:146, 08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:14-08:15, 08:17-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:59:01, 08:61-08:69, 08:71-08:78, 08:80-08:83, 08:85-08:88, 08:90-08:105, 35:87, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:18-41:19, 41:23-41:24, 42:01:01-42:02, 42:05:01-42:12, 42:14-42:17, 44:106 and 44:158 alleles.

Primer mix 13: Specific PCR fragment of 170 bp in the B*37:15 allele. Specific PCR fragment of 195 bp in the B*37:33N and the 27:94N allele. Specific PCR fragment of 255 bp in the B*37:10 and the B*13:23, 13:55, 18:09, 27:01, 40:47, 40:96, 40:157, 40:201, 44:15, 44:55, 44:103 and 49:02 alleles.

Primer mix 20: Specific PCR fragment of 195 bp in the B*37:36 allele. Specific PCR fragment of 235 bp in the B*37:16Q allele.

Primer mix 21: Specific PCR fragment of 165 bp in the B*37:27 and the B*27:57 alleles. Specific PCR fragment of 195 bp in the B*37:33N and the 27:94N alleles. Specific PCR fragment of 270 bp in the B*37:24 and the B*40:152 alleles.

Primer mix 23: Specific PCR fragment of 90 bp in the B*37:19 and in the B*14:10, 35:59, 38:20, 39:42 and 44:117 alleles. Specific PCR fragment of 345 bp in the B*37:23 and in the B*27:69, 40:213 and 51:32 alleles.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Some missing lines at the beginning of the Interpretation Table have been reinserted.