PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*38

Prod. No:	101.565-12/12u

Lot No:    	80F

Expiry Date:    	2011-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 16 primer mixes used for HLA-B*38 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*38 alleles3 | Other amplified HLA-B alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 185 bp | 800 bp | 380101-3803, 3807-3817 | 1401, 1407N, 1408, 39010101-39010102L, 390103-390201, 3903, 3905-390602, 3907?, 3908, 3909, 3911, 3914, 3915, 3918, 391902, 3922, 3924-3930, 3932-3944, 3946, 670101 |
| 2 | 190 bp | 800 bp | 380101-380202, 3804-3812, 3815, 3817 | 0716, 0727, 0737, 0738, 0750, 0803, 0823, 1503, 1509, 1510, 1518, 1523, 1529, 1537, 1547, 1549, 1551, 1552, 1554, 1562, 1564, 1568, 1569, 1572, 1574, 1580, 1590, 1591, 1593, 1598, 1599, 9503, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 9531-9534, 9551, 180101, 180103, 1802, 1805-1815, 1817N-1828, 1830-1832, 3525, 370101-3714, 3905, 3907?, 3908, 3911, 391301-391302, 3920, 3937, 4012, 480101-4819, 5812 |
| 3 | 170 bp | 800 bp | 380101-380202, 3804, 3805, 3808-3815, 3817 | 1401-1409, 1509, 1510, 1518, 1523, 1537, 1551, 1552, 1572, 1580, 1590, 1593, 1599, 9508, 9514, 9515, 9519, 9524, 9533, 9534, 39010101-39010102L, 390103-390106, 3903-390602, 3907?, 3909, 3911, 3912, 3914, 3915, 3918-391902, 3922, 3924-3938Q, 3940N-3946 |
| 45 | 105 bp | 1070 bp | 380101, 380102, 3805, 3809-3814, 3816 |  |
| 5 | 210 bp | 1070 bp | 380201-3804, 3808, 3815 | 0802, 9515, 1809, 3710 |
| 66 | 170 bp | 800 bp | 3803 | 0727, 0750, 0804, 0817, 1503, 1547, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 9531, 9532, 9551, 180101-1803, 1805, 1806, 1808-1815, 1817N-1828, 1830-1832, 370101-3714, 390201-390202, 3908, 391301-391302, 3923, 3939, 4012, 480101-4805, 4807-4819 |
| 76 | 160 bp | 800 bp | 3803, 3804 | 0817, 0838, 1503, 1547, 1549, 1554, 1561, 1562, 1568, 1569, 1574, 1591, 1598, 9503, 9523, 9527, 9531, 9532, 9551, 1812, 370101-3707, 3709-3714, 390201-390202, 3908, 391301-391302, 3922, 3923, 4012, 480101-4805, 4807-4815, 4817-4819 |
| 87 | 185, 240 bp | 800 bp | 3805, 3815 | 140201-1403, 1405-140602, 1409, 3526, 3904, 3907? |
| 95 | 145 bp | 1070 bp | 3806, 3807 | 4406, 4903, 510101-512402, 5126-5146, 5148, 5149, 5151-5153, 5155-5163, 520101-520104, 5203-5214, 530101-5302, 5304-5308, 5310, 5314-5316, 580101-5802, 5804-5816, 5818-5820 |
| 105, 8 | 90, 145 bp | 1070 bp | 3807, 3812, 3816 | 391902 |
| 115,9 | 90, 135 bp | 1070 bp | 3808, 3813 |  |
| 125 | 90 bp | 800 bp | 3803, 3809, 3814 | 1401-1409, 39010101-39010102L, 390103, 390105-390106, 390201, 3903, 3904, 390601-390602, 3909, 3912, 3914, 3915, 3918, 391902, 3922, 3924-3936, 3938Q-3946, 670101 |
| 13 | 175 bp | 800 bp | 380101, 380201-3807, 3809, 3811-3817 | 39010101-39010102L, 390103-390602, 3908-3914, 3916, 3918-3920, 3922-3924, 3926-3928, 3931, 3935, 3937, 3939, 3941, 3942, 3944-3946, 5820, 670101-6702 |
| 14 | 170 bp | 1070 bp | 3810 | 070201-0724, 0726-0747, 0749N, 0750, 0752-0768, 0806, 0820, 1316, 1320, 1401-1409, 15010101-150104, 150106-1504, 1506-1519, 1521, 1523-1530, 1532-1540, 1542-1547, 1549, 1550, 1553, 1554, 1556-1558,1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9544, 9546-9550, 1815, 1819, 1821, 1830, 270401-270402, 2706, 2710, 2715, 2718, 2720, 2721, 2724, 2725, 2740, 3511, 351401-351402, 3521, 3543, 3544, 3558, 3567, 3579, 3586, 3707, 3713, 3918, 3935, 3936, 4005, 4015, 4016, 4023, 4026, 4028, 4032, 4051, 460101-4605, 4607N, 4608, 4610, 4612, 4614-4617, 4805, 4808, 4815, 4901-4905, 5001, 5002, 5004, 510101-5104, 5106, 5107, 5111N-5114, 5116-5118, 5121-512402, 5126-5130, 5132-5139, 5141N, 5143, 5145, 5146, 5148-5152, 5155-5163, 520101-5202, 5204-5209, 5211-5214, 5306, 5308, 5406, 550101-550104, 5503, 5505, 5509, 5511, 5514, 5515, 5517, 5521, 5524, 5525, 5528, 5529, 5531, 5533, 5603, 560501-5606, 5621, 5709, 5713, 5806, 5808, 5819, 7801-7803, 7805, 7806 |
| 15 | 230 bp | 1070 bp | 380101-380202, 3804, 3806-3812, 3815-3817 | 0716, 0727, 0737, 0738, 0750, 1314, 1568, 1571, 180101, 180103, 1802, 1805-1815, 1817N-1824, 1826-1832, 2701, 2718, 2723, 2729, 2744, 3550, 3584, 370101-3714, 3905, 3907?, 3908, 3911, 391301-391302, 3920, 3937, 400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4056, 4057, 4064, 4068, 4070, 4071, 4074, 4075, 4078, 4082, 4083, 4085, 4086, 4089-4091, 4093, 4094, 480101-4819, 5157, 5710 |
| 165,10 | 95, 355 bp | 1070 bp | 3811, 3817 | 0713, 0727, 6702 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*38 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells. Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*38 subtyping. In addition, wells number 2, 3, 6, 7, 8, 12 and 13 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For some HLA-B alleles complete 2nd exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the second exon are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles and non-HLA-B*38 alleles will be amplified by primer mixes 1 to 3, 5 to 10 and 12 to 16.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer solutions 6 and 7 may yield less specific PCR product than the other HLA-B*38 primer mixes.

7Primer mix 8: Specific PCR fragment of 185 bp in the B*3805 and B*140201 to 1403, 1405 to 140602, 1409, 3526, 3904 and 3907? alleles. Specific PCR fragment of 240 bp in the B*3815 allele.

8Primer mix 10: Specific PCR fragment of 90 bp in the B*3807 and 3812 and B*391902 alleles. Specific PCR fragment of 145 bp in the B*3816 allele.

9Primer mix 11: Specific PCR fragment of 90 bp in the B*3813 allele. Specific PCR fragment of 135 bp in the B*3808 allele.

10Primer mix 16: Specific PCR fragment of 95 bp in the B*3817 allele. Specific PCR fragment of 355 bp in the B*3811 and the B*0713 and 6702 alleles. Specific PCR fragment of 430 bp in the B*0727 allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1Primer mix 8: Specific PCR fragment of 185 bp in the B*3805 and B*140201 to 1403, 1405 to 140602, 1409, 3526, 3904 and 3907? alleles. Specific PCR fragment of 240 bp in the B*3815 allele.

Primer mix 10: Specific PCR fragment of 90 bp in the B*3807 and 3812 and B*391902 alleles. Specific PCR fragment of 145 bp in the B*3816 allele.

Primer mix 11: Specific PCR fragment of 90 bp in the B*3813 allele. Specific PCR fragment of 135 bp in the B*3808 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the B*3817 allele. Specific PCR fragment of 355 bp in the B*3811 and the B*0713 and 6702 alleles. Specific PCR fragment of 430 bp in the B*0727 allele.

‘?’, nucleotide sequence information not available for the primer matching sequence.