Gel Documentation Form and Worksheet

HLA-B*38 (101.565-12/12u) 	Lot No: 20V	Expiry Date: 2016-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6 and 7 may have tendencies of primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*38 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 160 bp in the B*38:03-38:04 and 38:25 and the B*08:17, 08:38, 08:54, 08:101, 15:03:01-15:03:04, 15:47:01-15:47:02, 15:49, 15:54, 15:61-15:62, 15:68-15:69, 15:74, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242-15:243, 15:251, 15:253, 15:266, 15:274, 15:281-15:282, 18:12, 37:01:01-37:07, 37:09-37:21, 37:23-37:42N, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:22-39:23, 39:49, 40:12, 40:149, 41:22, 42:11, 44:130, 44:156, 48:01:01-48:02:01, 48:02:03-48:05, 48:07-48:15, 48:17-48:32, 49:25, 52:16 and 52:27 alleles. Specific PCR fragment of 195 bp in the B*38:21 and 38:34N alleles.

Primer mix 8: Specific PCR fragment of 185 bp in the B*38:05 and 38:33 and the B*14:02:01-14:02:02, 14:02:04-14:02:05, 14:02:07-14:03, 14:04w, 14:05-14:06:02, 14:09, 14:11, 14:13, 14:15-14:18, 14:20, 14:22-14:23, 14:25, 14:27, 14:29-14:31, 14:33-14:37, 15:189, 35:26 and 39:04 and in the C*02:02:07, C*05:01:06 alleles. Specific PCR fragment of 230 bp in the B*38:15, 38:20 and 38:22 and in the B*35:35, 37:40 and 39:42 and in the C*15:51 alleles.

Primer mix 9: Specific PCR fragment of 145 bp in the B*38:06-38:07 and the B*18:67, 37:34, 44:06, 49:03, 51:01:01-51:01:39, 51:01:41-51:24:05, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:103, 51:105-51:111, 51:113-51:146, 51:148-51:154, 52:01:01:01-52:01:19, 52:03-52:15, 52:17-52:19, 52:21-52:31, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:29, 58:01:01-58:02, 58:04-58:16:02, 58:18-58:29, 58:31N-58:35, 58:37-58:43 and 58:45-58:48 alleles. Specific PCR fragment of 205 bp in the B*38:21 allele.

Primer mix 10: Specific PCR fragment of 85 bp in the B*38:07 and 38:12 and in the B*39:19:02 alleles. Specific PCR fragment of 145 bp in the B*38:16 and the B*49:26 alleles. Specific PCR fragment of 180 bp in the B*38:33 and the B*14:11, 14:28, 15:189, 35:26, 39:04 and 49:26 alleles.

Primer mix 11: Specific PCR fragment of 90 bp in the B*38:13 allele. Specific PCR fragment of 145 bp in the B*38:08, 38:18 and 38:27 and the B*18:86 alleles.

Primer mix 16: Specific PCR fragment of 220 bp in the B*38:19 and the B*08:55, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37 and 39:76 alleles. Specific PCR fragment of 350 bp in the B*38:11 and the B*07:13, 07:110, 08:101 and 67:02 alleles. Specific PCR fragment of 425 bp in the B*38:17 and the B*07:27 and 40:188? alleles.

Primer mix 23: Specific PCR fragment of 155 bp in the B*38:10 and 38:32 and the B*07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 07:182N, 07:201N, 08:20, 08:79, 13:16, 13:20, 13:31w, 13:48, 13:62, 14:13, 15:09, 15:30w, 15:42, 15:58w, 15:73w, 15:150w, 15:229, 15:243, 15:252, 27:20, 27:24, 35:44w, 39:35, 39:36w, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:51, 40:95, 40:148, 40:158, 40:161, 40:174, 40:183, 40:198, 42:19, 48:05, 48:15, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16, 51:21-51:24:05, 51:26-51:30, 51:32-51:35, 51:38-51:39, 51:41N, 51:43, 51:46, 51:48-51:53, 51:55-51:60, 51:61:01w-51:61:02w, 51:62-51:71, 51:74-51:80, 51:82-51:84, 51:86, 51:88-51:89, 51:95-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:121, 51:123-51:134, 51:136-51:138, 51:140, 51:142-51:145, 51:147, 51:149N-51:152, 51:154, 52:01:01:01-52:01:10, 52:01:12-52:02:02, 52:04-52:09, 52:11, 52:13-52:18, 52:20, 52:21w, 52:22-52:25, 52:27-52:32, 54:20, 55:01:01-55:01:11, 55:03, 55:05, 55:09, 55:11, 55:15, 55:17, 55:21w, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:55N, 55:59-55:60, 56:05:01-56:06, 56:21, 56:25, 56:37, 57:57, 57:63, 58:08:01-58:08:02, 78:01:01-78:03 and 78:05-78:07 and in the C*02:68w, C*15:24 alleles. Specific PCR fragment of 210 bp in the B*38:31 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The following HLA-B*38 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*38:11, 38:19 | 16 |
| B*38:17, 39:371 | 16 |

1The B*38:17 and B*39:37 alleles give rise to identical amplification patterns with the HLA-B*38 primer set. These two alleles can be distinguished by the different sizes of the HLA-specific PCR product in primer mix 16

The HLA-B*38 subtyping kit cannot distinguish the silent mutations in the B*38:01:01 and 38:01:03 to 38:01:07, the B*38:02:01 and B*38:02:02 and the 38:02:04-38:02:05 alleles.