Gel Documentation Form and Worksheet

HLA-B*38 (101.565-12/12u) 	Lot No: 57X	Expiry Date: 2017-August-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6 and 7 may have tendencies of primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*38 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 7: Specific PCR fragment of 160 bp in the B*38:03-38:04 and 38:25 and the B*08:17, 08:38, 08:54, 08:101, 15:03:01-15:03:04, 15:47:01-15:47:02, 15:49, 15:54, 15:61-15:62, 15:68-15:69, 15:74, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242-15:243, 15:251, 15:253, 15:266, 15:274, 15:281-15:282, 18:12, 37:01:01-37:07, 37:09-37:21, 37:23-37:42N, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:22-39:23, 39:49, 40:12, 40:149, 41:22, 42:11, 44:130, 44:156, 48:01:01-48:02:01, 48:02:03-48:05, 48:07-48:15, 48:17-48:32, 49:25, 52:16 and 52:27 alleles. Specific PCR fragment of 195 bp in the B*38:21 and 38:34N alleles.

Primer mix 8: Specific PCR fragment of 185 bp in the B*38:05 and 38:33 and the B*14:02:01-14:02:02, 14:02:04-14:02:05, 14:02:07-14:03, 14:04w, 14:05-14:06:02, 14:09, 14:11, 14:13, 14:15-14:18, 14:20, 14:22-14:23, 14:25, 14:27, 14:29-14:31, 14:33-14:37, 15:189, 35:26, 39:04, C*02:02:07, C*05:01:06 alleles. Specific PCR fragment of 230 bp in the B*38:15, 38:20 and 38:22 and in the B*15:265, 35:35, 37:40 and 39:42 and in the C*15:51 alleles.

Primer mix 9: Specific PCR fragment of 145 bp in the B*38:06-38:07 and in the B*18:67, 37:34, 44:06, 49:03, 51:01:01-51:01:39, 51:01:41-51:24:05, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:103, 51:105-51:111, 51:113-51:146, 51:148-51:154, 52:01:01:01-52:01:19, 52:03-52:15, 52:17-52:19, 52:21-52:31:01, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:29, 58:01:01-58:02, 58:04-58:16:02, 58:18-58:29, 58:31N-58:35, 58:37-58:43 and 58:45:01-58:48 alleles. Specific PCR fragment of 205 bp in the B*38:21 allele.

Primer mix 10: Specific PCR fragment of 85 bp in the B*38:07 and 38:12 and in the B*39:19:02 alleles. Specific PCR fragment of 145 bp in the B*38:16 and the B*49:26 alleles. Specific PCR fragment of 180 bp in the B*38:33 and the B*14:11, 14:28, 15:189, 35:26, 39:04 and 49:26 alleles.

Primer mix 11: Specific PCR fragment of 90 bp in the B*38:13 allele. Specific PCR fragment of 145 bp in the B*38:08, 38:18 and 38:27 and the B*18:86 alleles.

Primer mix 16: Specific PCR fragment of 220 bp in the B*38:19 and the B*08:55, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37 and 39:76 alleles. Specific PCR fragment of 350 bp in the B*38:11 and the B*07:13, 07:110, 08:101 and 67:02 alleles. Specific PCR fragment of 425 bp in the B*38:17 and the B*07:27 and 40:188? alleles.

Primer mix 23: Specific PCR fragment of 155 bp in the B*38:10 and 38:32 and the B*07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 07:182N, 07:201N, 08:20, 08:79, 13:16, 13:20, 13:31w, 13:48, 13:62, 14:13, 15:09, 15:30w, 15:42, 15:58w, 15:73w, 15:150w, 15:229, 15:243, 15:252, 27:20, 27:24, 35:44w, 39:35, 39:36w, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:51, 40:95, 40:148, 40:158, 40:161, 40:174, 40:183, 40:198, 42:19, 48:05, 48:15, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16, 51:21-51:24:05, 51:26-51:30, 51:32-51:35, 51:38-51:39, 51:41N, 51:43, 51:46, 51:48-51:53, 51:55-51:60, 51:61:01w-51:61:02w, 51:62-51:71, 51:74-51:80, 51:82-51:84, 51:86, 51:88-51:89, 51:95-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:121, 51:123-51:134, 51:136-51:138, 51:140, 51:142-51:145, 51:147, 51:149N-51:152, 51:154, 52:01:01:01-52:01:10, 52:01:12-52:02:02, 52:04-52:09, 52:11, 52:13-52:18, 52:20, 52:21w, 52:22-52:25, 52:27-52:32, 54:20, 55:01:01-55:01:11, 55:03, 55:05, 55:09, 55:11, 55:15, 55:17, 55:21w, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:55N, 55:59-55:60, 56:05:01-56:06, 56:21, 56:25, 56:37, 57:57, 57:63, 58:08:01-58:08:02, 78:01:01-78:03 and 78:05-78:07 and in the C*02:68w and C*15:24 alleles. Specific PCR fragment of 210 bp in the B*38:31 allele.

4The following HLA-B*38 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*38:11, 38:19 | 16 |
| B*38:17, 39:37 | 16 |

The HLA-B*38 subtyping kit cannot distinguish the silent mutations in the B*38:01:01 and 38:01:03 to 38:01:07, the B*38:02:01 and B*38:02:02 and the 38:02:04-38:02:05 alleles.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.