PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*40

Prod. No:	101.523-24/24u

101.523-03/03u

Lot No:    	24R

Expiry Date:    	2015-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 86 primer mixes used for HLA-B*40 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*40 alleles3 | Other amplified HLA class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 175 bp | 800 bp | *40:01:01-40:01:25, 40:07, 40:10:01-40:10:02, 40:12, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:51-40:52, 40:54-40:55, 40:60-40:63, 40:65-40:67, 40:69, 40:73-40:74, 40:76, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:92, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:123-40:126, 40:128, 40:130, 40:132, 40:134-40:135, 40:138-40:141, 40:146-40:147, 40:149-40:156, 40:163, 40:166, 40:168, 40:170-40:172, 40:175, 40:178-40:179, 40:182-40:183, 40:185-40:188, 40:191, 40:193-40:196, 40:198-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215 | *15:116, 15:124, 44:31, 46:06, 48:03:01-48:03:02, 48:23 |
| 2 | 215 bp | 800 bp | *40:01:01-40:06:05, 40:09, 40:11:01-40:11:02, 40:14:01-40:16, 40:18-40:20, 40:22N-40:27:01, 40:28-40:39, 40:42-40:48, 40:50-40:57, 40:59-40:60, 40:62-40:67, 40:69-40:74, 40:76-40:102, 40:104-40:105, 40:107-40:109, 40:111-40:128, 40:130-40:136, 40:138-40:161, 40:163, 40:165, 40:167-40:190, 40:192-40:199, 40:201-40:209, 40:211-40:215 | *13:23, 13:55, 15:71, 15:175, 15:204, 15:210, 15:212, 15:225, 18:01:01:01-18:01:12, 18:01:14-18:03, 18:05-18:06, 18:08-18:15, 18:17N-18:24, 18:26-18:28, 18:30-18:32, 18:34-18:42, 18:44:01-18:76, 27:18, 27:29, 35:63, 37:01:01-37:20, 37:22-37:25, 37:27-37:34, 41:01-41:21, 44:15, 44:18, 44:55, 44:103, 44:131, 45:01-45:05, 45:07-45:14, 48:22, 49:01:01-49:09, 49:11-49:22, 50:01:01-50:02, 50:04-50:12, 50:14-50:17 |
| 3 | 130 bp | 1070 bp | *40:02:01-40:06:05, 40:08-40:09, 40:11:01-40:11:02, 40:13, 40:18-40:20, 40:24, 40:26-40:29, 40:35, 40:37, 40:39, 40:40w, 40:44, 40:50, 40:56-40:57, 40:64, 40:68, 40:70-40:71, 40:74-40:75, 40:78, 40:82, 40:85-40:86, 40:89-40:91, 40:94-40:99, 40:103-40:105, 40:107, 40:109, 40:111, 40:115, 40:119-40:120, 40:122, 40:127, 40:131, 40:133Q, 40:142N-40:145, 40:148-40:149, 40:157, 40:159, 40:161-40:162, 40:165, 40:167, 40:169, 40:173-40:174, 40:176, 40:180-40:181, 40:184, 40:189-40:190, 40:200-40:203, 40:205-40:206, 40:210-40:211, 40:214 | *18:48, 44:103, 44:131 |
| 45 | 95 bp | 800 bp | *40:02:01-40:02:15, 40:05, 40:08-40:09, 40:13, 40:15-40:16, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:31-40:32, 40:35, 40:37, 40:39-40:40, 40:45, 40:50, 40:56-40:58, 40:78, 40:80, 40:82, 40:85, 40:89-40:91, 40:94, 40:97-40:98, 40:104, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180-40:181, 40:189, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214 | *07:02:01-07:06, 07:08, 07:10, 07:13, 07:15-07:16, 07:19-07:76, 07:79-07:83, 07:85-07:114, 07:116-07:125, 07:127-07:136, 07:138-07:161N, 08:01:01-08:05, 08:07-08:08N, 08:10-08:11, 08:13-08:15, 08:17-08:27, 08:29-08:34, 08:36, 08:38-08:48, 08:50-08:59, 08:61-08:68, 08:70-08:83, 08:85-08:88, 08:90-08:94, 14:13, 15:45, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:22, 35:31, 35:87, 35:199, 37:07, 37:09, 39:14, 39:29, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:19, 42:01:01-42:02, 42:05:01-42:05:02, 42:07-42:08, 42:10-42:12, 42:14-42:17, 44:54, 44:106, 44:135, 48:01:01-48:01:03, 48:04-48:06, 48:08-48:13, 48:15-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:28, 51:64, 51:81, 55:04, 55:49, 55:51, 58:27, 81:01-81:05, C*03:05, C*03:25, C*03:27 |
| 5 | 190 bp | 800 bp | *40:03, 40:18, 40:20, 40:24, 40:31-40:33, 40:44, 40:52, 40:59, 40:98, 40:120, 40:159 | *07:02:01-07:02:09, 07:02:11-07:02:17, 07:02:19-07:04, 07:07-07:13, 07:15-07:16, 07:18:01-07:18:02, 07:21-07:23, 07:25-07:27, 07:29-07:30, 07:33, 07:35-07:39, 07:41-07:42, 07:44-07:52, 07:54-07:59, 07:61-07:68:03, 07:70-07:73, 07:75-07:77, 07:79, 07:81-07:89, 07:91-07:95, 07:98-07:99, 07:101-07:104, 07:106-07:111N, 07:113-07:114, 07:116-07:122, 07:124-07:130, 07:132-07:136, 07:139, 07:141-07:153, 07:155-07:162, 13:26, 13:35, 15:40, 15:47:01-15:47:02, 15:49, 15:52, 15:114, 15:117, 15:124, 15:138, 15:238, 15:241, 18:10, 18:21, 18:35, 18:50, 27:34, 27:41, 35:15, 35:33, 35:66, 35:86, 37:07, 46:06, 46:30, 48:08, 48:23, 57:13, 57:25, 58:37, C*02:06, C*02:23, C*02:36, C*15:42 |
| 65 | 95 bp | 1070 bp | *40:03, 40:27:01-40:27:02, 40:105 | *07:09, 07:11, 07:17, 07:115, 08:28, 08:35, 08:37, 08:69, 14:05, 15:07:01-15:07:02, 15:55, 15:68, 15:126, 15:207, 18:14, 35:05:01-35:05:03, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:114, 38:19, 39:03, 39:24:01-39:24:02, 39:37, 41:18, 42:06, 42:09, 46:12, 48:07, 48:14, 53:14, 58:18, C*02:60, C*08:08 |
| 75,7 | 105 bp | 800 bp | *40:12, 40:46, 40:93 | *07:27, 07:50, 08:04, 08:17, 08:54, 15:03:01-15:03:03, 15:47:01-15:47:02, 15:54, 15:61-15:62, 15:64, 15:68-15:69, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242, 15:253, 18:37, 27:18, 27:29, 37:28, 38:03, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:23, 39:39:01-39:39:02, 39:49, 42:11, 44:40, 44:44, 44:130, 48:01:01-48:05, 48:07-48:28, 52:16, 55:18 |
| 8 | 235 bp | 1070 bp | *40:05, 40:71, 40:174 | *07:20, 07:24, 07:60, 07:100, 07:131, 08:21, 08:25, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 35:05:01-35:05:03, 35:16-35:17, 35:22, 35:30, 35:51, 35:58, 35:72, 35:89, 35:97, 35:113-35:114, 35:125, 35:164, 35:199, 44:54, 44:106, 44:110, 44:135, 46:12, 51:64, 53:14, 55:51, 58:18, C*03:05, C*03:25, C*03:27, C*03:143 |
| 9 | 160 bp | 1070 bp | *40:06:01:01-40:06:04, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:167, 40:177, 40:190 | *07:78, 07:84, 27:14, 27:81, 51:01:09, 51:01:21, 51:01:25, 51:10, 51:24:02-51:24:04, 54:11, 56:20:02, 73:01-73:02 |
| 10 | 215 bp | 1070 bp | *40:07-40:08, 40:13, 40:68, 40:106, 40:162 | *08:62, 18:07:01-18:07:02, 18:29, 27:23, 35:50, 35:84, 35:162, 37:21, 51:103, 51:116 |
| 115 | 85 bp | 1070 bp | *40:77, 40:87:01-40:87:02 | *15:124, 48:14, 48:26, 54:22, 58:05, C*07:81, C*07:168 |
| 125 | 95 bp | 1070 bp | *40:08, 40:25, 40:68, 40:106, 40:166w | *07:133w, 15:143, 18:48, 35:19, 35:47, 35:154, 39:69, 44:12, 50:15, 51:112 |
| 135 | 90 bp | 1070 bp | *40:03, 40:09, 40:18, 40:24, 40:31-40:32, 40:98 | *07:02:01-07:04, 07:08-07:11, 07:13, 07:15-07:17, 07:19-07:31, 07:33, 07:35-07:39, 07:41-07:52, 07:54-07:68:03, 07:70-07:76, 07:79, 07:81-07:83, 07:85-07:89, 07:91-07:96:02, 07:98-07:104, 07:106-07:111N, 07:113-07:114, 07:116-07:122, 07:124-07:136, 07:139, 07:141-07:161N, 08:07, 08:28, 08:37, 08:87, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:207, 18:14, 18:22, 27:34, 35:05:01-35:05:03, 35:16-35:17, 35:30, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:113-35:114, 35:125, 35:199, 37:07, 37:09, 39:29, 41:04, 41:18, 42:09, 42:16, 44:54, 44:106, 44:110, 44:135, 46:12, 48:08, 53:14, 58:18, C*02:60, C*03:05, C*03:25, C*03:27, C*03:143 |
| 145 | 90 bp | 800 bp | *40:10:01-40:10:02 | *15:46, 15:106, 35:47, 35:154, 41:12, 57:45 |
| 15 | 150 bp | 800 bp | *40:13, 40:19, 40:47, 40:96, 40:109-40:110, 40:117, 40:157, 40:188, 40:201 | *37:06, 44:02:01:01-44:02:12, 44:02:14-44:05:04, 44:07, 44:10-44:39, 44:41:01-44:43:02, 44:45, 44:47-44:56N, 44:58N-44:59, 44:61N-44:74, 44:76-44:82, 44:84-44:89, 44:91-44:126:02, 44:128, 44:132-44:133, 44:135-44:155, 47:01:01:01-47:01:02, 47:03-47:08, 49:01:01-49:02, 49:04-49:20, 49:22, 51:112, 57:45, 57:51 |
| 165,10 | 75 bp, 160 bp | 800 bp | *40:14:01, 40:15, 40:72:01, 40:77, 40:121, 40:136 | *07:02:13, 07:68:02, 18:35, 35:66, 42:05:01-42:05:02, 48:12, C*07:38:01-07:38:02 |
| 175 | 120 bp | 800 bp | *40:01:01-40:01:25, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:22N, 40:25, 40:30-40:31, 40:33-40:34, 40:36, 40:38, 40:42-40:43, 40:45-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:66, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:152, 40:154-40:156, 40:160, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182, 40:185-40:188, 40:191-40:197, 40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215 | *07:25, 07:48, 18:35, 27:36, 35:66, 41:08, 42:05:01-42:05:02, 44:31, 46:06, 48:01:01-48:01:03, 48:03:01-48:03:02, 48:06-48:07, 48:09-48:12, 48:14, 48:16-48:23, 48:26-48:28, 81:01-81:05 |
| 185 | 105 bp | 800 bp | *40:01:06, 40:26 | *07:02:11, 07:05:03, 15:01:02, 15:09, 15:243, 15:252, 51:06:01, 51:59, 51:64, 51:135, C*02:02:23 |
| 19 | 320 bp | 1070 bp | *40:04, 40:24, 40:28, 40:59-40:60, 40:68, 40:70, 40:99, 40:120, 40:125, 40:129 | *07:12, 07:78, 07:84, 07:162, 13:01:01-13:04, 13:06-13:09, 13:11-13:20, 13:22:01-13:23, 13:25-13:34, 13:36-13:58, 14:22, 15:16:01-15:16:03, 15:20, 15:34, 15:42, 15:62, 15:67, 15:85-15:86, 15:95, 15:137, 15:194, 15:222, 15:254, 18:22, 18:52, 27:14, 35:01:01:01-35:05:02, 35:06-35:11:02, 35:13-35:15, 35:18-35:21, 35:23-35:30, 35:33-35:38, 35:40N-35:42:02, 35:45-35:50, 35:52-35:58, 35:60, 35:62-35:66, 35:68:01-35:72, 35:74-35:78, 35:80-35:85, 35:88-35:98, 35:100-35:101:02, 35:103-35:112, 35:114-35:116, 35:119-35:124, 35:126-35:134N, 35:136-35:148, 35:150-35:163, 35:166-35:178, 35:180-35:184, 35:186-35:195, 35:197-35:198, 35:200, 35:202-35:205, 41:04, 41:07, 44:10, 44:15, 44:18, 44:48, 45:01-45:14, 46:11, 46:18, 46:33, 48:02:01-48:02:02, 48:17, 48:25, 49:01:01-49:22, 50:01:01, 50:01:03-50:02, 50:05-50:17, 51:15, 51:56:01-51:56:02, 53:01:01-53:06, 53:08:01-53:28, 54:01:01-54:05N, 54:07-54:08N, 54:10-54:27, 55:01:01-55:01:05, 55:01:07-55:03, 55:05, 55:07, 55:09-55:13, 55:15-55:16, 55:18-55:37, 55:39-55:48, 55:50, 55:52-55:56, 56:01:01-56:02, 56:07-56:11, 56:13-56:17, 56:19N-56:20:02, 56:22-56:26, 56:28N-56:30, 56:33-56:36, 57:05, 58:01:01-58:02, 58:04-58:07, 58:09, 58:11-58:19, 58:21-58:26, 58:28-58:37, 59:01:01:01-59:05, 82:01-82:03 |
| 2011 | 135 bp, 285 bp | 1070 bp | *40:14:01-40:16, 40:23, 40:31-40:32, 40:45, 40:80, 40:98, 40:114, 40:121, 40:136, 40:158 | *07:02:01-07:18:02, 07:20-07:32, 07:34-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:99, 07:101-07:121, 07:123-07:138, 07:140-07:162, 08:79, 15:138, 15:230, 15:241, 18:35, 35:66, 37:07, 41:08, 42:05:01-42:05:02, 44:150, 48:01:01-48:01:03, 48:05-48:12, 48:14-48:16, 48:18-48:20, 48:22, 48:27-48:28, 81:01-81:05, C*02:23, C*04:77 |
| 216 | 145 bp | 800 bp | *40:21, 40:137 | *13:09, 13:39, 15:01:01:01-15:01:04, 15:01:06-15:02:06, 15:04-15:08, 15:11:01-15:12, 15:14-15:15, 15:19-15:21, 15:25:01-15:28, 15:30-15:35, 15:38:01-15:40, 15:42, 15:44-15:45, 15:48, 15:50, 15:55-15:58, 15:60, 15:63, 15:65-15:66, 15:70-15:71, 15:73, 15:75-15:79N, 15:81-15:86, 15:88, 15:92, 15:94N, 15:96-15:97, 15:101-15:102, 15:104-15:105, 15:107, 15:109-15:113, 15:116-15:118, 15:120-15:122, 15:125-15:126, 15:128-15:129, 15:135-15:142, 15:144-15:150, 15:152, 15:154-15:155, 15:159-15:160, 15:163-15:167, 15:169-15:172, 15:174-15:175, 15:178-15:179, 15:181N-15:185, 15:187-15:195, 15:199, 15:201, 15:203-15:207, 15:209N, 15:211, 15:213-15:215, 15:217-15:219, 15:223-15:225, 15:227-15:228, 15:231-15:234, 15:236-15:237, 15:240-15:241, 15:244-15:251, 35:46, 46:01:01-46:03, 46:05-46:34, 55:35, 57:12, C*01:73 |
| 22 | 235 bp | 800 bp | *40:02:01-40:03, 40:08-40:09, 40:13, 40:15-40:16, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:31-40:32, 40:35, 40:37, 40:40, 40:45, 40:50, 40:56-40:58, 40:78, 40:80, 40:82, 40:85, 40:89-40:91, 40:94, 40:97-40:98, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173, 40:176, 40:180-40:181, 40:189, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214 | *07:02:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:21-07:23, 07:25-07:30, 07:32-07:33, 07:35-07:42, 07:44-07:59, 07:61-07:76, 07:79-07:83, 07:85-07:99, 07:101-07:130, 07:132-07:136, 07:138-07:161N, 08:40, 08:79, 27:07:01-27:07:02, 27:11, 27:24, 27:32-27:34, 27:43, 35:31, 35:66, 37:07, 41:19, 48:01:01-48:01:03, 48:04-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:28, 51:81, 58:27, 81:01-81:05, C*02:60 |
| 235,6 | 95 bp | 800 bp | *40:29 | *39:66, C*03:104, C*12:25 |
| 24 | 165 bp | 1070 bp | *40:34 |  |
| 255 | 125 bp | 1070 bp | *40:43, 40:50, 40:166 | *07:133, 39:69, 44:90, 45:06 |
| 265 | 120 bp | 1070 bp | *40:15-40:16, 40:23, 40:32, 40:98, 40:158, 40:183, 40:198 | *07:02:01-07:18:02, 07:20-07:24, 07:26-07:32, 07:34-07:39, 07:41-07:47, 07:49N-07:50, 07:52, 07:54-07:59, 07:61-07:99, 07:101-07:121, 07:123-07:138, 07:140-07:154, 07:156-07:162, 08:79, 15:138, 15:230, 15:241, 37:07, 44:150, 48:05, 48:08, 48:15, C*02:23, C*04:77 |
| 27 | 180 bp | 800 bp | *40:22N |  |
| 28 | 335 bp | 1070 bp | *40:01:01-40:01:25, 40:04, 40:07, 40:10:01-40:12, 40:14:01-40:14:03, 40:20-40:23, 40:25-40:26, 40:28, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:51-40:52, 40:54-40:55, 40:59-40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:87:02, 40:92, 40:99-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:120-40:121, 40:123-40:126, 40:128-40:130, 40:132, 40:134-40:138, 40:140-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160, 40:163, 40:166, 40:168, 40:170-40:172, 40:175, 40:178-40:179, 40:182-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215 | *07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:137, 07:162, 08:12:01-08:12:03, 08:16, 08:49, 08:89, 13:01:01-13:01:06, 13:06-13:07N, 13:10-13:13, 13:17, 13:20-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43, 13:50-13:52, 13:57, 14:01:01-14:04, 14:06:01-14:12, 14:14-14:32, 15:01:01:01-15:01:04, 15:01:06-15:03:03, 15:05:01-15:06, 15:08-15:15, 15:17:01:01-15:21, 15:23-15:40, 15:43-15:44, 15:46-15:54, 15:56-15:58, 15:60-15:66, 15:69-15:82, 15:84-15:94N, 15:96-15:99, 15:101-15:111N, 15:113-15:117, 15:119-15:125, 15:127-15:128, 15:131-15:136, 15:138-15:140, 15:142-15:154, 15:156-15:196, 15:198-15:206, 15:208-15:214, 15:216-15:221, 15:223-15:253, 18:01:01:01-18:01:15, 18:01:17, 18:03-18:13, 18:15, 18:17N-18:21, 18:23N-18:26, 18:28-18:38, 18:40-18:76, 27:19, 27:21, 27:30, 27:70, 35:01:01:01-35:04:03, 35:06-35:15, 35:18-35:21, 35:23-35:24:01, 35:25-35:29:02, 35:32:01-35:36, 35:38-35:50, 35:52-35:57, 35:59, 35:61-35:65Q, 35:67-35:71, 35:74-35:86, 35:88, 35:90-35:96, 35:98-35:112, 35:115-35:116, 35:118-35:124, 35:126-35:163, 35:165N-35:198, 35:200-35:205, 37:01:01-37:01:07, 37:03N-37:06, 37:08, 37:10-37:34, 38:01:01-38:18, 38:20-38:21, 38:24-38:40, 39:01:01:01-39:01:01:03, 39:01:03-39:01:06, 39:01:08-39:02:02, 39:04-39:05:02, 39:07-39:13:02, 39:15, 39:17-39:20, 39:22-39:23, 39:25N-39:28, 39:30-39:32, 39:35-39:36, 39:38Q-39:49, 39:51-39:56, 39:58-39:61, 39:63, 39:65-39:72, 39:74-39:75, 41:03:01-41:03:02, 41:08, 42:13, 44:02:01:01-44:14, 44:16-44:17, 44:19N, 44:21-44:46, 44:48-44:53, 44:55-44:69, 44:71-44:95, 44:97-44:98, 44:101-44:105, 44:107-44:109, 44:111-44:134, 44:136-44:137, 44:139-44:148, 44:150-44:152, 44:154-44:155, 46:01:01-46:10, 46:13:01-46:17, 46:19-46:31, 46:33-46:34, 47:01:01:01-47:03, 47:06-47:08, 48:02:01-48:03:02, 48:17, 48:23, 48:25, 50:17, 51:04, 51:06:01-51:06:02, 51:42, 51:45, 51:56:01-51:56:02, 51:59, 51:62, 51:135, 53:01:01-53:13, 53:15-53:28, 54:06, 54:09, 55:08, 56:02-56:04, 56:09-56:12, 56:18, 56:31-56:32, 57:05, 57:11, 58:01:01-58:02, 58:04-58:07, 58:09-58:13, 58:15-58:17N, 58:19-58:26, 58:28-58:37, 67:01:01-67:03, 82:01-82:03, 83:01 |
| 29 | 235 bp | 800 bp | *40:39 | *07:19, 07:31, 07:34, 07:43, 08:01:01-08:05, 08:07-08:08N, 08:10, 08:13-08:15, 08:17-08:20, 08:22-08:24, 08:26-08:39, 08:41-08:48, 08:50-08:59, 08:61-08:78, 08:80-08:83, 08:85-08:88, 08:90-08:94, 14:05, 14:13, 18:14, 35:87, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 41:02:01-41:02:04, 41:04, 41:10-41:11, 41:13, 41:15, 41:18, 42:01:01-42:02, 42:05:01-42:12, 42:14-42:17, 55:04, 55:49, C*08:08 |
| 30 | 190 bp | 1070 bp | *40:01:01-40:02:15, 40:04, 40:06:01:01-40:08, 40:10:01-40:16, 40:19, 40:21-40:23, 40:25, 40:27:01-40:27:02, 40:29-40:30, 40:34-40:38, 40:40, 40:43, 40:45-40:50, 40:53-40:58, 40:61-40:62, 40:64-40:70, 40:72:01-40:88, 40:90-40:91, 40:93-40:97, 40:99-40:119, 40:121-40:123, 40:125-40:130, 40:132, 40:134-40:158, 40:160-40:162, 40:164-40:171, 40:173, 40:175-40:179, 40:181-40:183, 40:185-40:186, 40:188-40:198, 40:200-40:215 | *07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 08:40, 08:79, 13:01:01-13:01:02, 13:01:04-13:02:13, 13:07N-13:09, 13:11, 13:13-13:23, 13:25, 13:27-13:33, 13:36-13:45, 13:47, 13:49N-13:50, 13:52, 13:54-13:58, 27:07:01-27:07:02, 27:11, 27:20, 27:24, 27:27, 27:33, 27:43, 35:31, 35:88, 39:47, 39:50, 41:19, 44:31, 48:01:01-48:01:03, 48:03:01-48:07, 48:09-48:16, 48:18-48:22, 48:24, 48:27-48:28, 51:10, 51:16, 51:31, 51:34, 51:81-51:82, 51:93, 52:08, 54:26, 55:09, 55:22, 55:24, 58:27, 81:01-81:05 |
| 316 | 225 bp | 1070 bp | *40:38, 40:48, 40:52, 40:59-40:60, 40:158 | *07:09, 07:11, 07:17, 07:78, 07:162, 15:138, 15:241, 18:35, 35:66, 46:06, 48:14, 48:23, C*07:38:01-07:38:02 |
| 32 | 255 bp | 1070 bp | *40:01:01-40:09, 40:11:01-40:11:02, 40:14:01-40:16, 40:18, 40:20, 40:22N-40:39, 40:42-40:46, 40:48, 40:50-40:57, 40:59-40:75, 40:77-40:95, 40:97-40:108, 40:111-40:116, 40:118N-40:128, 40:130-40:136, 40:138-40:156, 40:158-40:163, 40:165-40:187, 40:189-40:190, 40:192-40:200, 40:202-40:209, 40:211-40:215 | *07:143, 08:62, 15:71, 15:175, 15:204, 15:210, 15:212, 15:225, 18:01:01:01-18:01:12, 18:01:14-18:03, 18:05-18:08, 18:10-18:15, 18:17N-18:24, 18:26-18:42, 18:44:01-18:53, 18:55-18:66, 18:68-18:76, 27:08, 27:12, 27:18, 27:26, 27:33, 27:40, 27:42, 27:44, 27:89, 35:50, 35:63, 35:84, 35:162, 37:05, 37:11, 37:14w, 39:31, 41:01-41:04, 41:06-41:21, 42:02, 42:09, 42:17, 44:131, 45:01-45:14, 46:14, 48:22, 50:01:01-50:02, 50:04-50:12, 50:14-50:17, 54:02, 55:16, 56:35, 73:01-73:02 |
| 33 | 245 bp | 1070 bp | *40:04, 40:30, 40:34, 40:59, 40:64, 40:68, 40:120, 40:129, 40:137, 40:160 | *07:12, 07:14, 07:18:01-07:18:02, 07:137, 07:162, 13:01:01-13:01:06, 13:07N, 13:13, 13:17, 13:20-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43, 13:50-13:52, 13:57, 27:19, 27:30, 35:15, 35:33, 35:88, 44:16, 44:21, 44:64:01-44:64:02, 44:124, 44:150, 48:17, 57:13, 57:25, 58:37, C*02:62, C*03:34, C*03:142, C*15:42, C*17:01:07 |
| 346,12 | 190 bp, 235 bp | 1070 bp | *40:42, 40:60, 40:118N, 40:124:01-40:124:02, 40:172 | *07:14, 07:17, 07:28, 07:96:01-07:96:02, 07:115, 15:230, 27:36, 44:150, 48:17, 48:26, C*04:77, C*07:38:01-07:38:02 |
| 358 | 140 bp | 800 bp | *40:35, 40:71 | *07:68:01-07:68:03, 07:100, 08:71, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:32, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:199, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 42:10, 42:17, 44:54, 44:106, 44:135, 46:12, 48:12, 48:14, 51:64, 53:14, 58:18 |
| 36 | 135 bp | 1070 bp | *40:10:01-40:10:02, 40:40, 40:49, 40:58, 40:110, 40:129, 40:164, 40:210 | *15:46, 15:53, 15:106, 35:47, 35:154, 44:02:01:01-44:03:15, 44:04-44:05:04, 44:09-44:14, 44:16-44:17, 44:19N-44:39, 44:41:01-44:43:02, 44:45-44:48, 44:50-44:54, 44:56N, 44:58N-44:59, 44:61N-44:80, 44:82, 44:84-44:102, 44:104-44:110, 44:112-44:129, 44:132-44:133, 44:135-44:144, 44:146-44:155, 47:01:01:01-47:08, 49:10, 50:13, 57:45 |
| 375,13 | 125 bp, 270 bp | 1070 bp | *40:28, 40:51, 40:113, 40:163 | *14:10, 18:22, 18:69w, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01w-37:04:02w, 51:04, 51:46, 51:56:01-51:56:02, 53:02, 53:06, 53:28, 57:14, 58:09, C*15:39 |
| 385,6 | 120 bp | 1070 bp | *40:28 | *35:01:10, 35:04:02, 44:62, 51:04, 51:46, 51:56:01-51:56:02, 53:28 |
| 396 | 330 bp | 800 bp | *40:12 | *15:03:01-15:03:03, 15:09-15:10:02, 15:18:01-15:18:04, 15:23, 15:29, 15:37, 15:46-15:47:02, 15:49, 15:51-15:54, 15:61-15:62, 15:64, 15:69, 15:72, 15:74, 15:80, 15:90-15:91, 15:93, 15:98-15:99, 15:103, 15:106, 15:108, 15:114-15:115, 15:119, 15:123-15:124, 15:127, 15:131-15:134, 15:143, 15:151, 15:153, 15:156, 15:158, 15:161, 15:173, 15:176, 15:186, 15:197-15:198, 15:200, 15:210, 15:212, 15:220-15:221, 15:226N, 15:229, 15:235, 15:238, 15:242-15:243, 15:252-15:253, C*07:46 |
| 405 | 120 bp | 1070 bp | *40:38, 40:52, 40:59-40:60 | *15:116, 15:124, 46:06, 48:23 |
| 416 | 205 bp | 1070 bp | *40:08, 40:25, 40:68, 40:106, 40:166w | *07:143w, 08:62, 18:01:01:01-18:01:12, 18:01:14-18:03, 18:05-18:11, 18:13-18:15, 18:17N-18:24, 18:26-18:42, 18:44:01-18:76, 27:23, 27:92, 35:50, 35:84, 35:162, 37:08, 39:31, 42:02w, 42:09w, 42:17w, 50:15, 51:103, 51:116, 54:02w, 55:16w, 56:35w, 73:01w-73:02w |
| 425 | 95 bp | 1070 bp | *40:01:11, 40:58 | *44:02:10, 44:34 |
| 43 | 185 bp | 1070 bp | *40:30, 40:34, 40:59, 40:137, 40:160 | *48:17, C*03:129, C*17:01:07 |
| 445,14 | 110 bp, 205 bp | 800 bp | *40:54, 40:78 |  |
| 4515 | 175 bp, 235 bp | 1070 bp | *40:55-40:56 |  |
| 469 | 545 bp | 1070 bp | *40:11:01, 40:20, 40:26, 40:74, 40:149, 40:184 | *15:71, 15:175, 18:01:01:01-18:01:05, 18:01:07-18:01:12, 18:01:14-18:01:17, 18:03, 18:05-18:07:02, 18:09-18:13, 18:15, 18:17N, 18:19-18:21, 18:23N-18:24, 18:26, 18:28-18:42, 18:44:01, 18:45-18:51, 18:53-18:67, 18:69, 18:71-18:76, 27:19, 27:21, 27:30, 27:70, 37:12, 37:19, 39:31, 44:103, 44:131 |
| 47 | 145 bp | 800 bp | *40:57 |  |
| 486,16 | 215 bp, 245 bp | 1070 bp | *40:61, 40:73 | *18:06, 46:14 |
| 495 | 120 bp | 1070 bp | *40:36, 40:48 | *48:07, 54:22 |
| 50 | 250 bp | 1070 bp | *40:37, 40:76 | *18:49, 27:42, 27:89, 37:05, C*06:77 |
| 51 | 205 bp | 1070 bp | *40:62 |  |
| 525 | 90 bp | 1070 bp | *40:63, 40:92 | *15:116, C*03:162, C*07:186, C*07:212, C*17:07 |
| 53 | 165 bp | 1070 bp | *40:65 |  |
| 545,6 | 125 bp | 800 bp | *40:66, 40:103, 40:166 | *07:133, 44:90, 45:06 |
| 555,8 | 125 bp | 800 bp | *40:67 |  |
| 565,8,17 | 100 bp, 165 bp | 1070 bp | *40:69, 40:97 |  |
| 57 | 385 bp | 1070 bp | *40:79, 40:190 | *07:23, 41:14 |
| 58 | 190 bp | 1070 bp | *40:31, 40:80 | *07:147, 07:151, 48:01:01-48:01:03, 48:04, 48:06-48:07, 48:09, 48:11, 48:14-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:28, 81:01-81:05 |
| 595,18 | 85 bp, 190 bp | 1070 bp | *40:81, 40:127 | *44:143 |
| 6019 | 135 bp, 250 bp | 800 bp | *40:82, 40:88 | *27:80 |
| 615 | 80 bp | 1070 bp | *40:02:04, 40:10:02, 40:83 | *07:133, 15:46, 15:106, 15:143, 35:19, 35:47, 35:154, 37:06, 44:84, 51:112, 57:45 |
| 6220 | 195 bp, 245 bp | 800 bp | *40:84, 40:119 |  |
| 6321 | 180 bp, 240 bp | 1070 bp | *40:85, 40:133Q |  |
| 645 | 105 bp | 1070 bp | *40:86 | *13:46, 15:137, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 45:02, 50:09, 51:13:01-51:13:02, 51:92, 52:14, 55:13, 56:22, 59:03, 73:01-73:02 |
| 658,22 | 130 bp, 170 bp | 1070 bp | *40:02:01-40:02:15, 40:04-40:06:05, 40:08, 40:11:01-40:11:02, 40:13-40:16, 40:19, 40:23, 40:26-40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:53, 40:56-40:58, 40:64, 40:68, 40:70-40:71, 40:75, 40:78, 40:82-40:83, 40:86, 40:90, 40:93-40:97, 40:99, 40:103-40:105, 40:107, 40:109-40:111, 40:115, 40:119, 40:121-40:122, 40:127-40:129, 40:133Q, 40:136, 40:142N-40:145, 40:148, 40:157-40:158, 40:161-40:162, 40:164-40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:181, 40:184, 40:189-40:190, 40:198, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214 | *07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 08:01:01-08:01:11, 08:01:13-08:05, 08:08N-08:12:01, 08:12:03-08:13, 08:15-08:27, 08:29-08:36, 08:38-08:48, 08:50-08:63, 08:65-08:73, 08:75-08:82N, 08:84w, 08:85-08:86N, 08:88, 08:90-08:94, 13:03, 13:18, 13:22:01-13:22:02, 13:31, 13:40w, 13:41, 13:45, 13:48, 14:13, 15:09, 15:30, 15:42, 15:48, 15:58, 15:73, 15:83, 15:86, 15:150, 15:188, 15:224, 15:229, 15:243, 15:252, 18:26, 18:61, 27:07:01-27:07:02, 27:11, 27:20, 27:27, 27:33, 27:43, 35:02:01w-35:02:04w, 35:04:01-35:04:03, 35:06, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:18, 35:22, 35:31, 35:44, 35:59-35:60, 35:81w, 35:83w, 35:87-35:88, 35:95w, 35:129Nw, 35:149, 35:154w, 35:157w, 35:162w, 35:172w, 35:182w-35:184w, 35:201, 37:12, 38:01:01, 38:01:03-38:21, 38:23-38:28, 38:30-38:37, 38:39-38:40, 39:01:01:01-39:01:01:03, 39:01:03-39:01:11, 39:01:12w, 39:01:13-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22, 39:24:01-39:24:02, 39:26-39:28, 39:30-39:42, 39:45-39:48, 39:50-39:54, 39:56-39:75, 41:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 42:17, 44:10, 44:14, 44:62, 44:77, 44:82, 45:14, 46:11, 46:18, 48:05, 48:10, 48:12-48:13, 48:19, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:16, 51:19-51:24:04, 51:26, 51:28-51:36, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:74, 51:76-51:83, 51:86-51:89, 51:91, 51:95-51:121, 51:123-51:129, 51:131-51:134, 51:136-51:137, 52:01:01:01-52:01:10, 52:01:12-52:11, 52:13-52:25, 52:27-52:30, 53:19w, 54:01:01-54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:21, 54:23-54:26, 55:01:01-55:05, 55:07-55:13, 55:15-55:22, 55:24-55:26, 55:28-55:40, 55:42-55:45, 55:47-55:49, 55:51-55:56, 56:01:01-56:02, 56:04-56:08, 56:10, 56:12-56:17, 56:19N-56:30, 56:33-56:36, 57:02:01-57:03:02, 57:07, 57:09, 57:12, 57:17, 57:28N, 57:39, 57:42, 57:46, 57:57, 58:08:01-58:08:02, 58:20, 58:27-58:28, 59:01:01:01-59:05, 67:01:01-67:03, 78:01:01-78:07, 82:01-82:03, C*15:24 |
| 66 | 145 bp | 1070 bp | *40:14:01-40:16, 40:32, 40:72:01-40:72:02, 40:77, 40:98, 40:121, 40:136, 40:158 | *07:02:01-07:18:02, 07:20-07:22:01, 07:23-07:32, 07:34-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:99, 07:101-07:121, 07:123-07:138, 07:140-07:158, 07:160-07:162, 08:79, 15:138, 15:230, 15:241, 18:35, 35:66, 37:07, 41:08, 42:05:01-42:05:02, 44:150, 48:05, 48:08, 48:10, 48:12, 48:14, C*02:23, C*04:77, C*07:38:01-07:38:02 |
| 675,6,23 | 85 bp, 255 bp | 1070 bp | *40:89, 40:107 | *08:74 |
| 68 | 225 bp | 1070 bp | *40:90 |  |
| 695,8 | 75 bp | 800 bp | *40:91, 40:94 | *13:21, A*24:140 |
| 708 | 505 bp | 1070 bp | *40:09, 40:18, 40:24, 40:31-40:33, 40:42, 40:44, 40:98, 40:120 | *13:35, 41:04, 41:18, 41:21, 44:02:01:01-44:03:05, 44:03:07-44:05:04, 44:09, 44:11-44:13, 44:16, 44:19N-44:30, 44:32-44:37:02, 44:39-44:42, 44:44-44:56N, 44:58N-44:61N, 44:63-44:76, 44:78-44:81, 44:84, 44:132, 44:134-44:139, 44:141-44:143, 44:145-44:155 |
| 715 | 120 bp | 800 bp | *40:75 | *38:12 |
| 726 | 245 bp | 1070 bp | *40:06:01:01-40:06:05, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:167, 40:177, 40:190 | *07:78, 07:84, 13:02:01-13:02:13, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37-13:38, 13:40-13:42, 13:44-13:45, 13:47, 13:49N, 13:54-13:56N, 13:58, 27:14, 27:81, 39:50, 45:10, 49:07, 51:10, 51:16, 51:31, 51:34, 51:82, 51:93, 52:08, 54:26, 55:09, 55:22, 55:24, 73:01-73:02 |
| 73 | 245 bp | 1070 bp | *40:176 |  |
| 746 | 210 bp | 1070 bp | *40:95, 40:148, 40:161w | *07:78w, 07:84w, 13:16, 13:48, 15:16:01-15:16:03, 15:42, 15:67, 15:95, 15:254, 49:01:01, 49:01:03-49:10, 49:12-49:22, 50:01:01-50:01:02, 50:01:03w, 50:02, 50:04-50:11, 50:13-50:16, 51:01:01-51:03, 51:07:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:28, 51:29w, 51:30, 51:32-51:35, 51:37-51:39, 51:41N, 51:43, 51:48-51:53, 51:55w, 51:57-51:58, 51:60, 51:63, 51:65-51:71, 51:74-51:80, 51:82w, 51:83-51:86, 51:88-51:90, 51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:121, 51:123-51:134, 51:136-51:137, 52:01:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20, 52:22-52:23, 52:24w, 52:25-52:30, 54:20w, 55:01:01-55:01:06, 55:01:08-55:01:09, 55:03, 55:05, 55:09w, 55:11, 55:15, 55:17, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52w, 55:53-55:55N, 56:05:01-56:06, 56:21, 56:25, 58:08:01-58:08:02, 78:01:01-78:03, 78:05-78:07 |
| 75 | 270 bp | 1070 bp | *40:155N |  |
| 76 | 260 bp | 1070 bp | *40:47, 40:96, 40:157, 40:168, 40:201 | *13:23, 13:55, 18:09, 27:01, 37:10, 44:15, 44:55, 44:103, 49:02 |
| 77 | 185 bp | 800 bp | *40:102, 40:142N |  |
| 785,24 | 115 bp, 250 bp | 1070 bp | *40:111, 40:135 |  |
| 7925 | 185 bp, 220 bp | 1070 bp | *40:116, 40:145 |  |
| 805 | 115 bp | 1070 bp | *40:122, 40:151 |  |
| 8126 | 225 bp, 335 bp | 1070 bp | *40:141, 40:144N |  |
| 825,27 | 75 bp, 175 bp | 800 bp | *40:115, 40:150 | *07:120, 15:214, 57:29 |
| 83 | 150 bp | 1070 bp | *40:179 |  |
| 84 | 200 bp | 1070 bp | *40:132, 40:178 | *07:140, 44:10, 44:14, 44:31, 44:62, 44:77, 44:82, 45:14, 51:23, 51:108, 52:15, 57:07, 82:01-82:03 |
| 85 | 260 bp | 1070 bp | *40:213 | *15:227, 27:69, 37:23 |
| 86 | 245 bp | 800 bp | *40:06:01:01-40:06:05, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:167, 40:177, 40:190 | *07:78, 07:84, 13:02:01-13:02:13, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37-13:38, 13:40-13:42, 13:44-13:45, 13:47, 13:49N, 13:54-13:56N, 13:58, 27:14, 27:81, 39:50, 45:10, 49:07, 51:10, 51:16, 51:31, 51:34, 51:82, 51:93, 52:08, 54:26, 55:09, 55:22, 55:24, 73:01-73:02 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*40 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*40 subtyping.

In addition, wells number 2, 4, 5, 7, 14 to 18, 21 to 23, 27, 29, 35, 39, 44, 47, 54, 55, 60, 62, 69, 71, 77, 82 and 86 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification. In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*40 alleles will be amplified by primer mixes 1 to 23, 25, 26, 28 to 43, 46, 48  to 50, 52, 54, 57 to 61, 64 to 67, 69 to 72, 74, 76, 82 and 84 to 86.

In addition, the A*24:140 allele will be amplified by primer mix 69, the C*01:73 allele will be amplified by primer mix 21, the C*02:02:23 allele will be amplified by primer mix 18, the C*02:06 and 02:36 alleles will be amplified by primer mix 5,  the C*02:23 allele will be amplified by primer mixes 5, 20, 26 and 66, the C*02:60 allele will be amplified by primer mixes 6, 13, 22, the C*C*02:62, 03:34 and 03:142 alleles will be amplified by primer mix 33, the HLA-C*03:05, 03:25 and 03:27 alleles will be amplified by primer mixes 4, 8 and 13, the C*03:104 and 12:25 alleles will be amplified by primer mix 23, the C*03:129 allele will be amplified by primer mix 43, the C*03:143 allele will be amplified by primer mixes 8 and 13, the C*03:162, 07:186, 07:212 and 17:07 alleles will be amplified by primer mix 52, the C*04:77 allele will be amplified by primer mixes 20, 26, 34 and 66, the C*06:77 allele will be amplified by primer mix 50, the C*07:38:01-07:38:02 alleles will be amplified by primer mixes 16, 31, 34 and 66, the C*07:46 allele will be amplified by primer mix 39, the C*07:81 and 07:168 alleles will be amplified by primer mix 11, the C*08:08 allele by primer mixes 6 and 29, the C*15:24 allele will be amplified by primer mix 65,the C*15:39 allele will be amplified by primer mix 37, the C*15:42 allele will be amplified by primer mixes 5 and 33, the C*17:01:07 allele will be amplified by primer mixes 33 and 43, and the C*17 alleles faintly by primer mix 7.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 21, 23, 31, 34, 38, 39, 41, 48, 54, 67, 72 and 74 may have tendencies of unspecific amplifications.

7Primer mix 7 may faintly amplify the C*17 alleles.

8Primer mixes 35, 55, 56, 65, 69 and 70 have a tendency to giving rise to primer oligomer formation.

9Primer mix 46 may give rise to a lower yield of HLA-specific PCR product than the other B*40 primer mixes.

10Primer mix 16: Specific PCR fragment of 75 bp in the B*40:15 allele. Specific PCR fragment of 160 bp in the B*40:14:01, 40:72:01, 40:77, 40:121 and 40:136 and in the B*07:02:13, 07:68:02, 18:35, 35:66, 42:05:01-42:05:02 and 48:12 and the C*07:38:01-07:38:02 alleles.

11Primer mix 20: Specific PCR fragment of 135 bp in the B*40:14:01-40:14:03, 40:23, 40:114, 40:121, 40:136, 40:158,  and the B*07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:78, 07:84, 07:137, 07:162, 15:138, 15:230, 15:241, 18:35,  41:08 and 44:150  and the C*02:23 and C*04:77 alleles. Specific PCR fragment of 285 bp in the B*40:31 and 40:80 and the B*07:106, 07:147, 07:151, 48:01:01-48:01:03, 48:06, 48:07, 48:09, 48:11, 48:14-48:16, 48:18-48:20, 48:22, 48:27-48:28 and 81:01-81:05 alleles. Specific PCR fragments of 135 and 285 bp in the B*40:15-40:16, 40:32, 40:45, 40:98 and B*07:02:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:32, 07:34-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:76, 07:79-07:83, 07:85-07:99, 07:101-07:105, 07:107-07:121, 07:123-07:136, 07:138, 07:140-07:146, 07:148-07:150, 07:152-07:161N, 08:79, 35:66, 37:07, 42:05:01-42:05:02, 48:05, 48:08, 48:10 and 48:12 alleles. (Both specific fragments may not always be obtained.)

12Primer mix 34: Specific PCR fragment of 190 bp in the B*40:118N allele. Specific PCR fragment of 235 bp in the *40:42, 40:60, 40:124:01-40:124:02 and 40:172 and in the B*07:14, 07:17, 07:28, 07:96:01-07:96:02, 07:115, 15:230, 27:36, 44:150, 48:17 and 48:26 and the C*04:77 and C*07:38:01-07:38:02 alleles.

13Primer mix 37: Specific PCR fragment of 125 bp in the B*40:51, 40:113 and 40:163 alleles. Specific PCR fragment of 270 bp in the B*40:28 and in the B*14:10, 18:22, 18:69w, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01w-37:04:02w, 51:04, 51:46, 51:56:01-51:56:02, 53:02, 53:06, 53:28, 57:14 and 58:09 and the C*15:39 alleles.

14Primer mix 44: Specific PCR fragment of 110 bp in the B*40:78 allele. Specific PCR fragment of 205 bp in the B*40:54 allele.

15Primer mix 45: Specific PCR fragment of 175 bp in the B*40:56 allele. Specific PCR fragment of 235 bp in the B*40:55 alleles.

16Primer mix 48: Specific PCR fragment of 215 bp in the B*40:61 allele. Specific PCR fragment of 245 bp in the B*40:73 and B*18:06 and 46:14 alleles.

17Primer mix 56: Specific PCR fragment of 100 bp in the B*40:69 allele. Specific PCR fragment of 165 bp in the B*40:97 allele.

18Primer mix 59: Specific PCR fragment of 85 bp in the B*40:127 and the 44:143 alleles. Specific PCR fragment of 190 bp in the B*40:81 allele.

19Primer mix 60: Specific PCR fragment of 135 bp in the B*40:82 allele. Specific PCR fragment of 250 bp in the B*40:88 and the B*27:80 alleles.

20Primer mix 62: Specific PCR fragment of 195 bp in the B*40:84 allele. Specific PCR fragment of 245 bp in the B*40:119 allele.

21Primer mix 63: Specific PCR fragment of 180 bp in the B*40:85 allele. Specific PCR fragment of 240 bp in the B*40:133Q allele.

22Primer mix 65: Specific PCR fragment of 130 bp in the B*40:02:01-40:02:15, 40:04-40:06:05, 40:08, 40:11:01-40:11:02, 40:13-40:14, 40:19, 40:26-40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:53, 40:56-40:58, 40:64, 40:68, 40:70-40:71, 40:75, 40:78, 40:82-40:83, 40:86, 40:90, 40:93-40:97, 40:99, 40:103-40:105, 40:107, 40:109-40:111, 40:115, 40:119, 40:121-40:122, 40:127, 40:129, 40:133Q, 40:136, 40:142N-40:145, 40:148, 40:157-40:158, 40:162, 40:164-40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:181, 40:184, 40:189-40:190, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, and the B*07:34, 07:80, 08:01:01-08:01:11, 08:01:13-08:05, 08:08N-08:12:01, 08:12:03-08:13, 08:15-08:19, 08:21-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:63, 08:65-08:69, 08:71-08:73, 08:75-08:78, 08:80-08:82N, 08:84w, 08:85-08:86N, 08:88, 08:90-08:94,13:03, 13:22:01-13:22:02, 13:40w , 13:45, 13:48, 14:13, 15:09, 15:42, 15:48, 15:83, 15:86, 15:188, 15:224, 15:229, 15:243, 15:252, 18:26, 18:61, 27:07:01-27:07:02, 27:11, 27:20, 27:27, 27:33, 27:43, 35:02:01w-35:02:04w, 35:04:01-35:04:03, 35:06, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:22, 35:31, 35:59-35:60, 35:81w, 35:83w, 35:87-35:88, 35:95w, 35:129Nw, 35:149, 35:154w, 35:157w, 35:162w, 35:182w-35:184w, 35:201, 37:12, 38:01:01, 38:01:03-38:21, 38:23-38:28, 38:30-38:37, 38:39-38:40, 39:01:01:01-39:01:01:03, 39:01:03-39:01:11, 39:01:12w, 39:01:13-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22, 39:24:01-39:24:02, 39:26-39:28, 39:30-39:32, 39:34-39:35, 39:37-39:42, 39:45-39:48, 39:50-39:54, 39:56-39:75, 41:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 42:17, 44:10, 44:14, 44:62, 44:77, 44:82, 45:14, 46:11, 46:18, 48:10, 48:12-48:13, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:04, 51:06-51:16, 51:19-51:24:04, 51:26, 51:28, 51:30-51:36, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:53, 51:55-51:60, 51:62-51:74, 51:76-51:81, 51:83, 51:86-51:89, 51:91, 51:95-51:121, 51:123-51:129, 51:131-51:134, 51:136-51:137, 52:01:01:01-52:01:10, 52:01:12-52:11, 52:13-52:20, 52:22-52:23, 52:25, 52:27-52:30, 53:19w, 54:01:01-54:05N, 54:07-54:08N, 54:12-54:13, 54:17-54:19, 54:21, 54:23-54:26, 55:01:01-55:05, 55:07-55:08, 55:10-55:13, 55:15-55:20, 55:22, 55:24-55:26, 55:28-55:36, 55:38-55:40, 55:42-55:45, 55:47-55:49, 55:51, 55:53-55:56, 56:01:01-56:02, 56:04-56:08, 56:10, 56:12-56:17, 56:19N-56:30, 56:33-56:36, 57:03:01-57:03:02, 57:07, 57:09, 57:17, 57:39, 57:46, 57:57, 58:08:01-58:08:02, 58:20, 58:27-58:28, 59:01:01:01-59:05, 67:01:01-67:03, 78:01:01-78:07 and 82:01-82:03 and the C*15:24 alleles. Specific PCR fragment of 170 bp in the B*40:23, 40:128 and 40:198 and the B*07:90, 13:18, 13:31, 13:41 and 48:19 alleles. Specific PCR fragment of 130 and 170 bp in the B*40:15-40:16, 40:161 and the B*07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 08:20, 08:40, 08:70, 08:79, 15:30, 15:58, 15:73, 15:150, 35:18, 35:44, 35:172w, 39:33, 39:36, 48:05, 51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:52, 57:02:01-57:02:02, 57:12, 57:28N and  57:42 alleles. (Both specific fragments may not always be obtained.)

23Primer mix 67: Specific PCR fragment of 85 bp in the B*40:89 and the B*08:74 alleles. Specific PCR fragment of 255 bp in the B*40:107 allele.

24Primer mix 78: Specific PCR fragment of 115 bp in the B*40:111 allele. Specific PCR fragment of 250 bp in the B*40:135 allele.

25Primer mix 79: Specific PCR fragment of 185 bp in the B*40:145 allele. Specific PCR fragment of 220 bp in the B*40:116 allele.

26Primer mix 81: Specific PCR fragment of 225 bp in the B*40:144N allele. Specific PCR fragment of 335 bp in the B*40:141 allele.

27Primer mix 82: Specific PCR fragment of 75 bp in the B*40:115 allele. Specific PCR fragment of 175 bp in the B*40:150 and the B*07:120, 15:214 and 57:29 alleles.

‘w’, might be weakly amplified.

1The nucleotide sequence of the B*4017 allele has been shown to be identical to B*40:16. The nucleotide sequence of the B*4041 allele has been shown to be identical to B*40:40.

2HLA-B*40 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.9.0, July 2012.

3The HLA-B*40 primer set cannot separate the B*40:209 and the B*41:19 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*41 high resolution kit.

4The B*40:14:01 respectively the 40:121 and 40:136 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 40.

5Primer mix 16: Specific PCR fragment of 75 bp in the B*40:15 allele. Specific PCR fragment of 160 bp in the B*40:14:01, 40:72:01, 40:77, 40:121 and 40:136 and in the B*07:02:13, 07:68:02, 18:35, 35:66, 42:05:01-42:05:02 and 48:12 and the C*07:38:01-07:38:02 alleles.

Primer mix 20: Specific PCR fragment of 135 bp in the B*40:14:01-40:14:03, 40:23, 40:114, 40:121, 40:136, 40:158,  and the B*07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:78, 07:84, 07:137, 07:162, 15:138, 15:230, 15:241, 18:35,  41:08 and 44:150  and the C*02:23 and C*04:77 alleles. Specific PCR fragment of 285 bp in the B*40:31 and 40:80 and the B*07:106, 07:147, 07:151, 48:01:01-48:01:03, 48:06, 48:07, 48:09, 48:11, 48:14-48:16, 48:18-48:20, 48:22, 48:27-48:28 and 81:01-81:05 alleles. Specific PCR fragments of 135 and 285 bp in the B*40:15-40:16, 40:32, 40:45, 40:98 and B*07:02:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:32, 07:34-07:39, 07:41-07:52, 07:54-07:59, 07:61-07:76, 07:79-07:83, 07:85-07:99, 07:101-07:105, 07:107-07:121, 07:123-07:136, 07:138, 07:140-07:146, 07:148-07:150, 07:152-07:161N, 08:79, 35:66, 37:07, 42:05:01-42:05:02, 48:05, 48:08, 48:10 and 48:12 alleles. (Both specific fragments may not always be obtained.)

Primer mix 34: Specific PCR fragment of 190 bp in the B*40:118N allele. Specific PCR fragment of 235 bp in the *40:42, 40:60, 40:124:01-40:124:02 and 40:172 and in the B*07:14, 07:17, 07:28, 07:96:01-07:96:02, 07:115, 15:230, 27:36, 44:150, 48:17 and 48:26 and the C*04:77 and C*07:38:01-07:38:02 alleles.

Primer mix 37: Specific PCR fragment of 125 bp in the B*40:51, 40:113 and 40:163 alleles. Specific PCR fragment of 270 bp in the B*40:28 and in the B*14:10, 18:22, 18:69w, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 37:04:01w-37:04:02w, 51:04, 51:46, 51:56:01-51:56:02, 53:02, 53:06, 53:28, 57:14 and 58:09 and the C*15:39 alleles.

Primer mix 44: Specific PCR fragment of 110 bp in the B*40:78 allele. Specific PCR fragment of 205 bp in the B*40:54 allele.

Primer mix 45: Specific PCR fragment of 175 bp in the B*40:56 allele. Specific PCR fragment of 235 bp in the B*40:55 alleles.

Primer mix 48: Specific PCR fragment of 215 bp in the B*40:61 allele. Specific PCR fragment of 245 bp in the B*40:73 and B*18:06 and 46:14 alleles.

Primer mix 56: Specific PCR fragment of 100 bp in the B*40:69 allele. Specific PCR fragment of 165 bp in the B*40:97 allele.

Primer mix 59: Specific PCR fragment of 85 bp in the B*40:127 and the 44:143 alleles. Specific PCR fragment of 190 bp in the B*40:81 allele.

Primer mix 60: Specific PCR fragment of 135 bp in the B*40:82 allele. Specific PCR fragment of 250 bp in the B*40:88 and the B*27:80 alleles.

Primer mix 62: Specific PCR fragment of 195 bp in the B*40:84 allele. Specific PCR fragment of 245 bp in the B*40:119 allele.

Primer mix 63: Specific PCR fragment of 180 bp in the B*40:85 allele. Specific PCR fragment of 240 bp in the B*40:133Q allele.

Primer mix 65: Specific PCR fragment of 130 bp in the B*40:02:01-40:02:15, 40:04-40:06:05, 40:08, 40:11:01-40:11:02, 40:13-40:14, 40:19, 40:26-40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:53, 40:56-40:58, 40:64, 40:68, 40:70-40:71, 40:75, 40:78, 40:82-40:83, 40:86, 40:90, 40:93-40:97, 40:99, 40:103-40:105, 40:107, 40:109-40:111, 40:115, 40:119, 40:121-40:122, 40:127, 40:129, 40:133Q, 40:136, 40:142N-40:145, 40:148, 40:157-40:158, 40:162, 40:164-40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:181, 40:184, 40:189-40:190, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, and the B*07:34, 07:80, 08:01:01-08:01:11, 08:01:13-08:05, 08:08N-08:12:01, 08:12:03-08:13, 08:15-08:19, 08:21-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:63, 08:65-08:69, 08:71-08:73, 08:75-08:78, 08:80-08:82N, 08:84w, 08:85-08:86N, 08:88, 08:90-08:94,13:03, 13:22:01-13:22:02, 13:40w , 13:45, 13:48, 14:13, 15:09, 15:42, 15:48, 15:83, 15:86, 15:188, 15:224, 15:229, 15:243, 15:252, 18:26, 18:61, 27:07:01-27:07:02, 27:11, 27:20, 27:27, 27:33, 27:43, 35:02:01w-35:02:04w, 35:04:01-35:04:03, 35:06, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:22, 35:31, 35:59-35:60, 35:81w, 35:83w, 35:87-35:88, 35:95w, 35:129Nw, 35:149, 35:154w, 35:157w, 35:162w, 35:182w-35:184w, 35:201, 37:12, 38:01:01, 38:01:03-38:21, 38:23-38:28, 38:30-38:37, 38:39-38:40, 39:01:01:01-39:01:01:03, 39:01:03-39:01:11, 39:01:12w, 39:01:13-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22, 39:24:01-39:24:02, 39:26-39:28, 39:30-39:32, 39:34-39:35, 39:37-39:42, 39:45-39:48, 39:50-39:54, 39:56-39:75, 41:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 42:17, 44:10, 44:14, 44:62, 44:77, 44:82, 45:14, 46:11, 46:18, 48:10, 48:12-48:13, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:04, 51:06-51:16, 51:19-51:24:04, 51:26, 51:28, 51:30-51:36, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:53, 51:55-51:60, 51:62-51:74, 51:76-51:81, 51:83, 51:86-51:89, 51:91, 51:95-51:121, 51:123-51:129, 51:131-51:134, 51:136-51:137, 52:01:01:01-52:01:10, 52:01:12-52:11, 52:13-52:20, 52:22-52:23, 52:25, 52:27-52:30, 53:19w, 54:01:01-54:05N, 54:07-54:08N, 54:12-54:13, 54:17-54:19, 54:21, 54:23-54:26, 55:01:01-55:05, 55:07-55:08, 55:10-55:13, 55:15-55:20, 55:22, 55:24-55:26, 55:28-55:36, 55:38-55:40, 55:42-55:45, 55:47-55:49, 55:51, 55:53-55:56, 56:01:01-56:02, 56:04-56:08, 56:10, 56:12-56:17, 56:19N-56:30, 56:33-56:36, 57:03:01-57:03:02, 57:07, 57:09, 57:17, 57:39, 57:46, 57:57, 58:08:01-58:08:02, 58:20, 58:27-58:28, 59:01:01:01-59:05, 67:01:01-67:03, 78:01:01-78:07 and 82:01-82:03 and the C*15:24 alleles. Specific PCR fragment of 170 bp in the B*40:23, 40:128 and 40:198  and the B*07:90, 13:18, 13:31, 13:41 and 48:19 alleles. Specific PCR fragment of 130 and 170 bp in the B*40:15-40:16, 40:161 and the B*07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 08:20, 08:40, 08:70, 08:79, 15:30, 15:58, 15:73, 15:150, 35:18, 35:44, 35:172w, 39:33, 39:36, 48:05, 51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:52, 57:02:01-57:02:02, 57:12, 57:28N and  57:42 alleles. (Both specific fragments may not always be obtained.)

Primer mix 67: Specific PCR fragment of 85 bp in the B*40:89 and the B*08:74 alleles. Specific PCR fragment of 255 bp in the B*40:107 allele.

Primer mix 78: Specific PCR fragment of 115 bp in the B*40:111 allele. Specific PCR fragment of 250 bp in the B*40:135 allele.

Primer mix 79: Specific PCR fragment of 185 bp in the B*40:145 allele. Specific PCR fragment of 220 bp in the B*40:116 allele.

Primer mix 81: Specific PCR fragment of 225 bp in the B*40:144N allele. Specific PCR fragment of 335 bp in the B*40:141 allele.

Primer mix 82: Specific PCR fragment of 75 bp in the B*40:115 allele. Specific PCR fragment of 175 bp in the B*40:150 and the B*07:120, 15:214 and 57:29 alleles.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

- Primer mix 70 does not amplify  the following alleles: B*40:03, 40:20, 40:52, 40:59, 40:60 and 40:159 and the B*13:04, 13:10, 13:26, 15:46, 15:53, 15:106, 15:212, 18:48, 35:46-35:47, 35:63, 44:17, 44:43:01-44:43:02, 44:144, 45:09, 49:04-49:05, 57:45 and 57:51 and the C*07:69 alleles.

This has been corrected in the Specificity and Interpretation Tables.