Gel Documentation Form and Worksheet

HLA-B*41 (101.542-06/06u) 	Lot No: 1D3	Expiry Date: 2018-May-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9 may have tendencies of unspecific amplifications.

Primer mix 22 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*41 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.21.1, August 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 90 bp in the B*41:12 and 41:36 and the B*15:46, 15:106, 35:47, 35:154, 40:10:01-40:10:02, 40:248, 40:282, 44:34:02, 53:30 and 57:45 alleles. Specific PCR fragment of 265 bp in the B*41:04 and 41:07 and the B*08:96, 08:107, 53:15 and 55:20 alleles.

Primer mix 5: Specific PCR fragment of 230 bp in the B*41:23 and 41:27 and the B*07:143, 08:62, 18:03, 27:04:01-27:04:04, 27:06, 27:08, 27:11-27:12, 27:15, 27:20-27:21, 27:24-27:26, 27:31, 27:33, 27:36, 27:40, 27:61, 27:63, 27:66N, 27:68-27:69, 27:79, 27:86, 27:89w, 27:91, 27:100, 27:103, 27:105-27:109, 27:112-27:115, 27:120, 27:125, 27:138, 37:37, 39:31, 39:101, 40:43, 40:50, 40:166, 42:02:01:01-42:02:01:02, 42:09, 42:17-42:18, 45:06, 46:14w, 54:02, 55:16 and 56:35 and in the C*03:278w, C*16:86w alleles. Specific PCR fragment of 255 bp in the B*41:05 allele.

Primer mix 14: Specific PCR fragment of 115 bp in the B*41:13 allele. Specific PCR fragment of 215 bp in the B*41:16 allele.

Primer mix 19: Specific PCR fragment of 130 bp in the B*41:28 and the B*44:80 alleles. Specific PCR fragment of 155 bp in the B*41:11 and the B*13:30, 40:293 and 44:219 alleles.

4The B*41:08 and the B*40:136, 40:231 and 40:279 alleles give rise to identical amplification patterns with the HLA-B*41 high resolution kit. These alleles can be distinguished by the HLA-B low resolution and/or HLA-B*40 kits.

5The following HLA-B*41 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*41:04, 41:36 | 4 |
| B*41:07, 41:12 | 4 |

The HLA-B*41 subtyping kit cannot distinguish the silent mutations in the B*41:01:01-41:01:04 or the B*41:02:01-41:02:06 alleles.

6This lot of the B*41 kit cannot distinguish the B*41:14 and the B*41:01:01-41:01:04, 41:20, 41:25-41:26, 41:30, 41:34-41:35 and 41:37 alleles.

‘w’,  might be weakly amplified.

Changes in revision R01 compared to R00:

- Primer mix 15 does not amplify the B*41:14 and the B*07:23, 40:79, 40:190 and 40:289 alleles. Thus, this lot of the B*41 kit cannot distinguish the B*41:14 and the B*41:01:01-41:01:04, 41:20, 41:25-41:26, 41:30, 41:34-41:35 and 41:37 alleles. This has been corrected in the Specificity and Interpretation Tables.