Gel Documentation Form and Worksheet

HLA-B*42 (101.543-06/06u) 	Lot No: 26V	Expiry Date: 2016-July-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*42 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.14.0, October 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 11: Specific PCR fragment of 115 bp in the B*42:19 and the B*08:20 and 08:53:01-08:53:02 alleles. Specific PCR fragment of 180 bp in the B*42:10 and 42:17 and the B*08:49, 08:71, 27:83, 41:24 and 53:15 alleles.

Primer mix 14: Specific PCR fragment of 200 bp in the B* 42:15, and the B*07:11, 07:57, 07:75, 08:17, 08:47, 18:49, 18:79, 37:05 and 39:20 and in the C*01:59, C*06:82, C*07:49, 07:210, 07:238 and 07:247 alleles. Specific PCR fragment of 290 bp in the B*42:13 and the B*08:49, 08:60, 08:76 and 53:15 alleles.

‘w’, might be weakly amplified.

4The HLA-B*42 primer set cannot separate the B*42:07 and the B*08:94 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*08 high resolution kit.