PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*44

Prod. No:	101.563-24/03 – including Taq pol.

101.563-24u/03u – without Taq pol.

Lot No:    	34E

Expiry Date:    	2010-April-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B*44 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*44 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 260 bp | 800 bp | 44020101-4414, 4417, 4419N, 4421-4430, 4432-4436, 4438-4440, 4443-4446, 4448-4453, 4455-4460 | 3545, 3571, 5142, 5707, 8301 |
| 25,6 | 90 bp | 800 bp | 44020101-4405, 4409-4433, 4435-4438, 4441-4443, 4445-4456N, 4458N, 4459 | 1553, 3563, 400101-4009, 4011, 4013-4016, 4018-4020, 4022N-4040, 4042-4045, 4047-4057, 4059-4082, 4084-4088, 4101-4108, 4501-4508, 47010101-4705, 4901, 4902, 4904, 4905, 5001, 5002, 5004 |
| 3 | 225 bp | 800 bp | 44020101-440204, 4405, 4406, 4408, 4409, 4411, 4412, 4414, 4416, 4417, 4419N, 4421-4425, 4427, 4433, 4434, 4442, 4444, 4448, 4449, 4451-4453, 4455, 4458N, 4459 | 3538, 370101-370104, 3703N-3706, 3708, 3710-3713, 5709, 8301 |
| 4 | 160 bp | 1070 bp | 440301-440303, 4407, 4413, 4426, 4430, 4432, 4436-4440, 4446, 4447, 4450, 4454, 4457, 4460 | 5142 |
| 56 | 75 bp | 1070 bp | 4404, 442801-442802, 4456N | 0720, 3545 |
| 68 | 170, 195 bp | 1070 bp | 4405, 4410, 4415, 4417, 4418, 4425, 4431, 4439, 4443, 4458N | 0720, 1514, 1591, 9531, 3545 , 3571, 4501, 4502, 4505-4507, 5002, 5123, 5707, 5807, 8201, 8202 |
| 76,9 | 145, 165 bp | 1070 bp | 4406, 4429 | 3806, 3807, 4903, 510101-512402, 5126-5146, 5148, 5149, 5151-5153, 5155, 520101-520104, 5203-5212, 530101-5302, 5304-5308, 5310, 5314-5316, 580101-5802, 5804-5816 |
| 85,6,10 | 90, 115 bp | 1070 bp | 4407, 4408, 4438, 4457 | 4083, 4610 |
| 96,11 | 120, 195 bp | 1070 bp | 4410, 4415, 4418, 4423N | 4501, 4505-4507, 5002, 8201, 8202 |
| 107,12 | 255, 345 bp | 800 bp | 4415, 4418, 4420, 4424, 4447 | 4501-4503, 4505-4507, 5002, 5123, 5139 |
| 11 | 150 bp | 800 bp | 44020101-4405, 4407, 4410-4439, 4441-4443, 4445, 4447-4456N, 4458N, 4459 | 3706, 4013, 4019, 4047, 47010101-47010102, 4703-4705, 4901, 4902, 4904, 4905 |
| 126 | 145 bp | 1070 bp | 4409, 4446 | 1546, 1553, 9506, 9543, 3519, 3547, 3563, 400101-4011, 401401-4016, 4018, 4020, 4022N-4040, 4042-4045, 4048-4075, 4077-4088, 4101-4104, 4106-4108, 4501-4508, 4702, 5001, 5002, 5004 |
| 136 | 90 bp | 1070 bp | 4413 |  |
| 146,7 | 95 bp | 800 bp | 4412 | 9543, 3519, 3547, 4008, 4025, 4068 |
| 15 | 170 bp | 1070 bp | 4414, 4417, 4451 | 0704, 0719, 0725, 080101-0805, 0807-0812, 0815-0819N, 0821-0824, 0826, 0827, 0829-0836, 1551, 1583, 3538, 3587, 3709, 3712, 4101-4108, 4201, 4202, 4204-4209, 5108, 5120, 5136, 5144N, 5520, 5613, 5709, 8201, 8202 |
| 166 | 145 bp | 800 bp | 4418, 4425, 4450 | 4013, 4019, 4901, 4904, 4905 |
| 17 | 195 bp | 1070 bp | 44020101-4404, 4406-4409, 4411-4413, 4419N-4424, 4426-4430, 4432-4436, 4438-4441, 4444, 4446-4450, 4452N-4457, 4459, 4460 | 5142, 8301 |
| 186,13 | 115, 270 bp | 1070 bp | 4419N, 4431 |  |
| 1914 | 150, 190 bp | 1070 bp | 4411, 4430 |  |
| 206,15 | 130, 220 bp | 1070 bp | 4422, 4436 |  |
| 216,7,16 | 100, 175 bp | 800 bp | 4416, 4421, 4432 | 0728 |
| 227 | 290 bp | 800 bp | 4426 |  |
| 236,19 | 145 bp | 800 bp | 44020101-4405, 4406?, 4407-4409, 4410-4412?, 4413, 4414?, 4415?, 4416, 4417?, 4418?, 4419N, 4420?, 4421, 4422?, 4423N, 4424-4426?, 442801-4430?, 4432-4438?, 4439, 4440-4445?, 4446, 4447?, 4448?, 4449, 4450?, 4451-4453, 4454?, 4455?, 4456N, 4457, 4458N?, 4459, 4460? | 5142 |
| 246 | 135 bp | 1070 bp | 44020102S |  |
| 256,17 | 145 bp | 1070 bp | 4406?, 4410-4412?, 4414?, 4415?, 4417?, 4418?, 4420?, 4422?, 4424-4426?, 4427, 442801-4430?, 4431, 4432-4438?, 4440-4445?, 4447?, 4448?, 4450?, 4454?, 4455?, 4458N?, 4460? | 070201-0764, 080101-0836, 1301-1304, 1306-1321, 1401-1408faintly, 15010101-150104, 150106-1519, 1520faintly, 1521, 1523-1540, 1542-1558, 1560-1599, 9501, 9503-9529, 9531-9546, 180101-1815, 1817N-1829, 2701-270402, 270502-2721, 2723-2742, 350101-3530faintly, 3531, 3532-3542faintly, 3543, 3544 faintly, 3545 faintly, 3546, 3547-3556 faintly, 3557, 3558 faintly, 3559 faintly, 3560, 3561-3572 faintly, 3574-3578 faintly, 3579, 3580-3586faintly, 3587, 3588 faintly, 370101-3713, 380101-3817faintly, 39010101-39010102Lfaintly, 390103-3920 faintly, 3922-3942 faintly, 3943, 400101-4016, 4018-4040, 4042-4088, 4101-4108, 4201, 4202, 4204-4209, 4501-4506, 4507faintly, 4508, 460101-4614, 47010101-4705, 480101-480102, 4802faintly, 480301-4819, 4901-4905, 5001, 5002, 5004, 510101-512402faintly, 5126-5129 faintly, 5130, 5131-5141Nfaintly, 5143-5146 faintly, 5148-5150 faintly, 5152-5155 faintly, 520101-5212faintly, 530101-5316 faintly, 5401-5413, 550101-550102, 550104-5505, 5507-5530, 5601-5604, 560501-560502 faintly,5606-5620, 5621 faintly, 5622, 5623, 570101-5716, 580101-5802faintly, 5804-5810N faintly, 5811, 5812-5817N faintly, 5901, 5902, 670101-6702 faintly, 7801-7805 faintly, 8101, 8102, 8103 faintly, 8104N, 8201, 8202, 8301 |
| 266 | 135 bp | 800 bp | 4433 |  |
| 27 | 160 bp | 800 bp | 4434 | 4058, 4903, 520102, 520104-5203, 520601-520602, 5209 |
| 28 | 165 bp | 1070 bp | 4435 |  |
| 296,18 | 255 bp | 800 bp | 4415, 4455 | 1809, 2701, 3710, 4047, 4902 |
| 30 | 195 bp | 800 bp | 4410, 4415, 4418 | 4501, 4505-4507, 5002, 8201, 8202 |
| 31 | 195 bp | 1070 bp | 4417, 4443 | 1514, 1591, 9531, 3545, 3571, 5807 |
| 32 | 155 bp | 1070 bp | 44020101-440204, 4405, 4406, 4408, 4409, 4411, 4412, 4414-4425, 4427, 4433, 4434, 4441, 4442, 4444, 4448, 4449, 4451-4453, 4455, 4458N, 4459 | 0704, 0719, 0725, 080101-0805, 0807-0812, 0814-0819N, 0821-0824, 0826-0836, 1551, 1583, 3538, 3587, 370101-370104, 3703N-3706, 3708-3713, 4101-4108, 4201, 4202, 4204-4209, 4501-4508, 5108, 5120, 5136, 5144N, 5520, 5613, 5709, 8201, 8202, 8301 |
| 33 | 195 bp | 1070 bp | 4416, 4437 | 0728, 1577, 5704, Cw*1610 |
| 34 | 160 bp | 800 bp | 4415, 4418 | 4501, 4504-4508, 5613, 8201, 8202 |
| 35 | 180 bp | 800 bp | 4404, 4456N | Cw*1610 |
| 366 | 145 bp | 800 bp | 4440, 4444 | 0802, 9515, 2701, 380201-3804, 3808, 3815, 5607 |
| 37 | 205 bp | 1070 bp | 4410, 4414, 4417, 4431, 4443, 4445, 4451 | 0720, 1514, 1591, 9531, 3545, 3571, 5123, 5707, 5807, 8201, 8202 |
| 38 | 225 bp | 800 bp | 4441 | 0704, 0719, 0725, 080101-0805, 0807, 0808N, 0810-0812, 0814-0819N, 0821-0824, 0826, 0828-0836, 1551, 3587, 3709, 4102-4104, 4108, 4201, 4202, 420501-4209, 8201, 8202 |
| 396 | 75 bp | 800 bp | 4416, 4442 | 0704, 0719, 0725, 080101-0805, 0807-0812, 0814-0819N, 0821-0824, 0826-0836, 1551, 1583, 3538, 3587, 370101-370104, 3703N-3706, 3708-3713, 4101-4108, 4201, 4202, 4204-4209, 4504, 4508, 5108, 5120, 5136, 5144N, 5520, 5613, 5709 Cw*070401, Cw*070402, Cw*0711, Cw*0712, Cw*0745 |
| 40 | 235 bp | 1070 bp | 4410, 4415, 4418, 4448 | 3545, 3571, 4501-4503, 4505-4507, 5002, 5807, 8201, 8202 |
| 41 | 255 bp | 1070 bp | 4449 | 0802 |
| 42 | 165 bp | 1070 bp | 4414 | 080101-0805, 0808N-0812, 0815-0819N, 0821-0824, 0826, 0827, 0829-0836, 1583, 3587, 3712, 4101-410302, 4105-4108, 4201, 4202, 4204-4208, 5108, 5120, 5136, 5144N, 5520, 5613, 5709, 8201, 8202 |
| 437 | 110 bp | 800 bp | 4452N |  |
| 447 | 85 bp | 800 bp | 4453 | 0728, Cw*1610 |
| 45 | 250 bp | 800 bp | 4454 | 0720 |
| 46 | 445 bp | 800 bp | 4456N |  |
| 47 | 195 bp | 1070 bp | 4458N |  |
| 485 | 75 bp | 1070 bp | 4459 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*44 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Wells number 1, 2, 3, 10, 11, 14, 16, 21, 22, 23, 26, 27, 29, 30, 34, 35, 36, 38, 39, 43, 44, 45 and 46 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*44 subtyping and in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st exon and 4th exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st exon and 4th  exon are conserved within allelic groups.

## 4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*44 alleles will be amplified by primer mixes 1 to 12, 14 to 17, 21, 23, 25 to 34, 36 to 42, 44 and 45. In addition, the Cw*070401-070402, 0711, 0712 and 0745 alleles will be amplified by primer mix 39 and the Cw*16 allele will be amplilfied by primer mixes 33, 35 and 44.

5Primer mixes 2, 8 and 48 have a tendency of giving rise to nonspecific amplifications.

6Short specific PCR fragments are less intense and not as sharp as longer specific bands.

7Primer mixes 10, 14, 21 and 22 have a tendency of giving rise to primer oligomer artifacts.

8Primer mix 6: Specific PCR fragment of 170 bp in the B*4439 allele. Specific PCR fragment of 195 bp in the B*4405, B*4410, B*4415, B*4417, B*4418, B*4425, B*4431, B*4443, B*4458N and B*0720, B*1514, B*1591, B*9531, B*3545, B*3571, B*4501-4502, B*4505-4507, B*5002, B*5123, B*5707, B*5807 and B*8201-8202 alleles.

9Primer mix 7: Specific PCR fragment of 145 bp in the B*4406 and B*3806-3807, B*4903, B*510101-5124, B*5126-5146, B*5148, B*5149, B*5151-5153, B*5155, B*520101-520104, B*5203-5212, B*530101-5302, B*5304-5308, B*5310, B*5314-5316, B*580101-5802 and B*5804-5816 alleles. Specific PCR fragment of 165 bp in the B*4429 allele.

10Primer mix 8: Specific PCR fragment of 90 bp in the B*4407, B*4408, B*4457 and B*4083 and B*4610  allele. Specific PCR fragment of 115 bp in the B*4438 allele.

11Primer mix 9: Specific PCR fragment of 120 bp in the B*4423N allele. Specific PCR fragment of 195 bp in the B*4410, B*4415, B*4418 and B*4501, B*4505-4507, B*5002 and B*8201-8202 alleles.

12Primer mix 10: Specific PCR fragment of 255 bp in the B*4415, B*4418, B*4420, B*4447 and B*4501-4503, B*4505-4507, B*5002 and B*5123 alleles. Specific PCR fragment of 345 bp in the B*4424 and B*5139 alleles.

13Primer mix 18: Specific PCR fragment of 115 bp in the B*4431 allele. Specific PCR fragment of 270 bp in the B*4419N allele.

14Primer mix 19: Specific PCR fragment of 150 bp in the B*4411 allele. Specific PCR fragment of 190 bp in the B*4430 allele.

15Primer mix 20: Specific PCR fragment of 130 bp in the B*4422 allele. Specific PCR fragment of 220 bp in the B*4436 allele.

16Primer mix 21: Specific PCR fragment of 100 bp in the B*4432 allele. Specific PCR fragment of 175 bp in B*4416, B*4421 and B*0728 alleles.

17We assume that the fourth exon nucleotide sequences of are conserved within allelic groups. Primer mix 25 amplifies the B*4427 and B*4431 alleles. The purpose of primer mixes 23 and 25 is to e.g. distinguish the B*4402,4402 and B*4402,4427 genotypes.

18Primer mix 39 may give rise to less specific PCR product than the other HLA-B*44 primer mixes.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1The sequence of B*4401 has been shown to be identical to B*4402.

2Primer mix 6: Specific PCR fragment of 170 bp in the B*4439 allele. Specific PCR fragment of 195 bp in the B*4405, B*4410, B*4415, B*4417, B*4418, B*4425, B*4431, B*4443, B*4458N and B*0720, B*1514, B*1591, B*9531, B*3545, B*3571, B*4501-4502, B*4505-4507, B*5002, B*5123, B*5707, B*5807 and B*8201-8202 alleles.

Primer mix 7: Specific PCR fragment of 145 bp in the B*4406 and B*3806-3807, B*4903, B*510101-5124, B*5126-5146, B*5148, B*5149, B*5151-5153, B*5155, B*520101-520104, B*5203-5212, B*530101-5302, B*5304-5308, B*5310, B*5314-5316, B*580101-5802 and B*5804-5816 alleles. Specific PCR fragment of 165 bp in the B*4429 allele.

Primer mix 8: Specific PCR fragment of 90 bp in the B*4407, B*4408, B*4457 and B*4083 and B*4610  allele. Specific PCR fragment of 115 bp in the B*4438 allele.

Primer mix 9: Specific PCR fragment of 120 bp in the B*4423N allele. Specific PCR fragment of 195 bp in the B*4410, B*4415, B*4418 and B*4501, B*4505-4507, B*5002 and B*8201-8202 alleles.

Primer mix 10: Specific PCR fragment of 255 bp in the B*4415, B*4418, B*4420, B*4447 and B*4501-4503, B*4505-4507, B*5002 and B*5123 alleles. Specific PCR fragment of 345 bp in the B*4424 and B*5139 alleles.

Primer mix 18: Specific PCR fragment of 115 bp in the B*4431 allele. Specific PCR fragment of 270 bp in the B*4419N allele.

Primer mix 19: Specific PCR fragment of 150 bp in the B*4411 allele. Specific PCR fragment of 190 bp in the B*4430 allele.

Primer mix 20: Specific PCR fragment of 130 bp in the B*4422 allele. Specific PCR fragment of 220 bp in the B*4436 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*4432 allele. Specific PCR fragment of 175 bp in B*4416, B*4421 and B*0728 alleles.

‘f’, might be faintly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Changes in revision R01 compared to R00:

- The amplifications pattern for the B*1553, 400101-4007... alleles has been re-entered in the Interpretation Table.