PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*44

Prod. No:	101.563-24/24u

101.563-03/03u

Lot No:    	15M

Expiry Date:    	2013-December-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B*44 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*44 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 260 bp | 800 bp | *44:02:01:01-44:14, 44:17, 44:19N, 44:21-44:30, 44:32-44:36, 44:38-44:40, 44:43-44:46, 44:48-44:53, 44:55-44:63, 44:66-44:90, 44:92-44:98 | *35:45, 35:71, 51:42, 53:22, 57:07, 83:01, C*15:25 |
| 25 | 90 bp | 800 bp | *44:02:01:01-44:02:09, 44:02:11-44:05:02, 44:09-44:33, 44:35-44:38, 44:41-44:43, 44:45-44:56N, 44:58N-44:59, 44:61N-44:80, 44:82, 44:84-44:99 | *15:53, 35:63, 40:01:01-40:02:04, 40:02:06-40:09, 40:11:01, 40:13-40:16, 40:18-40:20, 40:22N-40:40, 40:42-40:45, 40:47-40:57, 40:59-40:82, 40:84-40:92, 40:94-40:99, 41:01-41:11, 45:01-45:11, 47:01:01:01-47:07, 49:01:01-49:02, 49:04-49:10, 50:01:01-50:02, 50:04-50:06, 50:08-50:09 |
| 3 | 225 bp | 800 bp | *44:02:01:01-44:02:13, 44:05:01-44:06, 44:08-44:09, 44:11-44:12, 44:14, 44:16-44:17, 44:19N, 44:21-44:25, 44:27:01, 44:33-44:34, 44:42, 44:44, 44:48-44:49, 44:51-44:53, 44:55, 44:58N-44:59, 44:62-44:63, 44:66-44:68, 44:70-44:75, 44:78, 44:80, 44:83-44:84, 44:86-44:91, 44:93, 44:95, 44:97 | *08:49, 08:60, 35:38, 37:01:01-37:01:07, 37:03N-37:06, 37:08, 37:10-37:22, 42:13, 53:22, 57:09, 57:24, 83:01, C*15:25 |
| 435 | 160 bp | 1070 bp | *44:03:01-44:03:11, 44:07, 44:13, 44:26, 44:30, 44:32, 44:36-44:40, 44:46-44:47, 44:50, 44:54, 44:57, 44:60-44:61N, 44:64:01-44:65, 44:69, 44:79, 44:81, 44:85, 44:92, 44:94, 44:96, 44:98 | *51:42 |
| 55,11 | 75 bp, 255 bp | 1070 bp | *44:04, 44:28:01-44:28:02, 44:56N, 44:70, 44:76 | *07:20, 35:45 |
| 66,12 | 170 bp, 195 bp | 1070 bp | *44:05:01-44:05:02, 44:10, 44:15, 44:17-44:18, 44:25, 44:31, 44:39, 44:43, 44:58N, 44:62, 44:70, 44:75, 44:77-44:78, 44:82 | *07:20, 15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:01-45:02, 45:05-45:07, 45:09, 45:11, 46:17, 50:02, 51:23, 52:15, 53:22, 57:07, 58:07, 82:01-82:03, C*15:25 |
| 713 | 155 bp | 1070 bp | *44:06, 44:29, 44:89 | *38:06-38:07, 49:03, 51:01:01-51:24:03, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:95, 52:01:01:01-52:01:05, 52:03-52:15, 52:17-52:19, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:23, 58:01:01-58:02, 58:04-58:16, 58:18-58:28 |
| 85,14 | 90 bp, 115 bp, 300 bp | 1070 bp | *44:07-44:08, 44:38, 44:57, 44:71 | *15:183, 27:52, 35:84, 35:90, 40:83, 46:10, 50:07 |
| 95,15 | 120 bp, 195 bp | 1070 bp | *44:10, 44:15, 44:18, 44:23N | *45:01, 45:05-45:07, 45:11, 50:02, 82:01-82:03 |
| 105,16 | 125 bp, 150 bp | 800 bp | *44:24, 44:92 |  |
| 11 | 150 bp | 800 bp | *44:02:01:01-44:02:12, 44:03:01-44:05:02, 44:07, 44:10-44:39, 44:41-44:43, 44:45, 44:47-44:56N, 44:58N-44:59, 44:61N-44:74, 44:76-44:82, 44:84-44:89, 44:91-44:99 | *37:06, 40:13, 40:19, 40:47, 40:96, 47:01:01:01-47:01:01:02, 47:03-47:07, 49:01:01-49:02, 49:04-49:10 |
| 12 | 145 bp | 1070 bp | *44:09, 44:46, 44:75, 44:90 | *15:46, 15:53, 15:106, 15:143, 18:48, 35:19, 35:47, 35:63, 40:01:01-40:11:01, 40:14:01-40:16, 40:18, 40:20, 40:22N-40:40, 40:42-40:45, 40:48-40:75, 40:77-40:92, 40:94-40:95, 40:97-40:99, 41:01-41:04, 41:06-41:12, 45:01-45:11, 47:02, 47:03w, 50:01:01-50:02, 50:04-50:05, 50:07-50:09 |
| 135 | 90 bp | 1070 bp | *44:13, 44:67 |  |
| 145 | 95 bp | 800 bp | *44:12 | *15:143, 18:48, 35:19, 35:47, 40:08, 40:25, 40:68 |
| 15 | 170 bp | 1070 bp | *44:14, 44:17, 44:51, 44:62 | *07:04, 07:19, 07:25, 08:01:01-08:05, 08:07-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:61, 15:51, 15:83, 15:179, 35:38, 35:87, 37:09, 37:12, 41:01-41:09, 41:11-41:12, 42:01:01-42:02, 42:04-42:13, 45:09, 51:08, 51:20, 51:36, 51:44N, 52:19, 53:22, 55:20, 56:13, 57:09, 57:24, 82:01-82:03 |
| 16 | 145 bp | 800 bp | *44:18, 44:25, 44:50, 44:95 | *40:13, 40:19, 49:01:01-49:01:02, 49:04-49:10 |
| 17 | 195 bp | 1070 bp | *44:02:01:01-44:04, 44:06-44:09, 44:11-44:13, 44:19N-44:24, 44:26-44:30, 44:32-44:36, 44:38-44:41, 44:44, 44:46-44:50, 44:52N-44:57, 44:59-44:61N, 44:63, 44:65-44:69, 44:71-44:74, 44:76, 44:79-44:81, 44:83-44:87, 44:89-44:90, 44:92-44:99 | *51:42, 83:01 |
| 185,17 | 115 bp, 155 bp, 260 bp | 1070 bp | *44:19N, 44:31, 44:74, 44:82, 44:96 | *57:07 |
| 1918 | 150 bp, 190 bp | 1070 bp | *44:11, 44:30 |  |
| 205 | 130 bp | 1070 bp | *44:22 |  |
| 215,19 | 100 bp, 180 bp | 800 bp | *44:16, 44:21, 44:32, 44:64:01-44:64:02 | *07:28 |
| 22 | 290 bp | 800 bp | *44:26 | *47:07 |
| 2310 | 145 bp | 800 bp | *44:02:01:01-44:05:02, 44:06?, 44:07-44:09, 44:10?-44:12?, 44:13, 44:14?, 44:16, 44:17?-44:18?, 44:19N, 44:20?, 44:21, 44:22?, 44:23N, 44:24?-44:26?, 44:28:01?-44:30?, 44:32?-44:38?, 44:39, 44:40?-44:45?, 44:46, 44:47?-44:48?, 44:49, 44:50?, 44:51-44:53, 44:54?-44:55?, 44:56N-44:57, 44:58N?, 44:59, 44:60?, 44:61N, 44:62?-44:63?, 44:64:01-44:66, 44:67?-44:76?, 44:77, 44:78?-44:80?, 44:81, 44:82?, 44:83, 44:84?-44:99? | *27:47, 51:42 |
| 24 | 225 bp | 1070 bp | *44:02:01:02S |  |
| 2510 | 145 bp | 1070 bp | *44:06?, 44:10?-44:12?, 44:14?, 44:15, 44:17?-44:18?, 44:20?, 44:22?, 44:24?-44:26?, 44:27:01, 44:28:01?-44:30?, 44:31, 44:32?-44:38?, 44:40?-44:45?, 44:47?-44:48?, 44:50?, 44:54?-44:55?, 44:58N?, 44:60?, 44:62?-44:64:01?, 44:67?-44:76?, 44:78?-44:80?, 44:82?, 44:84?-44:99? | *07:02:01-07:57, 07:59-07:99, 08:01:01-08:61, 13:01:01-13:04, 13:06-13:23, 13:25-13:37, 14:01:01w-14:18w, 15:01:01:01-15:01:04, 15:01:06-15:19, 15:20w, 15:21, 15:23-15:40, 15:42-15:58, 15:60-15:99, 15:101, 15:103-15:129, 15:131-15:191, 18:01:01-18:15, 18:17N-18:49, 27:01-27:21, 27:23-27:46, 27:48-27:65N, 35:01:01:01w-35:30w, 35:31, 35:32w-35:42:02w, 35:43:01, 35:44w-35:45w, 35:46, 35:47w-35:56w, 35:57, 35:58w-35:59w, 35:60, 35:61w-35:72w, 35:74w-35:78w, 35:79, 35:80w-35:86w, 35:87, 35:88w-35:99w, 37:01:01-37:22, 38:01:01w-38:17w, 38:19w-38:22w, 39:01:01:01w-39:01:01:02Lw, 39:01:03w-39:20w, 39:22w-39:57w, 40:01:01-40:16, 40:18-40:40, 40:42-40:99, 41:01-41:12, 42:01:01-42:02, 42:04-42:13, 45:01-45:06, 45:07w, 45:08-45:11, 46:01:01-46:22, 47:01:01:01-47:07, 48:01:01-48:01:02, 48:02:01w-48:02:02w, 48:03:01-48:22, 49:01:01-49:10, 50:01:01-50:02, 50:04-50:09, 51:01:01w-51:24:03w, 51:26w-51:41Nw, 51:43w-51:46w, 51:48w-51:50w, 51:52w-51:95w, 52:01:01:01w-52:06:02w, 52:07, 52:08w-52:20w, 53:01:01w-53:23w, 54:01:01-54:22, 55:01:01-55:01:02, 55:01:04-55:05, 55:07-55:40, 56:01:01-56:04, 56:05:01w-56:05:02w, 56:06-56:20, 56:21w, 56:22-56:29, 57:01:01-57:31, 58:01:01w-58:02w, 58:04w-58:10Nw, 58:11, 58:12w-58:19w, 58:20, 58:21w-58:28w, 59:01:01:01-59:05, 67:01:01w-67:02w, 78:01w-78:06w, 81:01-81:02, 81:03w, 81:04N, 82:01-82:02, 82:03?, 83:01 |
| 265,20 | 100 bp, 135 bp, 225 bp | 800 bp | *44:33, 44:69, 44:85 |  |
| 2721 | 160 bp, 255 bp | 800 bp | *44:02:10, 44:15, 44:18, 44:20, 44:34, 44:47 | *40:58, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 49:03, 50:02, 51:23, 52:01:02, 52:01:04, 52:02-52:03, 52:06:01-52:06:02, 52:09, 52:15 |
| 285,22 | 130 bp, 165 bp | 1070 bp | *44:35, 44:68 |  |
| 29 | 255 bp | 800 bp | *44:15, 44:55 | *13:23, 18:09, 27:01, 37:10, 40:47, 40:96, 49:02 |
| 30 | 195 bp | 800 bp | *44:10, 44:15, 44:18 | *45:01, 45:05-45:07, 45:11, 50:02, 82:01-82:03 |
| 315,23 | 110 bp, 195 bp, 230 bp, 260 bp | 1070 bp | *44:17, 44:43, 44:94, 44:98-44:99 | *15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:09, 46:17, 53:22, 58:07, A*30:29 |
| 32 | 155 bp | 1070 bp | *44:02:01:01-44:02:13, 44:05:01-44:06, 44:08-44:09, 44:11-44:12, 44:14-44:25, 44:27, 44:33-44:34, 44:41-44:42, 44:44, 44:48-44:49, 44:51-44:53, 44:55, 44:58N-44:59, 44:62-44:63, 44:66-44:68, 44:70-44:75, 44:78, 44:80, 44:83-44:84, 44:86-44:91, 44:93, 44:95, 44:97, 44:99 | *07:04, 07:19, 07:25, 08:01:01-08:05, 08:07-08:12:03, 08:14-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:42, 08:44-08:54, 08:56-08:61, 15:51, 15:83, 15:179, 27:47, 35:38, 35:87, 37:01:01-37:01:07, 37:03N-37:06, 37:08-37:22, 41:01-41:12, 42:01:01-42:02, 42:04-42:13, 45:01-45:11, 51:08, 51:20, 51:36, 51:44N, 52:19, 53:22, 55:20, 56:13, 57:09, 57:24, 82:01-82:03, 83:01 |
| 3324 | 150 bp, 185 bp | 1070 bp | *44:16, 44:37, 44:64:01-44:64:02, 44:80-44:81, 44:91 | *07:28, 15:77, 57:04, C*16:10 |
| 347,25 | 160 bp, 185 bp | 800 bp | *44:15, 44:18, 44:60, 44:83-44:84 | *13:01:01-13:04, 13:06-13:08Q, 13:10-13:23, 13:25-13:29, 13:31-13:37, 15:36, 15:89, 37:10, 45:01, 45:04-45:08, 45:10-45:11, 51:54, 51:78, 52:20, 53:09, 53:11-53:13, 56:13, 82:01-82:03 |
| 355,26 | 85 bp, 180 bp | 800 bp | *44:04, 44:56N, 44:63 | C*16:10 |
| 36 | 145 bp | 800 bp | *44:40, 44:44 | *08:02, 15:115, 27:01, 38:02:01-38:04, 38:08, 38:15, 38:18, 56:07 |
| 378 | 210 bp | 1070 bp | *44:10, 44:14, 44:17, 44:31, 44:43, 44:45, 44:51, 44:62, 44:77, 44:82, 44:87-44:88 | *07:20, 15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:09, 46:17, 51:23, 52:15, 53:22, 57:07, 58:07, 82:01-82:03 |
| 38 | 225 bp | 800 bp | *44:41 | *07:04, 07:19, 07:25, 08:01:01-08:05, 08:07-08:08N, 08:10-08:12:03, 08:14-08:19N, 08:21-08:24, 08:26, 08:28-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:59, 08:61, 15:51, 15:179, 27:47, 35:87, 37:09, 41:02:01-41:04, 41:08, 41:10-41:11, 42:01:01-42:02, 42:05:01-42:12, 82:01-82:03, C*07:68 |
| 395,9 | 75 bp | 800 bp | *44:16, 44:42, 44:91 | *07:04, 07:19, 07:25, 08:01:01-08:05, 08:07-08:12:03, 08:14-08:19N, 08:21-08:24, 08:26-08:39, 08:41-08:42, 08:44-08:54, 08:56-08:61, 15:51, 15:83, 15:179, 35:38, 35:87, 37:01:01-37:01:07, 37:03N-37:06, 37:08-37:22, 41:01-41:12, 42:01:01-42:02, 42:04-42:13, 45:04, 45:08, 45:10, 51:08, 51:20, 51:36, 51:44N, 52:19, 55:20, 56:13, 57:09, 57:24, C*07:04:01-07:04:03, C*07:11-07:12, C*07:45, C*07:63, C*07:68 |
| 4027 | 235 bp, 260 bp | 1070 bp | *44:10, 44:15, 44:18, 44:31, 44:41, 44:48, 44:54, 44:65 | *07:20, 15:14, 15:91, 15:131, 15:161, 27:47, 27:50, 35:45, 35:71, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 46:17, 50:02, 53:22, 58:07, 82:01-82:03, C*15:25 |
| 41 | 255 bp | 1070 bp | *44:49 | *08:02 |
| 425,28 | 130 bp, 165 bp | 800 bp | *44:14, 44:62, 44:90, 44:97 | *08:01:01-08:05, 08:08N-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:61, 15:83, 35:87, 37:12, 41:01-41:03:02, 41:05-41:09, 41:11-41:12, 42:01:01-42:02, 42:04-42:08, 42:10-42:13, 45:06, 51:08, 51:20, 51:36, 51:44N, 52:19, 55:20, 56:13, 57:09, 82:01-82:03, C*07:69 |
| 435,29 | 110 bp, 165 bp | 800 bp | *44:29, 44:52N, 44:89 |  |
| 445,30 | 85 bp, 160 bp | 800 bp | *44:53, 44:73, 44:76, 44:79 | *07:28, 15:77w, C*16:10 |
| 459,31 | 220 bp, 250 bp | 800 bp | *44:36, 44:54, 44:86 | *07:20 |
| 4632 | 165 bp, 450 bp | 1070 bp | *44:56N, 44:66 |  |
| 475,33 | 65 bp, 115 bp, 195 bp | 1070 bp | *44:58N, 44:72, 44:93 |  |
| 485,34 | 105 bp, 140 bp, 265 bp | 1070 bp | *44:59, 44:61N, 44:78 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*44 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Wells number 1, 2, 3, 10, 11, 14, 16, 21 to 23, 26, 27, 29, 30, 34 to 36, 38, 39 and 42 to 45 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*44 subtyping and in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st exon and 4th exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st and 4th exon are conserved within allelic groups.

The B*44:69 and 44:85 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 26.

The B*44:72 and 44:93 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 47.

The B*44:94 and 44:98 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 31.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*44 alleles will be amplified by primer mixes 1 to 9, 11, 12, 14 to 18, 21 to 23, 25, 27, 29 to 34, 36 to 42, 44 and 45. In addition, the A*30:29 allele will be amplified by primer mix 31, the C*07:04:01-07:04:03, 07:11-07:12, 07:45 and 07:63 alleles will be amplified by primer mix 39, the C*07:68 allele will be amplified by primer mixes 38 and 39, the C*07:69 allele will be amplified by primer mix 42, the C*15:25 allele will be amplified by primer mixes 1, 3, 6 and 40 and the C*16:10 allele will be amplified by primer mixes 33, 35 and 44.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 6 may give rise to primer oligomer formation.

7Primer mix 34 may give rise to a long unspecific amplification product. This should be disregarded when interpreting the B*44 typings.

8Primer mix 37 may have a tendency of giving rise to nonspecific amplifications.

9Primer mix 39 may give a lower yield of specific PCR product than the other HLA-B*44 primer mixes.

10We assume that the fourth exon nucleotide sequences of are conserved within allelic groups. Primer mix 25 amplifies the B*44:27 and B*44:31 alleles. The purpose of primer mixes 23 and 25 is to e.g. distinguish the B*44:02,44:02 and B*44:02,44:27 genotypes.

11Primer mix 5: Specific PCR fragment of 75 bp in the B*44:04, 44:28:01-44:28:02, 44:56N and 44:76 and the B*07:20 and 35:45 alleles. Specific PCR fragment of 255 bp in the B*44:70 allele.

12Primer mix 6: Specific PCR fragment of 170 bp in the B*44:39 allele. Specific PCR fragment of 195 bp in the B*44:05:01-44:05:02, 44:10, 44:15, 44:17-44:18, 44:25, 44:31, 44:43, 44:58N, 44:62, 44:70, 44:75, 44:77-44:78 and 44:82 and in the B*07:20, 15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:01-45:02, 45:05-45:07, 45:09, 45:11, 46:17, 50:02, 51:23, 52:15, 53:22, 57:07, 58:07 and 82:01-82:03 and in the C*15:25 alleles.

13Primer mix 7: Specific PCR fragment of 145 bp in the B*44:06 and in the B*38:06-38:07, 49:03, 51:01:01-51:24:03, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:95, 52:01:01:01-52:01:05, 52:03-52:15, 52:17-52:19, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:23, 58:01:01-58:02, 58:04-58:16 and 58:18-58:28 alleles. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

14Primer mix 8: Specific PCR fragment of 90 bp in the B*44:07-44:08 and 44:57 and the B*15:183, 27:52, 35:84, 35:90, 40:83, 46:10 and 50:07 alleles. Specific PCR fragment of 115 bp in the B*44:38 allele. Specific PCR fragment of 300 bp in the B*44:71 allele.

15Primer mix 9: Specific PCR fragment of 120 bp in the B*44:23N allele. Specific PCR fragment of 195 bp in the B*44:10, 44:15 and 44:18 and in the B*45:01, 45:05-45:07, 45:11, 50:02 and 82:01-82:03 alleles.

16Primer mix 10: Specific PCR fragment of 125 bp in the B* 44:24 allele. Specific PCR fragment of 150 bp in the B*44:92 allele.

17Primer mix 18: Specific PCR fragment of 115 bp in the B*44:31 allele. Specific PCR fragment of 155 bp in the B*44:74 allele.  Specific PCR fragment of 260 bp in the B* 44:19N, 44:82, and 44:96 and in the B*57:07 alleles.

18Primer mix 19: Specific PCR fragment of 150 bp in the B*44:11 allele. Specific PCR fragment of 190 bp in the B*44:30 allele.

19Primer mix 21: Specific PCR fragment of 100 bp in the B*44:32 allele. Specific PCR fragment of 180 bp in B* 44:16, 44:21 and 44:64:01-44:64:02 and in the B*07:28 alleles.

20Primer mix 26: Specific PCR fragment of 100 bp in the B*44:69 allele. Specific PCR fragment of 135 bp in the B*44:33 allele. Specific PCR fragment of 225 bp in the B*44:85 allele.

21Primer mix 27: Specific PCR fragment of 160 bp in the B*44:02:10 and 44:34 and in the B*40:58, 49:03, 52:01:02, 52:01:04, 52:02-52:03, 52:06:01-52:06:02 and 52:09 alleles. Specific PCR fragment of 255 bp in B*44:15, 44:18, 44:20 and 44:47 and in the B*45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02, 51:23 and 52:15 alleles.

22Primer mix 28: Specific PCR fragment of 130 bp in the B*44:68 allele. Specific PCR fragment of 165 bp in the B*44:35 allele.

23Primer mix 31: Specific PCR fragment of 110 bp in the B*44:94 allele. Specific PCR fragment of 195 bp in the B*44:17 and 44:43 and in the B*15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:09, 46:17, 53:22 and 58:07 alleles. Specific PCR fragment of 230 bp in the B*44:98 and in the A*30:29 alleles. Specific PCR fragment of 260 bp in the B*44:99 allele.

24Primer mix 33: Specific PCR fragment of 150 bp in the B*44:81 allele. Specific PCR fragment of 185 bp in the B* 44:16, 44:37, 44:64:01-44:64:02, 44:80 and 44:91 and in the B*07:28, 15:77 and 57:04 and in the C*16:10 alleles.

25Primer mix 34: Specific PCR fragment of 160 bp in the B* 44:15 and 44:18 and in the B*45:01, 45:04-45:08, 45:10-45:11, 56:13 and 82:01-82:03 alleles. Specific PCR fragment of 185 bp in the B*44:60 and 44:83-44:84 and in the B*13:01:01-13:04, 13:06-13:08Q, 13:10-13:23, 13:25-13:29, 13:31-13:37, 15:36, 15:89, 37:10, 51:54, 51:78, 52:20, 53:09 and 53:11-53:13 alleles.

26Primer mix 35: Specific PCR fragment of 85 bp in the B*44:63 allele. Specific PCR fragment of 180 bp in the B*44:04, B*44:56N and C*16:10 alleles.

27Primer mix 40: Specific PCR fragment of 235 bp in the B*44:10, 44:15, 44:18 and 44:48 and in the B*35:45, 35:71, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02 and 53:22 and in the C*15:25 alleles. Specific PCR fragment of 260 bp in the B*44:31, 44:41, 44:54 and 44:65, 07:20, 15:14, 15:91, 15:131, 15:161, 27:47, 27:50 and 46:17 alleles. Specific PCR fragment of 230 and 260 bp in the 58:07 and 82:01-82:03 alleles.

28Primer mix 42: Specific PCR fragment of 130 bp in the B*44:90 and 44:97 and in the B*45:06 and in the C*07:69 alleles. Specific PCR fragment of 165 bp in the B*44:14 and 44:62 and the B*08:01:01-08:05, 08:08N-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:61, 15:83, 35:87, 37:12, 41:01-41:03:02, 41:05-41:09, 41:11-41:12, 42:01:01-42:02, 42:04-42:08, 42:10-42:13, 45:06, 51:08, 51:20, 51:36, 51:44N, 52:19, 55:20, 56:13, 57:09 and 82:01-82:03 alleles.

29Primer mix 43: Specific PCR fragment of 110 bp in the B*44:52N allele. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

30Primer mix 44: Specific PCR fragment of 85 bp in the B*44:53 and in the C*16:10 alleles. Specific PCR fragment of 160 bp in the B*44:73, 44:76 and 44:79 and in the B*15:77w alleles. Specific PCR fragment of 85 bp and 160 bp in the B*07:28 allele.

31Primer mix 45: Specific PCR fragment of 220 bp in the B*44:36 allele. Specific PCR fragment of 250 bp in the B*44:54 and 44:86 and the B*07:20 alleles.

32Primer mix 46: Specific PCR fragment of 165 bp in the B*44:66 allele. Specific PCR fragment of 450 bp in the B*44:56N allele.

33Primer mix 47: Specific PCR fragment of 65 bp in the B*44:93 allele. Specific PCR fragment of 115 bp in the B*44:72 allele. Specific PCR fragment of 195 bp in the B*44:58N allele.

34Primer mix 48: Specific PCR fragment of 105 bp in the B*44:61N allele. Specific PCR fragment of 140 bp in B*44:59 allele. Specific PCR fragment of 265 bp in the B*44:78 allele.

35Primer mix 4 may weakly amplify the B*44:29 and 44:89 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.

1The sequence of B*4401 has been shown to be identical to B*44:02:01:01.

The B*44:69 and 44:85 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 26.

The B*44:72 and 44:93 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 47.

The B*44:94 and 44:98 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 31.

2Primer mix 5: Specific PCR fragment of 75 bp in the B*44:04, 44:28:01-44:28:02, 44:56N and 44:76 and the B*07:20 and 35:45 alleles. Specific PCR fragment of 255 bp in the B*44:70 allele.

Primer mix 6: Specific PCR fragment of 170 bp in the B*44:39 allele. Specific PCR fragment of 195 bp in the B*44:05:01-44:05:02, 44:10, 44:15, 44:17-44:18, 44:25, 44:31, 44:43, 44:58N, 44:62, 44:70, 44:75, 44:77-44:78 and 44:82 and in the B*07:20, 15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:01-45:02, 45:05-45:07, 45:09, 45:11, 46:17, 50:02, 51:23, 52:15, 53:22, 57:07, 58:07 and 82:01-82:03 and in the C*15:25 alleles.

Primer mix 7: Specific PCR fragment of 145 bp in the B*44:06 and in the B*38:06-38:07, 49:03, 51:01:01-51:24:03, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:95, 52:01:01:01-52:01:05, 52:03-52:15, 52:17-52:19, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:23, 58:01:01-58:02, 58:04-58:16 and 58:18-58:28 alleles. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

Primer mix 8: Specific PCR fragment of 90 bp in the B*44:07-44:08 and 44:57 and the B*15:183, 27:52, 35:84, 35:90, 40:83, 46:10 and 50:07 alleles. Specific PCR fragment of 115 bp in the B*44:38 allele. Specific PCR fragment of 300 bp in the B*44:71 allele.

Primer mix 9: Specific PCR fragment of 120 bp in the B*44:23N allele. Specific PCR fragment of 195 bp in the B*44:10, 44:15 and 44:18 and in the B*45:01, 45:05-45:07, 45:11, 50:02 and 82:01-82:03 alleles.

Primer mix 10: Specific PCR fragment of 125 bp in the B* 44:24 allele. Specific PCR fragment of 150 bp in the B*44:92 allele.

Primer mix 18: Specific PCR fragment of 115 bp in the B*44:31 allele. Specific PCR fragment of 155 bp in the B*44:74 allele.  Specific PCR fragment of 260 bp in the B* 44:19N, 44:82, and 44:96 and in the B*57:07 alleles.

Primer mix 19: Specific PCR fragment of 150 bp in the B*44:11 allele. Specific PCR fragment of 190 bp in the B*44:30 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*44:32 allele. Specific PCR fragment of 180 bp in B* 44:16, 44:21 and 44:64:01-44:64:02 and in the B*07:28 alleles.

Primer mix 26: Specific PCR fragment of 100 bp in the B*44:69 allele. Specific PCR fragment of 135 bp in the B*44:33 allele. Specific PCR fragment of 225 bp in the B*44:85 allele.

Primer mix 27: Specific PCR fragment of 160 bp in the B*44:02:10 and 44:34 and in the B*40:58, 49:03, 52:01:02, 52:01:04, 52:02-52:03, 52:06:01-52:06:02 and 52:09 alleles. Specific PCR fragment of 255 bp in B*44:15, 44:18, 44:20 and 44:47 and in the B*45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02, 51:23 and 52:15 alleles.

Primer mix 28: Specific PCR fragment of 130 bp in the B*44:68 allele. Specific PCR fragment of 165 bp in the B*44:35 allele.

Primer mix 31: Specific PCR fragment of 110 bp in the B*44:94 allele. Specific PCR fragment of 195 bp in the B*44:17 and 44:43 and in the B*15:14, 15:91, 15:131, 15:161, 35:45, 35:71, 45:09, 46:17, 53:22 and 58:07 alleles. Specific PCR fragment of 230 bp in the B*44:98 and in the A*30:29 alleles. Specific PCR fragment of 260 bp in the B*44:99 allele.

Primer mix 33: Specific PCR fragment of 150 bp in the B*44:81 allele. Specific PCR fragment of 185 bp in the B* 44:16, 44:37, 44:64:01-44:64:02, 44:80 and 44:91 and in the B*07:28, 15:77 and 57:04 and in the C*16:10 alleles.

Primer mix 34: Specific PCR fragment of 160 bp in the B* 44:15 and 44:18 and in the B*45:01, 45:04-45:08, 45:10-45:11, 56:13 and 82:01-82:03 alleles. Specific PCR fragment of 185 bp in the B*44:60 and 44:83-44:84 and in the B*13:01:01-13:04, 13:06-13:08Q, 13:10-13:23, 13:25-13:29, 13:31-13:37, 15:36, 15:89, 37:10, 51:54, 51:78, 52:20, 53:09 and 53:11-53:13 alleles.

Primer mix 35: Specific PCR fragment of 85 bp in the B*44:63 allele. Specific PCR fragment of 180 bp in the B*44:04, B*44:56N and C*16:10 alleles.

Primer mix 40: Specific PCR fragment of 235 bp in the B*44:10, 44:15, 44:18 and 44:48 and in the B*35:45, 35:71, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02 and 53:22 and in the C*15:25 alleles. Specific PCR fragment of 260 bp in the B*44:31, 44:41, 44:54 and 44:65, 07:20, 15:14, 15:91, 15:131, 15:161, 27:47, 27:50 and 46:17 alleles. Specific PCR fragment of 230 and 260 bp in the 58:07 and 82:01-82:03 alleles.

Primer mix 42: Specific PCR fragment of 130 bp in the B*44:90 and 44:97 and in the B*45:06 and in the C*07:69 alleles. Specific PCR fragment of 165 bp in the B*44:14 and 44:62 and the B*08:01:01-08:05, 08:08N-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:54, 08:56-08:61, 15:83, 35:87, 37:12, 41:01-41:03:02, 41:05-41:09, 41:11-41:12, 42:01:01-42:02, 42:04-42:08, 42:10-42:13, 45:06, 51:08, 51:20, 51:36, 51:44N, 52:19, 55:20, 56:13, 57:09 and 82:01-82:03 alleles.

Primer mix 43: Specific PCR fragment of 110 bp in the B*44:52N allele. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

Primer mix 44: Specific PCR fragment of 85 bp in the B*44:53 and in the C*16:10 alleles. Specific PCR fragment of 160 bp in the B*44:73, 44:76 and 44:79 and in the B*15:77w alleles. Specific PCR fragment of 85 bp and 160 bp in the B*07:28 allele.

Primer mix 45: Specific PCR fragment of 220 bp in the B*44:36 allele. Specific PCR fragment of 250 bp in the B*44:54 and 44:86 and the B*07:20 alleles.

Primer mix 46: Specific PCR fragment of 165 bp in the B*44:66 allele. Specific PCR fragment of 450 bp in the B*44:56N allele.

Primer mix 47: Specific PCR fragment of 65 bp in the B*44:93 allele. Specific PCR fragment of 115 bp in the B*44:72 allele. Specific PCR fragment of 195 bp in the B*44:58N allele.

Primer mix 48: Specific PCR fragment of 105 bp in the B*44:61N allele. Specific PCR fragment of 140 bp in B*44:59 allele. Specific PCR fragment of 265 bp in the B*44:78 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Primer mix 4 may weakly amplify the B*44:29 and 44:89 alleles. A foot note has been added to the Specificity Table.