Gel Documentation Form and Worksheet

HLA-B*44 (101.563-24/03, -24u/03u) 	Lot No: 14V	Expiry Date: 2016-July-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6 and 8 have a tendency to giving rise to primer oligomer formation.

Primer mixes 29, 39 and 55 may have tendencies of unspecific amplifications.

Primer mix 39 may may give rise to a lower yield of HLA-specific PCR product than the other B*44 primer mixes.

We assume that the fourth exon nucleotide sequences are conserved within allelic groups. Primer mix 25 amplifies the B*44:27 and B*44:31 alleles. The purpose of primer mixes 23 and 25 is to distinguish e.g. the B*44:02,44:02 and B*44:02,44:27 genotypes.

Primer mix 60 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*44 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.13.1, July 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 75 bp in the B*44:04, 44:28:01-44:28:02, 44:56N, 44:76 and the B*07:20, 07:140, 07:153 and 35:45 alleles. Specific PCR fragment of 255 bp in the B*44:70 allele.

Primer mix 6: Specific PCR fragment of 170 bp in the B*44:39 allele. Specific PCR fragment of 195 bp in the B*44:05:01-44:05:04, 44:10, 44:15, 44:17-44:18, 44:25, 44:31, 44:43:01-44:43:02, 44:58N, 44:62, 44:70, 44:75, 44:77-44:78, 44:82, 44:107, 44:117, 44:123, 44:134, 44:136, 44:139-44:140, 44:144, 44:158 and the  B*07:20, 07:140, 07:153, 15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 40:132, 40:178, 45:01-45:02, 45:05-45:07, 45:09, 45:11-45:14, 46:17, 49:20, 50:02, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07, 82:01-82:03 and in the C*15:25 alleles.

Primer mix 8: Specific PCR fragment of 90 bp in the B*44:07-44:08 and 44:57  and the B*13:58, 15:183, 18:80, 27:52, 27:67, 35:84, 35:90, 35:150, 35:184, 35:201, 40:83, 40:170, 40:185, 40:209, 46:10, 50:07, 51:103 and 51:119 alleles. Specific PCR fragment of 115 bp in the B*44:38 allele. Specific PCR fragment of 300 bp in the B*44:71 allele.

Primer mix 9: Specific PCR fragment of 120 bp in the B*44:23N allele. Specific PCR fragment of 195 bp in the B*44:10, 44:15, 44:18 and 44:140 and the B*45:01, 45:05-45:07, 45:11-45:14, 49:20, 50:02, 82:01-82:03 alleles.

Primer mix 10: Specific PCR fragment of 125 bp in the B* 44:24 and 44:184 alleles. Specific PCR fragment of 150 bp in the B*44:92 allele.

Primer mix 18: Specific PCR fragment of 115 bp in the B*44:31, 44:169 and in the B*40:132 and 40:178 alleles. Specific PCR fragment of 155 bp in the B*44:74 allele. Specific PCR fragment of 260 bp in the B* 44:19N, 44:82, 44:96 and 44:153 and in the B*57:07 alleles.

Primer mix 19: Specific PCR fragment of 150 bp in the B*44:11 allele. Specific PCR fragment of 190 bp in the B*44:30 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*44:32 allele. Specific PCR fragment of 180 bp in B*44:16, 44:21, 44:64:01-44:64:02, 44:124 and 44:150 and the B*07:28 alleles.

Primer mix 26: Specific PCR fragment of 100 bp in the B*44:69 allele. Specific PCR fragment of 135 bp in the B*44:33 allele. Specific PCR fragment of 225 bp in the B*44:85 and the A*24:137 alleles.

Primer mix 27: Specific PCR fragment of 160 bp in the B*44:02:10, 44:34:01 and the B*40:01:11, 40:58, 49:03, 52:01:02, 52:01:04, 52:01:09, 52:02:01-52:03, 52:06:01-52:06:02, 52:09 and 52:21 alleles. Specific PCR fragment of 255 bp in the B*44:15, 44:18, 44:20, 44:47 and 44:100 and the B*45:01-45:03, 45:05-45:07, 45:09, 45:11-45:14, 49:20, 50:02, 51:23, 51:108 and 52:15 alleles.

Primer mix 28: Specific PCR fragment of 130 bp in the B*44:68 allele. Specific PCR fragment of 165 bp in the B*44:35 allele.

Primer mix 29: Specific PCR fragment of 90 bp in the B*44:117 and the B*14:10, 35:59, 37:19, 38:20 and 39:42 and in the C*15:05:08 alleles. Specific PCR fragment of 255 bp in the B*44:15, 44:55 and 44:103 and the B*13:23, 13:55, 18:09, 27:01, 37:10, 40:47, 40:96, 40:157, 40:201 and 49:02 alleles.

Primer mix 31: Specific PCR fragment of 110 bp in the B*44:94 allele. Specific PCR fragment of 195 bp in the B*44:17, 44:43:01-44:43:02 and 44:144 and the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 45:09, 46:17, 53:22 and 58:07 alleles. Specific PCR fragment of 230 bp in the B*44:98 and in the A*02:432, A*30:29 and A*31:61 alleles. Specific PCR fragment of 260 bp in the B*44:99 allele.

Primer mix 33: Specific PCR fragment of 150 bp in the B*44:81 allele. Specific PCR fragment of 185 bp in the B*44:16, 44:37:01-44:37:02, 44:64:01-44:64:02, 44:80, 44:91, 44:132 and 44:150 and in the B*07:28, 08:87, 15:77, 15:233, 52:26 and 57:04 and the A*23:31, A*24:106, C*07:231 and C*16:10 alleles.

Primer mix 35: Specific PCR fragment of 85 bp in the B*44:63 allele. Specific PCR fragment of 180 bp in the B*44:04, 44:56N, 44:132 and 44:163 and in the B*08:87 and the C*07:231 and C*16:10 alleles.

Primer mix 36: Specific PCR fragment of 145 bp in the B*44:40, 44:44, 44:130, 44:156  and the B*07:149, 08:02, 15:115, 27:01, 38:02:01-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43 and 56:07 alleles. Specific PCR fragment of 235 bp in the B*44:142 allele.

Primer mix 40: Specific PCR fragment of 235 bp in the B*44:10, 44:15, 44:18 and 44:48 and the B*35:45, 35:71, 35:169, 45:01-45:03, 45:05-45:07, 45:09, 45:11-45:14, 49:20, 50:02 and 53:22 and in the C*15:25 alleles. Specific PCR fragment of 260 bp in the B*44:31, 44:41:01-44:41:02, 44:54, 44:65, 44:106, 44:135 and 44:158 and the B*07:20, 07:140, 07:153, 15:14, 15:91, 15:131, 15:161, 18:56, 27:47, 27:50, 40:132, 40:178 and 46:17 alleles. Specific PCR fragment of 235 and 260 bp in the 58:07 and 82:01-82:03 alleles.

Primer mix 42: Specific PCR fragment of 130 bp in the B*44:90 and 44:97 and the B*40:166 and 45:06 and the C*07:69 and C*08:68 alleles. Specific PCR fragment of 165 bp in the B*44:14, 44:62 and 44:166 and the B*08:01:01-08:05, 08:08N-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:69, 08:71-08:73, 08:75-08:76, 08:78, 08:80-08:86N, 08:88, 08:90-08:106, 08:109-08:110, 15:83, 35:87, 37:12, 38:30, 40:136, 40:231, 41:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 41:22-41:28, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 42:17-42:18, 45:14, 51:08, 51:20, 51:36, 51:44N, 51:97, 51:141, 51:153, 52:19, 55:20, 55:56, 56:13, 57:09 and  82:01-82:03 alleles.

Primer mix 43: Specific PCR fragment of 110 bp in the B*44:52N allele. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

Primer mix 44: Specific PCR fragment of 85 bp in the B*44:53 and in the B*08:87 and the C*07:231 and C*16:10 alleles. Specific PCR fragment of 160 bp in the B*44:73, 44:76, 44:79, 44:146 and 44:150 and the B*15:77, 15:233 and 52:26 alleles. Specific PCR fragment of 85 bp and 160 bp in the B*07:28 allele.

Primer mix 45: Specific PCR fragment of 220 bp in the B*44:36 allele. Specific PCR fragment of 250 bp in the B*44:54, 44:86, 44:106, 44:135 and 44:158 and the B*07:20, 07:140, 07:153 and 53:27 alleles.

Primer mix 46: Specific PCR fragment of 165 bp in the B*44:66 allele. Specific PCR fragment of 450 bp in the B*44:56N allele.

Primer mix 47: Specific PCR fragment of 65 bp in the B*44:93 and 44:139 alleles. Specific PCR fragment of 115 bp in the B*44:72 allele. Specific PCR fragment of 195 bp in the B*44:58N allele.

Primer mix 48: Specific PCR fragment of 105 bp in the B*44:61N allele. Specific PCR fragment of 140 bp in the B*44:59:01-44:59:02 and 44:136 and the B*35:223 alleles. Specific PCR fragment of 265 bp in the B*44:78 and 44:120 and the B*35:204 and in the C*03:147 alleles.

Primer mix 50: Specific PCR fragment of 95 bp in the B*44:111 allele. Specific PCR fragment of 160 bp in the B*44:171N allele. Specific PCR fragment of 285 bp in the B*44:148 and the C*05:10, C*08:44 and C*08:61 alleles.

Primer mix 52: Specific PCR fragment of 130 bp in the B*44:143 allele. Specific PCR fragment of 405 bp in the B*44:118 and the B*39:46 alleles.

Primer mix 56: Specific PCR fragment of 250 bp in the B*44:160Q allele. Specific PCR fragment of 280 bp in the B*44:104 and 44:148 and in the C*05:10, C*08:44 and C*08:61 alleles.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

4The following HLA-B*44 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*44:32, 44:124 | 21 | B*44:72, 44:93 | 47 |
| B*44:58N, 44:139 | 47 | B*44:94, 44:98 | 31 |
| B*44:69, 44:85 | 26 | B*44:78, 44:136 | 48 |

The HLA-B*44 subtyping cannot distinguish the following silent mutations: the B*44:02:01:01, 44:02:01:03-44:02:09 and 44:02:11-44:02:29 alleles, the B*44:03:01-44:03:19 alleles, the B* 44:05:01-44:05:04 alleles, the B*44:27:01-44:27:02 allele,  the B*44:28:01-B*44:28:02 alleles, the B*44:37:01-44:37:02 allele,  the B*44:41:01-44:41:02 allele or the B*44:43:01-44:43:02 alleles.

Change in revision R01 compared to R00:

- Primer mix 2 amplifies the B*44:07 and the 40:83, 40:170 and 50:07 alleles. This has been corrected in the Specificity and Interpretation Tables.

Change in revision R02 compared to R01:

- Primer mix 57 amplifies the B*18:09 allele. This has been corrected in the Specificity and Interpretation Tables.