Gel Documentation Form and Worksheet

HLA-B*44 (101.563-24/03, -24u/03u) 	Lot No: 7D8	Expiry Date: 2018-10-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	                       Failed lanes: ___________                          Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 36 has a tendency to giving rise to primer oligomer formation.

Primer mixes 25, 29, 52, 55 and 57 may have tendencies of unspecific amplifications.

Primer mix 39 may give rise to a lower yield of HLA-specific PCR product than the other B*44 primer mixes.

In primer mix 42 the positive control band may be weaker than for other HLA-B*44 primer mixes.

We assume that the fourth exon nucleotide sequences are conserved within allelic groups. Primer mix 25 amplifies the B*44:27 and B*44:31 alleles. The purpose of primer mixes 23 and 25 is to distinguish e.g. the B*44:02,44:02 and B*44:02,44:27 genotypes.

Primer mix 64 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*44 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.23.0, January 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 5: Specific PCR fragment of 75 bp in the B*44:04, 44:28:01-44:28:02, 44:56N and 44:76 and the B*07:20, 07:140, 07:153, 35:45 and in the C*05:102 and C*14:61alleles. Specific PCR fragment of 255 bp in the B*44:70 allele.

Primer mix 6: Specific PCR fragment of 170 bp in the B*44:39 allele. Specific PCR fragment of 195 bp in the B*44:05:01-44:05:04, 44:10, 44:15, 44:17-44:18, 44:25, 44:31, 44:43:01-44:43:02, 44:58N, 44:62, 44:70, 44:75, 44:77-44:78, 44:82, 44:107, 44:117, 44:123, 44:134, 44:136, 44:139-44:140, 44:144, 44:158, 44:184, 44:213, 44:226, 44:230 and 44:236 and the B*07:20, 07:140, 07:153, 15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 35:169, 35:309, 40:132, 40:178, 45:01:01-45:02, 45:05-45:07, 45:09, 45:11-45:18, 46:17, 49:20, 50:02, 51:23, 51:108, 52:15, 53:22, 57:07, 58:07 and 82:01-82:03 and in the C*02:82, C*05:102, C*06:165, C*08:93, C*14:61 and C*15:25 alleles.

Primer mix 9: Specific PCR fragment of 120 bp in the B*44:23N allele. Specific PCR fragment of 195 bp in the B*44:10, 44:15, 44:18 and 44:140 and the B*45:01:01-45:01:02, 45:05-45:07, 45:11-45:18, 49:20, 50:02 and 82:01-82:03 alleles.

Primer mix 10: Specific PCR fragment of 125 bp in the B*44:24 and 44:181 alleles. Specific PCR fragment of 150 bp in the B*44:92 allele. Specific PCR fragment of 175 bp in the B*237N allele.

Primer mix 18: Specific PCR fragment of 115 bp in the B*44:31, 44:169 and 44:182 and the B*40:132 and 40:178 alleles. Specific PCR fragment of 155 bp in the B*44:74 allele. Specific PCR fragment of 260 bp in the B*44:19N, 44:82, 44:96 and 44:153 and the B*57:07 alleles.

Primer mix 19: Specific PCR fragment of 150 bp in the B*44:11 allele. Specific PCR fragment of 190 bp in the B*44:30 allele.

Primer mix 21: Specific PCR fragment of 100 bp in the B*44:32 allele. Specific PCR fragment of 180 bp in B*44:16, 44:21, 44:64:01-44:64:02, 44:124 and 44:150 and the B*07:28 and in the C*02:97 alleles.

Primer mix 22: Specific PCR fragment of 205 bp in the B*44:177 and 44:228 and the B*13:81 and 35:183 alleles. Specific PCR fragment of 290 bp in the B*44:26 and the B*35:138 and 47:07 alleles.

Primer mix 26: Specific PCR fragment of 100 bp in the B*44:69 and the B*38:51 alleles. Specific PCR fragment of 135 bp in the B*44:33 allele. Specific PCR fragment of 225 bp in the B*44:85 and in the A*24:137 alleles.

Primer mix 27: Specific PCR fragment of 160 bp in the B*44:02:10 and 44:34:01 and the B*15:32:02, 40:01:11, 40:58, 49:03, 52:01:02, 52:01:04, 52:01:09, 52:02:01, 52:03, 52:06:01-52:06:02, 52:09, 52:10:03, 52:21 and 52:31:02 alleles. Specific PCR fragment of 255 bp in the B*44:15, 44:18, 44:20, 44:47, 44:100 and 44:197 and the B*45:01:01-45:03, 45:05-45:07, 45:09, 45:11-45:18, 49:20, 50:02, 51:23, 51:108 and 52:15 alleles.

Primer mix 28: Specific PCR fragment of 130 bp in the B*44:68 allele. Specific PCR fragment of 165 bp in the B*44:35 allele.

Primer mix 29: Specific PCR fragment of 90 bp in the B*44:117 and the B*14:10, 35:59:01, 35:242, 37:19:01, 38:20, 39:42 and 39:106 and in the C*15:05:08 and C*17:01:10 alleles. Specific PCR fragment of 255 bp in the B*44:15, 44:55, 44:103, 44:188 and 44:212 and the B*13:23, 13:55, 18:09, 27:01, 27:142, 37:10, 40:47, 40:96, 40:157, 40:201 and 49:02 alleles.

Primer mix 31: Specific PCR fragment of 110 bp in the B*44:94 allele. Specific PCR fragment of 195 bp in the B*44:17, 44:43:01-44:43:02, 44:144 and 44:230 and the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 45:09, 46:17, 53:22 and 58:07 and in the C*02:82, C*06:165 and C*14:61 alleles. Specific PCR fragment of 230 bp in the B*44:98 and in the A*02:432, A*30:29 and A*31:61 alleles. Specific PCR fragment of 260 bp in the B*44:99 allele.

Primer mix 35: Specific PCR fragment of 85 bp in the B*44:63 allele. Specific PCR fragment of 185 bp in the B*44:04, 44:56N, 44:132, 44:137, 44:163 and 44:190 and the B*08:87 and in the C*01:115, C*07:231 and C*16:10 alleles.

Primer mix 36: Specific PCR fragment of 145 bp in the B*44:40, 44:44, 44:130, 44:156 and 44:210 and the B*07:149, 08:02, 08:117, 15:115, 27:01, 27:142, 38:02:01-38:02:06, 38:03-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43-38:50, 56:07 and 59:08 alleles. Specific PCR fragment of 235 bp in the B*44:142 allele.

Primer mix 40: Specific PCR fragment of 235 bp in the B*44:10, 44:15, 44:18 and 44:48 and the B*35:45, 35:71, 35:169, 35:309, 45:01:01-45:03, 45:05-45:07, 45:09, 45:11-45:18, 49:20, 50:02, 53:22 and in the C*15:25 alleles. Specific PCR fragment of 260 bp in the B*44:31, 44:41:01-44:41:02, 44:54, 44:65, 44:106, 44:135, 44:158, 44:184, 44:213, 44:230 and 44:236 and the B*07:20, 07:140, 07:153, 15:14, 15:91, 15:131, 15:161, 18:56, 27:47, 27:50:01-27:50:02, 40:132, 40:178 and 46:17 alleles. Specific PCR fragment of 235 and 260 bp in the B*58:07 and 82:01-82:03 and in the C*02:82, C*05:102, C*06:165, C*08:93 and C*14:61 alleles.

Primer mix 42: Specific PCR fragment of 130 bp in the B*44:90 and 44:97 and the B*40:166 and 45:06 and in the C*07:69 and C*08:68 alleles. Specific PCR fragment of 165 bp in the B*44:14, 44:62, 44:166 and 44:213 and the B*08:01:01-08:01:22, 08:01:24-08:05, 08:08N-08:12:03, 08:15-08:19N, 08:21-08:24, 08:26:01-08:27, 08:29-08:36, 08:38-08:39, 08:41-08:48, 08:50-08:54, 08:56:01-08:69, 08:71-08:73, 08:75-08:76, 08:78, 08:80-08:86N, 08:88, 08:90-08:106, 08:109-08:110, 08:112-08:142, 08:144-08:155, 08:157-08:158, 15:83, 35:87, 37:12, 38:30, 40:136, 40:231, 40:279, 41:01:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 41:22-41:45N, 42:01:01-42:02:01:02, 42:04-42:08, 42:10-42:15, 42:17-42:18, 42:21-42:22, 45:14, 51:08:01-51:08:02, 51:20, 51:36, 51:44N, 51:97, 51:141, 51:153, 52:19, 55:20, 55:56, 56:13, 57:09 and 82:01-82:03 alleles.

Primer mix 43: Specific PCR fragment of 110 bp in the B*44:52N allele. Specific PCR fragment of 165 bp in the B*44:29 and 44:89 alleles.

Primer mix 44: Specific PCR fragment of 85 bp in the B*44:53, 44:182 and 44:192 and the B*08:87 and in the C*07:231 and C*16:10 alleles. Specific PCR fragment of 160 bp in the B*44:73, 44:76, 44:79:01-44:79:02, 44:146 and 44:150 and the B*15:77, 15:233 and 52:26 alleles. Specific PCR fragment of 85 bp and 160 bp in the B*07:28 and in the C*01:115 and C*02:97 alleles.

Primer mix 45: Specific PCR fragment of 220 bp in the B*44:36 allele. Specific PCR fragment of 250 bp in the B*44:54, 44:86, 44:106, 44:135, 44:158, 44:184 and 44:213 and the B*07:20, 07:140, 07:153, 52:56 and 53:27 alleles.

Primer mix 46: Specific PCR fragment of 165 bp in the B*44:66 allele. Specific PCR fragment of 450 bp in the B*44:56N allele.

Primer mix 47: Specific PCR fragment of 65 bp in the B*44:93 and 44:139 alleles. Specific PCR fragment of 115 bp in the B*44:72 and 44:204 alleles. Specific PCR fragment of 140 bp in the B*44:191 allele. Specific PCR fragment of 195 bp in the B*44:58N allele.

Primer mix 48: Specific PCR fragment of 105 bp in the B*44:61N allele. Specific PCR fragment of 140 bp in the B*44:191 and the B*35:223 alleles. Specific PCR fragment of 175 bp in the B*44:237N allele. Specific PCR fragment of 260 bp in the B*44:78, 44:120 and 44:195N and the B*35:204 and in the C*03:147 alleles. Specific PCR fragment of 140 bp and 595 bp in the B*44:59:01-44:59:02 and 44:136 alleles.

Primer mix 50: Specific PCR fragment of 95 bp in the B*44:111 and 44:200 alleles. Specific PCR fragment of 160 bp in the B*44:171N allele. Specific PCR fragment of 195 bp in the B*44:137 and 44:227 alleles. Specific PCR fragment of 285 bp in the B*44:148 and the B*58:76 and in the C*03:251, C*05:10, C*08:44, 08:61, 08:82 and 08:126 alleles.

Primer mix 51: Specific PCR fragment of 110 bp in the B*44:115 allele. Specific PCR fragment of 200 bp in the B*44:217N allele.

Primer mix 52: Specific PCR fragment of 130 bp in the B*44:143 allele. Specific PCR fragment of 405 bp in the B*44:118 and the B*39:46 alleles.

Primer mix 56: Specific PCR fragment of 110 bp in the B*44:198N and in the C*03:265N alleles. Specific PCR fragment of 250 bp in the B*44:160Q and the B*37:16Q and in the C*15:96Q alleles. Specific PCR fragment of 280 bp in the B*44:104 and 44:148 and the B*58:76 and in the C*03:251, C*05:10, C*08:44, 08:61, 08:82 and 08:126 alleles.

Primer mix 61: Specific PCR fragment of 210 bp in the B*44:130, 44:156, 44:221 and 44:224 and the B*07:149, 08:02, 08:117, 15:115, 18:09, 38:02:01-38:02:06, 38:03-38:04, 38:08, 38:15, 38:18, 38:23, 38:29, 38:35, 38:43-38:45 and 38:47-38:50 alleles. Specific PCR fragment of 255 bp in the B*44:15, 44:55, 44:103, 44:188 and 44:212 and the B*13:23, 13:55, 18:09, 27:01, 27:142, 40:47, 40:96, 40:157, 40:201 and 49:02 alleles. Specific PCR fragment of 210 bp and 255 bp in the B*37:10 allele.

Primer mix 62: Specific PCR fragment of 115 bp in the B*44:38 and in the C*13:80 alleles. Specific PCR fragment of 300 bp in the B*44:71 allele.

Primer mix 63: Specific PCR fragment of 150 bp in the B*44:81 allele. Specific PCR fragment of 285 bp in the B*44:173 allele.

4The following HLA-B*44 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*44:32, 44:124 | 21 | B*44:78, 44:136 | 48 |
| B*44:58N, 44:139 | 47 | B*44:79:01-44:79:02, 44:192 | 44 |
| B*44:69, 44:85 | 26 | B*44:94, 44:98 | 31 |
| B*44:72, 44:93 | 47 | B*44:160Q, 44:198N | 56 |

The HLA-B*44 subtyping cannot distinguish the following silent mutations: the B*44:02:01:01, 44:02:01:03-44:02:09 and 44:02:11-44:02:38 alleles, the B*44:03:01-44:03:33 and 44:128:02 alleles, the B*44:05:01-44:05:04 alleles, the B*44:27:01-44:27:02 alleles, the B*44:28:01-B*44:28:02 alleles, the B*44:37:01-44:37:02 allele, the B*44:41:01-44:41:02 allele, the B*44:43:01-44:43:02 alleles, the B*44:59:01-44:59:02 alleles or the B*44:79:01-44:79:02 alleles.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.