PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*46

Prod. No:	101.544-06/06u

Lot No:    	93M

Expiry Date:    	2014-May-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 24 primer mixes used for HLA-B*46 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*46 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 130 bp | 800 bp | *46:01:01-46:03, 46:05-46:30 | *15:57w |
| 25 | 115 bp | 1070 bp | *46:02, 46:16 |  |
| 3 | 395 bp | 1070 bp | *46:03, 46:18, 46:21:01-46:21:02, 46:29 | *15:42, 15:44, 15:50, 15:69, 15:86, 15:93, 15:121, 15:186, 15:188, 15:199, 15:224 |
| 47 | 130 bp, 245 bp | 1070 bp | *46:04, 46:14 | *18:06, 40:73, 73:01w-73:02w |
| 5 | 235 bp | 1070 bp | *46:01:01-46:04, 46:06-46:30 | *08:15, 15:57w, 35:74, 35:186, 40:73, 55:03, 55:49 |
| 65,8 | 120 bp, 225 bp | 800 bp | *46:06, 46:20 | *07:09, 07:11, 07:17, 15:138, 18:35, 35:66, 40:38, 40:52, 40:59-40:60, 40:158, 48:14, 48:23, 55:19, C*07:38 |
| 75,6,9 | 105 bp, 140 bp | 1070 bp | *46:07N, 46:16 | *14:07N, 39:40N, 56:19N |
| 8 | 375 bp | 800 bp | *46:06, 46:08, 46:11, 46:13:01-46:13:03, 46:18-46:19, 46:21:01-46:21:02, 46:26 | *15:02:01-15:03:03, 15:05:01-15:06, 15:09-15:10:02, 15:13:01-15:13:02, 15:16:01-15:18:04, 15:21, 15:23, 15:25:01-15:25:03, 15:29, 15:31, 15:36-15:37, 15:39:01-15:40, 15:42, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64, 15:67, 15:69, 15:72, 15:74, 15:80, 15:86, 15:88-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:168, 15:170, 15:173, 15:176-15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200, 15:204, 15:208, 15:210, 15:213-15:214, 15:216, 15:219-15:220, 15:222-15:224, 15:226N, 15:229-15:230, 15:235 |
| 95 | 115 bp | 1070 bp | *46:01:01-46:02, 46:04-46:05, 46:07N, 46:09-46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 46:27-46:30 | *07:100, 13:31, 13:41, 15:01:01:01-15:01:04, 15:01:06-15:01:16, 15:01:18-15:01:24, 15:04, 15:07:01-15:08, 15:11:01-15:12, 15:14-15:15, 15:19, 15:24, 15:26N-15:28, 15:30, 15:32, 15:34-15:35, 15:38:01-15:38:02, 15:43, 15:45-15:46, 15:50, 15:53-15:54, 15:56-15:58, 15:60, 15:63, 15:66, 15:68, 15:70-15:71, 15:73, 15:75-15:77, 15:79N, 15:81-15:82, 15:85, 15:87, 15:92, 15:94N, 15:96-15:97, 15:101-15:102, 15:104-15:105, 15:109-15:111N, 15:113, 15:117-15:118, 15:120, 15:122, 15:125-15:126, 15:128-15:129, 15:135, 15:137, 15:140, 15:142-15:149N, 15:152, 15:154, 15:157, 15:159-15:160, 15:163-15:167, 15:169, 15:171-15:172, 15:174-15:175, 15:178, 15:180-15:184, 15:187, 15:189-15:193, 15:201-15:203, 15:205-15:207, 15:209N, 15:211-15:212, 15:215, 15:217, 15:225, 15:227-15:228, 15:231-15:234, 15:236, 18:19, 27:25, 35:14:01-35:14:02, 35:43:01-35:44, 35:62, 35:67, 35:79, 35:86, 35:102, 35:117, 35:135, 35:163, 35:185, 39:36, 51:61, 52:21, 54:06, 55:21, 56:03, A*26:68, A*68:56, C*06:20, C*12:50 |
| 105,6,10 | 100 bp, 315 bp | 800 bp | *46:05, 46:15N | *15:125, 35:54 |
| 11 | 150 bp | 1070 bp | *46:09 | *35:62, C*02:28 |
| 1211 | 170 bp, 380 bp | 1070 bp | *46:10, 46:19 | *15:48, 15:108, 15:136, 15:235 |
| 135,6,12 | 105 bp, 215 bp | 1070 bp | *46:11, 46:18, 46:22 | *07:78, 13:02:01-13:03, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:34, 13:37-13:38, 13:40-13:42, 13:44-13:45, 15:42, 35:60, 44:15, 44:18, 45:01, 45:03-45:08, 45:10-45:13, 49:01:01-49:03, 49:06-49:17, 49:19N-49:20, 50:01:01-50:02, 50:04-50:08, 50:10-50:13, 50:15, 51:15, 52:25, 54:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:16-54:24, 55:01:01-55:01:03, 55:01:05-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:38, 55:40-55:41, 55:43, 55:45-55:48, 55:50, 55:52, 55:54, 56:01:01-56:01:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20:02, 56:23-56:30, 59:01:01:01-59:01:01:02, 59:04-59:05 |
| 146 | 215 bp | 1070 bp | *46:12 | *07:55, 07:100, 08:70, 15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207, 48:19 |
| 15 | 330 bp | 1070 bp | *46:01:03, 46:11, 46:13:01-46:13:02, 46:18, 46:21:02 | *15:03:02, 15:05:02, 15:13:02, 15:27:03, 15:38:02, 15:39:02, 15:42, 15:48, 15:86, 15:179, 15:188, 15:224 |
| 166,13 | 195 bp, 215 bp | 1070 bp | *46:17, 46:22 | *15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 44:17, 44:43:01-44:43:02, 45:09, 53:22, 58:07 |
| 17 | 365 bp | 800 bp | *46:06, 46:11, 46:13:01-46:13:03, 46:18, 46:21:01-46:21:02, 46:26 | *15:05:01-15:05:02, 15:31, 15:52, 15:55, 15:84w, 15:86, 15:91, 15:107, 15:114, 15:123-15:124, 15:151, 15:155, 15:185, 15:188, 15:222, 15:224 |
| 185 | 95 bp | 1070 bp | *46:23 |  |
| 19 | 230 bp | 1070 bp | *46:24 | *15:19 |
| 20 | 375 bp | 1070 bp | *46:25 |  |
| 21 | 270 bp | 1070 bp | *46:26 |  |
| 22 | 215 bp | 1070 bp | *46:27 | *35:113, 44:98, C*03:125 |
| 235 | 45 bp | 1070 bp | *46:28 |  |
| 24 | 395 bp | 1070 bp | *46:06, 46:30 | *15:40, 15:47, 15:49, 15:52, 15:114, 15:117, 15:124, 15:138 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*46 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*46 SSP subtyping. In addition, well number 6, 8, 10 and 17 contains the primer pair giving rise to the longer, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles one non-HLA-B*46 alleles will be amplified by primer mixes 1, 3 to 17, 19, 22 and 24. In addition, the C*07:38 allele will be amplified by primer mix 6, the A*26:68, A*68:56, C*06:20 and C*12:50 alleles will be amplified by primer mix 9, the C*02:28 allele will be amplified by primer mix 11 and the C*03:125 allele will be amplified by primer mix 22.

5Specific PCR fragments shorter than 150 base pairs are less intense and not as sharp as longer specific bands.

6Primer mixes 7, 10, 13, 14 and 16 may give rise to nonspecific amplifications.

7Primer mix 4: Specific PCR fragment of 130 bp in the B*46:04 allele. Specific PCR fragment of 245 bp in the B*46:14 and the B*18:06, 40:73, 73:01w-73:02w alleles.

8Primer mix 6: Specific PCR fragment of 120 bp in the B*46:20 and the B*55:19 alleles. Specific PCR fragment of 225 bp in the B*46:06 and the B*07:09, 07:11, 07:17, 15:138, 18:35, 35:66, 40:38, 40:52, 40:59-40:60, 40:158, 48:14 and 48:23 and in the C*07:38 alleles.

9Primer mix 7: Specific PCR fragment of 105 bp in the B*46:16 allele. Specific PCR fragment of 140 bp in the B*46:07N and the B*14:07N, 39:40N and 56:19N alleles.

10Primer mix 10: Specific PCR fragment of 100 bp in the B*46:05 and the B*15:125 and 35:54 alleles. Specific PCR fragment of 315 bp in the B*46:15N allele.

11Primer mix 12: Specific PCR fragment of 170 bp in the B*46:10 allele. Specific PCR fragment of 380 bp in the B*46:19 and the B*15:48, 15:108, 15:136 and 15:235alleles.

12Primer mix 13: Specific PCR fragment of 105 bp in the B*46:11 and 46:18 and the B*07:78, 13:02:01-13:03, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:34, 13:37-13:38, 13:40-13:42, 13:44-13:45, 15:42, 35:60, 44:15, 44:18, 45:01, 45:03-45:08, 45:10-45:13, 49:01:01-49:03, 49:06-49:17, 49:19N-49:20, 50:01:01-50:02, 50:04-50:08, 50:10-50:13, 50:15, 51:15, 52:25, 54:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:16-54:24, 55:01:01-55:01:03, 55:01:05-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:38, 55:40-55:41, 55:43, 55:45-55:48, 55:50, 55:52, 55:54, 56:01:01-56:01:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20:02, 56:23-56:30, 59:01:01:01-59:01:01:02 and 59:04-59:05 alleles. Specific PCR fragment of 215 bp in the B*46:22 allele.

13Primer mix 16: Specific PCR fragment of 195 bp in the B*46:17 and the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 44:17, 44:43:01-44:43:02, 45:09, 53:22 and 58:07 alleles. Specific PCR fragment of 215 bp in the B*46:22 allele.

‘w’, might be weakly amplified.

1Primer mix 4: Specific PCR fragment of 130 bp in the B*46:04 allele. Specific PCR fragment of 245 bp in the B*46:14 and the B*18:06, 40:73, 73:01w-73:02w alleles.

Primer mix 6: Specific PCR fragment of 120 bp in the B*46:20 and the B*55:19 alleles. Specific PCR fragment of 225 bp in the B*46:06 and the B*07:09, 07:11, 07:17, 15:138, 18:35, 35:66, 40:38, 40:52, 40:59-40:60, 40:158, 48:14 and 48:23 and in the C*07:38 alleles.

Primer mix 7: Specific PCR fragment of 105 bp in the B*46:16 allele. Specific PCR fragment of 140 bp in the B*46:07N and the B*14:07N, 39:40N and 56:19N alleles.

Primer mix 10: Specific PCR fragment of 100 bp in the B*46:05 and the B*15:125 and 35:54 alleles. Specific PCR fragment of 315 bp in the B*46:15N allele.

Primer mix 12: Specific PCR fragment of 170 bp in the B*46:10 allele. Specific PCR fragment of 380 bp in the B*46:19 and the B*15:48, 15:108, 15:136 and 15:235alleles.

Primer mix 13: Specific PCR fragment of 105 bp in the B*46:11 and 46:18 and the B*07:78, 13:02:01-13:03, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:34, 13:37-13:38, 13:40-13:42, 13:44-13:45, 15:42, 35:60, 44:15, 44:18, 45:01, 45:03-45:08, 45:10-45:13, 49:01:01-49:03, 49:06-49:17, 49:19N-49:20, 50:01:01-50:02, 50:04-50:08, 50:10-50:13, 50:15, 51:15, 52:25, 54:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:16-54:24, 55:01:01-55:01:03, 55:01:05-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:38, 55:40-55:41, 55:43, 55:45-55:48, 55:50, 55:52, 55:54, 56:01:01-56:01:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20:02, 56:23-56:30, 59:01:01:01-59:01:01:02 and 59:04-59:05 alleles. Specific PCR fragment of 215 bp in the B*46:22 allele.

Primer mix 16: Specific PCR fragment of 195 bp in the B*46:17 and the B*15:14, 15:91, 15:131, 15:161, 18:56, 35:45, 35:71, 44:17, 44:43:01-44:43:02, 45:09, 53:22 and 58:07 alleles. Specific PCR fragment of 215 bp in the B*46:22 allele.

‘w’, might be weakly amplified.