PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*48

Prod. No:	101.546-06/06u

Lot No:    	67R

Expiry Date:    	2015-June-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 16 primer mixes used for HLA-B*48 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*48 alleles3 | Other amplified HLA-B alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 385 bp | 800 bp | *48:01:01-48:05, 48:07-48:15, 48:17-48:28 | *08:17, 08:38, 08:54, 08:101, 15:68, 38:03-38:04, 38:25, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:22-39:23, 39:49, 40:01:01-40:01:29, 40:07, 40:09?, 40:11:01?-40:11:02?, 40:14:01?-40:15?, 40:16, 40:18?-40:19?, 40:21?-40:22N?, 40:23, 40:24?, 40:26?-40:38?, 40:42?-40:50?, 40:51, 40:52?-40:58?, 40:59-40:60, 40:61?-40:65?, 40:66, 40:67?, 40:71?, 40:72:01-40:73, 40:74?-40:76?, 40:77, 40:78?, 40:79, 40:80?-40:88?, 40:90?-40:93?, 40:95?-40:96?, 40:98?-40:105?, 40:107?-40:121?, 40:123?, 40:124:01, 40:124:02?-40:137?, 40:138-40:140, 40:141?, 40:145?, 40:146-40:147, 40:148?-40:149?, 40:150, 40:151?, 40:152-40:153, 40:154?, 40:155N, 40:156?-40:165?, 40:167?-40:171?, 40:172, 40:173?-40:185?, 40:186, 40:187?-40:213?, 40:215?-40:226?, 41:01-41:25, 42:11, 44:18, 45:01-45:05, 45:07-45:14, 49:01:01-49:25, 50:01:01-50:02, 50:04-50:14, 50:16-50:19 |
| 2 | 145 bp | 800 bp | *48:01:01-48:01:03, 48:03:01-48:03:02, 48:06-48:07, 48:09, 48:11, 48:15-48:23, 48:26-48:28 | *07:174, 27:36, 40:01:01-40:01:29, 40:07, 40:10:01-40:10:02, 40:12, 40:21-40:23, 40:25, 40:30-40:31, 40:33-40:34, 40:36, 40:38, 40:42-40:43, 40:45-40:49, 40:52, 40:54-40:55, 40:59-40:61, 40:63, 40:66-40:67, 40:69, 40:73-40:74, 40:76, 40:79-40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:112-40:114, 40:116-40:118N, 40:123-40:126, 40:128, 40:132, 40:134-40:135, 40:137-40:141, 40:146-40:147, 40:149-40:156, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182-40:183, 40:185-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 44:31, 46:06, 81:01-81:06 |
| 3 | 175 bp | 800 bp | *48:01:01-48:01:03, 48:04, 48:06-48:07, 48:09, 48:11, 48:15-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:28 | *07:174, 27:24, 40:31, 40:45, 40:80, 81:01-81:06 |
| 4 | 150 bp | 800 bp | *48:02:01-48:02:03, 48:25 | *08:49, 13:01:01-13:01:06, 13:06-13:07N, 13:12-13:13, 13:17, 13:20, 13:22:01-13:23, 13:25-13:26, 13:28-13:29, 13:36, 13:39, 13:43, 13:50-13:52, 13:57, 13:60-13:61, 13:63N, 14:10, 15:02:01-15:02:06, 15:13:01-15:13:02, 15:20-15:21, 15:25:01-15:25:03, 15:36, 15:44, 15:62, 15:77, 15:80, 15:85, 15:88-15:89, 15:106, 15:112, 15:121, 15:139, 15:144, 15:154, 15:165, 15:170, 15:194, 15:204, 15:213-15:214, 15:223, 15:240, 15:250, 18:22, 18:69, 27:19, 27:30, 35:01:01:01-35:04:03, 35:06-35:08:06, 35:10-35:17, 35:19-35:21, 35:23-35:30, 35:33-35:36, 35:38-35:42:02, 35:45-35:50, 35:52, 35:54-35:57, 35:59, 35:61:01-35:63, 35:65Q, 35:69-35:71, 35:74, 35:76-35:78, 35:80-35:85, 35:90-35:96, 35:98, 35:100-35:101:02, 35:103-35:113, 35:115-35:116, 35:120-35:126, 35:128-35:134N, 35:136-35:150, 35:152-35:173N, 35:175-35:184, 35:186-35:198, 35:200-35:204, 35:206-35:220, 37:01:01-37:01:07, 37:01:09, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:37, 38:20, 39:42, 40:28, 44:02:01:01-44:14, 44:16-44:17, 44:19N, 44:21-44:30, 44:32-44:40, 44:42-44:46, 44:48-44:52N, 44:55-44:64:02, 44:66-44:98, 44:101-44:105, 44:107-44:134, 44:136-44:137, 44:139-44:157, 44:159-44:165, 46:33, 50:17, 51:04, 51:42, 51:46, 51:56:01-51:56:02, 51:139, 53:01:01-53:13, 53:15-53:29, 55:14, 56:09, 56:11-56:12, 57:01:01-57:01:04, 57:01:06-57:10, 57:12, 57:14-57:20, 57:22-57:30, 57:32-57:46, 57:48-57:60, 58:01:01-58:01:02, 58:01:04-58:01:12, 58:04-58:05, 58:09-58:15, 58:17N, 58:19, 58:21-58:24, 58:28-58:29, 58:31N-58:37, 58:39N, 83:01, C*03:102 |
| 59 | 230 bp, 285 bp | 1070 bp | *48:03:01-48:03:02, 48:17, 48:23, 48:26 | *07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:137, 07:162-07:163, 15:138, 15:230, 15:241, 18:35, 27:36, 40:01:01-40:01:17, 40:01:19-40:01:29, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182-40:183, 40:185-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 41:08, 44:31, 44:150, 46:06, C*02:23, C*04:77, C*07:38:01-07:38:02 |
| 65,10 | 90 bp, 170 bp, 285 bp | 1070 bp | *48:05, 48:20-48:21, 48:26 | *27:36 |
| 711 | 150 bp, 385 bp | 1070 bp | *48:06, 48:25 | *07:02:01-07:12, 07:14-07:53, 07:55-07:64, 07:66-07:122, 07:124-07:131, 07:133-07:176, 08:01:01-08:05, 08:07-08:09, 08:11-08:16, 08:18-08:37, 08:39-08:53:02, 08:55-08:100, 08:102-08:105, 14:01:01-14:03, 14:05-14:33, 15:03:01-15:03:03, 15:16:01-15:16:03, 15:18:01-15:18:05, 15:23, 15:29, 15:39:01-15:40, 15:47:01w-15:47:02w, 15:49w, 15:61-15:62, 15:64:01-15:64:02, 15:65w, 15:67, 15:69, 15:72, 15:74, 15:80, 15:93, 15:95, 15:98, 15:103, 15:108, 15:115, 15:119, 15:127, 15:131-15:132, 15:134, 15:138, 15:153, 15:158, 15:161, 15:173, 15:176, 15:194-15:195, 15:197-15:198, 15:210, 15:220, 15:221w, 15:223, 15:226N, 15:238, 15:242, 15:254-15:255, 15:263, 18:15, 18:21w, 18:30w, 18:57, 35:11:01-35:11:02, 35:11:03w, 35:21, 35:58, 35:99w, 35:188, 38:01:01-38:02:04, 38:05-38:24, 38:26-38:42, 39:01:01:01-39:01:01:03, 39:01:03-39:01:15, 39:03-39:07, 39:09-39:10:01, 39:11-39:12, 39:14-39:20, 39:24:01-39:48, 39:50-39:77, 39:79, 42:01:01-42:02, 42:04-42:10, 42:12-42:17, 46:03w, 46:08, 49:04, 50:15, 51:37, 51:45, 53:06, 53:08:01-53:08:02, 53:28, 55:14, 56:32, 57:13w, 57:22, 58:06, 58:19, 67:01:01-67:01:02, 67:03, 73:01w-73:02w, 81:02, C*03:175, C*15:09, C*15:19, C*15:27, C*15:61 |
| 85,6,12 | 85 bp, 225 bp | 1070 bp | *48:07, 48:16-48:17 | *07:78, 07:115, 40:36, 40:48, 40:77, C*04:77 |
| 95,7,13 | 75 bp, 215 bp | 800 bp | *48:05, 48:08, 48:19, 48:24, 48:27 | *07:02:01-07:02:25, 07:02:27-07:03, 07:05:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:24, 07:27-07:33, 07:35-07:42, 07:44, 07:46-07:47, 07:49N-07:51, 07:53-07:65, 07:67N-07:76, 07:79, 07:81-07:83, 07:85-07:130, 07:132-07:134, 07:136, 07:138-07:145, 07:148-07:161N, 07:165-07:176, 08:20, 08:40, 08:70, 08:77, 08:79, 15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207, 35:66, 37:07, 40:15-40:16, 40:32, 40:98, 46:12, C*02:60 |
| 106 | 290 bp | 800 bp | *48:04, 48:13, 48:24 | *07:33, 07:53, 07:60, 07:100, 07:139, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 18:22, 27:07:01-27:07:03, 27:11, 27:24, 27:32-27:34, 27:43, 35:05:01-35:05:03, 35:16-35:17, 35:22, 35:30-35:31, 35:51, 35:58, 35:72, 35:89, 35:97, 35:113-35:114, 35:125, 35:164, 35:199, 37:09, 38:19, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:18-40:19, 40:24, 40:27:01-40:27:02, 40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:56-40:58, 40:71, 40:78, 40:82, 40:85, 40:89-40:91, 40:94, 40:97, 40:104-40:105, 40:107, 40:111, 40:115, 40:119, 40:122, 40:133Q, 40:142N-40:145, 40:157, 40:164, 40:169, 40:173-40:174, 40:176, 40:180-40:181, 40:189, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, 40:219-40:220, 40:224, 40:226, 41:15, 42:08, 42:14, 44:54, 44:106, 44:110, 44:135, 44:158, 46:12, 51:64, 51:81, 51:148, 53:14, 55:04, 55:49, 55:51, 58:18, 58:27, C*02:60, C*03:05, C*03:25, C*03:27, C*03:143, C*03:167, C*08:08 |
| 11 | 170 bp | 800 bp | *48:01:01-48:05, 48:07-48:28 | *07:27, 07:50, 08:04, 08:17, 08:54, 15:03:01-15:03:03, 15:47:01-15:47:02, 15:54, 15:61-15:62, 15:64:01-15:64:02, 15:68-15:69, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242, 15:251, 15:253, 18:01:01:01-18:03, 18:05-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:78, 18:81-18:83, 37:01:01-37:20, 37:23-37:25, 37:27-37:37, 38:03, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:23, 39:39:01-39:39:02, 39:49, 40:12, 40:149, 41:22, 42:11, 44:130, 44:156, 49:25, 52:16, 52:27 |
| 125 | 120 bp | 1070 bp | *48:22-48:23 | *07:143, 13:23, 13:55, 15:71, 15:116, 15:124, 15:175, 15:204, 15:225, 18:01:01:01-18:01:12, 18:01:14-18:03, 18:05-18:15, 18:17N-18:24, 18:26-18:42, 18:44:01-18:83, 27:75, 35:50, 35:84, 35:162, 37:01:01-37:01:06, 37:01:08-37:37, 40:52, 40:59, 40:83, 40:185, 40:209, 42:02, 42:09, 42:17, 46:06, 46:14, 49:03, 51:116, 57:39, 57:59, 58:05, 73:01-73:02, C*07:123, C*07:173 |
| 138 | 135 bp | 1070 bp | *48:05, 48:10, 48:12-48:13, 48:14w | *07:05:01-07:06, 07:32, 07:34, 07:40, 07:53, 07:69, 07:78, 07:80, 07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 08:01:01-08:01:11, 08:01:13-08:05, 08:08N-08:12:01, 08:12:03-08:13, 08:15-08:27, 08:29-08:36, 08:38-08:48, 08:50-08:63, 08:65-08:73, 08:75-08:82N, 08:84w, 08:85-08:86N, 08:88, 08:90-08:105, 13:03, 13:22:01-13:22:02, 13:40w, 13:45, 13:48, 13:62, 14:13, 15:09, 15:30, 15:42, 15:48, 15:58, 15:73, 15:83, 15:86, 15:150, 15:188, 15:224, 15:229, 15:243, 15:252, 18:26, 18:61, 27:07:01-27:07:03, 27:11, 27:20, 27:27, 27:33, 27:43, 35:02:01-35:02:05, 35:04:01-35:04:03, 35:06, 35:09:01-35:09:03, 35:12:01-35:12:03, 35:18, 35:22, 35:31, 35:44, 35:59-35:60, 35:81, 35:83, 35:87-35:88, 35:95, 35:129N, 35:146, 35:149, 35:154, 35:157, 35:162, 35:172, 35:182-35:184, 35:201, 35:211, 35:220, 37:12, 38:01:01, 38:01:03-38:21, 38:23-38:28, 38:30-38:37, 38:39-38:42, 39:01:01:01-39:01:01:03, 39:01:03-39:06:02, 39:08-39:14, 39:16, 39:18-39:20, 39:22, 39:24:01-39:24:02, 39:26-39:28, 39:30-39:42, 39:45-39:48, 39:50-39:54, 39:56w, 39:57-39:79, 40:02:01-40:02:09, 40:02:11-40:02:17, 40:04-40:06:06, 40:08, 40:11:01-40:11:02, 40:13-40:16, 40:19, 40:26-40:29, 40:35, 40:37, 40:39-40:40, 40:50, 40:53, 40:56-40:58, 40:64, 40:68, 40:70-40:71, 40:72:01w-40:72:02w, 40:75, 40:77w, 40:78, 40:82-40:83, 40:86, 40:90, 40:93-40:97, 40:99, 40:103-40:105, 40:107, 40:109-40:111, 40:115, 40:119, 40:121-40:122, 40:127, 40:129, 40:133Q, 40:136, 40:142N-40:145, 40:148, 40:157-40:158, 40:161-40:162, 40:164-40:165, 40:167, 40:169, 40:173-40:174, 40:176-40:177, 40:181, 40:184, 40:189-40:190, 40:200-40:203, 40:205-40:206, 40:209, 40:211, 40:214, 40:219-40:220, 40:224-40:226, 41:01-41:03:02, 41:05-41:09, 41:11-41:17, 41:19-41:20, 41:22-41:24, 41:25w, 42:01:01-42:02, 42:04-42:08, 42:10-42:15, 42:17, 44:10, 44:14, 44:62, 44:77, 44:82, 45:12, 45:14, 46:11, 46:18, 51:01:01-51:01:18, 51:01:19w, 51:01:20-51:01:30, 51:01:32-51:02:02, 51:02:04-51:16, 51:19-51:24:04, 51:26, 51:28-51:36, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:74, 51:75w, 51:76-51:83, 51:86-51:89, 51:91, 51:95-51:121, 51:123-51:129, 51:131-51:134, 51:136-51:145, 51:147-51:148, 52:01:01:01-52:01:10, 52:01:12-52:11, 52:13-52:25, 52:27-52:31, 53:19, 54:01:01-54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:17-54:21, 54:23-54:26, 54:28, 55:01:01-55:05, 55:07-55:13, 55:15-55:22, 55:24-55:26, 55:28-55:40, 55:42-55:45, 55:47-55:49, 55:51-55:57, 56:01:01-56:02, 56:04-56:08, 56:10, 56:12-56:17, 56:19N-56:30, 56:33-56:38N, 57:02:01-57:03:02, 57:07, 57:09, 57:12, 57:17, 57:28N, 57:39, 57:42w, 57:46, 57:57, 58:08:01-58:08:02, 58:20, 58:27-58:28, 59:01:01:01-59:05, 67:01:01-67:03, 78:01:01-78:07, 82:01-82:03, A*26:01:19w, C*06:21, C*15:24 |
| 145,14 | 100 bp, 250 bp | 1070 bp | *48:09, 48:11, 48:14 | *07:09, 07:11, 07:17, 08:28, 08:35, 08:37, 15:07:01-15:07:02, 15:55, 15:68, 15:126, 15:207, 18:14, 35:05:01-35:05:03, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:114, 40:03, 40:105, 41:24, 42:09, 46:12, 53:14, 58:18, C*02:60 |
| 156,15 | 140 bp, 435 bp | 1070 bp | *48:12, 48:14, 48:18 | *07:36, 07:38, 07:68:01-07:68:03, 07:81, 07:100, 08:03, 08:52, 08:71, 08:78, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:32, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:199, 38:01:01-38:01:07, 38:05-38:07, 38:09-38:14, 38:16, 38:19-38:22, 38:24-38:28, 38:30-38:34N, 38:36-38:42, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 40:19?, 40:35, 40:71, 40:109?, 40:117?, 41:24, 42:10, 42:17, 44:18, 44:54, 44:106, 44:135, 44:158, 46:12, 49:01:01-49:01:04, 49:03-49:25, 51:64, 53:14, 58:18 |
| 16 | 130 bp | 1070 bp | *48:05, 48:08, 48:15, 48:28 | *07:02:01-07:18:02, 07:20-07:24, 07:26-07:32, 07:34-07:39, 07:41-07:47, 07:49N-07:50, 07:52, 07:54-07:59, 07:61-07:99, 07:101-07:121, 07:123-07:138, 07:140-07:154, 07:156-07:163, 07:166-07:176, 08:79, 15:138, 15:230, 15:241, 18:12, 37:07, 40:15-40:16, 40:23, 40:32, 40:98, 40:158, 40:183, 40:198, 44:150, C*02:23, C*04:77 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*48 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*48 SSP subtyping.

In addition, wells number 2 to 4 and 9 to 11 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups.

4Due to sharing of sequence motifs between HLA-B alleles non-HLA-B*48 alleles will be amplified by all HLA-B*48 primer mixes. In addition, the A*26:01:19w, C*06:21 and C*15:24 alleles will be amplified by primer mix 13, the C*02:23 allele will be amplified by primer mixes 5 and 16, the C*02:60 allele will be amplified by primer mixes 9, 10 and 14, the C*03:05, C*03:25, C*03:27, C*03:143, C*03:167 and C*08:08 alleles will be amplified by primer mix 10, the C*03:102 allele will be amplified by primer mix 4, the C*03:175, C*15:09, C*15:19, C*15:27 and C*15:61 alleles will be amplified by primer mix 7, the C*04:77 allele will be amplified by primer mixes 5, 8 and 16, the C*07:38:01-07:38:02 alleles will be amplified by primer mix 5 and the C*07:123 and C*07:173 alleles will be amplified by primer mix 12.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mixes 8, 10 and 15 may have tendencies of unspecific amplifications.

7Primer mix 9 has a tendency to giving rise to primer oligomer formation.

8Primer mix 13 might faintly amplify the B*13 alleles.

9Primer mix 5: Specific PCR fragment of 230 bp in the B*48:26 and the B*27:36 alleles. Specific PCR fragment of 285 bp in the B*48:03:01-48:03:02, 48:17 and 48:23 and in the B*07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:137, 07:162-07:163, 15:138, 15:241, 18:35, 40:01:01-40:01:17, 40:01:19-40:01:29, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182-40:183, 40:185-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 41:08, 44:31, 44:150 and 46:06 and the C*02:23, C*04:77 and C*07:38:01-07:38:02 alleles. Specific PCR fragment of 230 and 285 bp in the B*15:230 and 40:124:01-40:124:02 alleles.

10Primer mix 6: Specific PCR fragment of 90 bp in the B*48:20 allele. Specific PCR fragment of 170 bp in the B*48:05 allele. Specific PCR fragment of 285 bp in the B*48:21 and 48:26 and the B*27:36 alleles.

11Primer mix 7: Specific PCR fragment of 150 bp in the B*48:25 and in the B*15:03:01-15:03:03, 15:16:01-15:16:03, 15:18:01-15:18:05, 15:23, 15:29, 15:39:01-15:40, 15:47:01w-15:47:02w, 15:49w, 15:61-15:62, 15:64:01-15:64:02, 15:65w, 15:67, 15:69, 15:72, 15:74, 15:80, 15:93, 15:95, 15:98, 15:103, 15:108, 15:115, 15:119, 15:127, 15:131-15:132, 15:134, 15:138, 15:153, 15:158, 15:161, 15:173, 15:176, 15:194-15:195, 15:197-15:198, 15:210, 15:220, 15:221w, 15:223, 15:226N, 15:238, 15:242, 15:254-15:255, 15:263, 18:15, 18:21w, 18:30w, 18:57, 35:11:01-35:11:02, 35:11:03w, 35:21, 35:58, 35:99w, 35:188, 46:03w, 46:08, 49:04, 51:37, 51:45, 53:06, 53:08:01-53:08:02, 53:28, 55:14, 56:32, 57:13w, 57:22, 58:06 and 58:19 and the C*03:175, C*15:09, C*15:19, C*15:27 and C*15:61 alleles. Specific PCR fragment of 385 bp in the B*48:06 and the B*07:02:01-07:02:37, 07:03, 07:04-07:07, 07:08, 07:10, 07:12, 07:14-07:15, 07:16, 07:17-07:122, 07:124-07:131, 07:133-07:161, 07:163-07:176, 08:01:01-08:05, 08:07-08:09, 08:11-08:16, 08:18-08:37, 08:39-08:53:02, 08:55-08:100, 08:102-08:105, 14:01:01-14:03, 14:05-14:20, 14:21, 14:22-14:33, 38:01:01-38:02:04, 38:05-38:24, 38:26, 38:27-38:42, 39:01:01:01-39:01:01:03, 39:01:03-39:01:15, 39:03-39:07, 39:09-39:10:01, 39:11-39:12, 39:14-39:20, 39:24:01-39:48, 39:50-39:77, 39:79, 42:01:01-42:02, 42:04-42:10, 42:12-42:17, 50:15, 67:01:01-67:01:02, 67:03, 73:01-73:02 and 81:02 alleles. Specific PCR fragment of 150 and 385 bp in the B*07:09, 07:11 and 07:162 alleles.

12Primer mix 8: Specific PCR fragment of 85 bp in the B*48:16 allele. Specific PCR fragment of 225 bp in the B*48:07 and 48:17 and in the B*07:78, 07:115, 40:36, 40:48 and 40:77 and the C*04:77 alleles.

13Primer mix 9: Specific PCR fragment of 75 bp in the B*48:27, 08:77 allele. Specific PCR fragment of 215 bp in the B*48:05, 48:08, 48:19 and 48:24 and in the B*07:02:01-07:02:25, 07:02:27-07:03, 07:05:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:24, 07:27-07:33, 07:35-07:42, 07:44, 07:46-07:47, 07:49N-07:51, 07:53-07:65, 07:67N-07:73, 07:75-07:76, 07:79, 07:81-07:83, 07:85-07:130, 07:132-07:134, 07:136, 07:138-07:145, 07:148-07:161N, 07:165-07:176, 08:20, 08:40, 08:70, 08:79, 15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207, 35:66, 37:07, 40:15-40:16, 40:32, 40:98 and 46:12 and the C*02:60 alleles. Specific PCR fragment of 75 and 215 bp in the 07:74 allele.

14Primer mix 14: Specific PCR fragment of 100 bp in the B*48:09 and 48:14 and in the B*07:09, 07:11, 07:17, 08:28, 08:35, 08:37, 15:07:01-15:07:02, 15:55, 15:68, 15:126, 15:207, 18:14, 35:05:01-35:05:03, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:114, 40:03, 40:105, 41:24, 42:09, 46:12, 53:14 and 58:18 and the C*02:60 alleles. Specific Specific PCR fragment of 250 bp in the B*48:11 allele.

15Primer mix 15: Specific PCR fragment of 140 bp in the B*48:12, 48:14, 07:68:01-07:68:03, 07:100, 08:71, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:32, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:199, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 40:35, 40:71, 41:24, 42:10, 42:17, 44:54, 44:106, 44:135, 44:158, 46:12, 51:64, 53:14, 58:18  alleles. Specific PCR fragment of 435 bp in the B*48:18, 07:36, 07:38, 07:81, 08:03, 08:52, 08:78, 38:01:01-38:01:07, 38:05-38:07, 38:09-38:14, 38:16, 38:20-38:22, 38:24-38:28, 38:30-38:34N, 38:36-38:42, 40:19?, 40:109?, 40:117?, 44:18, 49:01:01-49:01:04, 49:03-49:25 alleles. Specific PCR fragment of 140 and 435 bp in the B*38:19 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

1HLA-B*48 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

2The B*48 primer set cannot separate the B*48:06 and B*81:02 alleles. These two alleles can be distinguished by the HLA-B low resolution and/or HLA-B*81 kits.

3The B*48 primer set cannot separate the B*48:10 and the B*08:17, 08:54, 38:03, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 41:22 and 42:11 alleles. These alleles can be distinguished by the HLA-B low resolution and/or HLA-B*08, HLA-B*38, HLA-B*39, HLA-B*41 and HLA-B*42 kits.

4The B*48:09 and B*48.11 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 14.

5The B*48:19 and B*48:27 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 9.

6Primer mix 5: Specific PCR fragment of 230 bp in the B*48:26 and the B*27:36 alleles. Specific PCR fragment of 285 bp in the B*48:03:01-48:03:02, 48:17 and 48:23 and in the B*07:07, 07:12, 07:14, 07:18:01-07:18:02, 07:77, 07:137, 07:162-07:163, 15:138, 15:241, 18:35, 40:01:01-40:01:17, 40:01:19-40:01:29, 40:07, 40:10:01-40:10:02, 40:12, 40:14:01-40:14:03, 40:21-40:23, 40:25, 40:33, 40:36, 40:38, 40:42-40:43, 40:46-40:49, 40:52, 40:54-40:55, 40:59-40:63, 40:65-40:67, 40:69, 40:72:01-40:74, 40:76-40:77, 40:79, 40:81, 40:84, 40:87:01-40:88, 40:100-40:102, 40:106, 40:108, 40:112-40:114, 40:116-40:118N, 40:121, 40:123, 40:125-40:126, 40:128, 40:132, 40:134-40:141, 40:146-40:147, 40:149-40:156, 40:158, 40:160:01-40:160:02, 40:166, 40:168, 40:170-40:172, 40:175, 40:179, 40:182-40:183, 40:185-40:188, 40:191-40:199, 40:204, 40:207-40:208, 40:210, 40:212-40:213, 40:215-40:218, 40:221-40:223, 41:08, 44:31, 44:150 and 46:06 and the C*02:23, C*04:77 and C*07:38:01-07:38:02 alleles. Specific PCR fragment of 230 and 285 bp in the B*15:230 and 40:124:01-40:124:02 alleles.

Primer mix 6: Specific PCR fragment of 90 bp in the B*48:20 allele. Specific PCR fragment of 170 bp in the B*48:05 allele. Specific PCR fragment of 285 bp in the B*48:21 and 48:26 and the B*27:36 alleles.

Primer mix 7: Specific PCR fragment of 150 bp in the B*48:25 and in the B*15:03:01-15:03:03, 15:16:01-15:16:03, 15:18:01-15:18:05, 15:23, 15:29, 15:39:01-15:40, 15:47:01w-15:47:02w, 15:49w, 15:61-15:62, 15:64:01-15:64:02, 15:65w, 15:67, 15:69, 15:72, 15:74, 15:80, 15:93, 15:95, 15:98, 15:103, 15:108, 15:115, 15:119, 15:127, 15:131-15:132, 15:134, 15:138, 15:153, 15:158, 15:161, 15:173, 15:176, 15:194-15:195, 15:197-15:198, 15:210, 15:220, 15:221w, 15:223, 15:226N, 15:238, 15:242, 15:254-15:255, 15:263, 18:15, 18:21w, 18:30w, 18:57, 35:11:01-35:11:02, 35:11:03w, 35:21, 35:58, 35:99w, 35:188, 46:03w, 46:08, 49:04, 51:37, 51:45, 53:06, 53:08:01-53:08:02, 53:28, 55:14, 56:32, 57:13w, 57:22, 58:06 and 58:19 and the C*03:175, C*15:09, C*15:19, C*15:27 and C*15:61 alleles. Specific PCR fragment of 385 bp in the B*48:06 and the B*07:02:01-07:02:37, 07:03, 07:04-07:07, 07:08, 07:10, 07:12, 07:14-07:15, 07:16, 07:17-07:122, 07:124-07:131, 07:133-07:161, 07:163-07:176, 08:01:01-08:05, 08:07-08:09, 08:11-08:16, 08:18-08:37, 08:39-08:53:02, 08:55-08:100, 08:102-08:105, 14:01:01-14:03, 14:05-14:20, 14:21, 14:22-14:33, 38:01:01-38:02:04, 38:05-38:24, 38:26, 38:27-38:42, 39:01:01:01-39:01:01:03, 39:01:03-39:01:15, 39:03-39:07, 39:09-39:10:01, 39:11-39:12, 39:14-39:20, 39:24:01-39:48, 39:50-39:77, 39:79, 42:01:01-42:02, 42:04-42:10, 42:12-42:17, 50:15, 67:01:01-67:01:02, 67:03, 73:01-73:02 and 81:02 alleles. Specific PCR fragment of 150 and 385 bp in the B*07:09, 07:11 and 07:162 alleles.

Primer mix 8: Specific PCR fragment of 85 bp in the B*48:16 allele. Specific PCR fragment of 225 bp in the B*48:07 and 48:17 and in the B*07:78, 07:115, 40:36, 40:48 and 40:77 and the C*04:77 alleles.

Primer mix 9: Specific PCR fragment of 75 bp in the B*48:27, 08:77 allele. Specific PCR fragment of 215 bp in the B*48:05, 48:08, 48:19 and 48:24 and in the B*07:02:01-07:02:25, 07:02:27-07:03, 07:05:01-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:20-07:24, 07:27-07:33, 07:35-07:42, 07:44, 07:46-07:47, 07:49N-07:51, 07:53-07:65, 07:67N-07:73, 07:75-07:76, 07:79, 07:81-07:83, 07:85-07:130, 07:132-07:134, 07:136, 07:138-07:145, 07:148-07:161N, 07:165-07:176, 08:20, 08:40, 08:70, 08:79, 15:07:01-15:07:02, 15:45, 15:68, 15:126, 15:207, 35:66, 37:07, 40:15-40:16, 40:32, 40:98 and 46:12 and the C*02:60 alleles. Specific PCR fragment of 75 and 215 bp in the 07:74 allele.

Primer mix 14: Specific PCR fragment of 100 bp in the B*48:09 and 48:14 and in the B*07:09, 07:11, 07:17, 08:28, 08:35, 08:37, 15:07:01-15:07:02, 15:55, 15:68, 15:126, 15:207, 18:14, 35:05:01-35:05:03, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:114, 40:03, 40:105, 41:24, 42:09, 46:12, 53:14 and 58:18 and the C*02:60 alleles. Specific Specific PCR fragment of 250 bp in the B*48:11 allele.

Primer mix 15: Specific PCR fragment of 140 bp in the B*48:12, 48:14, 07:68:01-07:68:03, 07:100, 08:71, 14:05, 14:13, 15:07:01-15:07:02, 15:45, 15:55, 15:68, 15:126, 15:207, 18:14, 27:32, 35:05:01-35:05:03, 35:22, 35:51, 35:58, 35:66, 35:72, 35:89, 35:97, 35:199, 39:03, 39:14, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 40:35, 40:71, 41:24, 42:10, 42:17, 44:54, 44:106, 44:135, 44:158, 46:12, 51:64, 53:14, 58:18  alleles. Specific PCR fragment of 435 bp in the B*48:18, 07:36, 07:38, 07:81, 08:03, 08:52, 08:78, 38:01:01-38:01:07, 38:05-38:07, 38:09-38:14, 38:16, 38:20-38:22, 38:24-38:28, 38:30-38:34N, 38:36-38:42, 40:19?, 40:109?, 40:117?, 44:18, 49:01:01-49:01:04, 49:03-49:25 alleles. Specific PCR fragment of 140 and 435 bp in the B*38:19 allele.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Change in revision R01 compared to R00:

- Missing lines in the Interpretation Table have been reinserted.