Gel Documentation Form and Worksheet

HLA-B*49 (101.547-06/06u) 	Lot No: 88V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 13 and 15 may have tendencies of unspecific amplifications.

Primer mix 8 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B*49 primer mixes.

Primer mix 19 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*49 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 2: Specific PCR fragment of 145 bp in the B*49:06 and the B*58:13 alleles. Specific PCR fragment of 190 bp in the B*49:26 and the B*39:31 alleles. Specific PCR fragment of 255 bp in the B*49:02 and the B*13:23, 13:55, 18:09, 27:01, 37:10, 40:47, 40:96, 40:157, 40:201, 44:15, 44:55, 44:103 and 44:188 alleles.

Primer mix 3: Specific PCR fragment of 115 bp in the B*49:22 and the B*15:33, 15:248, 51:126 and 57:54 and in the C*03:87, C*05:27 and C*05:39 alleles. Specific PCR fragment of 145 bp in the B*49:02 and the B*40:47, 40:96, 40:110, 40:157, 40:201, 44:02:01:01-44:02:12, 44:02:14-44:02:18, 44:02:20-44:05:02, 44:05:04, 44:07, 44:10, 44:12-44:17, 44:19N-44:24, 44:26-44:39, 44:41:01-44:43:02, 44:45, 44:47-44:49, 44:51-44:56N, 44:58N-44:59:02, 44:61N-44:74, 44:76-44:82, 44:84:01-44:89, 44:91-44:94, 44:96-44:128, 44:132-44:133, 44:135-44:151, 44:153-44:155, 44:157-44:169, 44:171N-44:193 and 47:04 alleles.

Primer mix 4: Specific PCR fragment of 170 bp in the B*49:03 and the B*15:32:02, 18:04, 40:01:11, 40:58, 44:02:10, 44:34:01, 51:07:01, 52:01:02, 52:01:04, 52:01:09, 52:02:01, 52:03, 52:09, 52:10:03, 52:21 and 52:31:02 alleles. Specific PCR fragment of 205 bp in the B*49:09 and the 13:15, 14:37, 51:62, 51:106, 52:25 and 56:34 alleles.

Primer mix 7: Specific PCR fragment of 105 bp in the B*49:04-49:05 and the B*13:04, 13:46, 13:72, 15:04:01-15:04:02, 15:16:01-15:16:03, 15:67, 15:95, 15:137, 15:155, 15:222, 15:254, 15:293, 15:310, 35:37, 35:235, 39:06:01-39:06:04, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 40:86, 40:159, 41:30, 45:02, 45:09, 46:32, 50:09, 50:33, 51:13:01-51:13:02, 51:37, 51:63, 51:92, 51:97, 51:172, 52:14, 52:39, 54:14, 55:13, 55:23, 55:32, 55:58, 56:22, 59:03 and 73:01-73:02 alleles.

Specific PCR fragment of 255 bp in the B*49:20 and the B*44:15, 44:18, 44:20, 44:47, 44:100, 45:01:01-45:03, 45:05-45:07, 45:09, 45:11-45:14, 50:02, 51:23, 51:108 and 52:15 alleles.

Primer mix 8: Specific PCR fragment of 70 bp in the B*49:05 and the B*07:78, 07:84, 08:09, 08:84, 13:02:01-13:02:05, 13:02:07-13:04, 13:08-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37-13:38, 13:40-13:42, 13:44-13:49N, 13:53-13:56N, 13:58-13:59, 13:62, 13:65-13:70, 13:75, 15:04:01-15:04:02, 15:16:01-15:16:02, 15:42, 15:67, 15:83, 15:95, 15:137, 15:155, 15:222, 15:254, 15:293, 15:303, 15:310, 27:14, 27:81, 35:60, 39:06:01-39:06:04, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 40:06:01:01-40:06:10, 40:44, 40:53, 40:70:01-40:70:02, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:177, 40:190, 40:230, 40:244, 40:256N, 40:268-40:270, 40:275, 41:01, 41:05-41:07, 41:09, 41:12, 41:14, 41:16-41:17, 41:20-41:22, 41:25-41:26, 41:28-41:30, 41:32, 42:04, 44:20, 44:47, 44:100, 45:14, 46:11, 46:18, 46:32, 50:20, 51:01:01-51:01:18, 51:01:20-51:03, 51:05, 51:07:01-51:16, 51:18-51:24:05, 51:26-51:41N, 51:43-51:44N, 51:48-51:55, 51:57-51:58, 51:60-51:61:02, 51:63, 51:65-51:80, 51:82-51:93, 51:95-51:134, 51:136-51:138, 51:140-51:147, 51:149N-51:161, 51:163-51:173Q, 52:01:01:01-52:39, 54:01:01-54:05N, 54:07-54:08N, 54:10-54:14, 54:16-54:32, 55:01:01-55:01:06, 55:01:08-55:03, 55:05, 55:07, 55:09-55:13, 55:15-55:26, 55:28-55:48, 55:50, 55:52-55:64, 56:01:01-56:01:07, 56:05:01-56:08, 56:13-56:17, 56:19N-56:30, 56:33-56:43, 58:08:01-58:08:02, 59:01:01:01-59:08, 73:01-73:02 and 78:01:01-78:07 alleles. Specific PCR fragment of 155 bp in the B*49:19N allele.

Primer mix 9: Specific PCR fragment of 155 bp in the B*49:21 allele. Specific PCR fragment of 240 bp in the B*49:07 and the B*45:10 and 50:31 alleles.

Primer mix 10: Specific PCR fragment of 80 bp in the B*49:16 allele. Specific PCR fragment of 250 bp in the B*49:08 and the B*52:33 alleles.

Primer mix 14: Specific PCR fragment of 155 bp in the B*49:19N allele. Specific PCR fragment of 190 bp in the B*49:12 and 49:17 and the B*51:130 alleles.

Primer mix 15: Specific PCR fragment of 160 bp in the B*49:13 allele. Specific PCR fragment of 190 bp in the B*49:17 allele. Specific PCR fragment of 290 bp in the B*49:14 allele.

Primer mix 16: Specific PCR fragment of 95 bp in the B*49:18 and the B*35:01:10, 35:04:02, 40:28, 50:14, 51:56:01-51:56:02, 53:28 and 55:01:04 and in the C*02:02:23 alleles. Specific PCR fragment of 135 bp in the B*49:15 allele.

‘w’, may be weakly amplified.

4The HLA-B*49 primer set cannot separate the B*49:03 and the B*14:37 alleles. These alleles can be distinguished by the HLA-B low resolution kit.

5The following HLA-B*49 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*49:07, B*49:21 | 9 |
| B*49:08, B*49:16 | 10 |
| B*49:13, B*49:14 | 15 |

The HLA-B*49 subtyping kit cannot distinguish the silent mutations in the B*49:01:01 to B*49:01:06 alleles.