Gel Documentation Form and Worksheet

HLA-B*50 (101.548-06/06u) 	Lot No: 5D5	Expiry Date: 2018-11-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:____________

Tested By:____________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	                         Failed lanes: ___________                           Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 has a tendency of giving rise to primer oligomer formation.

Primer mix 6 may give rise to a lower yield of HLA-specific PCR product than the other B*50 primer mixes.

Primer mix 9 may have tendency of unspecific amplification.

Primer mix 22 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*50 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.22.0, October 2015.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 8: Specific PCR fragment of 135 bp in the B*50:05 allele. Specific PCR fragment of 365 bp in the B*13:01:01-13:01:11, 13:06, 13:12:01-13:13:02, 13:17, 13:20, 13:22:01-13:22:02, 13:25-13:26:02, 13:28-13:29, 13:39, 13:43, 13:50-13:52, 13:57, 13:60-13:61, 13:63N, 13:73, 13:77-13:78, 13:80, 13:83, 15:20, 15:25:01, 15:25:03, 15:36, 15:62, 15:85, 15:106, 15:240, 15:250, 15:271, 15:289, 15:366, 35:28, 40:129, 40:137, 44:02:07, 44:03:02, 44:03:13, 44:03:19, 44:03:26-44:03:27, 44:03:29-44:03:30, 44:07, 44:28:01, 44:37:02, 44:43:02, 44:48, 44:64:01, 44:124, 44:128, 44:143, 44:181, 44:194, 44:199, 44:204, 44:205:02, 44:227, 48:02:01-48:02:03, 48:17, 48:25, 53:17:02, 53:28, 53:38 alleles. Specific PCR fragment of 540 bp in the B*18:105, 35:84, 35:162, 35:217, 35:231, 35:280, 40:68 and 58:41 and in the C*03:278 alleles. Specific PCR fragments of 365 and 540 bp in the B*50:17 and the B*13:23, 15:204, 35:63, 37:19:02, 40:04, 40:28, 40:59, 40:64, 40:120 and 40:160:02 alleles.

Primer mix 9: Specific PCR fragment of 105 bp in the B*50:12 allele. Specific PCR fragment of 150 bp in the B*50:06 and the B*40:208 alleles.

Primer mix 11: Specific PCR fragment of 105 bp in the B*50:16 allele. Specific PCR fragment of 280 bp in the B*50:08 and the B*54:28 alleles.

Primer mix 12: Specific PCR fragment of 140 bp in the B*50:18 and 50:19 and in the B*35:264, 44:186, 51:107 and in the C*03:110 alleles. Specific PCR fragment of 180 bp in the B*50:09 and the B*14:19, 14:27, 15:137, 35:261, 37:39, 37:48, 45:02, 51:172 and 53:07 and in the C*03:250, 03:267, C*04:08, 04:34, 04:147, 04:212, C*05:27, 05:39, C*08:41, 08:115, C*17:07 and C*18:08 alleles.

Primer mix 16: Specific PCR fragment of 95 bp in the B*35:01:10, 35:04:02, 51:56:01-51:56:03, 51:158:02, 53:28, 55:01:04 and in the C*02:02:23 and C*12:03:31 alleles. Specific PCR fragment of 160 bp in the B*50:15 and the 07:177w, 08:102, 08:122, 13:36, 14:48, 15:345, 18:80, 18:102, 18:107, 27:23, 27:92, 35:84, 35:90, 35:150:01-35:150:02, 35:184, 35:201, 35:217, 38:16, 38:46, 40:08, 40:25, 40:68, 40:106, 40:166w, 40:232, 40:313, 44:12, 44:232, 49:26, 56:36w and 73:01w-73:02w alleles. Specific PCR fragment of 580 bp in the B*13:62, 27:04:03, 40:01:06, 40:26, 40:95 and 44:62 alleles. Specific PCR fragment of 95 and 580 bp in the B*50:14 and the B*40:28 and 49:18 alleles. Specific PCR fragment of 160 and 580 bp in the B*51:103 and 51:119 alleles

4The B*50:33 and the B*41:21 alleles will give rise to identical amplification patterns with the HLA-B*50 subtyping kit. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*41 subtyping kit.

The HLA-B*50 subtyping kit cannot distinguish the silent mutations in the B*50:01:01-50:01:07 alleles.

‘w’, may be weakly amplified.