PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*51

Prod. No:	101.561-24/24u

101.561-03/03u

Lot No:    	48M

Expiry Date:    	2014-February-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 64 primer mixes used for HLA-B*51 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*51 alleles3 | Other amplified HLA-B alleles4 |
| --- | --- | --- | --- | --- |
| 15 | 105 bp | 800 bp | *51:01:01-51:06, 51:08-51:21, 51:23-51:24:03, 51:26-51:46, 51:48-51:95 | *08:32, 18:07:01-18:07:02, 18:29, 35:01:01:01-35:08:01, 35:08:03-35:18, 35:21-35:24:02, 35:27, 35:29-35:45, 35:48, 35:50-35:62, 35:64-35:71, 35:74-35:75, 35:77, 35:79-35:81, 35:83-35:84, 35:86-35:94, 35:96-35:99, 37:21, 38:06-38:07, 44:06, 52:06:01-52:06:02, 53:01:01-53:08:02, 53:10-53:16, 53:18-53:23, 78:01-78:02:02, 78:04, 78:07 |
| 25 | 95 bp | 1070 bp | *51:01:01-51:01:17, 51:03-51:04, 51:06-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:22, 51:24:01-51:24:03, 51:26-51:30, 51:32-51:33, 51:35, 51:37-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:58, 51:60-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:95 | *14:01:01-14:18, 15:37-15:38:02, 18:15, 18:19, 18:30, 35:21, 35:96, 40:28, 40:51, 49:09, 52:01:01:01-52:02, 52:04-52:09, 52:12-52:18, 52:20, 53:06, 56:05:01-56:06, 56:21, 58:08, 78:01-78:03, 78:05-78:07, C*01:30 |
| 36 | 265 bp | 1070 bp | *51:02:01-51:02:04, 51:05, 51:10, 51:15, 51:23, 51:34, 51:36, 51:40, 51:54, 51:93 | *07:78, 07:84, 08:09, 13:02:01-13:04, 13:08Q-13:09, 13:14, 13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37, 15:04, 15:16:01, 15:42, 15:67, 15:83, 15:95, 15:137, 15:155, 27:14, 35:37, 35:60, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 44:15, 44:18, 44:20, 44:47, 45:01-45:11, 46:11, 46:18, 49:01:01-49:08, 49:10, 50:01:01-50:02, 50:04-50:09, 52:03, 52:11, 54:01:01-54:05N, 54:07-54:08N, 54:10-54:22, 55:01:01-55:02:02, 55:02:04-55:03, 55:05, 55:07, 55:09-55:13, 55:15-55:40, 56:01:01-56:01:04, 56:07-56:08, 56:13-56:17, 56:19N-56:20, 56:22-56:29, 59:01:01:01-59:05, 78:04 |
| 4 | 255 bp | 1070 bp | *51:03 |  |
| 5 | 270 bp | 1070 bp | *51:04, 51:46, 51:56 | *14:10, 18:22, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 37:04:01w-37:04:02w, 40:28, 53:02, 53:06, 57:14, 58:09 |
| 6 | 210 bp | 800 bp | *51:05w, 51:09:01-51:10, 51:15, 51:19, 51:31, 51:40, 51:54w, 51:73, 51:93 | *13:02:01-13:04, 13:08Q-13:09, 13:14-13:15, 13:18w, 13:19, 13:27, 13:30, 13:32-13:35, 13:37, 15:155, 27:14, 35:37, 35:60, 39:06:01-39:06:02, 39:33w, 39:34, 39:50, 39:57, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96, 44:47, 46:11, 46:18, 52:03, 52:10, 54:01:01-54:05N, 54:07-54:08N, 54:10w, 54:11-54:19, 54:21-54:22, 55:02:01-55:02:05, 55:07, 55:10, 55:12-55:13, 55:16, 55:18-55:19, 55:22-55:23, 55:26-55:27, 55:30, 55:32, 55:34-55:35, 55:37w, 55:39, 56:01:01-56:01:04, 56:07-56:08, 56:14-56:17, 56:19N-56:20, 56:22-56:24, 56:26-56:29, 59:01:01:01-59:05, 73:01, 78:04 |
| 7 | 270 bp | 1070 bp | *51:06, 51:45, 51:62, 51:64 | *14:01:01-14:09, 14:11-14:18, 15:37-15:38:02, 15:185, 18:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:23N-18:34, 18:36-18:38, 18:40-18:49, 27:28, 27:62, 39:32, 39:43, 39:48, 40:51, C*01:30 |
| 85 | 105 bp | 800 bp | *51:07:01-51:07:02 | *18:01:01-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:36, 18:38-18:47, 18:49, 35:20:01-35:20:02, 35:28, 35:72, 35:95, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:20, 37:22, 44:83, 49:03, 52:01:01:01-52:01:05, 52:03-52:05, 52:07-52:15, 52:17-52:20, 53:09, 53:17:01, 78:05-78:06 |
| 95,6,9 | 85 bp, 195 bp, 215 bp | 1070 bp | *51:08, 51:17, 51:20, 51:35, 51:44N | *37:04:01-37:04:02, 52:19 |
| 1010 | 160 bp, 245 bp | 1070 bp | *51:01:09, 51:10, 51:21, 51:24:02-51:24:03, 51:36 | *07:78, 07:84, 08:09, 15:42, 15:83, 27:14, 35:60, 39:06:01-39:06:02, 39:34, 39:57, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 45:08, 46:18, 54:01:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10-54:22, 55:01:01-55:03, 55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:23, 55:25-55:40, 56:23, 59:01:01:01-59:03, 59:05, 73:01, 78:07 |
| 11 | 245 bp | 1070 bp | *51:10, 51:16, 51:31, 51:34, 51:82, 51:93 | *07:78, 07:84, 13:02:01-13:02:07, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37, 27:14, 39:50, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 45:10, 49:07, 52:08, 55:09, 55:22, 55:24, 73:01 |
| 12 | 495 bp | 1070 bp | *51:11N |  |
| 13 | 200 bp | 1070 bp | *51:12 |  |
| 145 | 105 bp | 1070 bp | *51:13:01-51:13:02, 51:92 | *15:137, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:86, 45:02, 50:09, 52:14, 55:13, 56:22, 59:03, 73:01 |
| 155,11 | 100 bp, 230 bp | 800 bp | *51:14, 51:19 | *39:06:01-39:06:02, 39:57 |
| 16 | 180 bp | 1070 bp | *51:15, 51:18, 51:35, 51:62 | *13:03, 15:73, 40:71, 44:10, 44:15, 44:18, 45:01, 45:04-45:07, 45:11, 46:11, 49:01:01-49:03, 49:06, 49:08-49:10, 50:01:01-50:02, 50:04-50:08, 54:03, 56:01:01-56:02, 56:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:20, 56:24-56:29, 59:04, 82:01-82:03 |
| 175 | 105 bp | 800 bp | *51:22 | *18:33, 35:82, 35:85, 39:19:01-39:19:02, 78:03 |
| 1812 | 140 bp, 220 bp | 800 bp | *51:08, 51:20, 51:28, 51:36, 51:44N | *08:09, 15:83, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 44:15, 44:18, 44:20, 45:01-45:11, 52:19, 55:20, 56:13 |
| 19 | 145 bp | 800 bp | *51:10, 51:24:01-51:24:03 | *07:78, 07:84, 08:09, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 54:11, 55:20, 56:20, 59:02, 73:01 |
| 205 | 110 bp | 1070 bp | *51:26 |  |
| 2113 | 130 bp, 185 bp | 1070 bp | *51:27N, 51:38 |  |
| 22 | 160 bp | 1070 bp | *51:01:01, 51:01:03-51:01:08, 51:01:10-51:02:01, 51:02:03-51:04, 51:06-51:07:01, 51:08-51:09:01, 51:10-51:14, 51:16-51:24:03, 51:26-51:46, 51:48-51:53, 51:55-51:88, 51:90-51:92, 51:94-51:95 | *07:65w, 18:04, 35:42:02, 44:06, 53:06, 56:05:01w, 56:06w, 78:01, 78:02:02-78:03, 78:07 |
| 23 | 210 bp | 1070 bp |  | *07:65, 18:04, 35:42:02, 40:58, 56:05:01, 56:06, 78:01, 78:02:02-78:03, 78:07 |
| 24 | 210 bp | 1070 bp | *51:01:01, 51:01:03-51:01:08, 51:01:10-51:02:01, 51:02:03-51:04, 51:06-51:07:01, 51:08-51:09:01, 51:10-51:14, 51:16-51:24:03, 51:26-51:42, 51:43w, 51:44N-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:88, 51:90-51:92, 51:94-51:95 | *44:06, 49:03, 52:01:02, 52:01:04, 52:02-52:03, 52:06:01-52:06:02, 52:09, 53:06, 58:08 |
| 257,14 | 130 bp, 175 bp, 205 bp | 800 bp | *51:30, 51:38, 51:53 |  |
| 265,15 | 105 bp, 155 bp | 1070 bp | *51:13:01-51:13:02, 51:32, 51:37, 51:63, 51:92 | *13:04, 15:04, 15:16:01, 15:67, 15:95, 15:137, 15:155, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03, 73:01 |
| 2716 | 205 bp, 270 bp, 345 bp | 800 bp | *51:04, 51:33, 51:39, 51:46, 51:56 | *14:10, 18:22, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 37:04:01w-37:04:02w, 40:28, 44:24, 53:02, 53:06, 57:14, 58:09 |
| 2817 | 205 bp, 255 bp | 1070 bp | *51:23, 51:33 | *44:15, 44:18, 44:20, 44:47, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02, 52:15 |
| 29 | 245 bp | 1070 bp | *51:01:01-51:03, 51:05, 51:07:01-51:09:02, 51:11N-51:15, 51:17-51:20, 51:22-51:24:03, 51:26-51:30, 51:32-51:33, 51:35, 51:37-51:41N, 51:43-51:44N, 51:48-51:55, 51:57-51:58, 51:60-51:61, 51:63, 51:65-51:80, 51:83-51:92, 51:94-51:95 | *13:03-13:04, 15:04, 15:16:01, 15:67, 15:95, 15:137, 15:155, 35:37, 39:33, 44:15, 44:18, 44:20, 44:47, 45:01-45:07, 45:09, 45:11, 46:11, 49:01:01-49:06, 49:08-49:10, 50:01:01-50:02, 50:04-50:09, 52:01:01:01-52:07, 52:09-52:20, 54:03, 56:01:01-56:01:04, 56:05:01-56:08, 56:13-56:17, 56:20-56:22, 56:24-56:29, 58:08, 59:04, 78:01-78:06 |
| 305 | 105 bp | 800 bp | *51:06, 51:56, 51:59, 51:64 | *07:02:11, 07:05:03, 15:01:02, 15:09, 40:01:06, 40:26, 44:62 |
| 315,18 | 105 bp, 225 bp | 1070 bp | *51:05, 51:13:01-51:13:02, 51:29, 51:37, 51:54, 51:61, 51:63, 51:82, 51:92 | *07:78, 07:84, 13:04, 13:18, 13:31, 15:04, 15:16:01, 15:67, 15:95, 15:137, 15:155, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:10, 54:14, 54:20, 55:09, 55:13, 55:21, 55:23, 55:32, 55:37, 56:22, 59:03, 73:01 |
| 32 | 165 bp | 1070 bp | *51:16, 51:31, 51:34, 51:82, 51:93 | *07:02:11, 07:05:03, 27:04:03, 40:01:06, 40:95, 52:08 |
| 33 | 195 bp | 1070 bp | *51:41N |  |
| 34 | 260 bp | 1070 bp | *51:42 | *35:45, 35:71, 44:02:01:01-44:02:07, 44:02:09-44:14, 44:17, 44:19N, 44:21-44:30, 44:32-44:36, 44:38-44:40, 44:43:01-44:46, 44:48-44:53, 44:55-44:63, 44:66-44:90, 44:92-44:98, 53:22, 57:07, 83:01, C*15:25 |
| 35 | 225 bp | 1070 bp |  | *08:49, 08:60, 35:38, 37:01:01-37:01:07, 37:03N-37:06, 37:08, 37:10-37:22, 42:13, 44:02:01:01-44:02:13, 44:05:01-44:06, 44:08-44:09, 44:11-44:12, 44:14, 44:16-44:17, 44:19N, 44:21-44:25, 44:27:01, 44:33-44:34, 44:42, 44:44, 44:48-44:49, 44:51-44:53, 44:55, 44:58N-44:59, 44:62-44:63, 44:66-44:68, 44:70-44:75, 44:78, 44:80, 44:83-44:84, 44:86-44:91, 44:93, 44:95, 44:97, 53:22, 57:09, 57:24, 83:01, C*15:25 |
| 36 | 215 bp | 1070 bp | *51:43 |  |
| 378,19 | 165 bp, 225 bp | 1070 bp | *51:44N, 51:55 |  |
| 38 | 205 bp | 1070 bp | *51:37, 51:45, 51:63 | *15:38:01-15:38:02, 15:185, 18:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:49, 35:21, 35:24:01-35:24:02, 39:43, 53:02, 53:06, 57:14, 58:09 |
| 39 | 250 bp | 1070 bp | *51:46, 51:64-51:65 | *14:05, 14:13, 18:14 |
| 40 | 185 bp | 1070 bp | *51:01:01-51:24:03, 51:26-51:46, 51:48-51:53, 51:55-51:59, 51:61-51:72, 51:74-51:77, 51:79-51:95 | *07:36, 07:38, 07:81, 15:13, 15:17:01:01-15:17:02, 15:24, 15:87, 15:157, 15:162, 15:168, 15:177, 44:06, 48:18, 49:03, 52:01:01:01-52:19, 53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:23, 57:01:01-57:11, 57:13-57:31, 58:01:01-58:02, 58:04-58:16, 58:18-58:28 |
| 4120 | 225 bp, 315 bp | 1070 bp | *51:05, 51:29, 51:48, 51:54, 51:61, 51:82 | *07:78, 07:84, 13:18, 13:31, 15:04, 15:137, 39:33, 54:10, 54:20, 55:09, 55:21, 55:37, C*08:24 |
| 425,21 | 100 bp, 135 bp | 800 bp | *51:49, 51:60 |  |
| 435,22 | 115 bp, 215 bp | 800 bp | *51:50, 51:58 |  |
| 4423 | 280 bp, 385 bp | 800 bp | *51:51, 51:76 | *08:39 |
| 45 | 190 bp | 1070 bp | *51:52 |  |
| 465 | 80 bp | 800 bp | *51:57 |  |
| 475 | 125 bp | 800 bp | *51:20 | *07:65, 08:32, 18:03, 35:29, 35:69, 35:76, 39:19:01-39:19:02, 53:23, 56:06, 78:01, 78:03, 78:07 |
| 485,24 | 95 bp, 220 bp | 1070 bp | *51:37, 51:61, 51:90, 51:92 | *07:84, 13:04, 13:31, 13:35, 15:04, 15:16:01, 15:67, 15:95, 15:137, 15:155, 35:37, 40:44, 44:20, 44:47, 45:09, 49:04-49:05, 52:12, 54:14-54:16, 55:21, 55:23, 55:27 |
| 49 | 160 bp | 1070 bp | *51:01:02, 51:01:09, 51:02:02, 51:05, 51:07:02, 51:09:02, 51:15, 51:54, 51:93 | *07:56, 07:72, 08:26, 08:56, 15:02:01-15:02:04, 15:08, 15:11:01-15:11:04, 15:13, 15:15, 15:21, 15:31, 15:44, 15:55, 15:76, 15:88-15:89, 15:112, 15:121, 15:139, 15:143-15:144, 15:148, 15:170, 15:189, 15:191, 18:29, 35:01:01:01-35:09:02, 35:11:01-35:12:02, 35:14:01-35:15, 35:17-35:24:02, 35:26-35:27, 35:29-35:42:01, 35:43:01-35:62, 35:64-35:68:02, 35:70-35:72, 35:74-35:79, 35:81-35:83, 35:85-35:89, 35:91-35:99, 53:01:01-53:05, 53:07-53:16, 53:18-53:23, 54:01:01-54:20, 54:22, 55:01:01-55:05, 55:07-55:09, 55:11-55:17, 55:19-55:33, 55:35, 55:37-55:39, 56:01:01-56:04, 56:05:02, 56:07, 56:09-56:13, 56:15, 56:17-56:29, 59:01:01:01-59:05, 78:02:01, 78:04 |
| 50 | 155 bp | 1070 bp | *51:81 | *07:02:01-07:02:13, 07:02:15-07:06, 07:08-07:11, 07:13, 07:15-07:17, 07:19-07:21, 07:23-07:67N, 07:69-07:76, 07:79-07:83, 07:85-07:99, 08:01:02, 08:06, 08:20, 27:07, 27:11, 27:24, 27:32-27:34, 27:43, 35:31, 37:07, 37:09, 40:02:01-40:03, 40:05, 40:08-40:09, 40:13, 40:15-40:16, 40:18-40:19, 40:24, 40:27:01, 40:29, 40:31-40:32, 40:35, 40:37, 40:39-40:40, 40:45, 40:50, 40:56-40:58, 40:80, 40:82, 40:85, 40:89-40:91, 40:94, 40:97-40:98, 48:01:01-48:01:02, 48:04-48:11, 48:13, 48:15-48:16, 48:18-48:20, 48:22, 55:04, 58:27, 81:01-81:04N, C*03:05, C*03:25, C*03:27, C*08:08 |
| 515,25 | 85 bp, 215 bp | 800 bp | *51:68, 51:72 |  |
| 52 | 150 bp | 1070 bp | *51:69 |  |
| 5326 | 165 bp, 260 bp | 1070 bp | *51:70-51:71 |  |
| 545,7 | 120 bp | 1070 bp | *51:74 | *35:46-35:47, 40:07-40:08, 40:13, 40:68 |
| 555,27 | 75 bp, 200 bp | 1070 bp | *51:75, 51:77 |  |
| 56 | 380 bp | 1070 bp | *51:01:01-51:01:07, 51:01:09-51:01:14, 51:01:16-51:12, 51:16-51:24:03, 51:26-51:36, 51:38-51:41N, 51:43-51:44N, 51:46, 51:48-51:49, 51:51-51:53, 51:55-51:61, 51:64-51:77, 51:79-51:84, 51:86-51:89, 51:91, 51:93-51:95 | *08:03, 08:52, 40:13, 40:19, 48:18, 52:01:01:01-52:11, 52:13, 52:15-52:19, 53:19, 56:21, 57:02:01-57:03:02, 57:05, 57:07, 57:09, 57:17, 58:08, 58:27-58:28, 59:02 |
| 5728 | 145 bp, 210 bp | 1070 bp | *51:78-51:79 | *44:02:10, 44:34 |
| 58 | 165 bp | 1070 bp | *51:80 |  |
| 595,29 | 120 bp, 240 bp | 1070 bp | *51:83, 51:88 |  |
| 605,30 | 85 bp, 190 bp | 1070 bp | *51:84, 51:94 |  |
| 615,31 | 100 bp, 210 bp | 1070 bp | *51:85, 51:87 | *27:14, 44:20, 44:47 |
| 6232 | 175 bp, 250 bp | 1070 bp | *51:86, 51:95 | *39:57 |
| 635,33 | 70 bp, 175 bp | 1070 bp | *51:89, 51:91 |  |
| 645,34 | 115 bp, 170 bp | 1070 bp | *51:66-51:67 |  |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*51 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers, e.g. the primers in wells number 4, 5, 6, 7, 8, 9, 15, 17, 18 and 19 have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*51 subtyping.

In addition, wells number 6, 8, 15, 17 to 19, 25, 27, 30, 42 to 44, 46, 47 and 51 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles fourth exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the fourth exon are conserved within allelic groups.

The B*51:51 and 51:76 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 44.

The B*51:66 and 51:67 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 64.

The B*51:68 and 51:72 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 51.

The B*51:70 and 51:71 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 53.

The B*51:75 and 51:77 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 55.

The B*51:83 and 51:88 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 59.

The B*51:84 and 51:94 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 60.

The B*51:86 and 51:95 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 62.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*51 alleles will be amplified by many the HLA-B*51 primer mixes.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 3 and 9 may give a lower yield of specific PCR product than the other HLA-B*51 mixes.

7Primer mixes 25 and 54 have a tendency to giving rise to nonspecific amplifications.

8Primer mix 37 has a tendency to giving rise to primer oligomer formation.

9Primer mix 9: Specific PCR fragment of 85 bp in the B*51:08, 51:20 and 51:44N and in the B*37:04:01-37:04:02 and 52:19 alleles. Specific PCR fragment of 195 bp in the B*51:35 allele. Specific PCR fragment of 215 bp in the B*51:17 allele.

10Primer mix 10: Specific PCR fragment of 160 bp in the B*51:01:09, 51:10 and 51:24:02-51:24:03 and in the B*07:78, 07:84, 27:14, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96 and 73:01 alleles. Specific PCR fragment of 245 bp in the B*51:21, 51:36, 08:09, 15:42, 15:83, 35:60, 39:06:01-39:06:02, 39:34, 39:57, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 45:08, 46:18, 54:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10, 54:12-54:22, 55:01:01-55:03, 55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:23, 55:25-55:40, 56:23, 59:01-59:03, 59:05 and 78:07 alleles. Specific PCR fragment of 160 and 245 bp in the B*54:11 allele.

11Primer mix 15: Specific PCR fragment of 100 bp in the B*51:14 allele. Specific PCR fragment of 230 bp in the B*51:19 and in the B*39:06:01-39:06:02 and 39:57 alleles.

12Primer mix 18: Specific PCR fragment of 140 bp in the B*51:28 allele. Specific PCR fragment of 220 bp in the B*51:08, 51:20, 51:36 and 51:44N and in the B*08:09, 15:83, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 44:15, 44:18, 44:20, 45:01-45:11, 52:19, 55:20 and 56:13 alleles.

13Primer mix 21: Specific PCR fragment of 130 bp in the B*51:38 allele. Specific PCR fragment of 185 bp in the B*51:27N allele.

14Primer mix 25: Specific PCR fragment of 130 bp in the B*51:38 allele. Specific PCR fragment of 175 bp in the B*51:30 allele. Specific PCR fragment of 205 bp in the B*51:53 allele.

15Primer mix 26: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63 and 51:92 and in the B*13:04, 15:04, 15:16, 15:67, 15:95, 15:137, 15:155, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03 and 73:01 alleles. Specific PCR fragment of 155 bp in the B*51:32 allele.

16Primer mix 27: Specific PCR fragment of 205 bp in the B*51:33 allele. Specific PCR fragment of 270 bp in the B*51:04, 51:46 and 51:56 and in the B*14:10, 18:22, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 37:04:01-37:04:02, 40:28, 53:02, 53:06, 57:14 and 58:09 alleles. Specific PCR fragment of 345 bp in the B*51:39 and B*44:24 alleles.

17Primer mix 28: Specific PCR fragment of 205 bp in the B*51:33 allele. Specific PCR fragment of 255 bp in the B*51:23 and in the B*44:15, 44:18, 44:20, 44:47, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02 and 52:15 alleles.

18Primer mix 31: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63, 51:92, 13:04, 15:16, 15:67, 15:95, 15:155, 35:37, 39:06:01-39:06:02, 39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03, 73:01 alleles. Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61 and 51:82 and in the B*07:78, 07:84, 13:18, 13:31, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles. Specific PCR fragment of 105 and 225 bp in the B*15:04, 15:137 and 39:33 alleles.

19Primer mix 37: Specific PCR fragment of 165 bp in the B*51:44N allele. Specific PCR fragment of 225 bp in the B*51:55 allele.

20Primer mix 41: Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61 and 51:82 and in the B*07:78, 07:84, 13:18, 13:31, 15:04, 15:137, 39:33, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles. Specific PCR fragment of 315 bp in the B*51:48 and C*08:24 alleles.

21Primer mix 42: Specific PCR fragment of 100 bp in the B*51:60 allele. Specific PCR fragment of 135 bp in the B*51:49 allele.

22Primer mix 43: Specific PCR fragment of 115 bp in the B*51:58 allele. Specific PCR fragment of 215 bp in the B*51:50 allele.

23Primer mix 44: Specific PCR fragment of 280 bp in the B*51:76 and B*08:39 alleles. Specific PCR fragment of 385 bp in the B*51:51 allele.

24Primer mix 48: Specific PCR fragment of 95 bp in the B*51:37, 51:90 and 51:92 and in the B*07:84, 13:04, 13:35, 15:16, 15:67, 15:95, 15:155, 35:37, 40:44, 44:20, 44:47, 45:09, 49:04-49:05, 52:12, 54:14-54:16, 55:23 and 55:27 alleles. Specific PCR fragment of 220 bp in the B*51:61 and in the B*13:31, 15:137 and 55:21 alleles. Specific PCR fragment of 95 and 220 bp in the B*15:04 allele.

25Primer mix 51: Specific PCR fragment of 85 bp in the B*51:68 allele. Specific PCR fragment of 215 bp in the B*51:72 allele.

26Primer mix 53: Specific PCR fragment of 165 bp in the B*51:71 allele. Specific PCR fragment of 260 bp in the B*51:70 allele.

27Primer mix 55: Specific PCR fragment of 75 bp in the B*51:77 allele. Specific PCR fragment of 200 bp in the B*51:75 allele.

28Primer mix 57: Specific PCR fragment of 145 bp in the B*51:79 allele. Specific PCR fragment of 210 bp in the B*51:78 and in the B*44:02:10 and 44:34 alleles.

29Primer mix 59: Specific PCR fragment of 120 bp in the B*51:83 allele. Specific PCR fragment of 240 bp in the B*51:88 allele.

30Primer mix 60: Specific PCR fragment of 85 bp in the B*51:94 allele. Specific PCR fragment of 190 bp in the B*51:84 allele.

31Primer mix 61: Specific PCR fragment of 100 bp in the B*51:85 and in the B*27:14, 44:20 and 44:47 alleles. Specific PCR fragment of 210 bp in the B*51:87 allele.

32Primer mix 62: Specific PCR fragment of 175 bp in the B*51:86 allele. Specific PCR fragment of 250 bp in the B*51:95 and in the B*39:57 alleles.

33Primer mix 63: Specific PCR fragment of 70 bp in the B*51:91 allele. Specific PCR fragment of 175 bp in the B*51:89 allele.

34Primer mix 64: Specific PCR fragment of 115 bp in the B*51:67 allele. Specific PCR fragment of 170 bp in the B*51:66 allele.

‘w’, might be weakly amplified.

1The B*51:25 nucleotide sequence has been shown to be identical to B*51:22.

The B*51:47 nucleotide sequence has been renamed to B*51:09:02.

2The B*51:51 and 51:76 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 44.

The B*51:66 and 51:67 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 64.

The B*51:68 and 51:72 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 51.

The B*51:70 and 51:71 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 53.

The B*51:75 and 51:77 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 55.

The B*51:83 and 51:88 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 59.

The B*51:84 and 51:94 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 60.

The B*51:86 and 51:95 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mix 62.

3Primer mix 9: Specific PCR fragment of 85 bp in the B*51:08, 51:20 and 51:44N and in the B*37:04:01-37:04:02 and 52:19 alleles. Specific PCR fragment of 195 bp in the B*51:35 allele. Specific PCR fragment of 215 bp in the B*51:17 allele.

Primer mix 10: Specific PCR fragment of 160 bp in the B*51:01:09, 51:10 and 51:24:02-51:24:03 and in the B*07:78, 07:84, 27:14, 40:06:01:01-40:06:02, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96 and 73:01 alleles. Specific PCR fragment of 245 bp in the B*51:21, 51:36, 08:09, 15:42, 15:83, 35:60, 39:06:01-39:06:02, 39:34, 39:57, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 45:08, 46:18, 54:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10, 54:12-54:22, 55:01:01-55:03, 55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:23, 55:25-55:40, 56:23, 59:01-59:03, 59:05 and 78:07 alleles. Specific PCR fragment of 160 and 245 bp in the B*54:11 allele.

Primer mix 15: Specific PCR fragment of 100 bp in the B*51:14 allele. Specific PCR fragment of 230 bp in the B*51:19 and in the B*39:06:01-39:06:02 and 39:57 alleles.

Primer mix 18: Specific PCR fragment of 140 bp in the B*51:28 allele. Specific PCR fragment of 220 bp in the B*51:08, 51:20, 51:36 and 51:44N and in the B*08:09, 15:83, 41:01, 41:05-41:07, 41:09, 41:12, 42:04, 44:15, 44:18, 44:20, 45:01-45:11, 52:19, 55:20 and 56:13 alleles.

Primer mix 21: Specific PCR fragment of 130 bp in the B*51:38 allele. Specific PCR fragment of 185 bp in the B*51:27N allele.

Primer mix 25: Specific PCR fragment of 130 bp in the B*51:38 allele. Specific PCR fragment of 175 bp in the B*51:30 allele. Specific PCR fragment of 205 bp in the B*51:53 allele.

Primer mix 26: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63 and 51:92 and in the B*13:04, 15:04, 15:16, 15:67, 15:95, 15:137, 15:155, 35:37, 39:06:01-39:06:02, 39:33-39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03 and 73:01 alleles. Specific PCR fragment of 155 bp in the B*51:32 allele.

Primer mix 27: Specific PCR fragment of 205 bp in the B*51:33 allele. Specific PCR fragment of 270 bp in the B*51:04, 51:46 and 51:56 and in the B*14:10, 18:22, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 37:04:01-37:04:02, 40:28, 53:02, 53:06, 57:14 and 58:09 alleles. Specific PCR fragment of 345 bp in the B*51:39 and B*44:24 alleles.

Primer mix 28: Specific PCR fragment of 205 bp in the B*51:33 allele. Specific PCR fragment of 255 bp in the B*51:23 and in the B*44:15, 44:18, 44:20, 44:47, 45:01-45:03, 45:05-45:07, 45:09, 45:11, 50:02 and 52:15 alleles.

Primer mix 31: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63, 51:92, 13:04, 15:16, 15:67, 15:95, 15:155, 35:37, 39:06:01-39:06:02, 39:34, 39:50, 39:57, 40:86, 45:02, 45:09, 49:04-49:05, 50:09, 52:14, 54:14, 55:13, 55:23, 55:32, 56:22, 59:03, 73:01 alleles. Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61 and 51:82 and in the B*07:78, 07:84, 13:18, 13:31, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles. Specific PCR fragment of 105 and 225 bp in the B*15:04, 15:137 and 39:33 alleles.

Primer mix 37: Specific PCR fragment of 165 bp in the B*51:44N allele. Specific PCR fragment of 225 bp in the B*51:55 allele.

Primer mix 41: Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61 and 51:82 and in the B*07:78, 07:84, 13:18, 13:31, 15:04, 15:137, 39:33, 54:10, 54:20, 55:09, 55:21 and 55:37 alleles. Specific PCR fragment of 315 bp in the B*51:48 and C*08:24 alleles.

Primer mix 42: Specific PCR fragment of 100 bp in the B*51:60 allele. Specific PCR fragment of 135 bp in the B*51:49 allele.

Primer mix 43: Specific PCR fragment of 115 bp in the B*51:58 allele. Specific PCR fragment of 215 bp in the B*51:50 allele.

Primer mix 44: Specific PCR fragment of 280 bp in the B*51:76 and B*08:39 alleles. Specific PCR fragment of 385 bp in the B*51:51 allele.

Primer mix 48: Specific PCR fragment of 95 bp in the B*51:37, 51:90 and 51:92 and in the B*07:84, 13:04, 13:35, 15:16, 15:67, 15:95, 15:155, 35:37, 40:44, 44:20, 44:47, 45:09, 49:04-49:05, 52:12, 54:14-54:16, 55:23 and 55:27 alleles. Specific PCR fragment of 220 bp in the B*51:61 and in the B*13:31, 15:137 and 55:21 alleles. Specific PCR fragment of 95 and 220 bp in the B*15:04 allele.

Primer mix 51: Specific PCR fragment of 85 bp in the B*51:68 allele. Specific PCR fragment of 215 bp in the B*51:72 allele.

Primer mix 53: Specific PCR fragment of 165 bp in the B*51:71 allele. Specific PCR fragment of 260 bp in the B*51:70 allele.

Primer mix 55: Specific PCR fragment of 75 bp in the B*51:77 allele. Specific PCR fragment of 200 bp in the B*51:75 allele.

Primer mix 57: Specific PCR fragment of 145 bp in the B*51:79 allele. Specific PCR fragment of 210 bp in the B*51:78 and in the B*44:02:10 and 44:34 alleles.

Primer mix 59: Specific PCR fragment of 120 bp in the B*51:83 allele. Specific PCR fragment of 240 bp in the B*51:88 allele.

Primer mix 60: Specific PCR fragment of 85 bp in the B*51:94 allele. Specific PCR fragment of 190 bp in the B*51:84 allele.

Primer mix 61: Specific PCR fragment of 100 bp in the B*51:85 and in the B*27:14, 44:20 and 44:47 alleles. Specific PCR fragment of 210 bp in the B*51:87 allele.

Primer mix 62: Specific PCR fragment of 175 bp in the B*51:86 allele. Specific PCR fragment of 250 bp in the B*51:95 and in the B*39:57 alleles.

Primer mix 63: Specific PCR fragment of 70 bp in the B*51:91 allele. Specific PCR fragment of 175 bp in the B*51:89 allele.

Primer mix 64: Specific PCR fragment of 115 bp in the B*51:67 allele. Specific PCR fragment of 170 bp in the B*51:66 allele.

‘w’, might be weakly amplified.