Gel Documentation Form and Worksheet

HLA-B*51 (101.561-24/03, -24u/03u) 	Lot No: 07V	Expiry Date: 2016-June-01

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test  Date: ________      _

Tested By:                    ___

Review Date:_______________

Reviewed By:______________ _

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 6, 9 and 30 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B*51 primer mixes.

Primer mixes 25 and 39 may have tendencies of unspecific amplifications.

Primer mixes 27, 39 and 60 have a tendency to giving rise to primer oligomer formation.

Primer mix 74 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*51 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.13.1, July 2013.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 9: Specific PCR fragment of 85 bp in the B*51:08, 51:20, 51:44N, 51:97, 51:141 and 51:153 and the B*37:04:01-37:04:02, 52:19 alleles. Specific PCR fragment of 205 bp in the B*51:17 and 51:35 alleles.

Primer mix 10: Specific PCR fragment of 160 bp in the B*51:01:09, 51:01:21, 51:01:25, 51:10 and 51:24:02-51:24:04 and the B*07:78, 07:84, 27:14, 27:81, 40:06:01:01-40:06:04, 40:06:06-40:06:07, 40:44, 40:53, 40:70, 40:75, 40:83, 40:86, 40:93, 40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:167, 40:177, 40:190, 40:230, 40:244, 56:20:02 and 73:01-73:02 alleles. Specific PCR fragment of 245 bp in the B*51:21, 51:36, 51:101, 51:143 and 51:153 and the B*08:09, 08:84, 13:46, 13:53, 14:37, 15:42, 15:83, 35:60, 39:06:01-39:06:03, 39:34, 39:57, 39:62, 39:64, 39:83, 41:01, 41:05-41:07, 41:09, 41:12, 41:14, 41:16, 41:20-41:22, 41:25-41:26, 41:28, 42:04, 45:08, 46:18, 54:01:01-54:02, 54:04-54:05N, 54:07-54:08N, 54:10, 54:12-54:25, 54:27-54:30, 55:01:01-55:01:06, 55:01:08-55:03, 55:05, 55:07, 55:10-55:13, 55:15-55:21, 55:23, 55:25-55:48, 55:50, 55:52-55:59, 56:23, 59:01:01:01-59:03, 59:05-59:06 and 78:07 alleles. Specific PCR fragment of 160 and 245 bp in the B*54:11 allele.

Primer mix 15: Specific PCR fragment of 100 bp in the B*51:14 allele. Specific PCR fragment of 230 bp in the B*51:19 and 51:101 and the B*39:06:01-39:06:03, 39:57, 39:62, 39:64 and 39:83 alleles.

Primer mix 16: Specific PCR fragment of 170 bp in the B*51:15, 53:35, 51:62, 51:106 and the B*13:03, 13:48, 15:73, 40:71, 44:10, 44:15, 44:18, 44:140, 45:01, 45:04-45:07, 45:11-45:14, 46:11, 49:01:01-49:03, 49:06, 49:08-49:17, 49:19N-49:26, 50:01:01-50:02, 50:04-50:08, 50:10-50:13, 50:15-50:19, 50:32, 52:25, 54:03, 56:01:01-56:01:04, 56:01:06-56:02, 56:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:20:01-56:20:02, 56:24-56:30, 56:33-56:39, 56:41-56:42, 59:04 and 82:01-82:03 alleles. Specific PCR fragment of 195 bp in the B*51:18 allele.

Primer mix 18: Specific PCR fragment of 140 bp in the B*51:28 allele. Specific PCR fragment of 220 bp in the B*51:08, 51:20, 51:36, 51:44N, 51:97, 51:141 and 51:153 and the B*08:09, 08:84, 13:46, 15:83, 41:01, 41:05-41:07, 41:09, 41:12, 41:14, 41:16-41:17, 41:20-41:22, 41:25-41:26, 41:28, 42:04, 44:15, 44:18, 44:20, 44:100, 45:01-45:14, 52:19, 55:20, 55:56 and 56:13 alleles.

Primer mix 21: Specific PCR fragment of 130 bp in the B*51:38 and the B*13:42 alleles. Specific PCR fragment of 185 bp in the B*51:27N allele.

Primer mix 25: Specific PCR fragment of 125 bp in the B*51:38 and 51:142 and the B*13:42 alleles. Specific PCR fragment of 175 bp in the B*51:30 allele. Specific PCR fragment of 205 bp in the B*51:53 and the B*52:29 and 55:54 alleles.

Primer mix 26: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63,  51:92 and 51:97 and the B**13:04, 13:46, 15:04, 15:16:01-15:16:03, 15:67, 15:95,  15:137, 15:155, 15:222, 15:254, 35:37, 39:06:01-39:06:03, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 40:86, 40:159, 45:02, 45:09, 46:32, 49:04-49:05, 50:09, 50:33 52:14, 54:14, 55:13, 55:23, 55:32 55:58, 56:22, 59:03 and 73:01-73:02 alleles. Specific PCR fragment of 155 bp in the B*51:32 and the B*27:69 and 40:213 alleles.

Primer mix 27: Specific PCR fragment of 205 bp in the B*51:33 and the B*44:165 alleles. Specific PCR fragment of 270 bp in the B*51:04, 51:46, 51:56:01-51:56:02 and 51:139 and the B*14:10, 18:22, 18:69w, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 35:188, 35:190, 35:233, 37:04:01w-37:04:02w, 40:28, 53:02, 53:06, 53:28, 57:14 and 58:09 and in the C*15:39 alleles. Specific PCR fragment of 345 bp in the B*51:39 and the B*44:24, 44:181 and 81:06? alleles.

Primer mix 28: Specific PCR fragment of 205 bp in the B*51:33 and the B*44:165 alleles. Specific PCR fragment of 255 bp in the B*51:23 and 51:108 and the B*44:15, 44:18, 44:20, 44:47, 44:100, 45:01-45:03, 45:05-45:07, 45:09, 45:11-45:14, 49:20, 50:02 and 52:15 alleles.

Primer mix 31: Specific PCR fragment of 105 bp in the B*51:13:01-51:13:02, 51:37, 51:63, 51:92 and 51:97 and the B*13:04, 13:46, 15:16:01-15:16:03, 15:67, 15:95, 15:155, 15:222, 15:254, 35:37, 39:06:01-39:06:03, 39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 40:86, 40:159, 45:02, 45:09, 49:04-49:05, 50:09, 50:33, 52:14, 54:14, 55:13, 55:23, 55:32, 55:58, 56:22, 59:03 and 73:01-73:02 alleles. Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82 and the B*07:78, 07:84, 13:18, 13:31, 13:41, 40:161, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:37 and 55:52 alleles. Specific PCR fragment of 105 and 225 bp in the B*15:04, 15:137, 39:33 and 46:32 alleles.

Primer mix 37: Specific PCR fragment of 165 bp in the B*51:44N allele. Specific PCR fragment of 225 bp in the B*51:55 allele.

Primer mix 41: Specific PCR fragment of 225 bp in the B*51:05, 51:29, 51:54, 51:61:01-51:61:02 and 51:82 and the B*07:78, 07:84, 13:18, 13:31, 13:41, 15:04, 15:137, 39:33, 40:161, 46:32, 52:21, 52:24, 54:10, 54:20, 55:09, 55:21, 55:37 and 55:52 alleles. Specific PCR fragment of 315 bp in the B*51:48 and in the C*08:24 alleles.

Primer mix 42: Specific PCR fragment of 100 bp in the B*51:60 allele. Specific PCR fragment of 135 bp in the B*51:49 allele.

Primer mix 43: Specific PCR fragment of 115 bp in the B*51:58 allele. Specific PCR fragment of 215 bp in the B*51:50 allele.

Primer mix 44: Specific PCR fragment of 280 bp in the B*51:76 and the B*08:39, 35:101:02, 35:195 and 35:211 alleles. Specific PCR fragment of 385 bp in the B*51:51 allele.

Primer mix 46: Specific PCR fragment of 80 bp in the B*51:57 allele. Specific PCR fragment of 170 bp in the B*51:123 and the B*55:59 alleles.

Primer mix 48: Specific PCR fragment of 95 bp in the B*51:37, 51:90 and 51:92 and the B*07:84, 13:04, 13:35, 15:16:01-15:16:03, 15:67, 15:95, 15:155, 15:222, 15:254, 35:37, 40:44, 40:159, 41:21, 44:20, 44:47, 44:100, 45:09, 49:04-49:05, 50:33, 52:12, 52:26, 54:14-54:16, 55:23, 55:27 and 55:46 alleles. Specific PCR fragment of 220 bp in the B*51:61:01-51:61:02 and the B*13:31, 13:41, 15:137, 52:21 and 55:21 alleles. Specific PCR fragment of 95 and 220 bp in the B*15:04 and 46:32 alleles.

Primer mix 51: Specific PCR fragment of 85 bp in the B*51:68 allele. Specific PCR of 135 bp in the B*51:136 allele. Specific PCR fragment of 215 bp in the B*51:72 allele.

Primer mix 53: Specific PCR of 135 bp in the B*51:136 allele. Specific PCR fragment of 165 bp in the B*51:71 allele. Specific PCR fragment of 260 bp in the B*51:70 allele.

Primer mix 54: Specific PCR fragment of 120 bp in the B*51:74 and the B*35:46-35:47, 35:154, 35:207, 35:217, 40:07-40:08, 40:13, 40:68, 40:106, 40:162, 40:220, 40:232 and 53:30 alleles. Specific PCR fragment of 255 bp in the B*51:124 allele.

Primer mix 55: Specific PCR fragment of 75 bp in the B*51:77 allele. Specific PCR fragment of 200 bp in the B*51:75 allele.

Primer mix 57: Specific PCR fragment of 145 bp in the B*51:79 allele. Specific PCR fragment of 210 bp in the B*51:78:01 and the B*44:02:10 and 44:34:01 alleles.

Primer mix 59: Specific PCR fragment of 120 bp in the B*51:83 allele. Specific PCR fragment of 240 bp in the B*51:88 allele.

Primer mix 60: Specific PCR fragment of 85 bp in the B*51:94 allele. Specific PCR fragment of 190 bp in the B*51:84 allele.

Primer mix 61: Specific PCR fragment of 100 bp in the B*51:85 and the B*27:14, 27:81, 44:20, 44:47, 44:100, 50:20 and 52:26 alleles. Specific PCR fragment of 210 bp in the B*51:87 allele.

Primer mix 62: Specific PCR fragment of 180 bp in the B*51:86 and 51:132 alleles. Specific PCR fragment of 250 bp in the B*51:95 and in the B*39:57 alleles.

Primer mix 63: Specific PCR fragment of 70 bp in the B*51:91 allele. Specific PCR fragment of 205 bp in the B*35:02:01-35:02:05, 35:81, 35:83, 35:95, 35:129N, 35:146, 35:154, 35:162, 35:172, 35:182-35:184, 35:211, 35:220, 45:12 and 53:19 alleles.

Primer mix 64: Specific PCR fragment of 115 bp in the B*51:67 allele. Specific PCR fragment of 170 bp in the B*51:66 and 51:89 alleles.

Primer mix 65: Specific PCR fragment of 185 bp in the B*51:98N allele. Specific PCR fragment of 215 bp in the B*51:103, 51:116 and 51:151 and the B*08:62, 18:07:01-18:07:02, 18:29, 18:79, 27:23, 35:50, 35:84, 35:162, 35:217, 35:231, 37:21, 40:07-40:08, 40:13, 40:68, 40:106, 40:162, 40:220 and 40:232 alleles.

Primer mix 66: Specific PCR fragment of 175 bp in the B*51:109 and 51:132 alleles. Specific PCR fragment of 210 bp in the B*51:120 allele.

Primer mix 67: Specific PCR fragment of 110 bp in the B*51:93 and 51:122 alleles. Specific PCR fragment of 230 bp in the B*51:100 allele.

‘w’, might be weakly amplified.

4The B*51:78:02 and B*78:02:01 alleles will give rise to identical amplification patterns with the HLA-B*51 subtyping kit. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*78 subtyping kit.

5The following HLA-B*51 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| B*51:30, 51:142 | 25 | B*51:75, 51:77 | 55 |
| B*51:51, 51:765 | 44 | B*51:83, 51:88 | 59 |
| B*51:57, 51:123 | 46 | B*51:84, 51:94 | 60 |
| B*51:66, 51:67 | 64 | B*51:86, 51:95 | 62 |
| B*51:68, 51:72 | 51 |
| B*51:70, 51:71 | 53 |
| B*51:74, 51:124 | 54 |

The HLA-B*51 subtyping kit cannot distinguish following silent mutations: the B*51:01:01, 51:01:03-51:01:07, 51:01:10-51:01:14, 51:01:16-51:01:20, 51:01:22-51:01:24, 51:01:26-51:01:38 and 51:01:41 alleles, the B*51:01:08 and 51:01:15 alleles, the B*51:01:21 and 51:01:25 alleles, the B*51:02:01 and 51:02:03-51:02:05 alleles, the B*51:13:01-51:13:02 alleles, the B*51:24:02-51:24:04 alleles, the B*51:56:01-51:56:02 alleles and the B*51:61:01-51:61:02 alleles.

Change in revision R01 compared to R00:

- The C*03:19 and 03:102 alleles are amplified by primer mix 16. This has been corrected in the Specificity and Interpretation Tables.