Gel Documentation Form and Worksheet

HLA-B*52 (101.562-06/06u) 	Lot No: 87V	Expiry Date: 2017-January-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Interpretation:_______________

Failed lanes: ____________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3 and 15 may give rise to a lower yield of HLA-specific PCR product than the other B*52 primer mixes.

Primer mixes 7, 11 and 14 may have tendencies of unspecific amplifications.

Primer mix 7 has a tendency to giving rise to primer oligomer formation.

Primer mix 15 may give rise to a weak band of about 550 bp. This band should be disregarded when interpreting HLA-B*52 SSP subtypings.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*52 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 2: Specific PCR fragment of 135 bp in the B*52:04 allele. Specific PCR fragment of 235 bp in the B*52:09 and the B*08:52, 15:87, 53:05, 53:16, 53:33 and 57:60 alleles.

Primer mix 4: Specific PCR fragment of 140 bp in the B*52:02:01-52:02:02 and the B*15:13:01-15:13:02, 15:16:01-15:17:02, 15:24:01-15:24:02, 15:67, 15:87, 15:95, 15:157, 15:162, 15:168, 15:177, 15:196, 15:208, 15:216, 15:222, 15:230, 15:254, 15:268, 15:273, 51:104, 57:01:01-57:11, 57:13-57:15, 57:17-57:44, 57:46-57:50, 57:52-57:68, 57:70 and 58:36 alleles. Specific PCR fragment of 280 bp in the B*52:36 alleles.

Primer mix 5: Specific PCR fragment of 145 bp in the B*52:21 and the B*51:61:01-51:61:02 alleles. Specific PCR fragment of 190 bp in the B*52:03 and 52:11 and the B*07:02:11, 07:05:03, 15:09, 15:243, 15:252, 27:04:03, 35:01:10, 35:04:02, 35:251, 40:01:06, 40:26, 40:95, 44:62, 49:18, 50:14, 51:02:01-51:02:03, 51:02:05, 51:05, 51:23, 51:34, 51:36, 51:40, 51:54, 51:59, 51:93, 51:108, 51:143-51:144, 51:146, 55:01:04 and 78:04 alleles. Specific PCR fragment of 225 bp in the B*52:05 allele. Specific PCR fragment of 145 and 190 bp in the B*15:01:02 and 15:277-15:278 and in the C*02:02:23 alleles.

Primer mix 6: Specific PCR fragment of 135 bp in the B*52:03 and 52:10:01-52:10:03 and the B*35:01:10, 35:04:02, 35:251, 40:01:06, 51:05w, 51:09:01-51:09:02, 51:19, 51:31, 51:40, 51:54w, 51:73, 51:93, 51:122, 51:139 and 78:04 alleles. Specific PCR fragment of 180 bp in the B*52:15 and the B*44:62w and 51:23w alleles. Specific PCR fragment of 135 and 180 in the B*51:108 allele. Specific PCR fragment of 205 bp in the B*52:05 allele.

Primer mix 7: Specific PCR fragment of 160 bp in the B*52:13 allele. Specific PCR fragment of 215 bp in the B*52:19 and the B*08:09, 08:84, 13:46, 15:83, 42:04, 44:20, 51:08:01-51:08:02, 51:20, 51:36, 51:44N, 51:97, 51:141, 51:153, 55:20, 55:56 and 56:13 alleles.

Primer mix 8: Specific PCR fragment of 145 bp in the B*52:20 and the B*18:09, 37:10, 44:83, 44:134, 51:54, 51:78:01-51:78:02, 53:09, 53:11-53:13 and 53:31 alleles. Specific PCR fragment of 500 bp in the B*52:25 and the B*35:60, 49:03, 51:15, 51:62 and 51:157 alleles. Specific PCR fragment of 145 bp and 500 bp in the B*13:58 allele.

Primer mix 10: Specific PCR fragment of 95 bp in the B*52:18 allele. Specific PCR fragment of 245 bp in the B*52:08 and the B*07:78, 07:84, 13:02:01-13:02:16, 13:08-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:35, 13:37-13:38, 13:40-13:42, 13:44-13:45, 13:47, 13:49N, 13:54-13:56N, 13:58-13:59, 13:65-13:70, 13:72, 13:74-13:75, 27:14, 27:81, 39:50, 40:06:01:01-40:06:10, 40:44, 40:53, 40:70:01-40:70:02, 40:75, 40:83, 40:86, 40:93, 40:95-40:96, 40:103, 40:109-40:110, 40:127, 40:131, 40:148, 40:159, 40:161-40:162, 40:165, 40:167, 40:177, 40:190, 40:230, 40:244, 40:256N, 40:268-40:270, 40:275, 45:10, 49:07, 50:31, 51:10, 51:16, 51:31, 51:34, 51:82, 51:93, 54:26, 55:09, 55:22, 55:24 and 73:01-73:02 alleles.

Primer mix 11: Specific PCR fragment of 85 bp in the B*52:06:01-52:06:02 and the B*07:38, 08:02-08:03, 08:52, 08:78, 08:117, 27:23, 37:21, 38:06-38:07, 40:13, 44:06, 51:01:01-51:01:16, 51:01:18-51:06:02, 51:08:01-51:21, 51:23-51:24:05, 51:26-51:46, 51:48-51:117, 51:119-51:173Q, 53:01:01-53:08:02, 53:10-53:16, 53:18-53:27, 53:29-53:35, 59:01:01:01-59:07 alleles. Specific PCR fragment of 225 bp in the B*52:17 allele.

Primer mix 15: Specific PCR fragment of 95 bp in the B*52:12 and 52:26 and the B*07:84, 13:04, 13:35, 13:72, 15:04:01-15:04:02, 15:16:01-15:16:03, 15:67, 15:95, 15:155, 15:222, 15:254, 15:293, 15:310, 35:37, 35:235, 40:44, 40:159, 41:21, 44:20, 44:47, 44:100, 45:09, 46:32, 49:04-49:05, 50:33, 51:37, 51:90, 51:92, 54:14-54:15, 55:23 and 55:27 alleles. Specific PCR fragment of 170 bp in the B*52:16 and 52:27 and the B*07:27, 07:50, 08:04, 08:17, 08:54, 08:110, 15:03:01-15:03:04, 15:47:01-15:47:02, 15:54, 15:61-15:62, 15:64:01-15:64:02, 15:68-15:69, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242, 15:251, 15:253, 15:266, 15:274, 15:281-15:282, 18:01:01:01-18:03, 18:05-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:78, 18:81-18:97, 18:99-18:101, 18:103, 37:01:01-37:20, 37:23-37:25, 37:27-37:49, 38:03, 39:02:01-39:02:02, 39:08, 39:13:01-39:13:02, 39:23, 39:39:01-39:39:02, 39:49, 39:88, 40:12, 40:149, 41:22, 42:11, 44:130, 44:156, 48:01:01-48:02:01, 48:02:03-48:05, 48:07-48:30, 48:32-48:34 and 49:25 alleles.

4The HLA-B*52 primer set cannot separate the B*52:01:01:01-52:01:20, 52:22-52:24, 52:30-52:31:02 and 52:33-52:35, 52:37-52:39 alleles and the B*53:28 allele. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*53 high resolution kit.

The HLA-B*52 primer set cannot separate the B*52:28-52:29 alleles and the B*53:17:01-53:17:02 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*53 high resolution kit.

5The following HLA-B*52 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*52:04, 52:09 | 2 |
| B*52:12, 52:27 | 15 |
| B*52:20, 52:25 | 8 |

The HLA-B*52 primer set cannot distinguish the silent mutations in the B*52:01:01:01-52:01:20 alleles, the B*52:02:01-52:02:02 alleles or the B *52:10:01-52:10:03 alleles.

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.