PHOTO DOCUMENT

Olerup SSP AB

Olerup SSPTM HLA-B*53

Prod. No:	101.549-06 – including Taq polymerase

101.549-06u – without Taq polymerase

Lot No:    	Y25

Expiry Date:    	2009-September-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 16 primer mixes used for HLA-B*53 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*53 alleles | Other amplified HLA Class I alleles3 |
| --- | --- | --- | --- | --- |
| 15 | 145 bp | 800 bp | 530101-5302, 5304-5308, 5310 | 3806, 3807, 4406, 4903, 510101-5124, 5126-5146, 5148, 5149, 5151, 520101-520104, 5203-5211, 5801-5802, 5804-5815 |
| 2 | 270 bp | 1070 bp | 5302, 5306 | 1822, 3521, 3524, 3704, 4028, 5104, 5146, 5714, 5809 |
| 35 | 135 bp | 800 bp | 5303 | 370101-3704, 3707-3709, 3712, 3713 |
| 4 | 180 bp | 800 bp | 5304, 5307 | 1303, 1558, 1573, 9533, 9537, 3503, 3506, 3513, 3536, 3538, 3555, 3556, 3559, 3570, 3574, 3575, 3932, 3933, 4071, 4410, 4415, 4418, 4501, 4502, 4504-4507, 4611, 4901-4903, 5001, 5002, 5004, 511301-511302, 5115, 5403, 5601, 5602, 5604, 5607, 5608, 5611, 5613, 5614, 5616, 5617, 5620, 8201, 8202, Cw*0408, Cw*1515 |
| 55 | 140 bp | 800 bp | 5305, 5309, 5311-5313 | 1809, 3710, 5209 |
| 66 | 205, 235 bp | 800 bp | 5302, 5306, 5312 | 1538, 9515, 180101-1809, 1812-1815, 1817N-1819, 1820 weakly,1822-1825, 1827, 3521, 3524, 3943, 4415, 5137, 5145, 5714, 5809 |
| 74,5 | 135 bp | 1070 bp | 5307 | 1532, 1818, 370101-370104, 3703N-3706, 3708, 3710, 3711, 3713, 3909 |
| 8 | 165 bp | 1070 bp | 5306, 5308 | 070201-0724, 0726-0747, 0749N, 0750, 0752-0760, 0806, 0820, 1316, 1320, 1401-1407N, 15010101-150104, 150106, 1502-1504, 1506-1519, 1521, 1523-1530, 1532-1540,1542-1547, 1549, 1550, 1553, 1554, 1556-1558, 1560-1574, 1576-1582, 1585, 1587, 1589, 1590, 1592-1599, 9501-9504, 9506, 9508-9510, 9512, 9513, 9515-9522, 9525-9529, 9531-9535, 9537-9539, 1815, 1819, 1821, 270401-270402, 2706, 2710, 2715, 2718, 2720, 2721, 2724, 2725, 3511, 351401-351402, 3521, 3543, 3544, 3558, 3567, 3579, 3707, 3713, 3810, 3918, 3935, 3936, 4005, 4015, 4016, 4023, 4026, 4028, 4032, 4051, 460101-4605, 4607N, 4608, 4610, 4612, 4805, 4808, 4815, 4901-4905, 5001, 5002, 5004, 510101-5104, 5106, 5107, 5111N-5114, 5116-5118, 5121-5124, 5126-5130, 5132-5139, 5141N, 5143, 5145, 5146, 5148-5151, 520101-5202, 5204-5209, 5211, 5406, 550101-550104, 5503, 5505, 5509, 5511, 5514, 5515, 5517, 5521, 5524, 5525, 5528, 5603, 560501-5606, 5621, 5709, 5713, 5806, 5808, 7801-7803, 7805 |
| 95 | 75 bp | 1070 bp | 530101-5305, 5307, 5309-5313 | 0821, 0825, 1303, 1304, 1505, 520, 1531, 1548, 1551, 1555, 1584, 1591, 9507, 9523, 9536, 2738, 350101-3510, 3512, 3513, 3516-352002, 3522-3530, 3532, 3534, 3536-3542, 3545-3557, 3559, 3561-3564, 3568-3572, 3574-3578, 3582, 3583, 3932, 3933, 4063, 4071, 44020101-440303, 4405-4415, 4417-4420, 4422-4430, 4432-4455, 4457, 4501-4507, 4609, 4611, 4802, 5105, 5108-510902, 5115, 5119, 5120, 5140, 5142, 5144N, 5203, 5210, 5403, 5508, 5601, 5602, 5604, 5607-5609, 5611, 5613-5617, 5620, 570101-570102, 5702-5708, 5710-5712, 5714, 5801, 5802, 5804, 5807, 5809-5815, 7804, 8201, 8202, 8301, Cw*0336 |
| 10 | 150 bp | 1070 bp | 530101-5303, 5305, 5309, 5310, 5311weakly, 5312, 5313 | 1304, 1310 weakly, 1505, 1520, 1531 weakly, 1552, 1555 weakly,1584weakly, 1591, 9507, 9514, 9522, 9523,9536, 180101-1812, 1813weakly, 1814, 1817N, 1818, 1820 weakly, 1822-1825, 1827, 350101-350106, 3505, 3507, 350801-350803weakly, 3510, 3515-3517, 3519-352002, 3523-3530, 3532, 3535, 3537, 3540N-3542, 3545weakly, 3546-3554, 3557, 3561 weakly, 3563, 3564, 3566weakly, 3568, 3569, 3571, 3572, 3576-3578, 3582, 3907, 3943, 4003, 4020, 4038, 4052, 4059, 4060 weakly , 4443, 4606, 4802, 4814, 5409, 5523, 5609, 5618, 570101-570103, 5706, 5708, 5710, 5711, 5714, 5801, 5802, 5804, 5807, 5809-5815 |
| 115 | 85 bp | 800 bp | 530101-5303, 5305, 5306, 5308-5313 | 1304, 1310 weakly, 15010101-150104, 150106, 1502weakly, 1503-1505, 1506 weakly, 1507, 1508, 151101-1512, 1513weakly, 1514-1516, 1518-1520, 1521 weakly, 1523, 1524, 1525 weakly, 1526N-1529, 1531 weakly, 1532, 1534, 1535, 1536weakly, 1538-1540, 1543, 1544 weakly, 1546, 1547, 1549-1554, 1555 weakly, 1556, 1557, 1560-1562, 1564-1571, 1574-1576, 1579N-1582, 1584, 1585, 1587, 1588-1589 weakly, 1591-1598, 9501-9505, 9506 weakly, 9508-9511N, 9512 weakly, 9513-9515, 9517-9520, 9521weakly, 9522-9527, 9528-9529weakly, 9531, 9532, 9534-9536, 9538, 9539, 180101-1815, 1817N-1819, 1820 weakly, 1822-1825, 1827, 350101-350106, 3505, 3507-350803, 3510, 3511, 351401-3517, 3519-3521, 3523-3530, 3532, 3535, 3537, 3540N-3543, 3545-3552, 3554, 3557, 3558, 3561-3563, 3566-3569, 3571, 3572, 3576-3579, 3582, 3907, 3943, 4417, 4443, 460101-4605, 4607N-4610, 4612, 4802, 4814, 4904, 4905 weakly, 5137, 5145, 5406, 5409, 5514, 5523, 5603, 5609, 5618, 570101-570103, 5706, 5708, 5710, 5714, 5801, 5802, 5804-5807, 5809-5815 |
| 125 | 105 bp | 1070 bp | - | 130201-1303, 1308, 1309, 1314-1316, 1318, 1319, 1542, 3560, 4415, 4418, 4501, 4503-4507, 4611, 4901-4903, 5001, 5002, 5004, 5115, 5401-5403, 5405N, 5407, 5408N, 5410, 5412, 5413, 550101-5503, 5505, 5507, 5509-5512, 5515, 5516, 5518, 5519, 5521, 5522, 5524-5526, 5601, 5607, 5608, 5613, 5614, 5616, 5617, 5619N, 5620, 5901 |
| 135 | 90bp | 1070 bp | - | 5801, 5802, 5804-5815 |
| 145 | 130 bp | 1070 bp | 5310 |  |
| 155 | 105 bp | 1070 bp | 5309 | 180101-1806, 1808-1815, 1817N-1827, 352001-352002, 3528, 3572, 370101-3705, 3707-3713, 4903, 5107, 520101-520104, 5203-5205, 5207-5211, 7805 |
| 165 | 115 bp | 1070 bp | 530101-5310, 5312, 5313 | 0726, 0734, 0743, 0748, 0813, 0825, 1301-1304, 1306-1317, 1319-1321, 1401-140202, 1404-1407N, 1502, 1503, 1505, 1506, 1509, 1510, 1513, 1516-1518, 1520, 1521, 1523, 1525, 1529, 1531, 1536, 1537, 1539, 1540, 1542, 1544, 1548, 1552, 1555, 1561, 1562, 1564, 1567, 1569, 1572, 1574, 1580, 1586, 1588-1591, 1593, 1595, 1598, 9503, 9506-9508, 9512, 9514, 9515, 9519, 9521, 9523, 9524, 9527, 9531, 9532-9534, 9536, 9538, 9539, 180101-1812, 1814, 1815, 1817N, 1818, 1820, 1822-1827, 2701-270402, 270502-2721, 2723, 2724, 2726-2738, 350101-3507, 350901-3513, 3515-3517, 3519-3537, 3539-3542, 3546-3560, 3563-3565Q, 3568-3572, 3574-3578, 3582, 3583, 3702, 380101-3817, 39010101-39010102L, 390103-3907, 3909, 3910, 3912-3917, 3919, 3920, 3922-3932, 3934, 3935, 3937-3943, 400101-401403, 4018-4022N, 4024-4031, 4033-4040, 4042-4078, 440301-440303, 4407, 4410, 4413, 4426, 4429-4432, 4436-4440, 4443, 4445-4447, 4450, 4454, 4457, 4606, 4608, 4611, 47010101-4705, 480101-4804, 4806, 4807, 4809-4818, 4901-4905, 5001, 5002, 5004, 510101-5104, 5106, 5107, 510901-5119, 5121-5124, 5126-5128, 5130-5135, 5137-5143, 5145, 5146, 5148-5151, 520101-5210, 5401-5405N, 5407-5409, 5411-5413, 550101-5505, 5507, 5508, 5510-5519, 5522-5528, 5601, 5602, 5604-5612, 5614-5621, 570101-570103, 570301-570302, 5706-5708, 5710, 5711, 5714, 5801, 5801, 5804-5815, 5901, 5902, 670101-6702, 7301, 7801-7805, 8101-8103 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*53 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*53 SSP subtyping.

In addition, tubes number 3, 4, 5, 6 and 11 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

## 3Due to the sharing of sequence motifs between HLA-B alleles many non-HLA-B*53 alleles will be amplified by primer mixes 1 to 13 and 15 to 16. In addition, the Cw*0336 allele will be amplified by primer mix 9 and the Cw*0408 and Cw*1515 allelles will be amplified by primer mix 4.

4Primer mix 7 has a tendency of giving rise to nonspecific amplifications and also to primer oligomer formation.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 6: Specific PCR fragment of 205 bp in the B*5302 and 5306 and the 1538, 180101-1809, 1812-1815, 1817N-1819, 1820 weakly,1822-1825, 1827, 3521, 3524, 3943, 5137, 5145, 5714, 5809alleles. Specific PCR fragment of 235 bp in the B*5312 and the 9512 and 4415 alleles.

1Primer mix 6: Specific PCR fragment of 205 bp in the B*5302 and 5306 and the 1538, 180101-1809, 1812-1815, 1817N-1819, 1820 weakly,1822-1825, 1827, 3521, 3524, 3943, 5137, 5145, 5714, 5809alleles. Specific PCR fragment of 235 bp in the B*5312 and the 9512 and 4415 alleles.