PHOTO DOCUMENT

Olerup SSP®

Olerup SSP® HLA-B*53

Prod. No:	101.549-06/06u

Lot No:    	73N

Expiry Date:    	2014-November-01

Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 20 primer mixes used for HLA-B*53 SSP typing.

| Primer Mix | Size of spec. PCR product1 | Size of control band2 | Amplified HLA-B*53 alleles3 | Other amplified HLA Class I alleles4 |
| --- | --- | --- | --- | --- |
| 1 | 145 bp | 800 bp | *53:01:01-53:02, 53:04-53:08:02, 53:10, 53:14-53:27 | *18:67, 38:06-38:07, 44:06, 49:03, 51:01:01-51:24:04, 51:26-51:46, 51:48-51:53, 51:55-51:77, 51:79-51:103, 51:105-51:111, 51:113-51:126, 52:01:01:01-52:01:10, 52:03-52:15, 52:17-52:19, 52:21-52:27, 58:01:01-58:02, 58:04-58:16, 58:18-58:35 |
| 2 | 270 bp | 1070 bp | *53:02, 53:06 | *14:10, 18:22, 35:21, 35:24:01-35:24:02, 35:81, 35:96, 35:109, 35:157, 37:04:01-37:04:02, 40:28, 51:04, 51:46, 51:56:01-51:56:02, 57:14, 58:09, C*15:39 |
| 38,9 | 135 bp, 290 bp | 800 bp | *53:03, 53:05, 53:15-53:16 | *08:49, 08:60, 08:76, 18:54, 18:67, 27:52, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:09, 37:12-37:13, 37:15-37:27, 37:30N-37:31, 42:13, 52:09 |
| 46 | 190 bp | 800 bp | *53:04, 53:07, 53:18 | *13:03, 13:48, 14:19, 14:27, 15:58, 15:73, 15:133, 15:137, 15:229, 35:03:01-35:03:05, 35:03:07-35:03:10, 35:06, 35:13, 35:36, 35:38, 35:55-35:56, 35:59, 35:70, 35:74-35:75, 35:84-35:85, 35:98, 35:106, 35:109, 35:127-35:128, 35:136, 35:150-35:153, 35:155-35:156, 35:160, 35:163, 35:167, 35:169, 35:179, 35:181, 38:30, 39:32-39:33, 40:71, 44:10, 44:15, 44:18, 44:117w, 45:01-45:02, 45:04-45:07, 45:11-45:13, 46:11, 49:01:01-49:03, 49:06, 49:08-49:17, 49:19N-49:20, 50:01:01-50:02, 50:04-50:13, 50:15, 51:13:01-51:13:02, 51:15, 51:62, 51:92, 51:106, 52:14, 52:25, 54:03, 56:01:01-56:02, 56:04, 56:07-56:08, 56:11, 56:13-56:14, 56:16-56:17, 56:20:01-56:20:02, 56:22, 56:24-56:30, 58:33-58:34, 59:04, 82:01-82:03, C*03:12w, C*03:19w, C*03:26w, C*03:102w, C*04:08, C*04:34, C*05:27, C*05:39, C*08:41, C*15:15, C*17:07 |
| 5 | 150 bp | 800 bp | *53:09, 53:11-53:13, 53:22 | *08:28, 08:35, 08:37, 15:51, 15:179, 15:199, 15:218Q, 18:09, 18:56, 35:115, 37:10, 42:09, 44:17, 44:83, 44:134, 45:09, 51:54, 51:78, 51:97, 52:20, 57:24, C*07:68, C*07:140, C*07:151 |
| 610 | 205 bp, 235 bp | 800 bp | *53:02, 53:05-53:06, 53:12, 53:16 | *13:25, 15:38:01-15:38:02, 15:115, 15:185, 18:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:55, 18:57, 18:59-18:60, 18:62-18:68, 35:21, 35:24:01-35:24:02, 39:43, 44:15, 44:109, 51:37, 51:45, 51:63, 51:97, 56:31, 57:14, 58:09 |
| 76 | 130 bp | 800 bp | *53:07, 53:10 | *15:32, 18:18, 37:01:01-37:01:08, 37:03N-37:06, 37:08, 37:10-37:11, 37:13-37:18, 37:20-37:31, 39:09, C*07:168 |
| 86 | 170 bp | 1070 bp | *53:06, 53:08:01-53:08:02 | *07:02:01-07:24, 07:26-07:47, 07:49N-07:50, 07:52-07:144, 08:20, 08:53, 08:79, 13:16, 13:20, 13:31, 13:48, 14:01:01-14:28, 15:01:01:01-15:01:04, 15:01:06-15:04, 15:06-15:19, 15:21, 15:23-15:30, 15:32-15:40, 15:42-15:47, 15:49-15:50, 15:53-15:54, 15:56-15:58, 15:60-15:74, 15:76-15:82, 15:85, 15:87, 15:89-15:90, 15:92-15:99, 15:101-15:104, 15:106, 15:108-15:110, 15:112-15:113, 15:115-15:122, 15:125-15:129, 15:131-15:135, 15:137-15:144, 15:146-15:150, 15:152-15:154, 15:156-15:161, 15:163-15:175, 15:177-15:178, 15:180-15:184, 15:187, 15:189-15:199, 15:201-15:217, 15:219-15:221, 15:223, 15:225-15:234, 15:236, 15:238, 18:15, 18:19, 18:21, 18:30, 18:57, 27:04:01-27:04:03, 27:06, 27:10, 27:15, 27:18, 27:20-27:21, 27:24-27:25, 27:40, 27:54, 27:63, 27:66N, 27:68-27:69, 27:79, 27:86, 35:11:01-35:11:02, 35:14:01-35:14:02, 35:21, 35:43:01-35:44, 35:58, 35:67, 35:79, 35:86, 35:96, 35:99, 35:102, 35:117-35:118, 35:135, 35:167, 35:43:02, 37:07, 37:13, 38:10, 38:32, 39:18, 39:35-39:36, 40:05, 40:15-40:16, 40:23, 40:26, 40:28, 40:32, 40:51, 40:95, 40:98, 40:148, 40:158, 40:161, 40:174, 44:76, 44:79, 46:01:01-46:05, 46:07N-46:08, 46:10, 46:12, 46:14-46:17, 46:20, 46:22-46:24, 46:27-46:30, 48:05, 48:08, 48:15, 48:25, 49:01:01-49:10, 49:12-49:20, 50:01:01-50:02, 50:04-50:15, 51:01:01-51:04, 51:06:01-51:07:02, 51:11N-51:14, 51:16-51:18, 51:21-51:24:04, 51:26-51:30, 51:32-51:39, 51:41N, 51:43, 51:45-51:46, 51:48-51:52, 51:55-51:72, 51:74-51:80, 51:82-51:92, 51:94-51:96, 51:98N-51:107, 51:109-51:114, 51:116-51:119, 51:121, 51:123-51:126, 52:01:01:01-52:02, 52:04-52:09, 52:11-52:18, 52:20-52:27, 54:06, 54:20, 55:01:01-55:01:08, 55:03, 55:05, 55:09, 55:11, 55:14-55:15, 55:17, 55:21, 55:24-55:25, 55:28-55:29, 55:31, 55:33, 55:36, 55:38, 55:40, 55:44-55:45, 55:52-55:53, 56:03, 56:05:01-56:06, 56:21, 56:25, 56:32, 57:09, 57:13, 57:22, 58:06, 58:08:01-58:08:02, 58:19, 78:01:01-78:03, 78:05-78:07 |
| 95,7 | 75 bp | 1070 bp | *53:01:01-53:05, 53:07, 53:09-53:27 | *08:21, 08:25, 13:03-13:04, 15:05:01-15:05:02, 15:20, 15:31, 15:48, 15:51, 15:55, 15:84, 15:91, 15:107, 15:123, 15:136, 15:151, 15:155, 15:179, 15:185, 15:222, 15:235, 15:237, 18:36, 18:56, 18:58, 27:38, 27:47, 27:76, 35:01:01:01-35:01:21, 35:01:23-35:03:05, 35:03:07-35:10, 35:12:01-35:13, 35:16-35:20:02, 35:22-35:30, 35:32:01-35:32:02, 35:34, 35:36-35:42:02, 35:45-35:57, 35:59, 35:61-35:64, 35:68:01-35:72, 35:74-35:78, 35:80-35:85, 35:89-35:92, 35:94-35:95, 35:97-35:98, 35:100-35:101:02, 35:103-35:116, 35:119-35:134N, 35:136-35:139, 35:141-35:156, 35:158-35:166, 35:168-35:179, 35:181-35:184, 35:186, 38:30, 39:32-39:33, 40:63, 40:71, 40:92, 41:17, 44:02:01:01-44:02:07, 44:02:08w, 44:02:09-44:03:14, 44:05:01, 44:05:03-44:15, 44:17-44:20, 44:22-44:29, 44:32-44:55, 44:57-44:63, 44:65-44:75, 44:77-44:78, 44:80-44:91, 44:93-44:100, 44:101w, 44:103-44:111, 44:113-44:123, 44:125-44:131, 44:133-44:139, 45:01-45:07, 45:09, 45:12-45:13, 46:09, 46:11, 46:13:01-46:13:03, 46:19, 46:25-46:26, 48:02:01-48:02:02, 49:11, 51:05, 51:08-51:09:02, 51:15, 51:19-51:20, 51:40, 51:42, 51:44N, 51:54, 51:73, 51:97, 51:108, 51:122, 52:03, 52:10:01-52:10:02, 52:19, 54:03, 55:08, 55:51, 56:01:01-56:02, 56:04, 56:07-56:09, 56:11, 56:13-56:17, 56:20:01-56:20:02, 56:22, 56:24, 56:26-56:30, 57:01:01-57:01:02, 57:01:04-57:01:11, 57:02:01-57:08, 57:10-57:12, 57:14-57:21, 57:23-57:24, 57:27-57:29, 57:31-57:42, 57:44-57:45, 57:47-57:52, 58:01:01-58:02, 58:04, 58:07, 58:09-58:18, 58:21-58:26, 58:28-58:34, 58:36, 59:04, 78:04, 82:01-82:03, 83:01, C*03:36, C*03:77, C*04:34 |
| 10 | 150 bp | 1070 bp | *53:01:01-53:03, 53:05, 53:09-53:10, 53:11w, 53:12-53:15, 53:16w, 53:17:01-53:18, 53:20-53:21, 53:23, 53:24w, 53:25-53:27 | *13:04, 13:10, 13:26, 15:05:01-15:05:02, 15:20, 15:31, 15:52, 15:55, 15:84w, 15:91, 15:107, 15:114, 15:123-15:124, 15:136, 15:151, 15:155, 15:185-15:186, 15:222, 15:235, 15:237w, 18:01:01-18:12, 18:13w, 18:14, 18:17N-18:18, 18:20, 18:22-18:25, 18:27-18:29, 18:31-18:40, 18:42-18:55, 18:58-18:60, 18:62-18:68, 27:41, 35:01:01:01-35:01:29, 35:05:01-35:05:02, 35:07, 35:08:01w-35:08:05w, 35:10, 35:15-35:17, 35:19-35:20:02, 35:23-35:30, 35:32:01-35:32:02, 35:35, 35:37, 35:40N-35:42:02, 35:45w, 35:46-35:54, 35:57, 35:61w-35:62w, 35:63-35:64, 35:66w, 35:68:01-35:69, 35:71-35:72, 35:76-35:78, 35:80w, 35:82, 35:89-35:94, 35:97, 35:100w, 35:101:01-35:101:02, 35:103-35:104, 35:105w, 35:107-35:108:02, 35:110-35:114, 35:116, 35:119-35:126, 35:130N-35:134N, 35:137-35:140, 35:142w, 35:143-35:148, 35:158w, 35:159, 35:161, 35:165N-35:166, 35:168, 35:170-35:171, 35:173N, 35:174w, 35:175, 35:176w, 35:177-35:178, 35:180, 35:186, 39:07, 39:43, 40:03, 40:20, 40:38, 40:52, 40:59-40:60, 40:105, 40:159, 44:43:01-44:43:02, 46:06, 46:13:01-46:13:03, 46:19, 46:21:01-46:21:02, 46:26, 48:02:01-48:02:02, 48:14, 48:23, 54:09, 54:14, 55:23, 55:32, 56:09, 56:18, 56:31, 57:01:01-57:01:12, 57:06, 57:08, 57:10-57:11, 57:14-57:16, 57:18, 57:19w, 57:20-57:21, 57:23, 57:25-57:26, 57:27w, 57:29, 57:31, 57:33-57:38, 57:40-57:41, 57:43-57:45, 57:47-57:52, 58:01:01-58:02, 58:04, 58:07, 58:09-58:18, 58:21, 58:22w, 58:23-58:26, 58:29-58:33, 58:35-58:36, A*02:188w, A*24:174w |
| 115,7 | 85 bp | 800 bp | *53:01:01-53:03, 53:05-53:06, 53:08:01-53:18, 53:20-53:27 | *13:04, 13:10w, 13:26, 15:01:01:01-15:01:04, 15:01:06-15:01:24, 15:02:01w-15:02:05w, 15:03:01-15:05:02, 15:06w, 15:07:01-15:08, 15:11:01-15:12, 15:13:01w, 15:13:02-15:16:03, 15:18:01-15:20, 15:21w, 15:23-15:24, 15:25:01w-15:25:03w, 15:26N-15:29, 15:31w, 15:32, 15:34-15:35, 15:36w, 15:38:01-15:40, 15:43, 15:44w, 15:46-15:47, 15:49-15:54, 15:55w, 15:56-15:57, 15:60-15:62, 15:64-15:71, 15:74-15:76, 15:79N-15:82, 15:84-15:85, 15:87, 15:88w-15:89w, 15:91-15:98, 15:101-15:105, 15:106w, 15:108-15:111N, 15:112w, 15:113-15:115, 15:117-15:120, 15:121w, 15:122-15:127, 15:128w, 15:129, 15:131-15:132, 15:134-15:136, 15:138, 15:139w, 15:140, 15:142-15:143, 15:144w, 15:145-15:149N, 15:151-15:155, 15:156w, 15:157-15:161, 15:163-15:167, 15:169, 15:170w, 15:171-15:176, 15:178-15:187, 15:189-15:195, 15:197-15:203, 15:204w, 15:205-15:207, 15:209N-15:212, 15:213w-15:214w, 15:215, 15:217-15:223, 15:225-15:228, 15:231-15:232, 15:234-15:238, 18:01:01-18:01:03, 18:01:05-18:15, 18:17N-18:19, 18:20w, 18:22-18:25, 18:27-18:39, 18:42-18:60, 18:62-18:68, 27:41, 35:01:01:01-35:01:29, 35:05:01-35:05:02, 35:07-35:08:05, 35:10-35:11:02, 35:14:01-35:17, 35:19-35:21, 35:23-35:30, 35:32:01-35:32:02, 35:35, 35:37, 35:40N-35:43:01, 35:45-35:52, 35:54, 35:57-35:58, 35:61-35:63, 35:66-35:69, 35:71-35:72, 35:76-35:80, 35:82, 35:86, 35:89-35:94, 35:97, 35:99-35:105, 35:107-35:108:02, 35:110-35:113, 35:115-35:117, 35:119-35:126, 35:130N-35:135, 35:137-35:148, 35:158-35:159, 35:161, 35:165N-35:166, 35:168, 35:170-35:171, 35:173N, 35:175-35:178, 35:180, 35:43:02, 35:186, 39:07, 39:43, 40:158, 44:17, 44:43:01-44:43:02, 45:09, 46:01:01-46:01:05, 46:01:07-46:05, 46:07N-46:10, 46:12-46:17, 46:19-46:30, 48:02:01-48:02:02, 48:14, 48:25, 49:04, 49:05w, 51:37, 51:45, 51:63, 51:97, 54:06, 54:09, 54:14, 55:14, 55:23, 55:32, 56:03, 56:09, 56:18, 56:31-56:32, 57:01:01-57:01:04, 57:01:06-57:01:12, 57:06, 57:08, 57:10-57:11, 57:14-57:16, 57:18-57:27, 57:29-57:30, 57:33-57:38, 57:40-57:41, 57:43-57:45, 57:48-57:52, 58:01:01-58:01:02, 58:01:04-58:02, 58:04-58:07, 58:09-58:19, 58:21-58:26, 58:29-58:33, 58:35-58:36, C*06:20w, C*07:81w, 07:168w |
| 125 | 105 bp | 1070 bp |  | *07:78, 13:02:01-13:03, 13:08Q-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:34, 13:37-13:38, 13:40-13:42, 13:44-13:45, 13:48-13:49N, 15:42, 35:60, 44:15, 44:18, 45:01, 45:03-45:08, 45:10-45:13, 46:11, 46:18, 49:01:01-49:03, 49:06-49:17, 49:19N-49:20, 50:01:01-50:02, 50:04-50:08, 50:10-50:11, 50:13, 50:15, 51:15, 52:25, 54:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:16-54:24, 55:01:01-55:01:03, 55:01:05-55:01:06, 55:01:08-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:38, 55:40-55:41, 55:43, 55:45-55:48, 55:50, 55:52, 55:54, 56:01:01-56:01:04, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20:02, 56:23-56:30, 59:01:01:01-59:01:01:02, 59:04-59:05 |
| 135 | 90 bp | 1070 bp |  | *58:01:01-58:02, 58:04-58:35 |
| 145,7,11 | 95 bp, 130 bp | 1070 bp | *53:10, 53:14 | *07:09, 07:11, 07:17, 07:115, 08:28, 08:35, 08:37, 08:69, 14:05, 15:07:01-15:07:02, 15:55, 15:68, 18:14, 35:51, 35:58, 35:66, 35:72, 39:24:01-39:24:02, 39:37, 40:03, 41:18, 42:09, 46:12, C*08:08 |
| 155,7,8,12 | 105 bp, 205 bp | 800 bp | *53:09, 53:17:01-53:17:02, 53:19 | *15:202, 18:01:01-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:36, 18:38-18:47, 18:49-18:65, 18:67-18:68, 35:02:01-35:02:04, 35:20:01-35:20:02, 35:28, 35:72, 35:81, 35:83, 35:95, 35:129N, 35:154, 35:162, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:20, 37:22-37:25, 37:27, 37:29-37:31, 44:83, 44:134, 45:12, 49:03, 52:01:01:01-52:01:10, 52:03-52:05, 52:07-52:15, 52:17-52:21, 52:24-52:27 |
| 16 | 160 bp | 1070 bp | *53:01:01-53:10, 53:12-53:15, 53:17:01-53:21, 53:23, 53:25-53:27 | *07:26, 07:34, 07:43, 07:48, 07:80, 07:131, 08:13, 08:25, 08:55, 13:01:01-13:04, 13:06-13:17, 13:19-13:23, 13:25-13:30, 13:32-13:40, 13:42-13:45, 13:47-13:52, 14:01:01-14:02:06, 14:04-14:28, 15:02:01-15:03:03, 15:05:01-15:06, 15:09-15:10:02, 15:13:01-15:13:02, 15:16:01-15:18:04, 15:20-15:21, 15:23, 15:25:01-15:25:03, 15:29, 15:31, 15:36-15:37, 15:39:01-15:40, 15:42, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64, 15:67, 15:69, 15:72, 15:74, 15:80, 15:86, 15:88w, 15:89-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:170, 15:173, 15:176w, 15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200w, 15:204, 15:208, 15:210, 15:213-15:214, 15:216, 15:219-15:220, 15:222-15:224, 15:226N, 15:229-15:230, 15:235, 15:238, 18:01:01-18:12, 18:14-18:15, 18:17N-18:18, 18:20, 18:22-18:29, 18:31-18:55, 18:57-18:68, 27:01-27:21, 27:23-27:24, 27:26-27:44, 27:46, 27:48-27:86, 35:01:01:01-35:07, 35:09:01-35:13, 35:15-35:17, 35:19-35:37, 35:39-35:42:02, 35:46-35:60, 35:63-35:65Q, 35:68:01-35:72, 35:74-35:78, 35:81-35:85, 35:88-35:98, 35:101:01-35:101:02, 35:103-35:104, 35:106-35:114, 35:116, 35:119-35:134N, 35:136-35:141, 35:143-35:155, 35:157, 35:159-35:162, 35:165N, 35:167-35:168, 35:170-35:171, 35:173N, 35:175, 35:177-35:184, 35:186, 37:02, 38:01:01-38:23, 38:25-38:29, 38:31-38:37, 39:01:01:01-39:01:01:02L, 39:01:03-39:07, 39:09-39:10:02, 39:12-39:17, 39:19:01-39:20, 39:22-39:32, 39:34-39:35, 39:37-39:68, 40:01:01-40:14:03, 40:18-40:22N, 40:24-40:31, 40:33-40:40, 40:42-40:97, 40:99-40:127, 40:129-40:135, 40:137-40:160, 40:162-40:180, 44:03:01-44:03:14, 44:07, 44:10, 44:13, 44:26, 44:29-44:32, 44:36-44:40, 44:43:01-44:43:02, 44:45-44:47, 44:50, 44:54, 44:57, 44:60-44:61N, 44:64:01-44:65, 44:69, 44:77, 44:79, 44:81-44:82, 44:85, 44:92, 44:94, 44:96, 44:98, 44:103, 44:105, 44:107-44:111, 44:114-44:115, 44:120, 44:122, 44:124-44:125, 44:128-44:130, 44:135, 46:06, 46:08, 46:11, 46:13:01-46:13:03, 46:18-46:19, 46:21:01-46:21:02, 46:26, 47:01:01:01-47:08, 48:01:01-48:04, 48:06-48:07, 48:09-48:18, 48:20-48:23, 48:25-48:27, 49:01:01, 49:01:02w, 49:01:03-49:20, 50:01:01-50:01:02, 50:02, 50:04-50:15, 51:01:01-51:04, 51:06:01-51:07:02, 51:09:01-51:19, 51:21-51:24:04, 51:26-51:28, 51:30-51:35, 51:37-51:43, 51:45-51:46, 51:48-51:52, 51:53w, 51:56:01-51:60, 51:62-51:71, 51:72w, 51:73-51:81, 51:83-51:86, 51:87w, 51:88-51:90, 51:91w, 51:92-51:96, 51:98N-51:119, 51:120w, 51:121-51:126, 52:01:01:01-52:18, 52:20, 52:22-52:23, 52:25-52:27, 54:01:01-54:05N, 54:07-54:09, 54:11-54:19, 54:21-54:24, 55:01:01-55:05, 55:07-55:08, 55:10-55:19, 55:22-55:36, 55:38-55:51, 55:53, 55:54w, 56:01:01-56:02, 56:04-56:12, 56:14-56:32, 57:01:01-57:01:12, 57:03:01-57:03:02, 57:06-57:08, 57:10-57:11, 57:14-57:18, 57:20-57:23, 57:25-57:26, 57:29, 57:31-57:41, 57:43-57:52, 58:01:01-58:02, 58:04-58:21, 58:23-58:36, 59:01:01:01-59:05, 67:01:01-67:03, 78:01:01-78:07, 81:01-81:05 |
| 17 | 275 bp | 1070 bp | *53:20 |  |
| 187 | 140 bp | 1070 bp | *53:21 | *07:134, 18:01:01-18:03, 18:05-18:15, 18:17N-18:24, 18:26-18:36, 18:38-18:47, 18:49-18:65, 18:67, 27:52, 35:50, 35:84, 35:162, 37:01:01-37:05, 37:07-37:27, 37:29-37:30N, 38:06-38:07, 39:19:01-39:19:02, 51:57, 51:103, 51:116 |
| 195 | 125 bp | 1070 bp | *53:23 | *07:65, 07:134, 08:32, 18:03, 35:29, 35:69, 35:76, 35:136, 35:186w, 39:19:01-39:19:02, 51:20, 56:06, 78:01:01-78:01:02, 78:03, 78:07 |
| 205 | 60 bp | 1070 bp | *53:11, 53:16, 53:24 | *07:20, 07:24, 07:60, 15:65, 15:84, 15:99, 15:221, 15:237, 35:08:01-35:08:05, 35:18, 35:45, 35:61, 35:80, 35:99-35:100, 35:105, 35:142, 35:156, 35:158, 35:164, 35:172, 35:174, 35:176, 39:33, 44:28:01-44:28:02, 44:76, 51:05, 51:29, 51:54, 52:24, 57:02:01-57:02:02, 57:04-57:05, 57:12, 57:19, 57:28N, 57:30, 57:42, 58:22, C*03:28, C*03:49, C*04:08, C*05:39, C*14:20 |

1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*53 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given.

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA- B*53 subtyping.

In addition, wells number 3 to 7, 11 and 15 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles 1st exon or intron nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st exon and the introns are conserved within allelic groups.

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*53 alleles will be amplified by all B*53 primer mixes except primer mix 17. In addition, the A*02:188 and A*24:174 alleles will be weakly amplified by primer mix 10, the C*03:12, C*03:19, C*03:26 and C*03:102 alleles will be weakly amplified by primer mix 4, the C*03:28, C*03:49 and C*14:20 alleles will be amplified by primer mix 20, the C*03:36 and C*03:77 alleles will be amplified by mix 9, the C*04:08 and C*05:39 alleles will be amplified by primer mixes 4 and 20, the C*04:34 allele will be amplified by primer mixes 4 and 9, the C*05:27, C*08:41, C*15:15 and C*17:07 alleles will be amplified by primer mix 4, the C*06:20 and C*07:81 alleles will be weakly amplified by primer mix 11, the C*07:68, C*07:140 and 07:151 alleles will be amplified by primer mix 5, the C*07:168 allele will be amplified by primer mix  7 and weakly by primer mix 11, the C*08:08 allele will be amplified by primer mix 14 and the C*15:39 allele will be amplified by primer mix 2.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mix 4, 7 and 8 have a tendency of giving rise to nonspecific amplifications..

7Primer mixes 9, 11, 14, 15 and 18 may give a lower yield of specific PCR product than the other HLA-B*53 primer mixes.

8Primer mixes 3 and 15 may have tendencies of primer dimer formation.

9Primer mix 3: Specific PCR fragment of 135 bp in the B*53:03, 53:05 and 53:16 and the B*18:54, 18:67, 27:52, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:09, 37:12-37:13, 37:15-37:27, 37:30N-37:31 and 52:09  alleles. Specific PCR fragment of 290 bp in the B*53:15 and the 08:49, 08:60, 08:76 and 42:13 alleles.

10Primer mix 6: Specific PCR fragment of 205 bp in the B*53:02 and 53:06 and the B*15:38:01-15:38:02, 15:185, 18:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:55, 18:57, 18:59-18:60, 18:62-18:68, 35:21, 35:24:01-35:24:02, 39:43, 51:37, 51:45, 51:63, 51:97, 56:31, 57:14 and 58:09 alleles. Specific PCR fragment of 235 bp in the the B*53:05, 53:12 and 53:16 and the B*13:25, 15:115, 44:15 and 44:109 alleles.

11Primer mix 14: Specific PCR fragment of 95 bp in the B*53:14 and the B*07:09, 07:11, 07:17, 07:115, 08:28, 08:35, 08:37, 08:69, 14:05, 15:07:01-15:07:02, 15:55, 15:68, 18:14, 35:51, 35:58, 35:66, 35:72, 39:24:01-39:24:02, 39:37, 40:03, 41:18, 42:09 and 46:12 and in the C*08:08 alleles. Specific PCR fragment of 130 bp in the B*53:10 allele.

12Primer mix 15: Specific PCR fragment of 105 bp in the B *53:09, 53:17:01-53:17:02, 15:202, 18:01:01-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:36, 18:38-18:47, 18:49-18:65, 18:67-18:68, 35:20:01-35:20:02, 35:28, 35:72, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:20, 37:22-37:25, 37:27, 37:29-37:31, 44:83, 44:134, 49:03, 52:01:01:01-52:01:10, 52:03-52:05, 52:07-52:15, 52:17-52:21, 52:24-52:27 alleles. Specific PCR fragment of 205 bp in the B*53:19, 35:81, 35:83, 35:154, 35:162, 45:12 alleles. Specific PCR fragments of 105 and 205 bp in the B*35:95 allele.

‘w’, might be weakly amplified.

1HLA-B*53 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.7.0, January 2012.

2The B*53:19, B*52:03 and B*52:10:01-52:10:02 alleles give rise to identical amplification patterns with the HLA-B*53 subtyping kit. These four alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*52 subtyping kit.

3Primer mix 3: Specific PCR fragment of 135 bp in the B*53:03, 53:05 and 53:16 and the B*18:54, 18:67, 27:52, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:09, 37:12-37:13, 37:15-37:27, 37:30N-37:31 and 52:09  alleles. Specific PCR fragment of 290 bp in the B*53:15 and the 08:49, 08:60, 08:76 and 42:13 alleles.

Primer mix 6: Specific PCR fragment of 205 bp in the B*53:02 and 53:06 and the B*15:38:01-15:38:02, 15:185, 18:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:55, 18:57, 18:59-18:60, 18:62-18:68, 35:21, 35:24:01-35:24:02, 39:43, 51:37, 51:45, 51:63, 51:97, 56:31, 57:14 and 58:09 alleles. Specific PCR fragment of 235 bp in the the B*53:05, 53:12 and 53:16 and the B*13:25, 15:115, 44:15 and 44:109 alleles.

Primer mix 14: Specific PCR fragment of 95 bp in the B*53:14 and the B*07:09, 07:11, 07:17, 07:115, 08:28, 08:35, 08:37, 08:69, 14:05, 15:07:01-15:07:02, 15:55, 15:68, 18:14, 35:51, 35:58, 35:66, 35:72, 39:24:01-39:24:02, 39:37, 40:03, 41:18, 42:09 and 46:12 and in the C*08:08 alleles. Specific PCR fragment of 130 bp in the B*53:10 allele.

Primer mix 15: Specific PCR fragment of 105 bp in the B *53:09, 53:17:01-53:17:02, 15:202, 18:01:01-18:06, 18:08-18:15, 18:17N-18:28, 18:30-18:32, 18:34-18:36, 18:38-18:47, 18:49-18:65, 18:67-18:68, 35:20:01-35:20:02, 35:28, 35:72, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:20, 37:22-37:25, 37:27, 37:29-37:31, 44:83, 44:134, 49:03, 52:01:01:01-52:01:10, 52:03-52:05, 52:07-52:15, 52:17-52:21, 52:24-52:27 alleles. Specific PCR fragment of 205 bp in the B*53:19, 35:81, 35:83, 35:154, 35:162, 45:12 alleles. Specific PCR fragments of 105 and 205 bp in the B*35:95 allele.

Change in revision R01 compared to R00:

- Primer mix 15 amplifies the B*35:02:01-35:02:04 alleles. This has been corrected in the specificity and amplification tables.

Change in revision R02 compared to R01:

- Primer mix 15 amplifies the B*35:129N allele. This has been corrected in the specificity and amplification tables.