Gel Documentation Form and Worksheet

HLA-B*53 (101.549-06/06u) 	Lot No: 86V	Expiry Date: 2016-December-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Interpretation:_______________

Failed lanes:    _________

Comments:    ___________________

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 2, 6 and 7 may have tendencies of unspecific amplifications.

Primer mixes 11, 14 and 18 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B*53 primer mixes.

Primer mix 3 has a tendency to giving rise to primer oligomer formation.

Primer mix 24 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.

1HLA-B*53 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 135 bp in the B*53:03, 53:05, 53:16 and 53:33 and the B*18:54, 18:67, 27:52, 35:203, 37:01:01-37:01:05, 37:01:07-37:05, 37:07-37:09, 37:12-37:13, 37:15-37:27, 37:30N-37:33N, 37:35-37:36, 37:38-37:49 and 52:09 alleles. Specific PCR fragment of 290 bp in the B*53:15 and the B*08:49, 08:60, 08:76 and 42:13 alleles.

Primer mix 6: Specific PCR fragment of 205 bp in the B*53:02, 53:06 and 53:28 and the B*15:38:01-15:38:02, 15:185, 18:01:01:01-18:09, 18:12-18:15, 18:17N-18:20, 18:22-18:25, 18:27-18:34, 18:36-18:40, 18:42-18:55, 18:57, 18:59-18:60, 18:62-18:100, 18:102-18:103, 35:21, 35:24:01-35:24:02, 35:188, 35:190, 39:43, 51:37, 51:45, 51:63, 51:97, 52:39, 56:31, 57:14 and 58:09 and in the C*12:87 alleles. Specific PCR fragment of 235 bp in the the B*53:05, 53:12 and 53:16 and the B*08:117, 13:25, 15:115, 44:15, 44:109 and 44:176 alleles.

Primer mix 14: Specific PCR fragment of 95 bp in the B*53:14 and the B*07:09, 07:11, 07:17, 07:115, 08:28, 08:35, 08:37, 08:69, 14:05, 15:07:01-15:07:03, 15:55, 15:68, 18:14, 35:05:03, 35:51, 35:58, 35:66, 35:72, 35:232, 39:24:01-39:24:02, 39:37, 39:76, 40:03, 40:267, 40:284, 41:18, 41:24, 42:09, 42:20 and 46:12 and in the C*02:60, C*07:294 and C*08:08:01-08:08:02 alleles. Specific PCR fragment of 130 bp in the B*53:10 allele.

‘w’, may be weakly amplified.

4The B*53:01:01-53:01:10, 53:25, 53:27, 53:32, 53:34-53:35 and the B*58:01:14 alleles give rise to identical amplification patterns with the HLA-B*53 subtyping kit. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*58 subtyping kit.

The B*53:03 and the 35:203, the B*53:30 and the 35:01:10, 35:46-35:47, 35:207 and 35:217 alleles give rise to identical amplification patterns with the HLA-B*53 subtyping kit. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*35 subtyping kit.

The HLA-B*53 subtyping cannot distinguish the following silent mutations: the B*53:01:01-53:01:10 alleles, the B*53:08:01-53:08:02 or the B*53:17:01-53:17:02 alleles.